E & B Oilfield Services

HOT WORK PERMIT

Date _________________	Time_________________________

Name of Person(s) Performing Work ____________________________________________________

Specific Location of Work _________________________________

| Yes | No |  |
| --- | --- | --- |
| ___ | ___ | Cutting or welding permitted in an area that has been made fire safe. |
| ___ | ___ | All movable fire hazards in the vicinity have been taken to a safe place. |
| ___ | ___ | Guards used to contain the heat, sparks and slag if fire hazards cannot be removed. |
| ___ | ___ | Floor or wall openings or cracks, open doorways and windows protected or closed. |
| ___ | ___ | Fire extinguisher available for instant use. |
| ___ | ___ | Fire watch in areas where other than a minor fire might develop such as around combustible material. |
| ___ | ___ | Floors swept clean of combustible material for a radius of 35'. |
| ___ | ___ | Combustible floors have been kept wet, covered with damp sand or protected by fire resistant shields. |
| ___ | ___ | Welding/cutting done only in areas authorized by management. No welding/cutting in sprinkled building when sprinkler system is impaired or in presence of explosive atmosphere, or in area of storage of readily ignitable material. |
| ___ | ___ | Dusts and conveyor systems that might carry sparks to distant combustibles protected or shutdown. |
| ___ | ___ | Cutter/welder is trained in safe operation of equipment and the safe use of the process. |
| ___ | ___ | Any on-site contractors advised about flammable material or hazardous conditions of which they may not be aware. |
| ___ ___ | ___ ___ | Welding or cutting containers: Container thoroughly cleaned and ventilated; Any pipe lines or connections to containers disconnected or blanked. |
| ___ | ___ | PPE used as needed– e.g., eye protection, helmet, protective clothing, respirator, gloves. |
| ___ | ___ | Warning sign posted to warn other workers of hot metal. |
| ___ | ___ | Appropriate ventilation provided. |
| ___ | ___ | When working in confined spaces a permit has been issued as per 1910.146. |

_______  LEL Reading 		_______  H2S Reading	_______  CO2 Reading	_______  O2 Reading

____________________________

Authorized Signature - Supervisor

E&B FORM HWP 5/28/12 Rev 1