Emmanuel Church Shelley

| # Risk Assessment |  |  |  |
| --- | --- | --- | --- |
| # Hazard | # People | # Risk | # Controls |
| Chemicals – Bleach, cleaning fluids, paint. | Children Adults | Low Low | Tamper-proof box. Childproof cupboard. Gloves available in box. |
| Electric shock from appliances in the kitchen. | Everyone | Low | Wiring tested every 5 years. Trip switch installed. |
| Electric shock elsewhere in the church. | Organist/cleaners/ service leaders. | Low | Wiring tested every 5yrs. by electrician. |
| Use of extension cables. | Everyone | Low | New sockets fitted 2016 at strategic points around the church. Minimal use of extension cables |
| Use of electrical equipment. | Cleaners/kitchen users/church leaders. | Low | Visual checking for damage – written policy for users. Regular checking of equipment by electrician. |
| Candle Stand | Everyone | Low | Fire Blanket |
| Lawn Mower with petrol | Everyone | Low | Empty tank for the winter. Leave tank empty after mowing. - In storage container outside Church 30/07/07 |
| Spare petrol tank | Everyone | Medium | - New storage container outside of Church – petrol tank removed. 30/07/07 |
| Accidental fire | Everyone | Low | Four fire extinguishers at strategic points around church. - Tested annually Fire exit signs. Key to Fire exit in Vestry clearly identified with key placed in door during services. |
| Injury/minor accident | Everyone | Low | First aid kit, in kitchen, with labeled location. List of emergency numbers. Accident book. |
| Urn | All kitchen users when urn is in use. Children. | Low | Warning notice: ‘Very Hot keep urn back from edge’. |
| Lead in water pipes, | Everyone – especially children. | Low | Run water taps before use. Notice ‘bottled water for children’. - Pipes replaced July 2006 |
| Changing light bulbs | Light bulb changers | Medium | 2 people present. |
| Font | Everyone | Medium | - Step removed 2016 |
| Chairs | Everyone | Low | Folding chairs stacked in frames |
| Processional cross | Everyone | Low | - Fixed to wall. August 2007 |
| Loose carpet in Vestry and side chapel. | Everyone | Low | - New carpet in Vestry 01/11/06 . |
| Steps outside vestry entrance. Boiler house steps. | Everyone | Medium | Ballustrade railings and handle fitted. (2008) Keep steps clean to remove moss |
| Mat in porch. | Everyone | Medium | - New mat bought with non-slip back and tapered edges. 2006 |
| Gravestones | Anyone in churchyard | Low | Annual check of all large standing stones. |
| Water Butt access. | Churchyard users | Low | - Water Butt moved to new location. 2006 |
| Tower access to trap door. | Maintenance people | Medium | 2016 New access ladders and trap door and lighting fitted |
| Church Yard | Maintenance people | Low | Use of Protective Glasses when using Strimmers. |
| Pathway moss/drains. | Everyone | Medium | Needs regular checking and treating. Drains to be kept clear. |

Items in red either - action still to be taken or no solution found at present.

- Items added/changed since last Risk Assessment done.

Reviewed March 2009

Signed:                                                               Dated: