Proposed Training Criteria for ODH approved Pool/Spa Operator Training

Minimum 3-4 hrs

Provide course completion certificate valid for 5 years

1. Basic Water Chemistry
   1. pH
   2. Water Disinfection
      1. Chlorine
         1. Stabilized
         2. Unstabilized
      2. Bromine
      3. Combined Chlorines
      4. Secondary Disinfectants
         1. Ozone
         2. UV Light
      5. Cyanuric Acid
      6. Disinfectant safety
   3. Alkalinity
   4. Calcium hardness
   5. TDS
   6. Water Balance
      1. TDS
      2. Saturation Index
   7. Temperature
2. Water Testing
   1. Where to test
   2. How to test
   3. Different Tests Required
3. Circulation
   1. Pump
   2. Main drain
   3. Gutters/skimmers
   4. Gauges
   5. Valves
   6. Chemical feed Devices
   7. Flowmeters
4. Filtration
   1. Types
   2. Cleaning
5. Spas and Special Use pools
6. Laws
   1. Federal
      1. VGBPSSA
      2. MAHC
   2. State/Local
7. Critical Violations and Pool Closure
8. RWI and Disease prevention
9. Facility Safety
   1. Chemical Safety
   2. Lifeguards
   3. Equipment
10. Record keeping
11. Trouble shooting