## 1. Instructions
Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET
Instructions
1) Cabling Services Description Tab 2: Vendors must list each service being offered and provide a detail description.
2) Cabling Labor Only Tab 3: The price per cable pull should represent all labor to include fishing walls, running cable through modular furniture, terminating, testing, labeling, and providing certification reports, as-built floor plans, and warranty information. Vendor may insert additional CATEGORY BLOCKS as needed; however, the pricing format may not be changed. All Prices must include the .75% DIR Administrative fee.
3) Cabling - Labor and Materials Tab 4: Vendors are to respond with prices (per pull) for only those zones where they can provide the requested services. The cost per cable pull should represent all materials including cable, electrical boxes, color coded inserts, jacks, patch panels, 66M150 blocks equipped with 89B brackets and/or 110 blocks, wall plates, patch cords, all devices as needed for proper hanging and molding as required. In addition the cost per cable pull should represent all labor including fishing walls, running cable through modular furniture, terminating, testing, labeling, and providing certification reports, as-built floor plans, and warranty information. Pricing to include all costs, including conveyances, necessary to complete the project. Vendor may insert additional CATEGORY BLOCKS as needed; however, the pricing format may not be changed. All Prices entered by vendor must include the .75% DIR Administrative fee.
4) Cabling Services Pricing Tab 5: Vendors must list any other cabling services being offered to DIR Customers that are not previously described and/or priced on either Bid Package 2 - Tab 3 or Bid Package 2 - Tab 4 price sheets. Any service listed must be within the scope of this RFO. For each service listed, Vendors must provide the individual pricing (hourly rate) charged for the service within each zone where the service will be offered. Vendor must enter the Service Rate used for the pricing shown on this price sheet: either 'Standard' for Monday through Friday, 8:00 am to 5:00 pm or 'Non-Standard' for nights, weekends, and holidays. Vendors must list a Cabling Service for each type of Service Rate. All Prices entered by vendor must include the .75% DIR Administrative fee.
5) Cabling Products Tab 6: A sample list of cabling products typically used in the installation of cabling services has been provided. Vendors should list all cabling products being offered. Any items listed can be purchased separately or included in combination with any cabling services listed. Price must include shipping (FOB), delivery and any conveyances necessary to complete the project. NOTE FOR PRODUCTS ONLY: DIR CUSTOMER PRICE contains 0.75% DIR Administrative Fee and it will be AUTOMATICALLY calculated once all other cells are filled. For reference purposes, the formula to calculate DIR Customer Price is: DIR Customer Price = MSRP x (1-DIR Discount%) x (1+0.75%)
6) Vendor shall provide the Category Number and Description, Manufacturer/Brand, Manufacturer's Suggested Retail Price (MSRP), identification of Manufacturer or Reseller, and DIR Customer Discount % off MSRP for products/services offered.
7) Provide the % of Discount off Manufacturers Suggested Retail Price (MSRP) or List Price
8) Service areas for proposed Services shall be identified by Zone Number(s) as referenced in Bid Package 6. If servicing the entire State of Texas, indicate "Statewide"; otherwise, district number must be indicated.
9) If Vendor is proposing Volume Discounts, the product must be listed separately with the associated type or grouped with an associated discount. For example:
ABC Product, 1-5 Systems - 10%
ABC Product, 6-10 Systems - 20%
ABC Product, 10+ Systems - 30%
10) If Vendor is proposing Increased discounts based on total statewide aggregate contract sales, Vendor must list total contract dollar amount threshold,
specific product and/or service or ALL, and discount percentage increase.
11) DO NOT make any changes to the format of the grids. Insert additional rows as needed.
12) THIS PRICING SHEET MUST BE SUBMITTED IN EXCEL FORMAT ON THUMB DRIVE.
13) Evaluation Scenario Pricing TAB 7: Attachment A to Bid Package 2 contains specifications for jobs typical of those routinely ordered by DIR customers. Respondents shall provide a quotation for each scenario separately and a total in the table provided on Evaluation Scenario Pricing TAB 7. The resulting total is amount that will be used for the price portion of the proposal evaluation for services. NOTE: For all of the prices quoted in the table, DIR evaluators will attempt to derive the same price by referencing the Vendor’s price list entered in this Bid Package 2 Tabs 2 through 6. Vendor is encouraged to provide detailed line item scenario pricing. If DIR is unable to satisfy itself that the prices quoted on the sample scenarios are entirely consistent with the pricing offered via this Bid Package 2 Pricing Sheet, the Respondent’s proposal may be disqualified.

## 2.Cabling Services Descriptions
Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET
INSTRUCTIONS: Vendors must list each service being offered and provide a detail description.
Cabling Service | Detail Description of Service
1. EXAMPLE: Cabling Service (per pull) - Labor Only Bid Package 2-Tab-3 Price Sheet | All labor to complete a cabling project including fishing walls, running cable through modular furniture, terminating, testing, labeling, and providing certification reports, as-built floor plans, and warranty information. Price per pull includes all travel expenses necessary to complete the cabling project.
2. EXAMPLE: Cabling Service (per pull) - Labor and Material Bid Package 2-Tab-4 Price Sheet | All materials necessary to complete a cabling project including cable, electrical boxes, color coded inserts, jacks, patch panels, 66M150 blocks equipped with 89B brackets and/or 110 blocks, wall plates, patch cords, and all devices as needed for proper hanging and molding as required plus all labor including fishing walls, running cable through modular furniture, terminating, testing, labeling, and providing certification reports, as-built floor plans, and warranty information. Price per pull includes all costs, including conveyances, to complete the cabling project.
3. EXAMPLE: Cabling Technical Support Bid Package 2-Tab-5 Price Sheet | Hourly rate to perform cabling related services independent of cable projects - i.e technical support, troubleshooting, repair, etc. Rate includes all travel expenses necessary to complete a service request.
4. EXAMPLE: Cabling Systems Design Bid Package 2-Tab-5 Price Sheet | Develop requirements for the planning and installation of Information Technology data/video/voice cabling using balanced copper cabling and fibre optic cabling.
5. EXAMPLE: Cabling Project Manager Bid Package 2-Tab-5 Price Sheet | Hourly rate to plan, budget, oversee and document all aspects of the specific cabling project.
6. EXAMPLE: Cable Removal Bid Package 2-Tab-5 Price Sheet | Hourly rate to remove cabling materials from existing facility.
[list and describe any additional services]
Additional Discount Based On Aggregate Sales
Contract Sales Threshold | Service Category Description | Part Number if Applicable | Original DIscount | Additional Discount | Total Discount

## 3. Cabling - Labor Only
Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET | [5 empty] | Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET |  | Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET |  | Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET |  | Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET |  | Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET |  | Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET |  | Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET |  | Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET |  | Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET |  | Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET
INSTRUCTIONS: The price per cable pull should represent all labor to include fishing walls, running cable through modular furniture, terminating, testing, labeling, and providing certification reports, as-built floor plans, and warranty information. All Prices must include the .75% DIR Administrative fee.
Cabling Services (price per pull) | Zone 1 | Zone 2 | Zone 3 | Zone 4 | Zone 5 | District 06 | District 07 | District 08 | District 09 | District 10 | District 11 | District 12 | District 13 | District 14 | District 15 | District 16 | District 17 | District 18 | District 19 | District 20 | District 21 | District 22 | District 23 | District 24 | District 25
Cat 5e cable - installed, terminated, tested and labeled including wall plate, jack and certification report.
0-10 Pulls
0-150 Feet | 110 | 110 | 110 | 110 | 110
151-300 Feet | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115 | 115
11-50 Pulls
0-150 Feet | 110 | 110 | 110 | 110 | 110
151-300 Feet | 115 | 115 | 115 | 115 | 115
51-100 Pulls
0-150 Feet | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
151-300 Feet | 110 | 110 | 110 | 110 | 110
101-200 Pulls
0-150 Feet | 100 | 100 | 100 | 100 | 100
151-300 Feet | 105 | 105 | 105 | 105 | 105
Over 200 Pulls
0-150 Feet | 100 | 100 | 100 | 100 | 100
151-300 Feet | 105 | 105 | 105 | 105 | 105
Cat 6 cable - installed, terminated, tested and labeled including wall plate, jack and certification report.
0-10 Pulls
0-150 Feet | 110 | 110 | 110 | 110 | 110
151-300 Feet | 115 | 115 | 115 | 115 | 115 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95
11-50 Pulls
0-150 Feet | 110 | 110 | 110 | 110 | 110
151-300 Feet | 115 | 115 | 115 | 115 | 115
51-100 Pulls
0-150 Feet | 105 | 105 | 105 | 105 | 105
151-300 Feet | 110 | 110 | 110 | 110 | 110
101-200 Pulls
0-150 Feet | 100 | 100 | 100 | 100 | 100
151-300 Feet | 105 | 105 | 105 | 105 | 105
Over 200 Pulls
0-150 Feet | 100 | 100 | 100 | 100 | 100
151-300 Feet | 105 | 105 | 105 | 105 | 105
Bid Package 2 - Tab 3
Cabling Services (per pull) - Labor Only Price Sheet
All Prices must include the .75% DIR Administrative fee.
Cabling Services (price per pull) | Zone 1 | Zone 2 | Zone 3 | Zone 4 | Zone 5 | District 06 | District 07 | District 08 | District 09 | District 10 | District 11 | District 12 | District 13 | District 14 | District 15 | District 16 | District 17 | District 18 | District 19 | District 20 | District 21 | District 22 | District 23 | District 24 | District 25
Cat 6A cable - installed, terminated, tested and labeled including wall plate, jack and certification report.
0-10 Pulls
0-150 Feet | 110 | 110 | 110 | 110 | 110
151-300 Feet | 115 | 115 | 115 | 115 | 115
11-50 Pulls
0-150 Feet | 110 | 110 | 110 | 110 | 110
151-300 Feet | 115 | 115 | 115 | 115 | 115
51-100 Pulls
0-150 Feet | 105 | 105 | 105 | 105 | 105
151-300 Feet | 110 | 110 | 110 | 110 | 110
101-200 Pulls
0-150 Feet | 100 | 100 | 100 | 100 | 100
151-300 Feet | 105 | 105 | 105 | 105 | 105
Over 200 Pulls
0-150 Feet | 100 | 100 | 100 | 100 | 100
151-300 Feet | 105 | 105 | 105 | 105 | 105
Fiber Optic Cable - installed, terminated, tested and labeled including wall plate, jack and certification report.
0-10 Pulls
0-150 Feet | 110 | 110 | 110 | 110 | 110
151-300 Feet | 115 | 115 | 115 | 115 | 115
11-50 Pulls
0-150 Feet | 110 | 110 | 110 | 110 | 110
151-300 Feet | 115 | 115 | 115 | 115 | 115
51-100 Pulls
0-150 Feet | 105 | 105 | 105 | 105 | 105
151-300 Feet | 110 | 110 | 110 | 110 | 110
101-200 Pulls
0-150 Feet | 100 | 100 | 100 | 100 | 100
151-300 Feet | 105 | 105 | 105 | 105 | 105
Over 200 Pulls
0-150 Feet | 100 | 100 | 100 | 100 | 100
151-300 Feet | 105 | 105 | 105 | 105 | 105
RG-6 Coax Cable for Video Distribution (CATV, CCTV (surveillance), satellite (DSS, VSAT)) - installed, terminated, tested and labeled including wall plate, jack and certification report.
0-10 Pulls
0-150 Feet | 110 | 110 | 110 | 110 | 110
151-300 Feet | 115 | 115 | 115 | 115 | 115
11-50 Pulls
0-150 Feet | 110 | 110 | 110 | 110 | 110
151-300 Feet | 115 | 115 | 115 | 115 | 115
51-100 Pulls
0-150 Feet | 105 | 105 | 105 | 105 | 105
151-300 Feet | 110 | 110 | 110 | 110 | 110
101-200 Pulls
0-150 Feet | 100 | 100 | 100 | 100 | 100
151-300 Feet | 105 | 105 | 105 | 105 | 105
Over 200 Pulls
0-150 Feet | 100 | 100 | 100 | 100 | 100
151-300 Feet | 105 | 105 | 105 | 105 | 105

## 4.Cabling - Labor and Materials
Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET
INSTRUCTIONS: Vendors are to respond with prices (per pull) for only those zones where they can provide the requested services. The cost per cable pull should represent all materials including cable, electrical boxes, color coded inserts, jacks, patch panels, 66M150 blocks equipped with 89B brackets and/or 110 blocks, wall plates, patch cords, all devices as needed for proper hanging and molding as required. In addition the cost per cable pull should represent all labor including fishing walls, running cable through modular furniture, terminating, testing, labeling, and providing certification reports, as-built floor plans, and warranty information. Pricing to include all costs, including conveyances, necessary to complete the project. All Prices must include the .75% DIR Administrative fee.
Cabling Services (price per pull) | Zone 1 | Zone 2 | Zone 3 | Zone 4 | Zone 5 | District 06 | District 07 | District 08 | District 09 | District 10 | District 11 | District 12 | District 13 | District 14 | District 15 | District 16 | District 17 | District 18 | District 19 | District 20 | District 21 | District 22 | District 23 | District 24 | District 25
Cat 5e cable - installed, terminated, tested and labeled including wall plate, jack and certification report.
0-10 Pulls
0-150 Feet | 185 | 185 | 185 | 185 | 185
151-300 Feet | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
11-50 Pulls
0-150 Feet | 180 | 180 | 180 | 180 | 180
151-300 Feet | 190 | 190 | 190 | 190 | 190 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
51-100 Pulls
0-150 Feet | 170 | 170 | 170 | 170 | 170 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160
151-300 Feet | 182 | 182 | 182 | 182 | 182
101-200 Pulls
0-150 Feet | 160 | 160 | 160 | 160 | 160
151-300 Feet | 175 | 175 | 175 | 175 | 175 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165
Over 200 Pulls
0-150 Feet | 150 | 150 | 150 | 150 | 150 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165 | 165
151-300 Feet | 170 | 170 | 170 | 170 | 170
Cat 6 cable - installed, terminated, tested and labeled including wall plate, jack and certification report.
0-10 Pulls
0-150 Feet | 205 | 205 | 205 | 205 | 205
151-300 Feet | 265 | 265 | 265 | 265 | 265
11-50 Pulls
0-150 Feet | 205 | 205 | 205 | 205 | 205 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225 | 225
151-300 Feet | 265 | 265 | 265 | 265 | 265 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240
51-100 Pulls
0-150 Feet | 200 | 200 | 200 | 200 | 200
151-300 Feet | 260 | 260 | 260 | 260 | 260 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220
101-200 Pulls
0-150 Feet | 195 | 195 | 195 | 195 | 195
151-300 Feet | 255 | 255 | 255 | 255 | 255
Over 200 Pulls
0-150 Feet | 190 | 190 | 190 | 190 | 190 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
151-300 Feet | 250 | 250 | 250 | 250 | 250
Cabling Services (price per pull) | Zone 1 | Zone 2 | Zone 3 | Zone 4 | Zone 5 | District 06 | District 07 | District 08 | District 09 | District 10 | District 11 | District 12 | District 13 | District 14 | District 15 | District 16 | District 17 | District 18 | District 19 | District 20 | District 21 | District 22 | District 23 | District 24 | District 25
Cat 6A cable - installed, terminated, tested and labeled including wall plate, jack and certification report.
0-10 Pulls
0-150 Feet | 345 | 345 | 345 | 345 | 345
151-300 Feet | 440 | 440 | 440 | 440 | 440
11-50 Pulls
0-150 Feet | 325 | 325 | 325 | 325 | 325
151-300 Feet | 420 | 420 | 420 | 420 | 420
51-100 Pulls
0-150 Feet | 310 | 310 | 310 | 310 | 310
151-300 Feet | 400 | 400 | 400 | 400 | 400
101-200 Pulls
0-150 Feet | 300 | 300 | 300 | 300 | 300
151-300 Feet | 390 | 390 | 390 | 390 | 390
Over 200 Pulls
0-150 Feet | 295 | 295 | 295 | 295 | 295 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275 | 275
151-300 Feet | 380 | 380 | 380 | 380 | 380 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360 | 360
Cabling Services (price per pull) | Zone 1 | Zone 2 | Zone 3 | Zone 4 | Zone 5 | District 06 | District 07 | District 08 | District 09 | District 10 | District 11 | District 12 | District 13 | District 14 | District 15 | District 16 | District 17 | District 18 | District 19 | District 20 | District 21 | District 22 | District 23 | District 24 | District 25
RG-6 Coax Cable for Video Distribution (CATV, CCTV (surveillance), satellite (DSS, VSAT)) - installed, terminated, tested and labeled including wall plate, jack and certification report.
0-10 Pulls
0-150 Feet | 230 | 230 | 230 | 230 | 230
151-300 Feet | 240 | 240 | 240 | 240 | 240
11-50 Pulls
0-150 Feet | 230 | 230 | 230 | 230 | 230
151-300 Feet | 240 | 240 | 240 | 240 | 240
51-100 Pulls
0-150 Feet | 210 | 210 | 210 | 210 | 210
151-300 Feet | 220 | 220 | 220 | 220 | 220
101-200 Pulls
0-150 Feet | 190 | 190 | 190 | 190 | 190
151-300 Feet | 200 | 200 | 200 | 200 | 200
Over 200 Pulls
0-150 Feet | 190 | 190 | 190 | 190 | 190
151-300 Feet | 200 | 200 | 200 | 200 | 200

## 5. Cabling Services Pricing
Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET
INSTRUCTIONS: Vendors must list any other cabling services being offered to DIR Customers that are not previously described and/or priced on either Bid Package 2 - Tab 3 or Bid Package 2 - Tab 4 price sheets. Any service listed must be within the scope of this RFO. For each service listed, Vendors must provide the individual pricing (hourly rate) charged for the service within each zone where the service will be offered. Vendor must enter the Service Rate used for the pricing shown on this price sheet: either 'Standard' for Monday through Friday, 8:00 am to 5:00 pm or 'Non-Standard' for nights, weekends, and holidays. Vendors must list a Cabling Service for each type of Service Rate.
Cabling Services | Service Rate Type | Zone 1 | Zone 2 | Zone 3 | Zone 4 | Zone 5
Example: Cabling Technical Support (Standard hourly rate) | Standard | 55 | 55 | 55 | 55 | 55
Example: Cabling Technical Support (Nights, weekend, holiday rate) | Non-standard | 82.5 | 82.5 | 82.5 | 82.5 | 82.5
Example: Cabling Project Manager (Standard hourly rate) | Standard | 70 | 70 | 70 | 70 | 70
Example: Cabling Systems Design (Standard hourly rate) | Standard | 65 | 65 | 65 | 65 | 65
Example: Cable Removal (Standard hourly rate) | Standard | 55 | 55 | 55 | 55 | 55

## 6. Cabling Products
Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET
COMPANY NAME: | Southwest Networks, Inc.
* DIR CUSTOMER PRICE contains 0.75% DIR Administrative Fee and it will be AUTOMATICALLY calculated once all other cells are filled. For reference purposes, the formula to calculate DIR Customer Price is: DIR Customer Price = MSRP x (1-DIR Discount%) x (1+0.75%)
DO NOT make any changes to the format of the grids. Insert additional rows as needed.
PRODUCT
CATEGORY / DESCRIPTION (Refer to RFO Section 2.1) | Product Description | Manufacturer's Part Number | MSRP | DIR Customer Discount % off MSRP | DIR Customer Price *
Cabling Product Description (Sample List)
Panduit NetKey Connectivity Solution
| Cat 5e Jack | NK5E88MBUY | 12.28 | 40% | 5.526
| Cat 6 Jack | NK688MBU | 18.42 | 40% | 8.289
| Cat 6A Jack | NK6X88MBU | 35.38 | 40% | 15.921
| Modular 24 port patch panel | NKFP24Y | 109.07 | 40% | 49.0815
| Modular 48 port patch panel | NKFP48Y | 196.37 | 40% | 88.3665
| 24 Port Cat 5e Patch Panel | NK5EPPG24Y | 502.37 | 40% | 226.0665
| 48 port Cat 5e Patch Panel | NK5EPPG48Y | 1015.9 | 40% | 457.155
| 24 Port Cat 6 Patch Panel | NK6PPG24Y | 614 | 40% | 276.3
| 48 port Cat 6 Patch Panel | NK6PPG48Y | 1239.19 | 40% | 557.6355
| 24 Port Cat 6A Patch Panel | NK6XPPG24Y | 1563.78 | 40% | 703.701
| 48 port Cat 6A Patch Panel | NK6XPP48P | 2221.59 | 40% | 999.7155
| Cat 5e 5 ft patch cord | NK5EPC5Y | 11.73 | 40% | 5.2785
| Cat 5e 7 ft patch cord | NK5EPC7Y | 12.84 | 40% | 5.778
| Cat 5e 10 ft patch cord | NK5EPC10Y | 16.19 | 40% | 7.2855
| Cat 6 5 ft patch cord | NK6PC5Y | 17.8 | 40% | 8.01
| Cat 6 7 ft patch cord | NK6PC7Y | 19.96 | 40% | 8.982
| Cat 6 10 ft patch cord | NK6PC10Y | 23 | 40% | 10.35
| Cat 6A 5 ft patch cord | NK6APC5BU | 30.1 | 40% | 13.545
| Cat 6A 7 ft patch cord | NK6APC7BU | 34.22 | 40% | 15.399
| Cat 6A 10 ft patch cord | NK6APC10BU | 40.4 | 40% | 18.18
| 4-port Flush mount faceplate | NK4FIWY | 4.07 | 40% | 1.8315
| 2-port surface mount box | NK2BXIW-A | 8.37 | 40% | 3.7665
| Blank faceplate insert (10-pack) | NKBMWH-X | 11.38 | 40% | 5.121
Panduit MiniComm Connectivity Solution
| Cat 5e Jack | CJ5E88TGIW | 15.85 | 40% | 7.1325
| Cat 6 Jack | CJ688TGIW | 23.5 | 40% | 10.575
| Cat 6A Jack | CJ6X88TGBL | 37.76 | 40% | 16.992
| Modular 48 port patch panel | CPPL48WBLY | 217.42 | 40% | 97.839
| 24 Port Cat 5e Patch Panel | DP245E88TGY | 866.32 | 40% | 389.844
| 48 port Cat 5e Patch Panel | DP485E88TGY | 1700.61 | 40% | 765.2745
| 24 Port Cat 6 Patch Panel | DP24688TGY | 1120.22 | 40% | 504.099
| 48 port Cat 6 Patch Panel | DP48688TGY | 1900.39 | 40% | 855.1755
| 24 Port Cat 6A Patch Panel | CPPKL6ATG24WBL | 1661.41 | 40% | 747.6345
| 48 port Cat 6A Patch Panel | CPPKL6ATG48WBL | 3329.29 | 40% | 1498.1805
| Cat 5e 5 ft patch cord | UTPCH5BUY | 23.44 | 40% | 10.548
| Cat 5e 7 ft patch cord | UTPCH7BUY | 28.53 | 40% | 12.8385
| Cat 5e 10 ft patch cord | UTPCH10BUY | 30.95 | 40% | 13.9275
| Cat 6 5 ft patch cord | UTPSP5BUY | 30.77 | 40% | 13.8465
| Cat 6 7 ft patch cord | UTPSP7BUY | 34.85 | 40% | 15.6825
| Cat 6 10 ft patch cord | UTPSP10BUY | 38.57 | 40% | 17.3565
| Cat 6A 5 ft patch cord | UTP6AX5BU | 58.5 | 40% | 26.325
| Cat 6A 7 ft patch cord | UTP6AX7BU | 63.9 | 40% | 28.755
| Cat 6A 10 ft patch cord | UTP6AX10BU | 72.03 | 40% | 32.4135
| 4-port Flush mount faceplate | UICFP4IW | 5.04 | 40% | 2.268
| 4-port surface mount box | UICBX4IW-4 | 9.51 | 40% | 4.2795
| 100 pair wiring block w/ C-5 clips | P110KB1005Y | 218.77 | 40% | 98.4465
| 100 pair wiring block w/ C-4 clips | P110KB1004Y | 195.05 | 40% | 87.7725
| Blank faceplate insert | CMBIW-X | 0.55 | 40% | 0.2475
| Rack mount Fiber enclosure 1 RU | FRME1U | 820.26 | 40% | 369.117
| Rack mount Fiber enclosure 4 RU | FRME4 | 1150.92 | 40% | 517.914
| 24-fiber OM4 LC fiber adapter panel | FAP12WAQDLCZ | 370.64 | 40% | 166.788
| Panduit Fiber connector | FLCS2/9SOCPXAQ | 45.63 | 40% | 20.5335
| LC to LC duplex 50 mic optical fiber patch cord | FZE10-10M3 | 94.44 | 40% | 42.498
Commscope Uniprise Connectivity Solution
| Cat 5e Jack | UNJ500-BL | 15.98 | 40% | 7.191
| Cat 6 Jack | UNJ600-BL | 33.25 | 40% | 14.9625
| Cat 6A Jack | UNJ10G-BL | 38.73 | 40% | 17.4285
| Modular 24 port patch panel | 760207274 | 188.07 | 40% | 84.6315
| Modular 48 port patch panel | 760207282 | 349.27 | 40% | 157.1715
| 24 Port Cat 5e Patch Panel | 760180000 | 940.51 | 40% | 423.2295
| 48 port Cat 5e Patch Panel | 760180018 | 1376.46 | 40% | 619.407
| 24 Port Cat 6 Patch Panel | 760180042 | 652.24 | 40% | 293.508
| 48 port Cat 6 Patch Panel | 760180059 | 1304.38 | 40% | 586.971
| 24 Port Cat 6A Patch Panel | 760162800 | 911.01 | 40% | 409.9545
| 48 port Cat 6A Patch Panel | 760162818 | 1590.11 | 40% | 715.5495
| Cat 5e 5 ft patch cord | CO155D2-0ZF005 | 16.85 | 40% | 7.5825
| Cat 5e 7 ft patch cord | CO155D2-0ZF007 | 20.34 | 40% | 9.153
| Cat 5e 10 ft patch cord | CO155D2-0ZF010 | 23.35 | 40% | 10.5075
| Cat 6 5 ft patch cord | UC1BBB2-0ZF005 | 29.81 | 40% | 13.4145
| Cat 6 7 ft patch cord | UC1BBB2-0ZF007 | 32.38 | 40% | 14.571
| Cat 6 10 ft patch cord | UC1BBB2-0ZF010 | 36.3 | 40% | 16.335
| Cat 6A 5 ft patch cord | UC1AAA2-0ZF005 | 38.09 | 40% | 17.1405
| Cat 6A 7 ft patch cord | UC1AAA2-0ZF007 | 46.37 | 40% | 20.8665
| Cat 6A 10 ft patch cord | UC1AAA2-0ZF010 | 48.58 | 40% | 21.861
| 4-port Flush mount faceplate | M14L-262 | 5.07 | 40% | 2.2815
| 2-port surface mount box | M102MB-B-262 | 9.56 | 40% | 4.302
| Blank faceplate insert | UNDC-WH-100PK | 0.56 | 40% | 0.252
Commscope Systimax Connectivity Solution
| Cat 5e Jack | MPS100E | 19.85 | 40% | 8.9325
| Cat 6 Jack | MGS400 | 27.46 | 40% | 12.357
| Cat 6A Jack | MGS600 | 35.08 | 40% | 15.786
| Modular 24 port patch panel | 760207274 | 188.07 | 40% | 84.6315
| Modular 48 port patch panel | 760207282 | 349.27 | 40% | 157.1715
| 24 Port Cat 5e Patch Panel | 760205260 | 992.35 | 40% | 446.5575
| 48 port Cat 5e Patch Panel | 760205278 | 1090.89 | 40% | 490.9005
| 24 Port Cat 6 Patch Panel | 760062356 | 1150.05 | 40% | 517.5225
| 48 port Cat 6 Patch Panel | 760102244 | 1445.62 | 40% | 650.529
| 24 Port Cat 6A Patch Panel | 760102251 | 1332.24 | 40% | 599.508
| 48 port Cat 6A Patch Panel | 760128207 | 2670.89 | 40% | 1201.9005
| Cat 5e 5 ft patch cord | CPC6642-03F005 | 16.45 | 40% | 7.4025
| Cat 5e 7 ft patch cord | CPC6642-03F007 | 18.7 | 40% | 8.415
| Cat 5e 10 ft patch cord | CPC6642-03F010 | 21.8 | 40% | 9.81
| Cat 6 5 ft patch cord | CPC3312-03F005 | 28.74 | 40% | 12.933
| Cat 6 7 ft patch cord | CPC3312-03F007 | 30.54 | 40% | 13.743
| Cat 6 10 ft patch cord | CPC3312-03F010 | 34.28 | 40% | 15.426
| Cat 6A 5 ft patch cord | CPCSSX2-08F005 | 36.8 | 40% | 16.56
| Cat 6A 7 ft patch cord | CPCSSX2-08F007 | 41.95 | 40% | 18.8775
| Cat 6A 10 ft patch cord | CPCSSX2-08F010 | 45.98 | 40% | 20.691
| 4-port Flush mount faceplate | M14LE-262 | 5.11 | 40% | 2.2995
| 4-port surface mount box | 760057372 | 9.53 | 40% | 4.2885
| 100 pair wiring block w/ C-5 clips | 569440-1 | 205.97 | 40% | 92.6865
| 100 pair wiring block w/ C-4 clips | 569439-1 | 157.68 | 40% | 70.956
| Blank faceplate insert | M20AP-262 | 0.56 | 40% | 0.252
| Rack mount Fiber enclosure 1 RU | HD-1U-FX | 1438.3 | 40% | 647.235
| Rack mount Fiber enclosure 4 RU | HD-4U-FX | 2936.45 | 40% | 1321.4025
| 12-fiber fiber adapter panel | 760109256 | 130.31 | 40% | 58.6395
| Commscope fiber connector | SOC-LC-2MM-OM4 | 43.74 | 40% | 19.683
| LC to LC duplex 50 mic optical fiber patch cord | FEXLCLC42-MXF010 | 150.44 | 40% | 67.698
Ortronics Connectivity Solution
| Cat 5e Jack Series II Single jack | OR-S215E00 | 17.74 | 40% | 7.983
| Cat 5e Jack Series II Dual jack | OR-S225E00 | 37.49 | 40% | 16.8705
| Cat 6 Jack Series II Single jack | OR-S21600 | 28.12 | 40% | 12.654
| Cat 6 Jack Series II Dual jack | OR-S22600 | 46.55 | 40% | 20.9475
| Cat 6A Jack | OR-TJ6A | 39.61 | 40% | 17.8245
| Modular 24 port patch panel | OR-PHAHJU24 | 200.58 | 40% | 90.261
| Modular 48 port patch panel | OR-PHAHJU48 | 260.05 | 40% | 117.0225
| 24 Port Cat 5e Patch Panel | OR-PHD5E6U24 | 430.26 | 40% | 193.617
| 48 port Cat 5e Patch Panel | OR-PHD5E6U48 | 898.17 | 40% | 404.1765
| 24 Port Cat 6 Patch Panel | OR-PHD66U24 | 565.6 | 40% | 254.52
| 48 port Cat 6 Patch Panel | OR-PHD66U48 | 1033.21 | 40% | 464.9445
| 24 Port Cat 6A Patch Panel | OR-PHA6AU24 | 1040.09 | 40% | 468.0405
| 48 port Cat 6A Patch Panel | OR-PHA6AU48 | 2016.24 | 40% | 907.308
| Cat 5e 5 ft patch cord | OR-MC5E05-06 | 19.84 | 40% | 8.928
| Cat 5e 7 ft patch cord | OR-MC5E07-06 | 22.14 | 40% | 9.963
| Cat 5e 9 ft patch cord | OR-MC5E09-06 | 24.28 | 40% | 10.926
| Cat 6 5 ft patch cord | OR-MC605-06 | 26.98 | 40% | 12.141
| Cat 6 7 ft patch cord | OR-MC607-06 | 31.26 | 40% | 14.067
| Cat 6 9 ft patch cord | OR-MC609-06 | 36.74 | 40% | 16.533
| Cat 6A 5 ft patch cord | OR-MC6A05-06 | 53.45 | 40% | 24.0525
| Cat 6A 7 ft patch cord | OR-MC6A07-06 | 55.25 | 40% | 24.8625
| Cat 6A 9 ft patch cord | OR-MC6A10-06 | 58.63 | 40% | 26.3835
| Single gang adapter frame | OR-40300158 | 4.58 | 40% | 2.061
| 4-port surface mount box | OR-404S22X2U | 14.84 | 40% | 6.678
| 100 pair wiring block w/ C-5 clips | OR-110ABC5E100 | 156.65 | 40% | 70.4925
| 100 pair wiring block w/ C-4 clips | OR-110ABC5E100 | 156.65 | 40% | 70.4925
| Blank faceplate insert | OR-40300164 | 1.34 | 40% | 0.603
| Rack mount Fiber enclosure 1 RU | OR-INFC01U-M4-E | 1004.74 | 40% | 452.133
| Rack mount Fiber enclosure 4 RU | OR-INFC04U-M8 | 1345.69 | 40% | 605.5605
| 24-fiber OM4 LC fiber adapter panel | OR-OFP-LCQ24LC | 370.42 | 40% | 166.689
| Ortronics Fiber connector | 205KNF9GA-50T | 34.07 | 40% | 15.3315
| LC to LC duplex 50 mic optical fiber patch cord | OR-P3DF2LRGZGZ003M | 188.07 | 40% | 84.6315
Leviton Connectivity Solution
| Cat 5e Jack | 5G108-RL5 | 11.98 | 40% | 5.391
| Cat 6 Jack | 61110-RL6 | 21.33 | 40% | 9.5985
| Cat 6A Jack | 6110G-RO6 | 31.67 | 40% | 14.2515
| Modular 24 port patch panel | 49255-L24 | 266.05 | 40% | 119.7225
| Modular 48 port patch panel | 49255-L48 | 299.1 | 40% | 134.595
| 24 Port Cat 5e Patch Panel | 5G596-U24 | 367.89 | 40% | 165.5505
| 48 port Cat 5e Patch Panel | 5G596-U48 | 774.62 | 40% | 348.579
| 24 Port Cat 6 Patch Panel | 69586-U24 | 564.2 | 40% | 253.89
| 48 port Cat 6 Patch Panel | 69586-U48 | 990.29 | 40% | 445.6305
| 24 Port Cat 6A Patch Panel | 6910G-U24 | 999.13 | 40% | 449.6085
| 48 port Cat 6A Patch Panel | 6910G-U48 | 1558.42 | 40% | 701.289
| Cat 5e 5 ft patch cord | 5G460-05L | 11.95 | 40% | 5.3775
| Cat 5e 7 ft patch cord | 5G460-07L | 13.89 | 40% | 6.2505
| Cat 5e 10 ft patch cord | 5G460-10L | 14.71 | 40% | 6.6195
| Cat 6 5 ft patch cord | 62460-5L | 13.84 | 40% | 6.228
| Cat 6 7 ft patch cord | 62460-7L | 18.64 | 40% | 8.388
| Cat 6 10 ft patch cord | 62460-10L | 20.65 | 40% | 9.2925
| Cat 6A 5 ft patch cord | 6AS10-5L | 55.57 | 40% | 25.0065
| Cat 6A 7 ft patch cord | 6AS10-7L | 62.52 | 40% | 28.134
| Cat 6A 10 ft patch cord | 6AS10-10L | 72.97 | 40% | 32.8365
| 4-port Flush mount faceplate | 42080-4WS | 4.8 | 40% | 2.16
| 4-port surface mount box | 41089-4WP | 10.69 | 40% | 4.8105
| 100 pair wiring block w/ C-5 clips | 41AB2-1F5 | 94 | 40% | 42.3
| 100 pair wiring block w/ C-4 clips | 41AB2-1F4 | 87.66 | 40% | 39.447
| Blank faceplate insert | 41084-BWB | 0.47 | 40% | 0.2115
| Rack mount Fiber enclosure 1 RU | 5R1UM-F03 | 625.82 | 40% | 281.619
| Rack mount Fiber enclosure 4 RU | 5R4UM-F12 | 1232.33 | 40% | 554.5485
| 24-fiber OM4 LC fiber adapter panel | 5F100-4QL | 343.84 | 40% | 154.728
| Leviton Fiber connector | 49990-LL2 | 30.22 | 40% | 13.599
| LC to LC duplex 50 mic optical fiber patch cord | 5LDLC-M03 | 57.87 | 40% | 26.0415
Corning Connectivity Solution
| Rack mount Fiber enclosure 1 RU | CCH-01U | 641.98 | 40% | 288.891
| Rack mount Fiber enclosure 4 RU | CCH-04U | 970.82 | 40% | 436.869
| 24-fiber OM4 LC fiber adapter panel | CCH-CP24-E4 | 426.89 | 40% | 192.1005
| LC fuse on connector for OM4 Multimode 50 micron fiber | FL2-LC-900-OM4-6 | 49.12 | 40% | 22.104
| LC to LC duplex 50 mic optical fiber patch cord | 050502Q5120003M | 141.87 | 40% | 63.8415
| 6 strand fan out kit | FAN-BT25-06 | 50.64 | 40% | 22.788
| 12 strand fan out kit | FAN-BT25-12 | 55.91 | 40% | 25.1595
Copper Cable
| Cat 5e plenum cable (per thousand feet) | 5131278E | 806 | 40% | 362.7
| Cat 6 plenum cable (per thousand feet) | 7131840 | 1092.13 | 40% | 491.4585
| Cat 6A plenum cable (per thousand feet) | Ultra 10 10G4 | 2955.33 | 40% | 1329.8985
| Cat 5e plenum cable (per thousand feet) | 5E55 | 599.5 | 40% | 269.775
| Cat 6 plenum cable (per thousand feet) | 6504+ | 857.04 | 40% | 385.668
| Cat 6A plenum cable (per thousand feet) | 10G4 | 1993.51 | 40% | 897.0795
| Cat 5e plenum cable (per thousand feet) | 2061 | 1128.4 | 40% | 507.78
| Cat 6 plenum cable (per thousand feet) | 2071 | 2094.27 | 40% | 942.4215
| Cat 6A plenum cable (per thousand feet) | 2091 | 2986.22 | 40% | 1343.799
| Cat 5e plenum cable (per thousand feet) | 10032227 | 775.11 | 40% | 348.7995
| Cat 6 plenum cable (per thousand feet) | 10136226 | 1251.04 | 40% | 562.968
| Cat 6A plenum cable (per thousand feet) | LANmark-10G2 | 2854.44 | 40% | 1284.498
| Cat 5e plenum cable (per thousand feet) | 51-241-28 | 746.89 | 40% | 336.1005
| Cat 6 plenum cable (per thousand feet) | 77-240-6B | 1359.44 | 40% | 611.748
| Cat 6A plenum cable (per thousand feet) | 6H-221-6B | 2682.64 | 40% | 1207.188
Copper Backbone cable
| 25-pair Category 3 OSP / foot | PE-89 25-pair / 7525785 | 2.86 | 40% | 1.287
| 25-pair Category 3 plenum / foot | 2131505.99 | 3.24 | 40% | 1.458
| 100-pair Category 3 OSP / foot | PE-89 100-pair / 7525819 | 11.72 | 40% | 5.274
| 100-pair Category 3 plenum / foot | 2131758.99 | 12.95 | 40% | 5.8275
| 25-pair Category 3 non-plenum / foot | 1010- 25-pair | 3.01 | 40% | 1.3545
| 25-pair Category 3 plenum / foot | 2010B- 25-pair | 5.67 | 40% | 2.5515
| 100-pair Category 3 non-plenum / foot | 1010- 100 -pair | 10.61 | 40% | 4.7745
| 100-pair Category 3 plenum / foot | 2010- 100 -pair | 23.11 | 40% | 10.3995
Optical Fiber Backbone cable
| 06 fiber OM4 Armored plenum fiber cable / foot | P006DZ5LFSUAQ | 6.58 | 40% | 2.961
| 06 fiber Singlemode Armored plenum fiber cable / foot | P006DZ8WFSUYL | 5.47 | 40% | 2.4615
| 12 fiber OM4 Armored plenum fiber cable / foot | P012DZ5LFSUAQ | 9.98 | 40% | 4.491
| 12 fiber Singlemode Armored plenum fiber cable / foot | P012DZ8WFSUYL | 6.45 | 40% | 2.9025
| 12-fiber OM4 indoor outdoor armored plenum / foot | P-012-OZ-5L-FSUBK | 25.84 | 40% | 11.628
| 12-fiber SM indoor outdoor armored plenum / foot | P-012-OZ-8W-FSUBK | 14.5 | 40% | 6.525
| 06 fiber OM4 Armored plenum fiber cable / foot | 006T88-31180-A3 | 6.36 | 40% | 2.862
| 06 fiber Singlemode Armored plenum fiber cable / foot | 006E88-31131-A3 | 5.24 | 40% | 2.358
| 12 fiber OM4 Armored plenum fiber cable / foot | 012T88-33180-A3 | 8.6 | 40% | 3.87
| 12 fiber Singlemode Armored plenum fiber cable / foot | 012E88-33131-A3 | 6.36 | 40% | 2.862
| 6-fiber OM3 indoor/outdoor fiber cable / foot | 006T8F-31180-29 | 10.71 | 40% | 4.8195
| 12-fiber SM indoor/outdoor fiber cable / foot | 012E8P-31131-29 | 6.31 | 40% | 2.8395
| 06 fiber OM3 Armored plenum fiber cable / foot | L4006P401 | 4.53 | 40% | 2.0385
| 12 fiber OM3 Armored plenum fiber cable / foot | L4012P401 | 6.4 | 40% | 2.88
| 6-fiber OM3 indoor/outdoor fiber cable / foot | W4006PG01 | 5.82 | 40% | 2.619
| 12-fiber OM3 indoor/outdoor fiber cable / foot | W4012PG01 | 7.87 | 40% | 3.5415
Cabling Product Description
Cable Pathway materials
| 12-inch wide ladder rack / foot | 10250-712 | 39 | 40% | 17.55
| Ladder/ basket tray 12x2 / foot | CF 105/300 | 38.8 | 40% | 17.46
| 1-inch J-hook cable support for drop wire or rod | JP75DW-L20 | 6.2 | 40% | 2.79
| 2-inch J-hook cable support for drop wire or rod | JP2DW-L20 | 8.37 | 40% | 3.7665
| Erico Caddy Saddle Bag cable support | CAT425 | 49.5 | 40% | 22.275
| 1-inch wall penetration with sleeve | SF-1 | 78 | 40% | 35.1
| 2-inch wall penetration with sleeve | SF-2 | 95 | 40% | 42.75
| 4-inch wall penetration with sleeve | SF-4 | 210 | 40% | 94.5
| intumescent fire stop putty stick | CP-618 | 50 | 40% | 22.5
| 6-foot pre-tied drop wire w/ 1-inch nail | 2149820 | 301.42 | 40% | 135.639
| 3/4 inch EMT conduit / foot | EMT34 | 3.05 | 40% | 1.3725
| 1-inch EMT conduit / foot | EMT1 | 6.5 | 40% | 2.925
| 2-inch EMT conduit / foot | EMT2 | 10 | 40% | 4.5
| 4-inch EMT conduit / foot | EMT4 | 22 | 40% | 9.9
| 1-inch raceway per foot installed | LD-05 | 8.5 | 40% | 3.825
| 2-inch raceway per foot installed | LD-10 | 8.7 | 40% | 3.915
| 1-inch plenum rated innerduct | SCF4X1C-1500 | 5.92 | 40% | 2.664
| 12-inch x 12-inch x 6-inch pull box | 12126RTSC | 195 | 40% | 87.75
| 12-inch x 12-inch x 6-inch pull box | 12126RTSC | 195 | 40% | 87.75
Grounding / Bonding materials
| Lightning entrace protector w fuses for 25-pair cable | 1880ECA1-25 | 1001.22 | 40% | 450.549
| Lightning entrace protector w fuses for 100-pair cable | 1880ECA1-100 | 2402.31 | 40% | 1081.0395
| Lightning entrace protector w fuses for 4-pair cable | Cat6 235 | 293.76 | 40% | 132.192
| Telecommunications Main Ground Busbar | 40153-012 | 382.84 | 40% | 172.278
| Telecommunications Ground Busbar | 40156-012 | 330 | 40% | 148.5
| #6 AWG Bonding conductor per foot | TBB | 2.57 | 40% | 1.1565
| 2-hole compression ground lug for #6 AWG | LCD6-14A-L | 18.47 | 40% | 8.3115
Closet Build Materials
| 7-foot 2-post relay rack Rack 3" | 55053-703 | 441.96 | 40% | 198.882
| 7-foot 2-post relay rack Rack 6" | 66353-703 | 980.11 | 40% | 441.0495
| 7-foot tall 19-inch 4-post rack | 50120-703 | 1995 | 40% | 897.75
| 2-' D x 2' H wall mount cabinet | 11900-724 | 2200 | 40% | 990
| 26" x 26" x 8.5" Thinline Wall Mount Cabinet | 13050-712 | 1320.77 | 40% | 594.3465
| Rack Mount-1U Hori-cable Mngr | 13930-701 | 121.71 | 40% | 54.7695
| Rack Mount-2U Hori-cable Mngr | 13930-702 | 139.26 | 40% | 62.667
| Vertical cable manager 3-inch | 13912-703 | 770.68 | 40% | 346.806
| Vertical cable manager 6-inch | 35521-703 | 2559.64 | 40% | 1151.838
| Vertical cable manager 10-inch | 35523-703 | 2900.61 | 40% | 1305.2745
| Rack Mount-1U Hori-cable Mngr | WMP1E | 260.12 | 40% | 117.054
| Rack Mount-2U Hori-cable Mngr | WMPH2E | 303.9 | 40% | 136.755
| Vertical cable manager 6-inch | PR2VD06 | 4171.63 | 40% | 1877.2335
| Vertical cable manager 8-inch | PR2VD08 | 4644.29 | 40% | 2089.9305
| Vertical cable manager 12-inch | PR2VD12 | 5736.56 | 40% | 2581.452
| Enhanced Aplication Server Pro (100 end points) | VEIP6K-1 | 24300 | 40% | 10935
| Enhanced Aplication Server Pro (250 end points) | VE6030-250 | 42300 | 40% | 19035
| Enhanced Aplication Server Pro (500 end points) | VE6030-500 | 53733.33 | 40% | 24179.9985
| Quad EnhancedNetwork Station (FXS) Port | VE8014BR | 2098.96 | 40% | 944.532
| SIP Compliant Quad Network Audio Port (Rack Mount) | VE8004BR | 3207.2 | 40% | 1443.24
| Power Supply, 6 amp, Positive 24 VDC | V-C6124P | 806 | 40% | 362.7
| Administrative Telephone | VEADP4 | 641.12 | 40% | 288.504
| IP Speaker With Text and Flasher, w/ Call Button 20" | VL520BK-FC | 2800 | 40% | 1260
| IP Speaker With Text and Flasher, w/ Call Button 40" | VL550BK | 3003.09 | 40% | 1351.3905
| Dual sided IP speaker With Text and Flasher, Black | VL522BK-F | 3631.26 | 40% | 1634.067
| Push Button Call Switch | V-2972 | 37.53 | 40% | 16.8885
| 2' x 2' Analog lay-in ceiing Speaker (2-pack) | VE9022A-2 | 370 | 40% | 166.5
| 2' x '2 Analog lay-in Ceiling speaker w/ Talk Back | VIP-422A | 2254.02 | 40% | 1014.309
| Analog Volume control | V-1092 | 96.17 | 40% | 43.2765
| I.P. One-way / Talkbak Lay-in Ceiing speaker | VE4022 | 1497.74 | 40% | 673.983
| Analog Hard Ceiling Speaker | V-1020C | 112 | 40% | 50.4
| 5-Wall Marine Horn (White) | V-1030M | 334.09 | 40% | 150.3405
| Interior Valdal Resistant Flex Horn | V-9880 | 1004.74 | 40% | 452.133
| Interior Vandal Resistant Analog Wall Speaker | V-9852 | 330.67 | 40% | 148.8015
| IP Interactive Console | VE8092 | 6169.85 | 40% | 2776.4325
| Fire treated 4' x 4' 3/4-inch plywood backboard | 4'x4'x3/4" | 280 | 40% | 126
| Fire treated 8' x 4' 3/4-inch plywood backboard | 4'x8'x3/4" | 350.66 | 40% | 157.797
| cable bend radius support "waterfall" | 12100-718 | 165.5 | 40% | 74.475
| HALO Multi IOT Sensor | HALO-3C | 3148.96 | 40% | 1417.032
| HALO Multi IOT Sensor with People Counting | HALO-3C-PC | 3770.42 | 40% | 1696.689
| Backbox for Halo sensor | HALO-BACKBOX | 260 | 40% | 117
| Halo 3C Demo Uit - encased in Plexiglass with Panic Button,PoE injector and shipped in Pelican Case | HALO-3C-DEMO | 4880 | 40% | 2196
| Includes HALO 3C to replace HALO 2C as part of HALO 2C demo unit. Also includes Mounting ring and protective pouch. | HALO-2C-DEMO-UPG | 1845 | 40% | 830.25
| Two HALO 3C units for demo or proof of concept | HALO-3C-POC | 4350 | 40% | 1957.5
| Two HALO V3C units for demo or proof of concept | HALO-3C-PC-POC | 5015 | 40% | 2256.75
| laminated as built D-size with cable drop locations and cable Id's / closet |  | 365.28 | 40% | 164.376
| Item requested that is not listed discounted 40% from MSRP |  | #VALUE! | 40% | #VALUE!
|  |  | 0 |  | 0
Additional Discount Based On Aggregate Sales
Contract Sales Threshold | Part Number if Applicable | Original DIscount | Total Discount

## 7.Evaluation Scenario Pricing
Department of Information Resources Request for Offer DIR-TSO-TMP-246 Cabling Services and Related Products BID PACKAGE 2 - PRICING SHEET
COMPANY NAME: Southwest Networks, Inc.
[5 empty] | Service Scenario Total: | 103115.38
Vendor may insert lines as required to provide pricing detail.
Pricing Scenario A
| Product/Service Description | Rate | QTY | Total
| Cat 6 cable pull 0-150 Ft | 205 | 3 | 615
| Cat 6 cable pull 150-300 Ft | 265 | 5 | 1325
| Panduit 2U horiz mngr | 84.43 | 1 | 84.43
|  |  | Grand Total: | 2024.43
Pricing Scenario B
| Product/Service Description | Rate | QTY | Total
| Commscope 24 strd OM4 indoor outdoor armored plenum rated fiber BB cable P/N P-024-OZ-5K-FSUBK | 12.3 | 1200 | 14760
| Commscope fiber connector | 14.7 | 48 | 705.6
| Commscope 1U rack mount | 267.15 | 2 | 534.3
| Commscope 12-fiber fiber adapter panel | 28.2 | 4 | 112.8
| 2-inch EMT conduit / foot | 2.67 | 1000 | 2670
| 12-inch x 12-inch x 6-inch pull box | 60.85 | 2 | 121.7
|  |  | Grand Total: | 18904.4
Pricing Scenario C
| Product/Service Description | Rate | QTY | Total
| Cat 6 cable pull 0-150 Ft | 205 | 50 | 10250
| Cat 6 cable pull 150-300 Ft | 265 | 120 | 31800
| 1-inch wall penetration with sleeve | 24.68 | 8 | 197.44
| 4-inch wall penetration with sleeve | 63.65 | 2 | 127.3
| CPI 7-foot 2-post relay rack Rack 6" | 197.4 | 1 | 441.05
| CPI 12-inch wide ladder rack / foot | 9.72 | 3 | 29.16
| Panduit Vertical cable manager 6-inch | 644.32 | 2 | 1288.64
| Vertical cable manager door 6-inch | 286.16 | 4 | 1144.64
| CPI cable bend radius support "waterfall" | 45.98 | 2 | 91.96
| Panduit 2U horiz mngr | 84.43 | 4 | 337.72
| Telecommunications Main Ground Busbar | 171 | 1 | 171
| #6 AWG Bonding conductor per foot | 0.97 | 100 | 97
| Laminated as built D-size As-Built drawing with cable drop locations and cable Id's / closet | 163.6 | 1 | 163.6
|  |  | Grand Total: | 46139.51
Pricing Scenario D
| Product/Service Description | Rate | QTY | Total
| Cat 6 cable pull 0-150 Ft | 205 | 40 | 8200
| Cat 6 cable pull 150-300 Ft | 265 | 85 | 22525
| 1-inch wall penetration with sleeve | 24.68 | 23 | 567.64
| 4-inch wall penetration with sleeve | 63.65 | 2 | 127.3
| CPI 7-foot 2-post relay rack Rack 6" | 197.4 | 1 | 197.4
| Panduit Vertical cable manager 6-inch | 644.32 | 2 | 1288.64
| Vertical cable manager door 6-inch | 286.16 | 4 | 1144.64
| CPI cable bend radius support "waterfall" | 45.98 | 2 | 91.96
| Generic item Basket tray 18"x 4" / foot | 21.4 | 30 | 642
| Generic item basket tray cable bend radius support | 27.48 | 2 | 54.96
| Telecommunications Main Ground Busbar | 171 | 1 | 171
| Generic item 1/2 inch wide rack mount ground busbar for 19-inch rack | 84.5 | 1 | 84.5
| #6 AWG Bonding conductor per foot | 0.97 | 100 | 97
0
|  |  | Grand Total: | 35192.04
Pricing Scenario E
| Product/Service Description | Rate | QTY | Total
| labor only to install one (1) Cat 6 cable pull 0-150 Ft | 90 | 3 | 270
| Labor only to install one (1) Cat 6 cable pull 150-300 Ft | 95 | 5 | 475
| Cabling Technical Support (Standard hourly rate) installation of customer provided wire management | 55 | 2 | 110
| All materials provided by customer | 0 | 0 | 0
0
|  |  | Grand Total: | 855