## Slide 1: GAOS Grower’s Club
Basics of lighting for Orchids
© Greater Akron Orchid Society

## Slide 2
It’s no secret that orchids need the right light to grow and bloom. There are many different sources one can use to provide the right amount of light to your orchids. Sources vary from very sophisticated and expensive to very simple and economical. In this presentation we will gain a basic understanding of grow lights.

## Slide 3: Light sources
Flourescent lighting
  T12
  T8
  T5
LED lighting
High Pressure Sodium

## Slide 4: Florescent Lighting
1. Three basics types
  T12 (code for 1 ½ inch tubes)
    Older design – going obsolete – supplies harder to find
    Less efficient – older ballasts are less efficient
    Less light – still good enough to grow orchids needing less light
    Cooler operating temperature
  T8 (code for 1 inch tubes)
    Newer and more efficient than T12 - quieter
    Brighter light
    Operate at a higher temp.
  T5 (code for 5/8 inch tubes)
    Newest and most energy efficient florescent light
    Provide brightest light – but still might not be bright enough for some orchids
    Operate at a higher temperature – may need to provide cooling to offset heat
    Many options available and probably best economical for new lights

## Slide 5: LED (Light Emitting Diode)
Newest lighting solution
More expensive to purchase but the most energy efficient
Some lights can be easily changed to adjust spectrum
Very cool operating temperature
Many different sizes and shapes to fight your budget or lighting needs
Can be purchased at local box stores – more commercial versions online
Should use arrays designed for growing

## Slide 6: HPS (High Pressure Sodium)
High cost and high energy usage
Provide very high intensity of light
Very warm operating temp.
Were in high favor years ago but not so much now