SOUTHEAST CULVERT, INC.

P.O. BOX 999

AUBURN, GEORGIA 30011

(770) 963-5041

Re: Submittal / Certification Letter

Project:

To Whom It May Concern,

We certify that our High Density Polyethylene Pipe, SOUTHEAST CULVERT, INC. NFLOW HDPE, we propose to furnish will meet the following specifications.

- ASTM F2306/AASHTO M294 - Smooth Interior Type S

ASTM F477 – Gasket

ASTM D3212- Water Tight Lab Joint

- National Transportation Product Evaluation Program (NTPEP) Compliant

Southeast Culvert’s dual wall high density polyethylene pipe has been third party verified as a water tight product for the purpose of achieving an installed leak resistant system per AASHTO PP 63 requiring appropriate handling, storage, installation, and testing of the material.

Please refer to the following documents for guidelines on material storage and installation: AASHTO Section 30, ASTM D2321, and the Plastic Pipe Institute’s Material Handling Guide.

SOUTHEAST CULVERT, INC.

Engineering Department