There are several sizes of thin sections but the basic steps are the same. The sample is trimmed to size. This may require impregnation or consolidation of some samples. The "chip" or "billet" then goes thru various stages of grinding to get the sample as optically flat as possible, something around 1000 grit is best. Between each of the grinding steps the samples are thoroughly cleaned in a sonic bath. The next step is to adhere the chip to a frosted slide, and there are various epoxies specific for thin section making( the index of refraction is known). In order to achieve sample continuity we use BUEHLER products. After the sample cures the majority of the chip is cut away leaving a few thousandths of rock adhered to the slide, using 600  carborundum grit this is then ground down to the required thickness. the standard being 30 microns. At this point the sample is once again cleaned and prepared for staining. The staining process described by Houghton (1980) is considered the standard, (enclosed below). After staining, the sample is cleaned and the coverslip is applied.

STAINING FELDSPARS

Houghton (1980)

REAGENTS: (a) potassium rhodizonate (0.01g K-rhodizonate in 30ml distilled water. (b) Sodium cobaltinitrite (saturated solution; about50g per 100ml distilled water). (c) Barium chloride

(5% solution in distilled water).

PROCEDURE:

(a) Etch over hf vapor (55% hf solution) for 25-35 sec WARNING!! HYDROFLOURIC ACID IS SUPER CAUSTIC, LET THE PROS HANDLE IT.

(b) Remove the slide from etching box and drop into beaker with Na-cobaltinitrite. leave for 45 sec.

(c) Rinse slide in distilled water, blot dry or air dry. (d) Dip slide into beaker with BaCL2 solution for no more than 5 sec. (e) Dip in distilled water and agitate for 10 sec. (f) Place several drops of the rhodizonate solution on the damp surface leave until plagioclase grains become pink then rinse with water.(g) Air dry

The intensity of the pink plagioclase stain is proportional to the amount of calcium in the molecule: Albite/oligoclase will stain lighter than a more calcic plagioclase. Pure Na-albite will not take up any of the rhodizonate stain. Alkali feldspars are stained greenish-yellow. The accuracy of the stains decreases according to grain size: with finer grained specimens, the pink stain tends to pervade the surface and obscure the quartz grains.