SCADA

- SCADA is an acronym that stands for Supervisory Control and Data Acquisition

  - True

  - False

- SCADA refers to a system that collects data from various sensors at a factory, plant or in other remote locations and then sends this data to a central computer which then manages and controls the data.

  - True

  - False

- A SCADA system will include

  - signal hardware (input and output)controllers

  - networks

  - user interface (HMI)

  - communications equipment and software

  - All of the above

- A SCADA system will only monitor and never make changes to the operations.

  - True

  - False

- When planning a SCADA system you should:

  - Have an understanding of the process

  - Collect data

  - Design a database

  - Design a secure system

  - All of the above

- Before planning an alarm system within the SCADA one should consider.

  - What conditions triggers the alarm?

  - How operators will be notified of those alarms?

  - What actions will occur in response to those alarms?

  - None of the above

- Every SCADA system is unique to its environment, so there is no need to be consistent with colors, symbols and terminology.

  - True

  - False

- A SCADA system is open to many inputs and output, for that reason a SCADA system can not be configured for secure access.

  - True

  - False

- A Dynamic Data Exchange (DDE) Server is a program that has access to data and can provide that data to other programs.

  - True

  - False

- A Dynamic Data Exchange (DDE) _______________ is a program that can obtain data from a DDE Server.

Answers:

1. A			6. A,B,C

2. A			7. B

3. E			8. B

4. B			9. A

5. E			10. Client