## Plumbing
Please note: CPC Chapter 4, Table A Occupant Load Factors are used for this Calaculator.
2016 CBC / CPC |  |  | Minimum Plumbing Fixture Calculator | [7 empty] | Version: | CA-16-01 | www.ara4help.com
[project name] | [10 empty] | Expires: | 2020-12-31
| Occ | use | M/F | Area | Unit
| 1 | 1 | Male: | 0 | 0
0 | 0 | 1 | [9 empty] | 1
Area 1 | [5 empty] | 1 | Water Closets |  |  |  | Lavatories |  |  | Bathtub/ Shower | Drinking Fountain
[7 empty] | Unisex | Male | M Urinal | Female | Unisex | Male | Female
[6 empty] | Ratio |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | Calculated OL | Req'd | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | Comments:
|  |  | Male: | 50% | 0
|  |  | Female: | 50% | 0
| Occ | use | M/F | Area | Unit
| 1 | 1 | Male: | 0 | 0
0 | 0 | 1 | [9 empty] | 1
Area 2 | [5 empty] | 2 | Water Closets |  |  |  | Lavatories |  |  | Bathtub/ Shower | Drinking Fountain
[7 empty] | Unisex | Male | M Urinal | Female | Unisex | Male | Female
[6 empty] | Ratio |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | Calculated OL | Req'd | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | Comments:
|  |  | Male: | 50% | 0
|  |  | Female: | 50% | 0
| Occ | use | M/F | Area | Unit
| 1 | 1 | Male: | 0 | 0
0 | 0 | 1 | [9 empty] | 1
Area 3 | [5 empty] | 3 | Water Closets |  |  |  | Lavatories |  |  | Bathtub/ Shower | Drinking Fountain
[7 empty] | Unisex | Male | M Urinal | Female | Unisex | Male | Female
[6 empty] | Ratio |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
[5 empty] | Calculated OL | Req'd | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 0 | Comments:
|  |  | Male: | 50% | 0
|  |  | Female: | 50% | 0
Total for the Structure / Tenant space* | [5 empty] | T | Water Closets |  |  |  | Lavatories |  |  | Bathtub/ Shower | Drinking Fountain
[7 empty] | Unisex | Male | M Urinal | Female | Unisex | Male | Female
[6 empty] | Req'd | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Calculated OL: | 0 | Comments:
|  |  |  | Number of units: | 0
|  |  |  | Male: | 0
|  |  |  | Female: | 0
*Use this table only if all occupants from each Area above have unrestricted access to the other two areas.

## Support (hidden)
Select Type of Building or Occupancy | 1 | [9 empty] | 1 | Old
A-1. Assembly (theatre, concert hall, auditorium) | 2 | [5 empty] | 1 service sink or Laundry tray** |  |  |  | 2 | Assembly (theatre, auditorium) Employee use
A-2. Assembly (restaurant, pub, night club, banquet hall) | 3 | [5 empty] | 1 service sink or Laundry tray** For food prep. areas also check Health Codes** |  |  |  | 3 | Assembly (theatre, auditorium) Public use
A-3. Assembly (arcade, place of worship, lecture hall) | 4 | [5 empty] | 1 service sink or Laundry tray** |  |  |  | 4 | Dormitory- School or labor
A-4. Assembly (indor activities with spectator seating) | 5 | [5 empty] | 1 service sink or Laundry tray** |  |  |  | 5 | Dormitory- for staff use
A-5. Assembly (outdor activities with spectator seating) | 6 | [5 empty] | 1 service sink or Laundry tray** |  |  |  | 6 | Dwelling, Apartment house
B. Business (office, profess. or servise type transactions) | 7 | [5 empty] | 1 service sink or Laundry tray** |  |  |  | 7 | Hospital waiting rooms
E. Educational (privat or public school) | 8 | [5 empty] | 1 service sink or Laundry tray** |  |  |  | 8 | Hospital- for Employee use
F-1, F-2. Factory or Industrial | 9 | [5 empty] | 1 service sink or Laundry tray** For food prep. areas also check Health Codes** |  |  |  | 9 | Hospital- Individual rooms
I-2. Institutional (hospital, nursing) indiv. rooms | 10 | [5 empty] | 1 service sink or Laundry tray** Provide at least 1 WC, 1Lav. & 1 Bathtub/shower per rm** For OSHPD 1, 2, 3, & 4 refer to CPC Table 4-2** |  |  |  | 10 | Hospital- Ward rooms
I-2. Institutional (hospital, nursing) waiting/visitor room | 11 | Input Number of Rooms |  |  | Not Required |  | For OSHPD 1, 2, 3, & 4 refer to CPC Table 4-2** |  |  |  | 11 | Industrial warehouse, workshop- Employee use
I-2. Institutional (hospital, nursing) employee use | 12 | [5 empty] | For OSHPD 1, 2, 3, & 4 refer to CPC Table 4-2** |  |  |  | 12 | Institutional (no hospital/penal)
I-3. Institutional (prison) | 13 | Input Number of Cells |  |  | Not Required | [5 empty] | 13 | Institutional (no hospital/penal) Employee use
I-3. Institutional (correct. facility, juvenile center) | 14 | [5 empty] | 1 service sink or Laundry tray** |  |  |  | 14 | Office or public building
I-3. Institutional (employee use) | 15 | [9 empty] | 15 | Office or public building. Employee use
I-4. Institutional (any age, <24 hrs care) | 16 | [5 empty] | 1 service sink or Laundry tray** |  |  |  | 16 | Penal inst. Employee use
M. Mercantile | 17 | [5 empty] | 1 service sink or Laundry tray** |  |  |  | 17 | Penal inst. Cell
R-2. Residential (dormitory) | 18 | [5 empty] | 1 service sink or Laundry tray** |  |  |  | 18 | Penal inst. Exercise rooms
R-2. Residential (dormitory) employee use | 19 | [9 empty] | 19 | Penal inst. Exercise area
R-2.1. (I-1) houses more than 16 persons on a 24 hr basis | 20 | [5 empty] | 1 service sink or Laundry tray** |  |  |  | 20 | Agricaltural Building
R-3. Residential (long term or permanent, 6-16 occupants) | 21 | [5 empty] | 1 service sink or Laundry tray** |  |  |  | 21 | CSA- Juvenile Hall
R-4. Residential (residential care or assisted living) | 22 | [5 empty] | 1 service sink or Laundry tray** |  |  |  | 22 | CSA- Camp
S-1, S-2. Storage or Warehouse | 23 | [5 empty] | 1 service sink or Laundry tray** |  |  |  | 23 | CSA- Local Detention Facility
[11 empty] | 24 | Public or professional office
[11 empty] | 25 | Restaurant, pub or lounge
| 0 | [9 empty] | 26 | Retail or Wholesale Store
Select Function of space for Occupant load | 1 | [9 empty] | 27 | School- for Staff use (all schools)
● Occupant load is known | 2 | OL Used | 1 | Input | Input Occupant Load: |  |  | 0 | 0 | 0 | 28 | School, Nursery- for Student use
◘ A- Auditorium, Conv. Hall, Dance floor, Stadium | 3 | 15 | 15 | Table A | Input Floor area (sq.ft.): |  |  | 0 | 0 | 0 | 29 | School, Elementary- for Student use
◘ A- Conference rm, Dining rm, Gym, Restaurant | 4 | 30 | 30 | Table A | Input Floor area (sq.ft.): |  |  | 0 | 0 | 0 | 30 | School, Secondary- for Student use
◘ A- Worship place- Assembly area | 5 | 30 | 30 | Table A | Input Floor area (sq.ft.): |  |  | 0 | 0 | 0 | 31 | College, Adult Center- for Student use
◘ B- Office or public building | 6 | 200 | 200 | Table A | Input Floor area (sq.ft.): |  |  | 0 | 0 | 0 | 32 | Worship place- Educational & activities Unit
◘ E- School for daycare, elementary, secondary | 7 | 50 | 50 | Table A | Input Floor area (sq.ft.): |  |  | 0 | 0 | 0 | 33 | Worship place- Principal assembly
◘ College, university, adult center | 8 | 50 | 50 | Table A | Input Floor area (sq.ft.): |  |  | 0 | 0 | 0
◘ F- Workshop, Foundry | 9 | 2000 | 2000 | Table A | Input Floor area (sq.ft.): |  |  | 0 | 0 | 0
◘ H- Hazardous materials fabrication and storage | 10 | 2000 | 2000 | Table A | Input Floor area (sq.ft.): |  |  | 0 | 0 | 0
◘ I- Hospital- General use area, health care | 11 | 200 | 200 | Table A | Input Floor area (sq.ft.): |  |  | 0 | 0 | 0
◘ M- Retail or wholesale store | 12 | 200 | 200 | Table A | Input Floor area (sq.ft.): |  |  | 0 | 0 | 0
◘ R- Congregate residence | 13 | 200 | 200 | Table A | Input Floor area (sq.ft.): |  |  | 0 | 0 | 0
◘ S- Warehouse | 14 | 5000 | 5000 | Table A | Input Floor area (sq.ft.): |  |  | 0 | 0 | 0
Record # |  | Occ | use | M/F | Area | Unit | Table
1 |  | 1 | 1 | Male:
2 |  | 1 | 1 | Male:
3 |  | 1 | 1 | Male:

## Count (hidden)
| Master | OL | M | M | F | Units |  |  |  | Space 1 | OL | M | M | F | Units | [6 empty] | Space 2 | OL | M | M | F | Units | [6 empty] | Space 3 | OL | M | M | F | Units
[10 empty] | 1 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1 | 0 | 0 | 0 | 0 | 0
|  | mwc | mur | fwc | ml | fl | b/s | fount | Other | 1 | mwc | mur | fwc | mlav | flav | b/s | fount | Other | Uniwc | UniLav |  | 1 | mwc | mur | fwc | mlav | flav | b/s | fount | Other | Uniwc | UniLav |  | 1 | mwc | mur | fwc | mlav | flav | b/s | fount | Other | Uniwc | UniLav
1 | Select Type of Building or Occupancy | [8 empty] | Select Type of Building or Occupancy | [11 empty] | Select Type of Building or Occupancy | [11 empty] | Select Type of Building or Occupancy
2 | A-1. Assembly (theatre, concert hall, auditorium) | 99901 | 99902 | 99903 | 99904 | 99905 | 0 | 99907 |  | A-1. Assembly (theatre, concert hall, auditorium) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-1. Assembly (theatre, concert hall, auditorium) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-1. Assembly (theatre, concert hall, auditorium) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
3 | A-2. Assembly (restaurant, pub, night club, banquet hall) | 99911 | 99902 | 99903 | 99914 | 99915 | 0 | 99907 |  | A-2. Assembly (restaurant, pub, night club, banquet hall) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-2. Assembly (restaurant, pub, night club, banquet hall) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-2. Assembly (restaurant, pub, night club, banquet hall) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
4 | A-3. Assembly (arcade, place of worship, lecture hall) | 99901 | 99912 | 99903 | 99904 | 99905 | 0 | 99907 |  | A-3. Assembly (arcade, place of worship, lecture hall) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-3. Assembly (arcade, place of worship, lecture hall) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-3. Assembly (arcade, place of worship, lecture hall) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
5 | A-4. Assembly (indor activities with spectator seating) | 99901 | 99912 | 99903 | 99908 | 99905 | 0 | 99907 |  | A-4. Assembly (indor activities with spectator seating) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-4. Assembly (indor activities with spectator seating) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-4. Assembly (indor activities with spectator seating) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
6 | A-5. Assembly (outdor activities with spectator seating) | 99901 | 99912 | 99903 | 99908 | 99905 | 0 | 99907 |  | A-5. Assembly (outdor activities with spectator seating) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-5. Assembly (outdor activities with spectator seating) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-5. Assembly (outdor activities with spectator seating) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
7 | B. Business (office, profess. or servise type transactions) | 99921 | 99912 | 99923 | 99924 | 99925 | 0 | 0.0066667 |  | B. Business (office, profess. or servise type transactions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | B. Business (office, profess. or servise type transactions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | B. Business (office, profess. or servise type transactions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
8 | E. Educational (privat or public school) | 0.02 | 0.01 | 0.033333 | 0.025 | 0.025 | 0 | 0.0066667 |  | E. Educational (privat or public school) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | E. Educational (privat or public school) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | E. Educational (privat or public school) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
9 | F-1, F-2. Factory or Industrial | 99909 | 0 | 99909 | 99910 | 99910 | 99906 | 99907 |  | F-1, F-2. Factory or Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | F-1, F-2. Factory or Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | F-1, F-2. Factory or Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
10 | I-2. Institutional (hospital, nursing) indiv. rooms | 0.125 | 0 | 0.125 | 0.1 | 0.1 | 0.05 | 0.0066667 |  | I-2. Institutional (hospital, nursing) indiv. rooms | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-2. Institutional (hospital, nursing) indiv. rooms | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-2. Institutional (hospital, nursing) indiv. rooms | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
11 | I-2. Institutional (hospital, nursing) waiting/visitor area | 1 | Unisex | Unisex | 1 | Unisex | 0 | 1 |  | I-2. Institutional (hospital, nursing) waiting/visitor area | Unisex | Unisex | Unisex | Unisex | Unisex | 0 | 0 |  | 0 | 0 |  | I-2. Institutional (hospital, nursing) waiting/visitor area | Unisex | Unisex | Unisex | Unisex | Unisex | 0 | 0 |  | 0 | 0 |  | I-2. Institutional (hospital, nursing) waiting/visitor area | Unisex | Unisex | Unisex | Unisex | Unisex | 0 | 0 |  | 0 | 0
12 | I-2. Institutional (hospital, nursing) employee use | 99913 | 0 | 99913 | 0.025 | 0.025 | 0 | 0.0066667 |  | I-2. Institutional (hospital, nursing) employee use | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-2. Institutional (hospital, nursing) employee use | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-2. Institutional (hospital, nursing) employee use | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
13 | I-3. Institutional (prison) | 1 | Unisex | Unisex | 1 | Unisex | 0.05 | 99916 |  | I-3. Institutional (prison) | Unisex | Unisex | Unisex | Unisex | Unisex | 0 | 0 |  | 0 | 0 |  | I-3. Institutional (prison) | Unisex | Unisex | Unisex | Unisex | Unisex | 0 | 0 |  | 0 | 0 |  | I-3. Institutional (prison) | Unisex | Unisex | Unisex | Unisex | Unisex | 0 | 0 |  | 0 | 0
14 | I-3. Institutional (correct. facility, juvenile center) | 0.125 | 0 | 0.125 | 0.1 | 0.1 | 0.125 | 99916 |  | I-3. Institutional (correct. facility, juvenile center) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-3. Institutional (correct. facility, juvenile center) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-3. Institutional (correct. facility, juvenile center) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
15 | I-3. Institutional (employee use) | 99913 | 0 | 99913 | 0.025 | 0.025 | 0 | 0.0066667 |  | I-3. Institutional (employee use) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-3. Institutional (employee use) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-3. Institutional (employee use) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
16 | I-4. Institutional (any age, <24 hrs care) | 99913 | 0 | 99913 | 0.025 | 0.025 | 0 | 0.0066667 |  | I-4. Institutional (any age, <24 hrs care) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-4. Institutional (any age, <24 hrs care) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-4. Institutional (any age, <24 hrs care) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
17 | M. Mercantile | 99901 | 99922 | 99918 | 99919 | 99920 | 0 | 99907 |  | M. Mercantile | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | M. Mercantile | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | M. Mercantile | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
18 | R-2. Residential (dormitory) | 99926 | 99927 | 99928 | 99929 | 99930 | 0.125 | 0.0066667 |  | R-2. Residential (dormitory) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-2. Residential (dormitory) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-2. Residential (dormitory) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
19 | R-2. Residential (dormitory) employee use | 99913 | 0 | 99913 | 0.025 | 0.025 | 0 | 0.0066667 |  | R-2. Residential (dormitory) employee use | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-2. Residential (dormitory) employee use | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-2. Residential (dormitory) employee use | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
20 | R-2.1. (I-1) houses more than 16 persons on a 24 hr basis | 0.066667 | 0 | 0.066667 | 0.066667 | 0.066667 | 0.125 | 0.0066667 |  | R-2.1. (I-1) houses more than 16 persons on a 24 hr basis | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-2.1. (I-1) houses more than 16 persons on a 24 hr basis | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-2.1. (I-1) houses more than 16 persons on a 24 hr basis | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
21 | R-3. Residential (long term or permanent, 6-16 occupants) | 99926 | 0 | 99928 | 99929 | 99930 | 0.125 | 0.0066667 |  | R-3. Residential (long term or permanent, 6-16 occupants) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-3. Residential (long term or permanent, 6-16 occupants) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-3. Residential (long term or permanent, 6-16 occupants) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
22 | R-4. Residential (residential care or assisted living) | 99926 | 0 | 99928 | 99929 | 99930 | 0.125 | 0.0066667 |  | R-4. Residential (residential care or assisted living) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-4. Residential (residential care or assisted living) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-4. Residential (residential care or assisted living) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
23 | S-1, S-2. Storage or Warehouse | 99901 | 0 | 99932 | 99933 | 99933 | 0 | 99907 |  | S-1, S-2. Storage or Warehouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | S-1, S-2. Storage or Warehouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | S-1, S-2. Storage or Warehouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
24
25
26
27
28
29
30
31
32
33
1
2 | A-1. Assembly (theatre, concert hall, auditorium) | See comm | See comm | See comm | See comm | See comm | Not Req'd | See comm |  | conditional | [11 empty] | conditional | [11 empty] | conditional
3 | A-2. Assembly (restaurant, pub, night club, banquet hall) | See comm | See comm | See comm | See comm | See comm | Not Req'd | See comm |  | per unit/ cell/ room | [11 empty] | per unit/ cell/ room | [11 empty] | per unit/ cell/ room
4 | A-3. Assembly (arcade, place of worship, lecture hall) | See comm | See comm | See comm | See comm | See comm | Not Req'd | See comm |  | Text | [11 empty] | Text | [11 empty] | Text
5 | A-4. Assembly (indor activities with spectator seating) | See comm | See comm | See comm | See comm | See comm | Not Req'd | See comm |  | Zero (not required) |  | mwc | mur | fwc | ml | fl | b/s | fount | Other | From Support |  | Zero (not required) |  | mwc | mur | fwc | ml | fl | b/s | fount | Other | From Support |  | Zero (not required) |  | mwc | mur | fwc | ml | fl | b/s | fount | Other | From Support
6 | A-5. Assembly (outdor activities with spectator seating) | See comm | See comm | See comm | See comm | See comm | Not Req'd | See comm | [12 empty] | B | [11 empty] | B | [11 empty] | B
7 | B. Business (office, profess. or servise type transactions) | See comm | See comm | See comm | See comm | See comm | Not Req'd | 1/150 |  | unisex-per unit/ cell/ room | 0 | [7 empty] | 0 |  | B | unisex-per unit/ cell/ room | 0 | [7 empty] | 0 |  | B | unisex-per unit/ cell/ room | 0 | [7 empty] | 0 |  | B
8 | E. Educational (privat or public school) | 1/50 | 1/100 | 1/30 | 1/40 | 1/40 | Not Req'd | 1/150 |  | Total OL(all spaces combined) <=10 | 1 | [9 empty] | B | Total OL(all spaces combined) <=10 | 1 | [9 empty] | B | Total OL(all spaces combined) <=10 | 1 | [9 empty] | B
9 | F-1, F-2. Factory or Industrial | See comm | Not Req'd | See comm | See comm | See comm | See comm | See comm |  | B or M OL <=50 (check fields) | 0 | [9 empty] | B | B or M OL <=50 (check fields) | 0 | [9 empty] | B | B or M OL <=50 (check fields) | 0 | [9 empty] | B
10 | I-2. Institutional (hospital, nursing) indiv. rooms | 1/8 pat. | Not Req'd | 1/8 pat. | 1/10 pat. | 1/10 pat. | 1/20 pat. | 1/150 |  | Unisex | 1 | [9 empty] | B | Unisex | 1 | [9 empty] | B | Unisex | 1 | [9 empty] | B
11 | I-2. Institutional (hospital, nursing) waiting/visitor area | 1/ Room | Unisex | Unisex | 1/ Room | Unisex | Not Req'd | 1/ Room |  | Future Family assist Unisex (09 IBC) |  | A/E<50 | 0 | 0 | [7 empty] | Future Family assist Unisex (09 IBC) |  | A/E<50 | 0 | 0 | [7 empty] | Future Family assist Unisex (09 IBC) |  | A/E<50 | 0 | 0
12 | I-2. Institutional (hospital, nursing) employee use | See comm | Not Req'd | See comm | 1/40 | 1/40 | Not Req'd | Not Req'd |  | ExtraUrinal (not used in2 013) | 0 | 0 | [9 empty] | ExtraUrinal (not used in2 013) | 0 | 0 | [9 empty] | ExtraUrinal (not used in2 013) | 0 | 0
13 | I-3. Institutional (prison) | 1/ Cell | Unisex | Unisex | 1/ Cell | Unisex | 1/20 | See comm
14 | I-3. Institutional (correct. facility, juvenile center) | 1/8 | Not Req'd | 1/8 | 1/10 | 1/10 | 1/8 | 1/ Floor
15 | I-3. Institutional (employee use) | See comm | Not Req'd | See comm | 1/40 | 1/40 | Not Req'd | 1/150 |  |  | Water Closets |  |  |  | Lavatories |  |  | Bath/Shwr | Drink Fount | Other |  |  | Water Closets |  |  |  | Lavatories |  |  | Bath/Shwr | Drink Fount | Other |  |  | Water Closets |  |  |  | Lavatories |  |  | Bath/Shwr | Drink Fount | Other
16 | I-4. Institutional (any age, <24 hrs care) | See comm | Not Req'd | See comm | 1/40 | 1/40 | Not Req'd | 1/150 |  |  | UnisexWC | MaleWC | MaleU | FemaleWC | UnisexL | MaleL | FemaleL | [5 empty] | UnisexWC | MaleWC | MaleU | FemaleWC | UnisexL | MaleL | FemaleL | [5 empty] | UnisexWC | MaleWC | MaleU | FemaleWC | UnisexL | MaleL | FemaleL
17 | M. Mercantile | See comm | See comm | See comm | See comm | See comm | Not Req'd | See comm |  | Ratio |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  | Ratio |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  | Ratio |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
18 | R-2. Residential (dormitory) | See comm | See comm | See comm | See comm | See comm | 1/8 | 1/150 |  | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | R-2. Residential (dormitory) employee use | See comm | Not Req'd | See comm | 1/40 | 1/40 | Not Req'd | Not Req'd |  | Corrected | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Corrected | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Corrected | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | R-2.1. (I-1) houses more than 16 persons on a 24 hr basis | 1/15 | Not Req'd | 1/15 | 1/15 | 1/15 | 1/8 | 1/150 |  | Space 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Space 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Space 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | R-3. Residential (long term or permanent, 6-16 occupants) | See comm | Not Req'd | See comm | See comm | See comm | 1/8 | 1/150 | [5 empty] | 0 | [11 empty] | 0 | [11 empty] | 0
22 | R-4. Residential (residential care or assisted living) | See comm | Not Req'd | See comm | See comm | See comm | 1/8 | 1/150
23 | S-1, S-2. Storage or Warehouse | See comm | Not Req'd | See comm | See comm | See comm | Not Req'd | See comm
24
25 | [9 empty] | unisex-per unit/ cell/ room | 0 | 0 | 0
26 | [9 empty] | Total OL(all spaces combined) <=10 | 0
27 | [9 empty] | B or M OL <=50 (check fields) | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | [9 empty] | Unisex | 0 | 0 | 0
29 | [9 empty] | B or M OL <=50 (check fields) | 1 only | 2 only | 3 only | 1+2 | 1+3 | 2+3 | 1+2+3
30
31
32 | [10 empty] | OL | M | M | F | Units | A/E <50
33 | [9 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | total | 0 | 0 | 0 | 0 | 0
Ftnt18 | DrF is not required for OL not more than 30 (CPC Sec. 415.2)**
Pr/Juv | [10 empty] | Water Closets |  |  |  | Lavatories |  |  | Bath/Shwr | Drink Fount | F WC adj
Ftnt3 | Number of F WC shall be not less than M WC + M Ur (see T 422.1 ftn. 3)** | [9 empty] | Unisex | Male | Male Ur | Female | Unisex | Male | Female
A/E<50 | M Ur may be omittd (See Footnote 3a)** | [8 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ftnt7F | [9 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OL <=10 | Occupant load does not exceed 10- Unisex facilities OK per CPC Sec. 422.2, Ex.2** | [8 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MB<=1500 | M or B OL does not exceed 50 - Unisex facilities OK per CPC Sec. 422.2, Ex.3** | [8 empty] | total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ur Sub | of the required Male WC (67% max) may be replaced by the same number of urinal(s) Footnote 4 of Table 422.1** | [7 empty] | Not used | Final | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B/Sh | [13 empty] | 0
AHJ | [9 empty] | From the most restrictive Occupancy | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
From S | [9 empty] | Transfer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
I3 B/S | Bathtub/Shower calculated assumed 1 peson/cell** All cells assumed at 1 floor/ 1 block** | [7 empty] | New |  | See comments above**
A/E<50 | Fixtures calculated assuming single occup. Toilet rm. provided for each sex (see ftn. 3b)** | [18 empty] | 9
DrFnt | Where food is consumed indoors, water stations may be substituted for DrF (Sec. 415.2)** | [9 empty] | 0 |  |  |  | 0
422.2.1 | 2 family or assisted-use toilets may be used instead of 1 M WC and 1 F WC (Sec. 422.2.1)** | [9 empty] | 0 |  |  |  | 0
[11 empty] | 0 |  |  |  | 0
[11 empty] | 0 |  |  |  | 0
[10 empty] | min | 0 |  |  | min | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined text for comments | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1
2
3
tot
1
1
1
| 1 | [8 empty] | Min | 1
376
2019-12-21
2020-12-31
Expired Version- Contact ara@ara4help.com for help
Unauthorized Copy- Contact ara@ara4help.com for help
unisex
1/2 WC |  | mwc | mur | fwc | ml | fl | b/s | fount
0 |  | 99901 | 99902 | 99903 | 99904 | 99905 | 99906 | 99907
1
999
99901 | M WC per person: 1: 1-100, 2: 101-200, 3: 201-400, 1/500 for remainder over 400** | [7 empty] | A-1
99902 | M Ur per person: 1: 1-200, 2: 201-300, 3: 301-400, 4: 401-600, 1/300 for remainder over 600** | [7 empty] | A-1
99903 | F WC per person: 1: 1-25, 2: 26-50, 3: 51-100, 4: 101-200, 6: 201-300, 8: 301-400, 1/125 for remainder over 400** | [7 empty] | A-1
99904 | M Lav. per person: 1: 1-200, 2: 201-400, 3: 401-600, 4: 601-750, 1/250 for remainder over 750** | [7 empty] | A-1
99905 | F Lav. per person: 1: 1-100, 2: 101-200, 4: 201-300, 5: 301-500, 6: 501-750, 1/200 for remainder over 750** | [7 empty] | A-1
99906 | Add 1 Shower per 15 persons exposed to extensive heat or skin contamination with poisonous, infectious or irritating material** | [7 empty] | F
99907 | DrF per person: 1: 1-250, 2: 251-500, 3: 501-750, 1/500 for remainder over 750** | [7 empty] | A-1
99908 | M Lav. per person: 1: 1-200, 2: 201-400, 3: 401-750, 1/250 for remainder over 750** | [7 empty] | A-4
99909 | M/F WC per person: 1: 1-50, 2: 51-75, 3: 76-100, 1/40 for remainder over 100** | [7 empty] | F
99910 | M/F Lav. per person: 1: 1-50, 2: 51-75, 3: 76-100, 1/40 for remainder over 100** | [7 empty] | F
99911 | M WC per person: 1: 1-50, 2: 51-150, 3: 151-300, 4: 301-400, 1/250 for remainder over 400** | [7 empty] | A-2
99912 | M Ur per person: 1: 1-100, 2: 101-200, 3: 201-400, 4: 401-600, 1/300 for remainder over 600** | [7 empty] | A-3
99913 | M/F WC per person: 1: 1-15, 2: 16-35, 3: 36-55, 1/40 for remainder over 55** | [7 empty] | I-empl
99914 | M Lav. per person: 1: 1-150, 2: 151-200, 3: 201-400, 1/250 for remainder over 400** | [7 empty] | A-2
99915 | F Lav. per person: 1: 1-150, 2: 151-200, 3: 201-400, 1/200 for remainder over 400** | [7 empty] | A-2
99916 | DrF required 1 per cell block / floor- Assumed single floor** | [7 empty] | I-3
99917
99918 | F WC per person: 1: 1-25, 2: 26-50, 3: 51-100, 4: 101-200, 6: 201-300, 8: 301-400, 1/125 for remainder over 400** | [7 empty] | M
99919 | M Lav. per person: 1: 1-200, 2: 201-400, 1/500 for remainder over 400** | [7 empty] | M
99920 | F Lav. per person: 1: 1-100, 2: 101-200, 4: 201-300, 5: 301-500, 6: 501-750, 1/200 for remainder over 750** | [7 empty] | M
99921 | M WC per person: 1: 1-50, 2: 51-100, 3: 101-200, 4: 201-400, 1/500 for remainder over 400** | [7 empty] | B
99922 | M Ur per person: 1: 1-200, 2: 201-400, 1/500 for remainder over 400** | [7 empty] | M
99923 | F WC per person: 1: 1-15, 2: 16-30, 3: 31-50, 4: 51-100, 8: 101-200, 8: 201-400, 1/150for remainder over 400** | [7 empty] | B
99924 | M Lav. per person: 1: 1-75, 2: 76-150, 3: 151-200, 4: 201-300, 5: 301-400, 1/250 for remainder over 400** | [7 empty] | B
99925 | F Lav. per person: 1: 1-50, 2: 51-100, 3: 101-150, 4: 151-200, 5: 201-300, 6: 301-400, 1/200 for remainder over 400* | [7 empty] | B
99926 | M WC per person: 1: 1-10, 1/25 for remainder over 10** | [7 empty] | R-2
99927 | M Ur per person: 1: 1-25, 2: 26-50, 1/50 for remainder over 50** | [7 empty] | R-2
99928 | F WC per person: 1: 1-8, 1/20 for remainder over 8** | [7 empty] | R-2
99929 | M Lav. per person: 1: 1-12, 1/20 for remainder over 12** | [7 empty] | R-2
99930 | F Lav. per person: 1: 1-12, 1/15 for remainder over 12** | [7 empty] | R-2
99931 | [8 empty] | Same as 99901
99932 | F WC per person: 1: 1-100, 2: 101-200, 3: 201-400, 1/150 for remainder over 400** | [7 empty] | S
99933 | M/F Lav. per person: 1: 1-200, 2: 201-400, 3: 401-750, 1/500 for remainder over 750** | [7 empty] | S
99934 | **Not Used**
99935 | **Not Used**
End | *

## Count (2) (hidden)
| Master | OL | M | M | F | Units |  |  |  | Space 1 | OL | M | M | F | Units | [6 empty] | Space 2 | OL | M | M | F | Units | [6 empty] | Space 3 | OL | M | M | F | Units
[10 empty] | 1 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1 | 0 | 0 | 0 | 0 | 0
|  | mwc | mur | fwc | ml | fl | b/s | fount | Other | 1 | mwc | mur | fwc | mlav | flav | b/s | fount | Other | Uniwc | UniLav |  | 1 | mwc | mur | fwc | mlav | flav | b/s | fount | Other | Uniwc | UniLav |  | 1 | mwc | mur | fwc | mlav | flav | b/s | fount | Other | Uniwc | UniLav
1 | Select Type of Building or Occupancy | [8 empty] | Select Type of Building or Occupancy | [11 empty] | Select Type of Building or Occupancy | [11 empty] | Select Type of Building or Occupancy
2 | A-1. Assembly (theatre, concert hall, auditorium) | 99901 | 99902 | 99903 | 99904 | 99905 | 0 | 99907 |  | A-1. Assembly (theatre, concert hall, auditorium) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-1. Assembly (theatre, concert hall, auditorium) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-1. Assembly (theatre, concert hall, auditorium) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
3 | A-2. Assembly (restaurant, pub, night club, banquet hall) | 99911 | 99902 | 99903 | 99914 | 99915 | 0 | 99907 |  | A-2. Assembly (restaurant, pub, night club, banquet hall) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-2. Assembly (restaurant, pub, night club, banquet hall) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-2. Assembly (restaurant, pub, night club, banquet hall) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
4 | A-3. Assembly (arcade, place of worship, lecture hall) | 99901 | 99912 | 99903 | 99904 | 99905 | 0 | 99907 |  | A-3. Assembly (arcade, place of worship, lecture hall) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-3. Assembly (arcade, place of worship, lecture hall) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-3. Assembly (arcade, place of worship, lecture hall) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
5 | A-4. Assembly (indor activities with spectator seating) | 99901 | 99912 | 99903 | 99908 | 99905 | 0 | 99907 |  | A-4. Assembly (indor activities with spectator seating) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-4. Assembly (indor activities with spectator seating) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-4. Assembly (indor activities with spectator seating) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
6 | A-5. Assembly (outdor activities with spectator seating) | 99901 | 99912 | 99903 | 99908 | 99905 | 0 | 99907 |  | A-5. Assembly (outdor activities with spectator seating) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-5. Assembly (outdor activities with spectator seating) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | A-5. Assembly (outdor activities with spectator seating) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
7 | B. Business (office, profess. or servise type transactions) | 99921 | 99912 | 99923 | 99924 | 99925 | 0 | 0.0066667 |  | B. Business (office, profess. or servise type transactions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | B. Business (office, profess. or servise type transactions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | B. Business (office, profess. or servise type transactions) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
8 | E. Educational (privat or public school) | 0.02 | 0.01 | 0.033333 | 0.025 | 0.025 | 0 | 0.0066667 |  | E. Educational (privat or public school) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | E. Educational (privat or public school) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | E. Educational (privat or public school) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
9 | F-1, F-2. Factory or Industrial | 99909 | 0 | 99909 | 99910 | 99910 | 99906 | 99907 |  | F-1, F-2. Factory or Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | F-1, F-2. Factory or Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | F-1, F-2. Factory or Industrial | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
10 | I-2. Institutional (hospital, nursing) indiv. rooms | 0.125 | 0 | 0.125 | 0.1 | 0.1 | 0.05 | 0.0066667 |  | I-2. Institutional (hospital, nursing) indiv. rooms | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-2. Institutional (hospital, nursing) indiv. rooms | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-2. Institutional (hospital, nursing) indiv. rooms | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
11 | I-2. Institutional (hospital, nursing) waiting/visitor area | 1 | Unisex | Unisex | 1 | Unisex | 0 | 1 |  | I-2. Institutional (hospital, nursing) waiting/visitor area | Unisex | Unisex | Unisex | Unisex | Unisex | 0 | 0 |  | 0 | 0 |  | I-2. Institutional (hospital, nursing) waiting/visitor area | Unisex | Unisex | Unisex | Unisex | Unisex | 0 | 0 |  | 0 | 0 |  | I-2. Institutional (hospital, nursing) waiting/visitor area | Unisex | Unisex | Unisex | Unisex | Unisex | 0 | 0 |  | 0 | 0
12 | I-2. Institutional (hospital, nursing) employee use | 99913 | 0 | 99913 | 0.025 | 0.025 | 0 | 0.0066667 |  | I-2. Institutional (hospital, nursing) employee use | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-2. Institutional (hospital, nursing) employee use | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-2. Institutional (hospital, nursing) employee use | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
13 | I-3. Institutional (prison) | 1 | Unisex | Unisex | 1 | Unisex | 0.05 | 99916 |  | I-3. Institutional (prison) | Unisex | Unisex | Unisex | Unisex | Unisex | 0 | 0 |  | 0 | 0 |  | I-3. Institutional (prison) | Unisex | Unisex | Unisex | Unisex | Unisex | 0 | 0 |  | 0 | 0 |  | I-3. Institutional (prison) | Unisex | Unisex | Unisex | Unisex | Unisex | Unisex | 0 |  | 0 | 0
14 | I-3. Institutional (correct. facility, juvenile center) | 0.125 | 0 | 0.125 | 0.1 | 0.1 | 0.125 | 99916 |  | I-3. Institutional (correct. facility, juvenile center) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-3. Institutional (correct. facility, juvenile center) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-3. Institutional (correct. facility, juvenile center) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
15 | I-3. Institutional (employee use) | 99913 | 0 | 99913 | 0.025 | 0.025 | 0 | 0.0066667 |  | I-3. Institutional (employee use) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-3. Institutional (employee use) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-3. Institutional (employee use) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
16 | I-4. Institutional (any age, <24 hrs care) | 99913 | 0 | 99913 | 0.025 | 0.025 | 0 | 0.0066667 |  | I-4. Institutional (any age, <24 hrs care) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-4. Institutional (any age, <24 hrs care) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | I-4. Institutional (any age, <24 hrs care) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
17 | M. Mercantile | 99901 | 99922 | 99918 | 99919 | 99920 | 0 | 99907 |  | M. Mercantile | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | M. Mercantile | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | M. Mercantile | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
18 | R-2. Residential (dormitory) | 99926 | 99927 | 99928 | 99929 | 99930 | 0.125 | 0.0066667 |  | R-2. Residential (dormitory) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-2. Residential (dormitory) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-2. Residential (dormitory) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
19 | R-2. Residential (dormitory) employee use | 99913 | 0 | 99913 | 0.025 | 0.025 | 0 | 0.0066667 |  | R-2. Residential (dormitory) employee use | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-2. Residential (dormitory) employee use | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-2. Residential (dormitory) employee use | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
20 | R-2.1. (I-1) houses more than 16 persons on a 24 hr basis | 0.066667 | 0 | 0.066667 | 0.066667 | 0.066667 | 0.125 | 0.0066667 |  | R-2.1. (I-1) houses more than 16 persons on a 24 hr basis | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-2.1. (I-1) houses more than 16 persons on a 24 hr basis | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-2.1. (I-1) houses more than 16 persons on a 24 hr basis | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
21 | R-3. Residential (long term or permanent, 6-16 occupants) | 99926 | 0 | 99928 | 99929 | 99930 | 0.125 | 0.0066667 |  | R-3. Residential (long term or permanent, 6-16 occupants) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-3. Residential (long term or permanent, 6-16 occupants) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-3. Residential (long term or permanent, 6-16 occupants) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
22 | R-4. Residential (residential care or assisted living) | 99926 | 0 | 99928 | 99929 | 99930 | 0.125 | 0.0066667 |  | R-4. Residential (residential care or assisted living) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-4. Residential (residential care or assisted living) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | R-4. Residential (residential care or assisted living) | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
23 | S-1, S-2. Storage or Warehouse | 99901 | 0 | 99932 | 99933 | 99933 | 0 | 99907 |  | S-1, S-2. Storage or Warehouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | S-1, S-2. Storage or Warehouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | S-1, S-2. Storage or Warehouse | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
24
25
26
27
28
29
30
31
32
33
1
2 | A-1. Assembly (theatre, concert hall, auditorium) | See comm | See comm | See comm | See comm | See comm | Not Req'd | See comm |  | conditional | [11 empty] | conditional | [11 empty] | conditional
3 | A-2. Assembly (restaurant, pub, night club, banquet hall) | See comm | See comm | See comm | See comm | See comm | Not Req'd | See comm |  | per unit/ cell/ room | [11 empty] | per unit/ cell/ room | [11 empty] | per unit/ cell/ room
4 | A-3. Assembly (arcade, place of worship, lecture hall) | See comm | See comm | See comm | See comm | See comm | Not Req'd | See comm |  | Text | [11 empty] | Text | [11 empty] | Text
5 | A-4. Assembly (indor activities with spectator seating) | See comm | See comm | See comm | See comm | See comm | Not Req'd | See comm |  | Zero (not required) |  | mwc | mur | fwc | ml | fl | b/s | fount | Other | From Support |  | Zero (not required) |  | mwc | mur | fwc | ml | fl | b/s | fount | Other | From Support |  | Zero (not required) |  | mwc | mur | fwc | ml | fl | b/s | fount | Other | From Support
6 | A-5. Assembly (outdor activities with spectator seating) | See comm | See comm | See comm | See comm | See comm | Not Req'd | See comm | [12 empty] | B | [11 empty] | B | [11 empty] | B
7 | B. Business (office, profess. or servise type transactions) | See comm | See comm | See comm | See comm | See comm | Not Req'd | 1/150 |  | unisex-per unit/ cell/ room | 0 | [7 empty] | 0 |  | B | unisex-per unit/ cell/ room | 0 | [7 empty] | 0 |  | B | unisex-per unit/ cell/ room | 0 | [7 empty] | 0 |  | B
8 | E. Educational (privat or public school) | 1/50 | 1/100 | 1/30 | 1/40 | 1/40 | Not Req'd | 1/150 |  | Total OL(all spaces combined) <=10 | 1 | [9 empty] | B | Total OL(all spaces combined) <=10 | 1 | [9 empty] | B | Total OL(all spaces combined) <=10 | 1 | [9 empty] | B
9 | F-1, F-2. Factory or Industrial | See comm | Not Req'd | See comm | See comm | See comm | See comm | See comm |  | B or M OL <=50 (check fields) | 0 | [9 empty] | B | B or M OL <=50 (check fields) | 0 | [9 empty] | B | B or M OL <=50 (check fields) | 0 | [9 empty] | B
10 | I-2. Institutional (hospital, nursing) indiv. rooms | 1/8 pat. | Not Req'd | 1/8 pat. | 1/10 pat. | 1/10 pat. | 1/20 pat. | 1/150 |  | Unisex | 1 | [9 empty] | B | Unisex | 1 | [9 empty] | B | Unisex | 1 | [9 empty] | B
11 | I-2. Institutional (hospital, nursing) waiting/visitor area | 1/ Room | Unisex | Unisex | 1/ Room | Unisex | Not Req'd | 1/ Room |  | Future Family assist Unisex (09 IBC) |  | A/E<50 | 0 | 0 | [7 empty] | Future Family assist Unisex (09 IBC) |  | A/E<50 | 0 | 0 | [7 empty] | Future Family assist Unisex (09 IBC) |  | A/E<50 | 0 | 0
12 | I-2. Institutional (hospital, nursing) employee use | See comm | Not Req'd | See comm | 1/40 | 1/40 | Not Req'd | Not Req'd |  | ExtraUrinal (not used in2 013) | 0 | 0 | [9 empty] | ExtraUrinal (not used in2 013) | 0 | 0 | [9 empty] | ExtraUrinal (not used in2 013) | 0 | 0
13 | I-3. Institutional (prison) | 1/ Cell | Unisex | Unisex | 1/ Cell | Unisex | 1/20 | See comm
14 | I-3. Institutional (correct. facility, juvenile center) | 1/8 | Not Req'd | 1/8 | 1/10 | 1/10 | 1/8 | 1/ Floor
15 | I-3. Institutional (employee use) | See comm | Not Req'd | See comm | 1/40 | 1/40 | Not Req'd | 1/150 |  |  | Water Closets |  |  |  | Lavatories |  |  | Bath/Shwr | Drink Fount | Other |  |  | Water Closets |  |  |  | Lavatories |  |  | Bath/Shwr | Drink Fount | Other |  |  | Water Closets |  |  |  | Lavatories |  |  | Bath/Shwr | Drink Fount | Other
16 | I-4. Institutional (any age, <24 hrs care) | See comm | Not Req'd | See comm | 1/40 | 1/40 | Not Req'd | 1/150 |  |  | UnisexWC | MaleWC | MaleU | FemaleWC | UnisexL | MaleL | FemaleL | [5 empty] | UnisexWC | MaleWC | MaleU | FemaleWC | UnisexL | MaleL | FemaleL | [5 empty] | UnisexWC | MaleWC | MaleU | FemaleWC | UnisexL | MaleL | FemaleL
17 | M. Mercantile | See comm | See comm | See comm | See comm | See comm | Not Req'd | See comm |  | Ratio |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  | Ratio |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  | Ratio |  | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
18 | R-2. Residential (dormitory) | See comm | See comm | See comm | See comm | See comm | 1/8 | 1/150 |  | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Required | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | R-2. Residential (dormitory) employee use | See comm | Not Req'd | See comm | 1/40 | 1/40 | Not Req'd | Not Req'd |  | Corrected | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Corrected | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Corrected | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | R-2.1. (I-1) houses more than 16 persons on a 24 hr basis | 1/15 | Not Req'd | 1/15 | 1/15 | 1/15 | 1/8 | 1/150 |  | Space 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Space 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | Space 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | R-3. Residential (long term or permanent, 6-16 occupants) | See comm | Not Req'd | See comm | See comm | See comm | 1/8 | 1/150 | [5 empty] | 0 | [11 empty] | 0 | [11 empty] | 0
22 | R-4. Residential (residential care or assisted living) | See comm | Not Req'd | See comm | See comm | See comm | 1/8 | 1/150
23 | S-1, S-2. Storage or Warehouse | See comm | Not Req'd | See comm | See comm | See comm | Not Req'd | See comm
24
25 | [9 empty] | unisex-per unit/ cell/ room | 0 | 0 | 0
26 | [9 empty] | Total OL(all spaces combined) <=10 | 0
27 | [9 empty] | B or M OL <=50 (check fields) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | [9 empty] | Unisex | 0 | 0 | 0
29 | [9 empty] | B or M OL <=50 (check fields) | 1 only | 2 only | 3 only | 1+2 | 1+3 | 2+3 | 1+2+3
30
31
32 | [10 empty] | OL | M | M | F | Units | A/E <50
33 | [9 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0
[10 empty] | total | 0 | 0 | 0 | 0 | 0
Ftnt18 | DrF is not required for OL not more than 30 (CPC Sec. 415.2)**
Pr/Juv | [10 empty] | Water Closets |  |  |  | Lavatories |  |  | Bath/Shwr | Drink Fount | F WC adj
Ftnt3 | Number of F WC shall be not less than M WC + M Ur (see T 422.1 ftn. 3)** | [9 empty] | Unisex | Male | Male Ur | Female | Unisex | Male | Female
A/E<50 | M Ur may be omittd (See Footnote 3a)** | [8 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ftnt7F | [9 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OL <=10 | Occupant load does not exceed 10- Unisex facilities OK per CPC Sec. 422.2, Ex.2** | [8 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MB<=1500 | M or B OL does not exceed 50 - Unisex facilities OK per CPC Sec. 422.2, Ex.3** | [8 empty] | total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ur Sub | [8 empty] | Not used | Final | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
B/Sh | [13 empty] | 0
AHJ | [9 empty] | most restrictive Occupancy | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
From S
I3 B/S | Bathtub/Shower calculated assumed 1 peson/cell** All cells assumed at 1 floor/ 1 block** | [7 empty] | New
A/E<50 | Fixtures calculated assuming single occup. Toilet rm. provided for each sex (see ftn. 3b)** | [9 empty] | 0 |  |  |  | 0
DrFnt | Where food is consumed indoors, water stations may be substituted for DrF (Sec. 415.2)**
[11 empty] | 0 |  |  |  | 0
[11 empty] | 0 |  |  |  | 0
[11 empty] | 0 |  |  |  | 0
[10 empty] | min | 0 |  |  | min | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Combined text for comments | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1
2
3
tot
1
376
2019-12-21
2020-12-31
Expired Version- Contact ara@ara4help.com for help
Unauthorized Copy- Contact ara@ara4help.com for help
unisex
1/2 WC |  | mwc | mur | fwc | ml | fl | b/s | fount
0 |  | 99901 | 99902 | 99903 | 99904 | 99905 | 99906 | 99907
1
999
99901 | M WC per person: 1: 1-100, 2: 101-200, 3: 201-400, 1/500 for remainder over 400** | [7 empty] | A-1
99902 | M Ur per person: 1: 1-200, 2: 201-300, 3: 301-400, 4: 401-600, 1/300 for remainder over 600** | [7 empty] | A-1
99903 | F WC per person: 1: 1-25, 2: 26-50, 3: 51-100, 4: 101-200, 6: 201-300, 8: 301-400, 1/125 for remainder over 400** | [7 empty] | A-1
99904 | M Lav. per person: 1: 1-200, 2: 201-400, 3: 401-600, 4: 601-750, 1/250 for remainder over 750** | [7 empty] | A-1
99905 | F Lav. per person: 1: 1-100, 2: 101-200, 4: 201-300, 5: 301-500, 6: 501-750, 1/200 for remainder over 750** | [7 empty] | A-1
99906 | Add 1 Shower per 15 persons exposed to extensive heat or skin contamination with poisonous, infectious or irritating material** | [7 empty] | F
99907 | DrF per person: 1: 1-250, 2: 251-500, 3: 501-750, 1/500 for remainder over 750** | [7 empty] | A-1
99908 | M Lav. per person: 1: 1-200, 2: 201-400, 3: 401-750, 1/250 for remainder over 750** | [7 empty] | A-4
99909 | M/F WC per person: 1: 1-50, 2: 51-75, 3: 76-100, 1/40 for remainder over 100** | [7 empty] | F
99910 | M/F Lav. per person: 1: 1-50, 2: 51-75, 3: 76-100, 1/40 for remainder over 100** | [7 empty] | F
99911 | M WC per person: 1: 1-50, 2: 51-150, 3: 151-300, 4: 301-400, 1/250 for remainder over 400** | [7 empty] | A-2
99912 | M Ur per person: 1: 1-100, 2: 101-200, 3: 201-400, 4: 401-600, 1/300 for remainder over 600** | [7 empty] | A-3
99913 | M/F WC per person: 1: 1-15, 2: 16-35, 3: 36-55, 1/40 for remainder over 55** | [7 empty] | I-empl
99914 | M Lav. per person: 1: 1-150, 2: 151-200, 3: 201-400, 1/250 for remainder over 400** | [7 empty] | A-2
99915 | F Lav. per person: 1: 1-150, 2: 151-200, 3: 201-400, 1/200 for remainder over 400** | [7 empty] | A-2
99916 | DrF required 1 per cell block / floor- Assumed single floor** | [7 empty] | I-3
99917
99918 | F WC per person: 1: 1-25, 2: 26-50, 3: 51-100, 4: 101-200, 6: 201-300, 8: 301-400, 1/125 for remainder over 400** | [7 empty] | M
99919 | M Lav. per person: 1: 1-200, 2: 201-400, 1/500 for remainder over 400** | [7 empty] | M
99920 | F Lav. per person: 1: 1-100, 2: 101-200, 4: 201-300, 5: 301-500, 6: 501-750, 1/200 for remainder over 750** | [7 empty] | M
99921 | M WC per person: 1: 1-50, 2: 51-100, 3: 101-200, 4: 201-400, 1/500 for remainder over 400** | [7 empty] | B
99922 | M Ur per person: 1: 1-200, 2: 201-400, 1/500 for remainder over 400** | [7 empty] | M
99923 | F WC per person: 1: 1-15, 2: 16-30, 3: 31-50, 4: 51-100, 8: 101-200, 8: 201-400, 1/150for remainder over 400** | [7 empty] | B
99924 | M Lav. per person: 1: 1-75, 2: 76-150, 3: 151-200, 4: 201-300, 5: 301-400, 1/250 for remainder over 400** | [7 empty] | B
99925 | F Lav. per person: 1: 1-50, 2: 51-100, 3: 101-150, 4: 151-200, 5: 201-300, 6: 301-400, 1/200 for remainder over 400* | [7 empty] | B
99926 | M WC per person: 1: 1-10, 1/25 for remainder over 10** | [7 empty] | R-2
99927 | M Ur per person: 1: 1-25, 2: 26-50, 1/50 for remainder over 50** | [7 empty] | R-2
99928 | F WC per person: 1: 1-8, 1/20 for remainder over 8** | [7 empty] | R-2
99929 | M Lav. per person: 1: 1-12, 1/20 for remainder over 12** | [7 empty] | R-2
99930 | F Lav. per person: 1: 1-12, 1/15 for remainder over 12** | [7 empty] | R-2
99931 | [8 empty] | Same as 99901
99932 | F WC per person: 1: 1-100, 2: 101-200, 3: 201-400, 1/150 for remainder over 400** | [7 empty] | S
99933 | M/F Lav. per person: 1: 1-200, 2: 201-400, 3: 401-750, 1/500 for remainder over 750** | [7 empty] | S
99934 | **Not Used**
99935 | **Not Used**
End | *