## Electricity Usage Calculation
Household Power Usage Calculator
Average Household Power Usage (Observation) | [8 empty] | From Calculations below
Per Month | 900 | to | 1200 | [5 empty] | Average Usage per day |  | 0
Per Day | 29.589 | to | 39.4521 | [5 empty] | Average Usage per Month |  | 0
During Sunshine/ Solar period ± 6 Hrs. | 14.7945 | to | 19.726 |  |  | Maximum Peak Load of 6 Kw to 8 KW at a time |  |  | Electricity Unit Price |  | 2.1
During Night time/ Non Solar period ± 18 Hrs. | 14.7945 | to | 19.726 | [5 empty] | Average Cost per Month |  | 0
Please Note: All appliances color in RED are high Power Users. The more of these appliances are in use at the same time, the Higher the Peak Load required.
[5 empty] | Make Changes to any BLUE Text or in Columns below to suite Your Usage Requirements |  |  |  |  | Average Power Required
|  | Indicative | [7 empty] | 0 | 0
Type | Home Appliances | Minimum Watts | Average Watts | Maximum Watts | Appliance Watt Rating | Number Off Appliance | Hour Usage per Day/Event | No of days per week used | Hour Usage per Week | Power Required per Week | Average Power Required / Day
Lights | Energy Savers Globes / Lamps | 8 |  | 8 | 8 |  | 5 | 7 | 35 | 0 | 0
|  | 9 |  | 9 |  |  |  | 0 | 0 | 0 | 0
|  | 10 |  | 10 |  |  |  | 0 | 0 | 0 | 0
|  | 11 |  | 11 |  |  |  | 0 | 0 | 0 | 0
|  | 12 |  | 12 |  |  |  | 0 | 0 | 0 | 0
|  | 13 |  | 13 |  |  |  | 0 | 0 | 0 | 0
|  | 14 |  | 14 |  |  |  | 0 | 0 | 0 | 0
|  | 15 |  | 15 |  |  |  | 0 | 0 | 0 | 0
|  | 18 |  | 18 |  |  |  | 0 | 0 | 0 | 0
|  | 20 |  | 20 | 20 |  | 2 | 7 | 14 | 0 | 0
| LED Lights | 1 |  | 1 |  |  |  | 0 | 0 | 0 | 0
|  | 2 |  | 2 |  |  |  | 0 | 0 | 0 | 0
|  | 3 |  | 3 |  |  |  | 0 | 0 | 0 | 0
|  | 3.5 |  | 3.5 | 3.5 |  | 9 | 7 | 63 | 0 | 0
|  | 4 |  | 4 |  |  |  | 0 | 0 | 0 | 0
|  | 5 |  | 5 |  |  |  | 0 | 0 | 0 | 0
|  | 6 |  | 6 | 6 |  | 3 | 7 | 21 | 0 | 0
|  | 7 |  | 7 |  |  |  | 0 | 0 | 0 | 0
|  | 8 |  | 8 |  |  |  | 0 | 0 | 0 | 0
|  | 9 |  | 9 |  |  |  | 0 | 0 | 0 | 0
|  | 12 |  | 12 |  |  |  | 0 | 0 | 0 | 0
|  | 15 |  | 15 |  |  |  | 0 | 0 | 0 | 0
|  | 24 |  | 24 |  |  |  | 0 | 0 | 0 | 0
| Incandescent Globes / Lamps | 40 |  | 40 | 40 |  | 1 | 7 | 7 | 0 | 0
|  | 60 |  | 60 |  |  |  | 0 | 0 | 0 | 0
|  | 100 |  | 100 |  |  |  | 0 | 0 | 0 | 0
|  | 150 |  | 150 |  |  |  | 0 | 0 | 0 | 0
| Small Flood Light | 350 | 500 | 1000 |  |  |  | 0 | 0 | 0 | 0
| Standard Flood Light | 800 | 1000 | 1200 |  |  |  | 0 | 0 | 0 | 0
Study / Stationary | Modem | 8 | 12 | 15 |  |  |  | 0 | 0 | 0 | 0
| Network Switch, Router | 15 | 20 | 25 | 15 |  | 24 | 7 | 168 | 0 | 0
| Desktop Printer | 100 | 150 | 200 |  |  |  | 0 | 0 | 0 | 0
| Laser Printer | 300 | 600 | 1000 |  |  |  | 0 | 0 | 0 | 0
| Personal Computer | 150 | 200 | 250 | 200 |  | 6 | 7 | 42 | 0 | 0
| File Server | 350 | 500 | 650 |  |  |  | 0 | 0 | 0 | 0
Entertainment & General Household | 54 cm Television | 80 | 100 | 120 | 120 |  | 3 | 7 | 21 | 0 | 0
| 74 cm Television | 100 | 120 | 150 |  |  |  | 0 | 0 | 0 | 0
| 32" LCD Flat Screen Television | 80 | 100 | 120 |  |  |  | 0 | 0 | 0 | 0
| 42" LCD Flat Screen Television | 90 | 110 | 125 |  |  |  | 0 | 0 | 0 | 0
| 46" to 50" LCD Flat Screen Television | 100 | 120 | 150 | 300 |  | 8 | 7 | 56 | 0 | 0
| DSTV / M-Net Decoder | 15 | 20 | 30 | 20 |  | 24 | 7 | 168 | 0 | 0
| 46" LCD Flat Screen TV, DSTV Decoder, DVD Player |  |  | 150 | 150 |  | 18 | 7 | 126 | 0 | 0
| Hi-Fi Equipment | 100 | 150 | 200 |  |  |  | 0 | 0 | 0 | 0
| Radio | 20 | 30 | 50 | 20 |  | 12 | 7 | 84 | 0 | 0
| Electronic Sewing Machine | 50 | 70 | 100 |  |  |  | 0 | 0 | 0 | 0
| Electric Fence | 200 | 250 | 300 |  |  |  | 0 | 0 | 0 | 0
| Alarm System | 10 | 15 | 20 |  |  |  | 0 | 0 | 0 | 0
| CCTV system | 20 | 30 | 50 | 20 |  | 24 | 7 | 168 | 0 | 0
Heating, Cooling & Drying | Electric and Roof Fan | 50 | 60 | 80 | 60 |  | 6 | 7 | 42 | 0 | 0
| Air Conditioner | 2000 | 2500 | 3000 |  |  |  | 0 | 0 | 0 | 0
| 1 Bar heater | 800 | 1000 | 1000 |  |  |  | 0 | 0 | 0 | 0
| 2 Bar heater | 1600 | 2000 | 2000 |  |  |  | 0 | 0 | 0 | 0
| 3 Bar heater | 2400 | 3000 | 3000 |  |  |  | 0 | 0 | 0 | 0
| Electric Blanket | 40 | 50 | 70 |  |  |  | 0 | 0 | 0 | 0
| Hand Hair Dryer | 1200 | 1500 | 2000 | 1500 |  | 0.25 | 7 | 1.75 | 0 | 0
| Stand Hair Dryer | 1500 | 1800 | 2000 |  |  |  | 0 | 0 | 0 | 0
| Geyser | 2000 | 3000 | 3500 | 3000 |  | 1 | 7 | 7 | 0 | 0
| Heat Pump | 2000 | 2400 | 3000 |  |  |  | 0 | 0 | 0 | 0
Laundry | Washing Machine Top Load | 1000 | 1700 | 2500 | 2000 |  | 1 | 2 | 2 | 0 | 0
| Tumble Dryer | 2400 | 2800 | 3000 | 2800 |  | 0.5 | 2 | 1 | 0 | 0
| Vacuum Cleaner | 1000 | 1500 | 2000 | 1500 |  | 0.5 | 2 | 1 | 0 | 0
| Iron | 1600 | 2000 | 2200 | 2000 |  | 2 | 1 | 2 | 0 | 0
Kitchen & Cleaning | Stove | 2000 | 2500 | 3000 | 2000 |  | 1 | 7 | 7 | 0 | 0
| Oven | 1500 | 2000 | 2500 | 2000 |  | 1 | 2 | 2 | 0 | 0
| Microwave oven | 600 | 800 | 1300 | 1000 |  | 0.5 | 7 | 3.5 | 0 | 0
| Small Hotplate on high | 1000 | 1500 | 2000 |  |  |  | 0 | 0 | 0 | 0
| Small Hotplate on low | 300 | 400 | 500 |  |  |  | 0 | 0 | 0 | 0
| Large Hotplate on high | 1500 | 2000 | 2200 |  |  |  | 0 | 0 | 0 | 0
| Large Hotplate on low | 400 | 500 | 600 |  |  |  | 0 | 0 | 0 | 0
| Two door Fridge and Deep Freezer | 75 | 90 | 125 | 125 |  | 24 | 7 | 168 | 0 | 0
| Standard Fridge | 80 | 100 | 150 | 80 |  | 24 | 7 | 168 | 0 | 0
| Standard Deep Freezer | 100 | 120 | 150 | 100 |  | 24 | 7 | 168 | 0 | 0
| Slow Cooker | 120 | 150 | 250 |  |  |  | 0 | 0 | 0 | 0
| Express Coffee Machine | 1000 | 1200 | 1400 |  |  |  | 0 | 0 | 0 | 0
| Electric Frying Pan | 1200 | 1500 | 2000 |  |  |  | 0 | 0 | 0 | 0
| Kettle | 1500 | 1800 | 2500 | 1800 |  | 0.5 | 7 | 3.5 | 0 | 0
| Dish Washer | 2000 | 2300 | 2500 | 2300 |  | 2 | 4 | 8 | 0 | 0
Outside, Garage & General | Welding machine | 2400 | 2800 | 3000 |  |  |  | 0 | 0 | 0 | 0
| Lawn Mover | 2000 | 2300 | 2600 | 2600 |  | 2 | 1 | 2 | 0 | 0
| Swimming Pool Pump | 750 | 1100 | 1200 | 750 |  | 6 | 7 | 42 | 0 | 0
| Weed eater | 600 | 1000 | 1500 | 1000 |  | 0.25 | 7 | 1.75 | 0 | 0
| Air Blower | 400 | 600 | 1000 | 600 |  | 0.25 | 7 | 1.75 | 0 | 0
| Power Drill | 350 | 600 | 900 |  |  |  | 0 | 0 | 0 | 0
Miscellaneous or Not Above | [7 empty] | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0
Note on C54: Johannes C Vorster: Self Measured
Note on C82: Johannes C Vorster: Self measured