Circular Drive

Oil

Shop Area

L

P

Tank

Power

Box

506

505

504

503

502

Fuel

Tanks

Driveway

Electrical

Building

518

PKG Chemicals

Electrical

Panel

Trough

Junge

Mixer

Junge

Mixer

Mini Bulk Chemicals

519

1483

Driveway

AC

Office

Water

Bulk Chemical Dike

Fertilizer Dike

508

515

501

514

507

Loading Pad

Overhead Tanks

511

510

509

513

512

Hwy 130

TIPTON PLANT LAYOUT

Air

Compressors

Oil

Metholine

Anti-Freeze

Mixer

TIPTON PRODUCT LOCATION

Tank #		Product		Circumference		   Gallons/inch		Weight

501			3-10-30		25,000 Gal (12’x30’0		70.49				12.64

502			10-32-0/2		25,000 Gal (12’x30’)		70.49				11.75

503			28% or 32%		30,000 Gal (12’x35)		70.49		      10.64 or 11.04

504			28% or 32%		30,000 Gal (12’x35)		70.06		      10.64 or 11.04

505			28% or 32%		30,000 Gal (12’x35)		70.49		      10.64 or 11.04

506		12-0-0-26 or 11.08-0-0-24	25,000 Gal (12’x30’)		70.49		       11.04 or 10.77

507			Zinc 15%		2,600 Gal Poly Tank						10.78

508						3,000 Gal Poly Tank

509	143”		Instinct NXTGEN	2,400 Gal		(16.66Gal/inch) (33 Gal in cone)		9.639

510	119”		Keystone NXT	2,000 Gal		(16.66Gal/inch) (33 Gal in cone)		9.268

Or	Harness Xtra 5.6L										9.274

511	143”		Atrazine 4L		2,400	Gal		(16.66Gal/inch) (33 Gal in cone)		9.2

512	144”		Roundup Powermax 3	2,575 Gal		(17.62 Gal/inch) (37.33 Gal in cone)	           11.5167

513	48.5”		Resicore REV	1,000 Gal		(H/48.5) x 1,000				9.1215

514			Poly-Plex		1,500 Gal								11.04

515						1,500 Gal

518			Taurus Sulfur	1,500 Gal								10.4

519			Clay			2,600 Gal								9.63

Note: inches X gallons per inch X weight = lbs / 2000 = tons				Rev. 01/16/2026