Call 911 first!

Emergency Phone Numbers

Tipton Liqui-Grow

Fire

Tipton Fire Department ………….………….. 911





           or (563) 886-6187
Medical

Tipton Ambulance …………….……………...911





           or (563) 886-6187
U of I Poison Control Center …….(800) 222-1222

Law Enforcement

Cedar County Sheriff’s Department .……….... 911






  or (563) 886-2121
 





Option #4
Rescue

Tipton Fire Department & Ambulance ……..... 911






  or (563) 886-6187
Electric Power Company

Eastern Iowa Light & Power/REC…(563) 732-2211
Gas Company

Price Oil…………….………….. …(563) 785-4404
Emergency Coordinator:

Will Burke... ……Manager….…...(563) 320-1359
Alternate EC:

Kevin Timmerman.……….………(563) 357-0902
Emergency Recall Roster

Will Burke………………………….(563) 320-1359
Kevin Timmerman...……..….……..(563) 357-0902
Carmen Fields..…………………….(563) 357-1112
Notification

Iowa Dept. of Natural Resources.…..(515) 281-8694

NRC (National Response Center)…(800) 424-8802

Hospital

University Of Iowa Hospital ……….(319) 356-1616

Local Health Clinic

Iowa Health Physicians Tipton….…..(563) 886-2182

Towing Service

Clark Towing (Jesse & Ann Clark…………… …...…(563) 949-7702
Excavating Service

JJJ Enterprises……………………….(563) 941-7740
Weaver’s Inc………………………...(563) 886-6556 

Chalupa Excavating………..………..(563) 263-6871
  
Kohl Enterprises………….…..……..(978) 375-9318
EPA ………………. Call Hov or Scottie in Davenport to let them report the 

     information.





Davenport office

(563) 359-3624




R. Hovey Tinsman, III
(563) 359-3624 or (563) 320-1201




Scott Tinsman, Jr.
(563)359-3624 or (563) 320-4897

In the event that there is an emergency involving personnel (injury, death, etc.), fire or a vehicular accident the following people need to be notified immediately:

1. 911  (if services are needed)

2. Local law enforcement

3. Outlet manager or outlet personnel

4. Davenport Office

You will also need to fill out the Emergency Incident Diary, documenting everything that led up to the accident and what is currently taking place.  Make sure you note whom you have spoken with and actions taken.

In Case of Emergency

1. Evacuate building through the nearest exit.

2. Remain calm, do not run.

3. Once safely outside, report to the headcount area.  This area, fire extinguishers, emergency exits and routes are highlighted on floor plans posted throughout the facility.

4. Telephone numbers are posted at each telephone:

Fill out incident diary report as you make each call, listing time, date and whom you spoke with.

1) call Fire Department/Ambulance, 2) call Davenport office, 3) call  National Response Center, 4) call State Spill Center

5. Key employees and responsibilities:

a. Utilities (shut down or secure)

Will Burke


(primary)

Kevin Timmerman
(secondary)

b. Headcount supervisor

Will Burke
    

(primary)

Kevin Timmerman

(secondary)

Carmen Fields


(alternate)

c. Fire / First Aid (only if trained)

 Emergency Action Plan



   Emergency Personnel Duties / Assignments

Emergency Coordinator


Will Burke


(primary)







Kevin Timmerman

(alternate)


Duties:



Coordinate pre-planning activities with fire department and rescue personnel.



Maintain control of all facility accident scenes until fire chief arrives.



Update emergency action plan whenever changes are made.



Train employees on their duties under the emergency action plan.



These duties will specifically involve making sure that all employees know



where the emergency action plan is located, keeping the personal data sheets up 



to date and telling everyone the areas where we will be holding headcount in case

 of an emergency at our facility.

Supply Officer



Will Burke


(primary)







Carmen Fields

(alternate)


Duties:

Maintain supply of manpower, materials and equipment needed to control   potential accidents.  These duties will specifically involve keeping track of our supplies for first aid and emergency use and giving the list to Cheyenne Bush so she can order the supplies, or we can order the necessary supplies ourselves.

Safety Officer



Will Burke


(primary)








Kevin Timmerman

(alternate)








Carmen Fields 

(alternate)



Duties:




Inform law enforcement and emergency personnel on specific operations hazards.  




These duties will specifically involve sending the fire and police departments 




copies of our map to our office and also the map showing where everyone will 




gather in case of an emergency.


Media Officer



R. Hov Tinsman III

(primary)








Scott Tinsman Jr.


(alternate)



Duties:




Handle all media contacts for the company during emergency situations.




Any and all media contacts should be handled by the Tinsmans.

Facility Contacts and Phone

                   Numbers

         Business Name:  Tipton Liqui-Grow
            Street Address:  1483 Hwy 130
                                             City/State:  Tipton, Iowa
County:  Cedar  Township:  Fairfield  Section : 33
                     Facility Manager: Will Burke
             Business Phone Number: (563) 886-3200
                Cell Phone number: (563) 320-1359

       Assistant Manager: Kevin Timmerman

   Business Phone Number: (563) 886-3200

      Cell Phone Number: (563) 357-0902
              Emergency Coordinator: Will Burke
     Alternate Emergency Coordinator: Kevin Timmerman
	Emergency Service Agency
	Day Phone #
	Night Phone #

	Fire Dept: Tipton Fire Dept.
	911
	911

	Police/Sheriff Dept.:
	911
	911

	Highway Patrol/State Police:
	(800) 525-5555
	(800) 525-5555

	Ambulance/Paramedics:
	911
	911

	Physician: Iowa Health Physicians
	(563) 886-2182
	(563) 886-2182

	Hospital: University of Iowa
	(319) 356-1616
	(319) 356-1616

	Poison Control Center: U of I Hospital
	(800) 222-1222
	(800) 222-1222

	National Response Center

24-Hour Emergency Response #:
	(800) 424-8802
	(800) 424-8802

	Other: Twin State Inc. (Main Office)
	(800) 397-8946
	Scottie’s cell# - (563) 320-1204

Hov’s cell# - (563) 320-1201

	Other: Iowa DNR Hotline
	(515) 281-7017
	24 Hour Line


Emergency Action Plan for Tipton, IA

This emergency action plan will be in force to ensure employee safety for the entire plant.

Fire Department 

911


Davenport Office 

1-563-359-3624

Ambulance


911


DNR



1-515-281-8694








National Response

1-800-424-8802








Center

In case of emergency: 1) call Fire Department; 2) call Davenport office; 3) call National Response Center; 4) call State Spill Center.

1. Alarm System:

The alarm system is an air horn from the office.  A series of two short blasts followed by a five second interval, followed by another series of two short blasts is the signal for a fire emergency and will activate this emergency action plan.  Our gathering location is SW corner of the property, front drive. Customer parking lot, up wind. 

A series of four short blasts of the air horn followed by a five second interval, followed by another series of four short blasts is the signal for a tornado emergency and will likewise activate this emergency action plan.  Our gathering location is either the bathroom or the road ditch across the road.

Training for this plan is the responsibility of the location manager.  A sufficient number of persons should be further trained to assist in the evacuation plan.

2. Emergency Routes are as follows:

A. Office Area—proceed out front door to the gathering place.  If the office area is involved in an emergency, proceed out back door to gathering place.

B. Mixing area—proceed out west side door to gathering place.

C. Shop area—proceed out east front shop door, or west side door, to gathering place. All exits are marked
Gathering place:

Southwest corner of the property, front drive. Customer parking lot, up wind.
Emergency Procedures for the Emergency Coordinator

1. Call for help.  Ensure appropriate emergency responders have been summoned – fire, ambulance, and police.  Do this first, as minutes can make a difference in the effectiveness of emergency responders.

2. Call Davenport office.  Notify the main office of the type of emergency – fire, explosion, spills, and injury.

3. Account for everyone.  Ensure all employees and other persons on site are accounted for by checking the rendezvous point(s) and taking a head count.

Record what time you took head count and if someone leaves record time they left and where they went.  

4. Secure the area.  Ensure unauthorized employees, curious onlookers, the press, and others do not enter areas and interfere with emergency efforts.  Direct designated personnel to monitor access points, blockade drives and entrances without gates.  Ensure entrances needed by outside responders are accessible.

It may be necessary to get help form some of these utility companies during this phase:

Electricity:  Eastern Iowa Light & Power/REC...…………………..(563) 732-2211
Gas:  Price Oil………….………….....……………………………..(563) 785-4404
5. Mobilize facility response.  Coordinate and control facility efforts at mitigating the emergency by implementing procedures which facility personnel have been trained and prepared to perform.  Do not attempt to perform activities for which employees have not been trained.  Proper training and preparation will allow employee responders to begin this mitigation while the EC is accounting for persons and securing the site.

6. Coordinate outside response.  When outside responders arrive, be prepared to provide them any information or assistance they may need to address the emergency.  If prior coordination with your fire department and medical responders has been done, they will be aware of much of this information and facility personnel will be familiar with the assistance the fire department and other outside responders may be able to render.  They may need such information as:

a. Personal information on injured employees – existing medical conditions such as diabetes, epilepsy, allergies to drugs;

b. Locations of hazardous chemicals or materials which may be different from that reported since your last meeting with them or their receipt of you Emergency Action Plan handbook.

c. Persons not accounted for and their possible injuries.

d. Hazardous or dangerous activities being performed when the emergency started, which might help them focus on their response activities.

Small fire departments, or volunteer departments may need persons to assist or may need to use equipment available at the facility.  Have persons ready to assist if needed and know where facility equipment is located.

7. Notify appropriate government agencies.

Employee Safety:  The OSHA agency with jurisdiction over your workplace, whether federal or state, requires that they be notified within 8 hours if any employee is killed in a work-related incident.  In addition, OSHA wants to know about multiple hospitalizations, usually requiring treatment, within the same 8-hour period.    Also, OSHA requires a written report (OSHA form 301) on ANY accident sent to them immediately following the incident.

OSHA (Iowa state office) …………………………..(515) 281-3661








  or  (800) 562-4692 



      24-hours, after hours and weekends  (515) 281-5668

Environmental:  When any threat to the environment is part of an emergency situation, such as a chemical spill, the federal and state agencies require they be notified.  Some of these time limits for notification are very short!

Local Emergency Planning Committee (LEPC):

State ERC:

Iowa Dept. of Natural Resources …………………. (515) 281-8694

State DNR ………………………………………… (515) 281-8694

National Response Center ………………………. (800) 424-8802



      Emergency Spill Responders (HAZWOPER):



     Haz-Mat Response, Inc. ……………………………(800) 229-5252

8.  Incident diary.  As soon as outside responders have taken charge of the situation, all personnel are accounted for or taken care of, and the excitement has abated somewhat, go back through and write down an incident diary with any information about what has taken place.  This document will provide the necessary information to investigate the cause and handling of the emergency.  It will also provide documentation should liability questions later arise.

Additional Emergency Preparations and Assignments

Procedure for accounting for each employee at rendezvous point:


Proceed to the rendezvous point for your work area.  Stay there until the Emergency Coordinator or other designated employee has noted your presence and has given you additional instructions.


       Critical Operations Shutdown:




Will Burke has written procedures for emergency shut down of this facility.


       Medical and Rescue Duties:




Those employees designated as first aid providers and/or emergency 




rescuers will be expected to perform the following medical and rescue 




duties: 

· Basic first aid

· CPR (cardiopulmonary resuscitation) (Use 911 Rule)
· No on-site rescue team.  Outside rescue service only

First aid kit locations:

· Break Room (North West Corner Of Main Building)
· Shop
Seasons / Work Hours:


Normal Operations –January through December



Workdays:  Monday through Friday



Shift hours: 7:30am to 4:00pm




Number of full-time employees: 8
SDS (Safety Data Sheets) Locations and Contact Persons for SDS Retrieval:

Area:  Front Office


Location of SDS file: In the front office


For access contact Will Burke or Carmen Fields
Emergency Response to Extremely Hazardous Release

Fire Dept.

911





Ambulance

911

Davenport office





(563) 359-3624

Dept. of Envir. Quality




(319) 653-2135   or   (319) 281-8694

Emergency Response Center



(800) 424-8802

State Spill Center-Iowa Disaster Service

(515) 281-3231

Iowa DNR    





(515) 281-8694


The governing LEPC, Fire and Health Care Response, Law Enforcement Response, State DNR and internal corporate notification must all be notified within 2 hours of an emergency such that proper damage control, community and property protection and security can be affected.  It will be important that the following steps be taken in the order listed.

1. Personnel Safety-it is very important that all personnel associated in the vicinity of the emergency be evacuated to a safe distance so as not to be affected.  To make this a minimal risk factor, it is important that personnel operate on a two-person team buddy system in such areas as tank entry, processing, and any activity that is considered potentially hazardous.

    2.  Damage Control-This means limiting the expansion of affected land and buildings

         with the use of sandbags, excavation equipment and other tools deemed necessary to 

         contain a hazardous material release.


3.  Immediate Notification of the Applicable Services
A. Call Fire department

B. Call Ambulance if any injury

C. Call LEPC – Local Emergency Protection Commission (County)

D. Call State DNR

E. Call State Spill Center

F. Call Davenport Corporate Office

a. To include R. Hovey Tinsman, III or if not available another corporate officer

b. Chris Stubbe
G. Contain Spill; if can be done safely while wearing personal protective equipment

H. Wait for instructions from Fire department

Procedure for Determining if notification is required

Comprehensive Environmental Response, Compensation and Liability Act (CERCLA) requires any person in charge of a facility to notify the National Response Center immediately (within 15 minutes) when he has knowledge of any release from that facility of a hazardous substance in a quantity equal to or greater than “reportable quantities” listed by EPA.

There are six situations in which a release does not trigger notification under CERCLA.

1. Any release that only exposes persons in a work place, this includes a release in a totally enclosed building which doesn’t leave the building.

2. Emissions from engine exhaust.

3. Release of source, by product or special nuclear material from a nuclear incident.

4. The normal application of fertilizers and pesticides.

5. Release under a federal permit.

6. Continuous releases if they are stable in rate and quantity.

Gathering Place:


If spill is in or around the plant the gathering place will be at the Southwest side of the building, customer parking lot.

Spill / Leak:


Persons not wearing protective equipment and clothing should be restricted from areas of spills leaks until cleanup has been completed.  

Precautions and Protective Equipment:

Where a very minor leak occurs, employees are provided with clothing, gloves and full face mask with canister.


Where there is a possibility of exposure to an employee body to liquid exposure, facilities for quick drenching of the body is provided inside the restroom south of the mixer.


Employees are provided with and required to use splash proof safety goggles.

First Aid:

Eyes:
If liquid or high concentrations of chemicals get into eyes, wash eyes immediately with large amounts of water.  Use eye wash fountain located in shop by NW overhead door by chemical storage. Get medical attention immediately.

Skin:
If liquid or high concentrations of chemicals get on the shin, flush with water.  Remove clothing if necessary and flush skin with water.  If irritation or burns are present after washing, get medical attention.

Breathing:
Move the exposed person to fresh air at once.  If breathing has stopped, perform CPR.  Keep affected person warm and at rest.  Get medical attention immediately.

Fertilizer Only Spill Procedures

Local Responsibility:  Will Burke is responsible for enacting spill procedures if such an occurrence takes place on the property of Tipton.  Will’s phone number is 563-320-1359.

Notification:  Notification of a spill must be made to all of the following personnel.

Office

Will Burke – Outlet Manager

563-886-3200
or
563-320-1359
Iowa DNR




515-281-8694





R. Hovey Tinsman, III


800-397-8946
or
563-320-1201
IA Dept. of Envir. Quality

319-653-2135
or
515-281-8694

Tipton Fire Dept.


     
911


or
563-886-6187
What constitutes a spill?

50 gal. Of non-toxic material outside of diked area or 1 quart of toxic material outside containment area.

All bulk material stored on the property at Tipton is located within diked storage.  If material is spilled within the diked area and is returned to storage within 2 hours with no difficulty, notification must be made only to Scott Tinsman Jr.

If a spill occurs where recovery is not possible within the 2 hours, all personnel listed above must be notified.

If any material is spilled due to a ruptured pipe, ruptured hose, vehicle damage, or any other manner, where material is spilled outside protected areas that include diked areas then all of the above people must be notified within 2 hours and preferably as soon as possible.

A.
Fertilizer Only-if 50 gals. or more of fertilizer is spilled outside of diked areas and recovery is not possible, this notification must be made immediately:

1. To outlet manager or other outlet personnel

2. To local fire department by local retail personnel

3. To R. Hovey Tinsman, III at (800) 397-8946 or (563) 320-1201
4. To state DNR giving:

a. Name of notifier

b. Location of spill

c. What is spilled and amounts

d. How contained

e. What is the plan of action for recovery and reclamation

f. Who to contact person is on scene

They will assign a spill number to you.  All of this information is to be sent to the Davenport office immediately.

5.
Calls for equipment and services that may be needed:

     a.  Location of utilities before digging.  (Stress that this is an emergency).



This is required for any excavation under the new regulations

b. Back hoes, dump trucks, and similar equipment.

c. Cranes, wreckers and equipment to handle, damaged trucks, applicators or tanks.

d. Equipment for land spreading.

5. Have a spill kit on a pallet to avoid lost time.  Some supplies to include:

a. High top rubber boots

b. Shovels

c. Extra gloves-goggles and tyvek suits

d. Sandbags

e. Absorbent material

f. Buckets and barrels



Location of spill kit: ______Shop area_____

If necessary all notification will be made by the Davenport office, to relieve retail outlet to begin cleanup efforts at once.  Retail manager or his appointed representative will proceed to spill area, with needed PPE and supplies for containment and clean up, to observe and assist all operations keeping Davenport appraised of the situation and progress of clean up, etc.

Areas of high risk and procedures to be followed:

1. If a dike leaks whereby the contents of a storage tank is not being contained, sandbags should be used to restrict loss of material and the problem of contaminating surrounding areas.

2. If a pipe or hose ruptures outside of the protected area, close all valves on both sides of the break, sandbag the perimeter of the area contaminated to restrict spreading of the material, hose area with water and recover pooled water with auxiliary pump and hose.  The contaminated should be returned to the inside of the cement-diked area where material can then be returned to an empty tank or utilized as fertilizer base material.

If other types of spills occur notify the Davenport office immediately for confirming protection procedures.

Spill Procedure for Fertilizer and Chemical or Chemicals Alone

When spill occurs of 50 gals. Of fertilizer and chemicals mixed or 1 quart of chemicals alone, notification must be made immediately:

6. To outlet manager or other outlet personnel

7. To local fire department by local retail personnel

8. To R. Hovey Tinsman, III. at (800) 397-8946 or (563) 320-1201
9. To state DNR Hotline giving:

a. County

b. Township

c. Section

d. Chemicals and amounts involved

e. Where spill is—field, road, near stream, etc.

f. Procedure to be used to contain and clean up

They will assign a spill number to you.  All of this information is to be sent to the Davenport office immediately.

Spill should be contained if it can be done safely while wearing PPE.  For example close a valve or upright a jug.  

5.
Calls for equipment and services that may be needed:

     a.  Location of utilities before digging.  (Stress that this an emergency).



This is required for any excavation under the new regulations

e. Back hoes, dump trucks, and similar equipment.

f. Cranes, wreckers and equipment to handle, damaged trucks, applicators or tanks.

g. Equipment for land spreading.

10. Have a spill kit on a pallet to avoid lost time.  Some supplies to include:

a. High top rubber boots

b. Shovels

c. Extra gloves-goggles and tyvek suits

d. Sandbags

e. Absorbent material

f. Buckets and barrels



Location of spill kit: ____Shop______

11. If at all possible, contact R. Hovey Tinsman, III and then contact the National Response Center at (800) 424-8802 within 15 minutes if the reportable quantity is spilled, results in death or injury, or a road is blocked: giving:

a. Name of notifier

b. Date, time and location of incident

c. Name and quantity of hazardous materials involved

d. Type of incident and whether danger to life exists at the scene

Twin State management and material should be on site until cleanup is done and   DNR people are updated and okay with the process.

Written report must be prepared by the Davenport office and forwarded to State DNR when corrective action has been completed.

Communication Requirement for the transport of any hazardous material or environmentally sensitive material between point of storage and point of delivery.

1.
Semi equipment must have ability to phone both the shipper and the receiver as to any difficulty encountered for delay, equipment failure or security difficulty as soon as possible.

2.
At all retail locations, nurse equipment and applicators must have communication ability with both the shipper and recover should they encounter any difficulty for delay, equipment failure or security difficulty.  This is particularly important should an accident cause a spill as damage control must be initiated immediately and any personnel injury immediately addressed.

Emergency Procedures – Chemical Fires
Fire in a Chemical Storage Area

No one may enter the fire zone, even if someone is injured, unless the following are available:

1. At least 2 people trained on SCBA use and battling chemical fires; and

2. At least 2 SCBA’s (self-contained breathing apparatuses) with fire protective gear, such as structural firefighter’s protective clothing.

Propane 

Fire and explosion hazards:

· Contents of container under pressure

· Extremely flammable; may be ignited by heat, sparks, or flames.

· Vapors heavier than air.

· Vapors may travel to a source of ignition and flash back.

· Container may explode in heat of fire.

· Vapor explosion hazard indoors, outdoors or in sewers.

Small fires: Dry chemical, foam or CO2 (Class B) extinguisher.

Large Fires: Water spray or fog.

Petroleum Fires other than Propane

Fire and explosion hazards:

· Flammable/combustible material; may be ignited by heat, sparks or flames.
· Vapors may travel to a source of ignition and flash back.
· Containers may explode in heat of fire.
· Vapor explosion hazard indoors, outdoors or in sewers.
· Runoff to sewer may create fire or explosion hazard.
Small fires: Dry chemical, CO2, Halon, water spray, or standard foam (for Petroleum Ether or Petroleum Spirit, use alcohol foam).

Large fires: Water spray, fog, or standard foam (for Petroleum Ether or Petroleum Spirit, use alcohol foam).

Gasoline

Fire and explosion: Dry chemical, chemical foam. CO2, (Class B extinguisher), water spray.

Diesel Fuel, Heating Fuel, Kerosene

Fire and explosion: Dry chemical, chemical foam, CO2 (Class B extinguisher), water spray.

Lubricating Oil

Fire and explosion: Dry chemical, chemical foam, CO2, (Class B extinguisher).  Cool containers with water spray.

Mineral Spirits and Solvents

Fire and explosion: Dry chemical, chemical foam, CO2, (Class B extinguisher), water spray.

 Antifreeze and Summer Coolant

Fire and explosion: Dry chemical, chemical foam, CO2, (Class B extinguisher).

Automatic Transmission Fluid

Fire and explosion: Dry chemical, chemical foam, CO2, (Class B Extinguisher).  Cool containers with water spray.

Windshield Wash Fluid:

Fire and explosion: Dry chemical or CO2, for small fires; alcohol or polymer foam for large fires.

Battery Acid

Fire and explosion: Dry chemical, chemical foam, CO2, (Class B extinguisher).

Emergency Response to Plant and Personnel Emergencies





Tell the dispatcher:


Name of facility: Tipton Liqui-Grow


                                  Tipton, Iowa


Location of facility: 1483 Hwy 130


Facility’s phone number:


   (563) 886-3200 or cell # (563) 320-1359


					   


Your name


Type of emergency, general location


Extent of emergency:


in control / out of control


any explosions?


Area evacuation may / will not be needed.


Any injuries?


How many people


How badly:


Conscious or unconscious?


Not breathing?


Bleeding?


Delirious?


-     Trapped, or other complication


Any known special needs –


   equipment, respirators, oxygen, litters,


   etc.





After phoning, in case of evacuation report to the rendezvous point: 


Plant fire- report to the Southwest side customer parking lot up wind side





Additional Numbers





Emergency Numbers








