[image: image1.emf] 
Village of Camillus 
Stormwater Management Program Plan

January 1, 2025

[image: image3.png]


                                            [image: image2.png]Gentral)
INEWAYOTK

SLOLMWALET,
Goaltion





This page intentionally left blank.

Table of Contents

2Introduction


5Impaired waters


9Minimum Control Measure 2. Public Involvement and Participation.


18Minimum Control Measure 4. Construction Site Runoff Control.


23Minimum Control Measure 5. Post-Construction Stormwater Management.


26Minimum Control Measure 6. Pollution Prevention and Good Housekeeping of Municipal Operations.



Appendices
A. SPDES General Permit for Stormwater Discharges from Small MS4s (GP-0-10-002)

B. MS4 SWMP Effectiveness Evaluation 

C. Signed Memorandum of Agreement – CNY Stormwater Coalition

D. Map of Syracuse Urbanized Area

E. CNY Stormwater Coalition Staff Services and Education Compliance Assistance Proposal and Signed Resolution to Participate
F. Signed Intermunicipal Agreement with Onondaga County for Outfall Inspection and Stormwater Complaint Hotline Services

G. Annual Stormwater Complaint Summaries
H. MS4 Stormwater Inquiry Response Documents

I. Village of Camillus Stormwater Outfall Map

J. Village of Camillus Storm Sewershed Map

K. Illicit Discharge Detection and Elimination Local Law

L. Illicit Discharge Detection and Elimination Annual Summaries
M. Stormwater Pollution Prevention Plan Review Tracking Forms (Completed)
N. MS4 Construction Site Inspection Annual Reporting Summaries
O. MS4 Construction Site Violation Enforcement Procedures
P. Construction Inspection Training Documentation (Sign-in sheets and/or Certificates)

Q. SPDES General Permit for Stormwater Discharges from Construction Activity (GP-0-10-001)

R. Stormwater Runoff Control Local Law

S. Watershed Treatment Model Results and Interpretation

T. MS4 Post-Construction Stormwater Practice Inspection and Maintenance Summaries
U. Self-Assessment of Municipal Operations for Stormwater Pollution Prevention and Good Housekeeping

V. Pollution Prevention Policies, Procedures, and Management Practices

W. Municipal Pollution Prevention and Good Housekeeping Staff Training Documentation (Sign-in sheets and/or Certificates)

X. Third-party SWMP Compliance Contract Language

Y. OCSWCD Critical Area Seeding and Stabilization Records

Z. MS4 Municipal Public Works Annual Stormwater Pollution Prevention Reporting Summary

Introduction
The Village of Camillus Stormwater Management Program (SWMP) Plan is developed and implemented to comply with Part IV.A. of the New York State Department of Environmental Conservation General Permit for Stormwater Discharges from Municipal Separate Storm Sewer Systems, GP-0-10-002 or its successor (Appendix A).  In response to the 1987 Amendments to the Clean Water Act (CWA), the U.S. Environmental Protection Agency (EPA) developed Phases I and II of the National Pollutant Discharge Elimination System (NPDES) Storm Water Program. 

The Phase II Final Rule, published in the Federal Register on December 8, 1999, expanded the stormwater permit program to include stormwater discharges from certain regulated small Municipal Separate Storm Sewer Systems (MS4s). The New York State Department of Environmental Conservation (NYS DEC) is responsible for administering the program in New York State as part of the State Pollutant Discharge Elimination System (SPDES) program. 

The SPDES General Permit for Stormwater Discharges from Small MS4s was promulgated by NYSDEC in 2002 and required regulated MS4s (those with a minimum population density of 1000 people per square mile and located in urban areas with a population of 50,000 or more as defined by the U.S. Census Bureau) to develop and fully implement a Stormwater Management Program (SWMP) Plan by 2008.  Going forward from 2008, the SWMP Plan must be re-assessed on an annual basis and updated as needed to improve its effectiveness, monitor progress, and account for any changes in the regulations and guidance provided by NYSDEC.  A blank form for completing the evaluation, as well as the Village of Camillus’s annual evaluation of the previous year’s SWMP is attached as Appendix B.
The Syracuse Urbanized Area (SUA), which includes portions of Onondaga, Oswego and Madison Counties, meets the population threshold and density criteria regulated under Phase II of the Stormwater Program.  The SUA contains 31 municipalities required to maintain coverage under the SPDES MS4 stormwater permit and comply with requirements of the permit. Please see Appendix D for a map of the SUA. Many of these municipalities are working together as the CNY Stormwater Coalition.  
The template upon which this SWMP is based was reviewed, approved, and adopted by the 
CNY Stormwater Coalition.  It includes information regarding programs that are delivered by program partners on behalf of Village of Camillus and includes information regarding Village of Camillus’s own individual compliance program.

Phase II of the Federal Stormwater Final Rule identifies six program elements designed to reduce the discharge of pollutants to the maximum extent practicable (MEP). The program elements, known as Minimum Control Measures (MCMs), include:

1. Public Education and Outreach

2. Public Involvement and Participation

3. Illicit Discharge Detection and Elimination

4. Construction Site Runoff Control

5. Post-Construction Stormwater Management

6. Pollution Prevention and Good Housekeeping of Municipal Operations

Stormwater Pollutants of Concern and Their Sources

Stormwater runoff from impervious and developed surfaces carries large amounts of various pollutants to the surface waters of the United States. Among these pollutants are nutrients, silt and sediment, pathogens, oil/grease, metals, and floatables (debris and litter). Phosphorus, sediment, and pathogens are of particularly high concern to the water bodies in the Syracuse Urbanized Area (SUA).

Phosphorus (and other nutrients)

Phosphorus is the primary nutrient of concern locally because it is the limiting nutrient in the majority of local waters.  High phosphorus levels lead to excess weed and algae growth in lakes and streams.  This growth clogs waterways and blocks sunlight.  When algae die, they sink to the bottom and decompose in a process that removes oxygen from the water. Most fish and other aquatic life are unable to survive in water containing low dissolved oxygen levels. Sources of nutrients include fertilizer, human and animal waste, and detergents.  Leaves, grass clippings, and other plant materials that fall or are deposited on urban land also carry nutrients that are released during decomposition.
Silt and sediment

Silt and sediment is carried by stormwater into water bodies as a result of soil erosion from construction sites, lawns, agriculture, and gardening or landscaping activities.  Heavy deposits of silt in sensitive areas such as wetlands and stream and lake bottoms can damage habitat needed by aquatic insects and plants. Turbidity (cloudiness) created by suspended sediment blocks sunlight needed by aquatic plants to grow.  Sediment also can carry toxic chemicals that deplete oxygen in water bodies and can clog drinking water intake pipes. 

Pathogens (bacteria, viruses)

Bacteria, viruses and other microorganisms include infectious agents and disease producing organisms normally associated with human and animal (both pet and wildlife) wastes, leakage from sewers and seepage from septic tanks. These organisms can cause disease in humans and animals when present in drinking water and water bodies. Because pathogens can harm aquatic and human health, their presence can render lakes and streams unsafe for drinking, swimming, fishing, and other forms of water recreation.  Biological contaminants originate from organic matter, animal waste and litter.  They may enter the stormwater drainage system through illicit discharges and cross-connections or sanitary and combined sewer overflows.
Metals (e.g. arsenic, lead, mercury, copper, cadmium, zinc)

Metals in water can be toxic to aquatic life, humans and animals. Metals generally originate from vehicle exhaust, weathered paint, metal plating, tires, discarded auto parts, and motor oil.

Heavy metals have the ability to bioaccumulate, meaning that they become more concentrated and toxic the higher in the food chain they progress.   
Thermal stress (sunlight)
Direct exposure of urban streams to sunlight (such as in areas where shade is lacking) may elevate stream temperatures.  These temperatures can exceed fish tolerance limits, reducing survival and lowering resistance to disease. Thermal energy also originates from street, parking lot and roof surfaces that have been heated by sunlight.  This energy is conveyed through the drainage system to streams by surface flow during storm events, resulting in similar stress to aquatic life.
Floatables (litter)

Floating litter and trash in water may be contaminated with toxic chemicals and bacteria, and can cause death to aquatic animals and birds. Obviously, aesthetics of the water are also negatively impacted.  Floatables are generally the result of careless handling or littering.  
Oxygen demanding organics  

Natural or synthetic organic materials (including human and animal waste, decaying plants and animals, discarded litter, and food waste) can enter surface waters either dissolved or suspended in stormwater runoff.  Natural decomposition of the material can deplete dissolved oxygen supplies in the waters. When dissolved oxygen is reduced below a critical threshold level, fish and other aquatic organisms can perish.

Chlorides

Large quantities of deicing or anti-skid compounds are applied by municipalities and transportation departments during the winter months; commonly these substances consist of chloride salts (although sand may also be used).  These chemicals are washed into storm drains and streams during snowmelt; they are toxic in large quantities and can contaminate drinking water.

Other toxic substances

Toxic substances may enter surface waters either dissolved in runoff or attached to sediment or organic materials. The principal concerns in surface water are their entry into the food chain, toxic effect on fish, wildlife and microorganisms, habitat degradation, and potential degradation of public water supplies.  Oil and grease in storm drains can be toxic even in small amounts; they can generally be traced to automotive leaks and spills or improper disposal of used oil and automotive products into storm drains. Residential sources of toxic substances include vehicle fluids (oil, gasoline and antifreeze), paint, pesticides, solvents, batteries, hazardous wastes, street litter, soap from car washing, and swimming pool discharges. Activities of commercial businesses may generate soap from equipment washing, waste process water and hazardous liquids that are either directly discharged to the storm sewer system or enter via surface runoff. Toxic substances can also originate from construction sites and may include wash water from concrete mixers, used oil and solvents, and vehicle fuels and pesticides.

Adjacent MS4s
The following MS4s are adjacent to the Village of Camillus:

	MS4 Name

	Town of Camillus

	Town of Geddes

	Town of Onondaga

	Village of Solvay

	

	

	


Impaired waters 
Several bodies of water in the SUA are considered impaired and are included in a list of impaired waters known as the 303(d) list.  This indicates that they are unable to meet the uses designated by their Water Quality Classifications, whether these uses include drinking water (Class A), primary contact recreation (Class B), or secondary contact recreation (Class C).  Sources of impairment to water quality include specific Pollutants of Concern.  MS4s should assign particular priority to these pollutants in their individual stormwater programs, although all of the pollutants mentioned above generally warrant attention.  

Also, the watershed of Onondaga Lake is subject to what is known as a Total Maximum Daily Load (TMDL) for phosphorus.  A TMDL allocates the maximum quantities of a given pollutant that can be discharged from specific sources to the drainage and stream system of the watershed as well as directly to the lake itself.  19 MS4s in the SUA are entirely or partially located in the Onondaga Lake watershed and therefore subject to the requirements.

The following are Pollutants of Concern that the Village of Camillus has identified as priorities in our area and the bodies of water to which they pertain (check all that apply) (refer to Table 1 on page 3 of the SWMP Regulatory Background and Instruction Document for more details):

	
	POC
	Affected waters

	
	Sediment
	

	X
	Pathogens
	Onondaga Lake TMDL

	X
	Phosphorus
	Onondaga Lake TMDL

	
	Nitrogen (nitrates)
	

	
	Nitrogen (ammonia)
	

	
	Heavy metals
	

	
	Hydrocarbons/ petroleum products
	

	
	Trash/floatables
	

	
	Thermal pollution
	

	
	Other_______________________________________
	


VILLAGE OF CAMILLUS
STORMWATER MANAGEMENT ORGANIZATIONAL CHART

PROGRAM COORDINATION

Effective program management is essential to guide Stormwater Management Plan (SWMP) development, implementation, administration, and continued assessment. The Village has a management process that facilitates coordination between its departments, between co- permittees, and between the permittee and other organizations and agencies interested in stormwater quality.

 






Minimum Control Measure 1.  Public Education and Outreach.

The Public Education and Outreach Minimum Control Measure involves planning and conducting an ongoing education and outreach program to inform the public of the impacts of stormwater discharges on water bodies, Pollutants of Concern and their sources, and behaviors that can be adopted to reduce the discharge of pollutants to the stormwater drainage system.

The Village of Camillus, as a member of the CNY Stormwater Coalition will contract with the Central New York Regional Planning and Development Board (CNY RPDB) to conduct an annual CNY Stormwater Coalition Education Compliance Assistance Program that informs the above-mentioned target audiences about stormwater issues. Methods include the following:
· distribution of printed materials through various venues;
· articles and inserts published in the Post-Standard newspaper;

· maintenance of a stormwater website and library; 
· distribution of a newsletter to inform contractors and developers of important current issues pertaining to the stormwater permits;

· use of a stormwater display at public events; and 
· trainings of municipal officials and staff.

A copy of the program proposal for the current reporting year and the resolution to participate signed by Village of Camillus are included as Appendix E.  

The Village of Camillus website http://www.villageofCamillus-ny.gov will include links for the general public to stormwater program information on the CNY RPDB’s stormwater website http://www.cnyrpdb.org/stormwater/ as well as other informative sites such as those provided by:

NYSDEC www.dec.ny.gov/chemical/8468.html
EPA http://cfpub.epa.gov/npdes/stormwater/swbasicinfo.cfm
Onondaga County www.savetherain.us
Target audiences

The Village of Camillus considers the following audiences to be of prime importance to reach in order for the education and outreach program to result in water resources protection and improvement (MS4 may refer to the SWMP Instruction Document for more guidance if needed):

 X  General public (including educational and commercial entities)
 X  Construction industry (code enforcement)
 X  Municipal staff (planning)

 X  Municipal staff (highway/parks)

 X  Municipal staff (code enforcement)

     Other
MCM 1 Measurable Goals
Village of Camillus is assessing the success of Minimum Control Measure 1 of its SWMP through the following Measurable Goals:
Number of visitors to stormwater program website                                     
Goal: 
Track annually and evaluate trends     
Current:
10
                  

Number of newsletters sent to the general public concerning stormwater pollution issues                                                  Goal:
           
Current:

                             
Number of days in which newspaper articles or inserts educating the public about stormwater were run
Goal:
1           
Current: 
 1
                             
Number of individual printed materials (brochures, flyers, posters) distributed                                                  Goal:
50                 
Current: 
28                            
Number of mailing lists for stormwater program information
Goal:

Current: 
                          
Number of individuals on stormwater program mailing lists

Goal:

Current: 
                           
Number of public events at which booths were staffed educating target audiences

Goal:
1
Current: 
 1                           
Number of locations containing kiosks or other displays educating target audiences about stormwater
Goal:

Current: 
                         
Number of attendees at school programs pertaining to stormwater

Goal:

Current: 

Other:

Goal:

Current: 


Minimum Control Measure 2.  Public Involvement and Participation.

The Public Involvement and Participation Minimum Control Measure involves designing and conducting a public involvement/participation program that identifies key individuals and groups who are interested in or affected by the stormwater permitting program; the type of input the MS4 will seek from them and how it will be used; and activities the MS4 will undertake to provide program access and gather needed input. 

The following activities under Minimum Control Measure 2 will be completed by the Village of Camillus independently or in cooperation with the CNYSC and/or its partner agencies:
· Document all compliance activities conducted directly by staff and provide necessary documentation to CNY RPDB for inclusion in a joint annual report to be submitted to NYS DEC on behalf of the CNYSC;

· Sign a memorandum of agreement with Onondaga County Water Environment Protection (OCWEP) regarding operation of a public stormwater hotline to receive reports of suspected illicit discharges to the stormwater draining system (Copy of MOA attached as Appendix F)(leave Appendix blank or omit if not applicable);
· Promote and participate in the Onondaga County Resource Recovery Agency recycling and household hazardous waste collection programs.

· Establish a formal system for receiving, coordinating and resolving stormwater specific complaints from the public. 
The Village of Camillus has identified and is working with the following key groups and individuals to seek out input and assistance concerning the implementation of its stormwater management program:

Name: Onondaga County Water Environment Protection
Contact Info: (315) 435-5402
Input/Assistance Sought: IDDE
The Village of Camillus has identified the following point of contact for public concerns regarding stormwater management and compliance issues and has published this information on the Village of Camillus website at http://www.villageofcamillus-ny.gov and municipally generated outreach materials:

Name: Bill Reagan
Title/Position: Code Official
Telephone: (315) 672-3484
E-Mail: codes@villageofcamillus-ny.gov
The Village of Camillus will announce availability of the draft annual report on its website at http://www.villageofcamillus-ny.gov, in its municipal newsletter and in the newspaper of record The Post Standard. 

The Village of Camillus will post its annual report for public review and comment on its website at http://www.villageofcamillus-ny.gov. Copies of the report will also be available for public review at the Village of Camillus municipal building & office.  Members of the public may request an open public meeting to ask questions or comment on the draft report by submitting a request to the Village of Camillus Clerk at least 2 weeks prior to a scheduled municipal Board meeting before May 31 of each year.
The Village of Camillus will develop a summary of all public comments received and intended responses, and will submit the response to CNY RPDB for inclusion in the final annual report submitted to NYS DEC.  The response document will also be available in the Municipal Clerk’s office and posted on the municipal website http://www.villageofcamillus-ny.gov along with a link to the full final report to be posted on the CNY RPDB stormwater website at http://www.cnyrpdb.org.  Forms for documenting public comments, and completed summaries of public comments, are attached as Appendix G and the response document is attached as Appendix H.
The Village of Camillus will conduct or sponsor the following types of activities to promote public awareness, involvement, and active participation in stormwater pollution prevention:
Earth Day Cleanup: Volunteers will collect trash from streets and ditches                                                                                                                                                         

Committees or Advisory Councils:  The Onondaga Lake Watershed Partnership (OLWP) operates as a neutral clearinghouse for lake and watershed dialogue and decisions. OLWP works to gather and facilitate input by stakeholders. The Nine Mile Creek Conservation Council is a non-profit organization concerned with protecting the Nine Mile Creek watershed, which includes the Village.  Project Watershed, sponsored by the Izaac Walton League, conducts training and stream monitoring throughout Central New York.

Vegetation Plantings: 












MCM 2 Measurable Goals
Village of Camillus is assessing the success of Minimum Control Measure 2 of its SWMP through the following Measurable Goals:
Number of comments received on annual report and SWMP Plan
Goal:
Track annually and evaluate trends 
Current:
0
Number of complaints or inquiries, or hotline calls, received regarding the stormwater management program
Goal:
Track annually and evaluate trends      
Current:
0
Number of positive resolutions or outcomes attained as a result of complaints
Goal:
Track annually and evaluate trends      
Current:
0
Number of plantings, number of volunteers
Goal:                        
Current: 
Number or percentage of storm drains stenciled, number of volunteers
Goal:                        
Current: 
Number of stakeholder organizations involved in, or providing input to, the stormwater program
Goal:                        
Current: 
Number of citizens participating in watershed organizations or otherwise providing input to the stormwater program
Goal:                        
Current: 
Number of household hazardous waste cleanup events offered
Goal:                        
Current: 
Quantity of waste collected or number of participants in household hazardous waste cleanups
Goal:
Track annually and evaluate trends      
Current:
0
Number of other organized public water quality improvement activities
Goal:             1           
Current: 
1  
Number of citizens participating in organized water quality improvement activities
Goal: 
Involve students        
Current: 125 students 6 adults
Other:  
Minimum Control Measure 3.  Illicit Discharge Detection and Elimination.

The Illicit Discharge Detection and Elimination aspect of the MS4 stormwater program is focused on identifying and removing non-stormwater flows from the stormwater system in situations in which they contribute to stormwater pollution.
Permit requirements addressed by this SWMP include: 
· Adoption and implementation of a local law prohibiting illicit discharges to the MS4;

· Mapping and characterization of stormwater outfalls;

· Mapping of storm sewersheds;

· Identification of probable sources of illicit discharges in the community to target;

· Outfall reconnaissance to identify dry-weather flows and other evidence of illicit discharges;

· Tracking of illicit discharges through the drainage system to determine their source;

· Elimination of discharges, including illegal dumping and illicit connections to the drainage system, through voluntary compliance or enforcement action;

· Outreach to municipal employees and the public about the hazards of illicit discharges.

The following activities under Minimum Control Measure 3 will be completed by the Village of Camillus independently or in cooperation with the CNYSC and/or its partner agencies:

· Village of Camillus will coordinate with CNY RPDB to maintain a stormwater outfall mapping database for the entire SUA that is periodically updated to reflect new information uncovered during OCWEP’s outfall inspection program, Village of Camillus’s inspection program or other sources. 
· Village of Camillus will maintain a cooperative agreement with Onondaga County through which OCWEP implements a stormwater outfall inspection program, fulfilling the requirement to inspect all outfalls at least once every 5 years for dry-weather flows (Appendix F).  Village of Camillus also has the option to contract as needed with OCWEP for track down of suspected illicit discharges in an attempt to determine their source, so that they can be readily eliminated.

· Village of Camillus as a member of the CNY Stormwater Coalition, will contract with the Central New York Regional Planning and Development Board (CNY RPDB) to provide outreach materials concerning illicit discharges as part of an annual CNY Stormwater Coalition Education Compliance Assistance Program (Appendix E).
· Village of Camillus will review outfall mapping, sewershed mapping, and outfall inspection data completed or compiled by CNY RPDB/OCWEP for quality control.
· Village of Camillus will provide information to OCWEP (where applicable) regarding new outfalls for addition to maps and for incorporation into the County’s outfall inspection program.  A copy of the current outfall map is included as Appendix I.
· The storm sewershed mapping database will be maintained by Onondaga County Department of Water Environment Protection utilizing GIS accompanied where necessary by field investigations, including areas extending outside of the urbanized area (to facilitate trackdown of illicit discharges).  A hard copy map of sewersheds is included in Appendix J (Alternatively, MS4 may reference location of digital or hard copy files).  
· Procedures must be implemented for targeting types of illicit discharges believed to be most common or likely in the MS4 in question.  Based on guidance provided in the document “Illicit Discharge Detection and Elimination:  A Guidance Manual for Program Development and Technical Assessments” (EPA 2004), the Village of Camillus has determined that the following sources are most likely to contribute illicit discharges to the stormwater drainage system within municipal boundaries:
· Building maintenance

· Commercial car washes

· Commercial Laundromats or dry cleaners

· Construction vehicle washouts

· Cross-connections (sanitary or septic)

· Improper RV waste disposal

· Landscaping (irrigation)

· Outdoor fluid storage

· Parking lot maintenance

· Restaurants

· Swimming pools

· Vehicle fueling

· Vehicle repair and maintenance shops

· Other                         
· Village of Camillus has determined that the following types of discharges are not substantial contributors of pollutants to the stormwater drainage system:

· Water line flushing

· Landscape irrigation

· Diverted stream flows

· Uncontaminated ground water infiltration (as defined at 40 CFR 35.2005(20))

· Uncontaminated ground water

· Rising ground waters

· Discharges from potable water sources

· Foundation drains

· Air conditioning condensate

· Irrigation water

· Springs

· Water from crawl space and basement sump pumps

· Footing drains

· Lawn and landscape watering runoff (only if fertilization and/or pesticide application done properly)
· Water from individual residential car washing

· Flows from riparian habitats and wetlands
· Any SPDES permitted discharge

· Dechlorinated swimming pool discharges

· Residual street wash water

· Discharges or flows from firefighting activities




· Dechlorinated water reservoir discharges
· The following staff are responsible for working with Onondaga County to track down sources of illicit discharges: Village Code Official, Superintendent of Public Works
· The following staff are responsible for achieving voluntary compliance and/or enforcement actions to eliminate identified discharges: Village Code Official
· A process to identify and track illicit discharges to their source has been has been developed and will be implemented. The document “Illicit Discharge Detection and Elimination:  A Guidance Manual for Program Development and Technical Assessments” (EPA 2004) will be used as guidance for completing this process.
· The local law prohibiting illicit discharges to the separate storm sewer system adopted in 2004 and readopted on November 27, 2007 will continue to be enforced by the Village of Camillus Code Enforcement Officer. A copy of the local law is included as Appendix K.
· Enforcement actions as specified in the local law will be documented and a summary form denoting the status of outfalls with suspected and confirmed illicit discharges and the progress made toward eliminating them will be maintained (the blank form and completed summary documentation are included as Appendix L).  This information is maintained in a database located at the village offices.
MCM 3 Measurable Goals
Village of Camillus is assessing the success of Minimum Control Measure 3 of its SWMP through the following Measurable Goals:
Number of new stormwater outfalls mapped (annual)
Goal: 
100%             
Current: 
100%  
                             

Percent completion of storm sewershed mapping
Goal:  
100%             
Current: 
100%  
                             

Percent completion of storm sewer system mapping
Goal:
100%            
Current:
100% 
                             

Number of outfalls inspected and percentage of total (Note: 20% is minimum annual) Number of outfalls in municipality:
Goal: 
100%             
Current: 
100% 
                             

Number of outfalls with suspected illicit discharges (annual)
Goal: 
Track annually and evaluate trends      
Current:
0 

Number of outfalls with confirmed illicit discharges (annual)
Goal: 
Track annually and evaluate trends      
Current:
0 

Number of illicit discharges tracked to source (annual)
Goal: 
100%         
Current:
100%                             

Number of high-risk discharges prioritized (annual)
Goal: 
100%         
Current:
100% 

Number of illicit discharges eliminated (annual)
Goal:
100%           
Current:
100%                             

Number of enforcement actions issued for illicit discharges and resulting rate of compliance (annual)
Goal: 
100%      
Current:
100%
Percent of staff in relevant positions that have received IDDE training
Goal: 
4      
Current: 
2
Number of regular maintenance and inspection reminders issued to septic tank owners
Goal: 
3      
Current: 
3
Number of illegal dumps reported by citizens (annual)
Goal:
Track annually and evaluate trends   
 Current: 
 0
Number of illegal dump cleanups completed
Goal:
Track annually and evaluate trends     
Current:
0
Number of illegal dumping violators apprehended
Goal: 
Track annually and evaluate trends
Current:
0
Number of suspected illicit discharges reported by citizens (annual)
Goal: 
Track annually and evaluate trends     
Current:
0
Number of sanitary sewer overflows identified or reported
Goal: 
Track annually and evaluate trends     
Current:
0
Number of sanitary sewer overflow causes identified
Goal:
100%        
Current: 
100%
Number of inflow infiltration issues and/or gallons of I/I to sanitary system eliminated
Goal:
100%           
Current:
100%
Number and percentage of sanitary sewer overflows eliminated
Goal: 
100%           
Current:
100%
Other:                                                                                                                                                                                                                                                       

Minimum Control Measure 4.  Construction Site Runoff Control.
The focus of the Village of Camillus’s Construction Site Runoff Control component of the stormwater program is to reduce the discharge of pollutants from active construction sites disturbing one acre or more of land surface, including disturbances of less than one acre that are part of a larger common plan of development or sale. 
Permit requirements addressed by this SWMP include:

· A local law requiring that a SWPPP be prepared and implemented for any earth-disturbance activity of one acre or more, in compliance with NYS Standards and Specifications for Erosion and Sediment Control and the general construction permit SPDES GP-0-15-002;

· Procedures for SWPPP review to ensure compliance with permit requirements and design standards, and considering potential water quality impacts;

· Opportunity for public comment on SWPPPs;

· Performance of site inspections to ensure proper implementation of SWPPPs, and maintenance and repair of best management practices as needed;

· Ensuring adequate training for those performing SWPPP reviews and site inspections;

· Ensuring that land contractors performing work in the Village of Camillus have received the required erosion and sediment control training.

The following activities under Minimum Control Measure 4 will be completed by the Village of Camillus independently or in cooperation with the CNYSC and/or its partner agencies:

· As a partner of the CNYSC, the Onondaga County Soil and Water Conservation District (OCSWCD) regularly conducts 4-hour Contractor Certification Trainings that are endorsed by NYSDEC to fulfill the contractor erosion and sediment control training requirement.  Village of Camillus will cooperate with OCSWCD in this effort.  OCSWCD is authorized by NYSDEC to distribute the 3-year term certification cards indicating that an individual has satisfied this requirement.  OCSWCD’s program reaches contractors that work throughout the SUA. Courses are held annually at the Syracuse Builders Exchange.
List the date and location of the most recent training(s) by OCSWCD:
	Location
	Date

	Available upon request
	

	
	

	
	


· SWPPP technical reviews are will be completed by the following (indicate whether the listed individual(s) is/are a CPESC/P.E./RLA or works under the supervision of a qualified professional familiar with NYS erosion and sediment control requirements) (Note affiliation of reviewers and whether they are consultants or municipal staff.  If necessary, indicate their specific role in review.)
	Name of Reviewer
	Qualifications
	Role and/or Affiliation

	William Morse
	CPESC
	Village Engineer

	
	
	

	
	
	


· The Village of Camillus provides notice and opportunity for public comment on all SWPPPs through the public hearing phase in the subdivision, site plan review, [and/or] special permit process, where the SWPPP is developed and reviewed simultaneously with other aspects of the project design.

· All SWPPPs must be in compliance with the 2005 NY Standards and Specifications for Erosion and Sediment Control and 2015 Stormwater Design Manual or current version.  The progress of each individual SWPPP through review and approval by the Planning Board, Engineer, and Chief Elected Official will be documented; this documentation is included as Appendix M along with a blank form to be used for this purpose.  As required, the Village of Camillus will complete the NYSDEC SWPPP Acceptance Form for each accepted SWPPP. The form will be endorsed by the Chief Elected Official, Mayor Patricia Butler Rhoads. The original will be given to the applicant to file with his or her Notice of Intent to NYSDEC, while a copy will be maintained on file in the village offices. 
· Village of Camillus will use a system for tracking and inspection of active construction sites.  Village of Camillus will maintain a database of this information that is regularly updated as conditions change. This database is located in the village offices, and annual summaries of construction inspections are provided in Appendix N along with forms to be used for inspections of individual sites and for compiling all inspection data.  Sites will be inspected at key points during the course of construction, including the following:
· immediately before work begins;

· after installation of perimeter sediment control practices; 
· at completion of clearing; 
· after rough grading; 
· after final grading; 
· at the close of the construction season;

· at final stabilization;

· on a site-specific basis as a follow-up to violations to ensure corrected.
· Village of Camillus Code Enforcement Officials will check onsite to ensure that construction site operators have 4-hour erosion and sediment control training certification while they are performing work requiring erosion and sediment control.  If at least one individual representing a given contractor/company is unable to produce a certification card indicating that he/she has received the required training, the company will be asked to stop work and leave the site until the requirement is fulfilled.
· Village of Camillus Code Enforcement Officials will conduct final site inspections when developers or site owners are seeking to close out their general permit coverage, which is done through filing of a Notice of Termination (NOT).  In order to file the NOT, all portions of the site not consisting of buildings or hardscapes must be stabilized with 80 percent density turf or other appropriate vegetation or landscaping.  All permanent stormwater management practices and green infrastructure features must be in place and functioning as intended.  At the recommendation of the inspecting Code Enforcement Official, the chief elected official of Village of Camillus, then will sign off on the NOT so that it can be submitted by the project owner to NYSDEC.  A copy of each completed NOT will be maintained on file in the village offices.
· Village of Camillus will follow a series of escalating actions for sites that are in violation.  The process is described in Appendix O.  (General guidance concerning this item is available in the SWMP Instruction Document.)
· The following individuals have received, or will receive training on technical elements and proper procedures to conduct site inspections and review of owner/operator inspections in order to determine compliance with the stormwater permit requirements: Bill Reagan, Code Official
· Training is obtained through the following programs: CNY RPDB, SWCD, NYSDEC, NYSBOC 

For officials that have already been trained, copies of training sign-in logs and certificates related to this requirement are included as Appendix P.

· Village of Camillus will ensure that all municipal projects are designed and constructed in accordance with SPDES GP-0-15-002.  A copy of GP-0-15-002 is included as Appendix Q for reference.
· A local law requiring compliance with GP-0-15-002 and the NY Standards and Specifications for Erosion and Sediment Control for all construction sites 1 acre or greater in land disturbance was adopted in 2007 and readopted on November 26, 2007 will continue to be enforced by the Village of Camillus.  A copy of the local law, with relevant sections of Subdivision, Zoning, and Site Plan Review codes, is included as Appendix R.
MCM 4 Measurable Goals
Village of Camillus is assessing the success of Minimum Control Measure 4 of its SWMP through the following Measurable Goals (Mandatory goals are listed in bold. Check all of the following suggested goals that apply and/or add additional goals, and specify benchmark or milestone target and current progress information):

Number of SWPPPs reviewed for erosion and sediment control compliance (annual) (Permit requirement is 100%)
Goal:

Current:
100%
Number of construction projects of greater than one acre disturbance authorized
Goal:
Track annually and evaluate trends      
Current:
0
Number of construction projects of greater than one acre disturbance active (annual)
Track annually and evaluate trends
Goal:

Current:
0
Number of construction sites inspected for erosion and sediment control compliance
Goal:
100%            
Current: 
100%
Number of construction sites inspected for erosion and sediment control compliance more than once 
Goal:
100%            
Current:

100%
Number/percentage of inadequate or noncompliant SWPPPs submitted (annual)
Goal:
Track annually and evaluate trends      
Current:
0
Number of non-compliant ESC practices identified (annual) Goal:
Goal:
0                 
Current: 
0
Number of non-compliant ESC practices repaired or maintained (annual)
Goal:
100%                
Current:
na
Number/percentage of inadequate construction sites identified (annual) 
Goal:
0                
Current: 
0
Number of Notices of Violation issued 
Goal: 
Track annually and evaluate trends      
Current:
0
Number of Stop Work Orders issued 
Goal: 
Track annually and evaluate trends      
Current:
0
Number of criminal actions taken 
Goal:
Track annually and evaluate trends      
Current:
0
Number of contracts terminated 
Goal: 
Track annually and evaluate trends      
Current:
0
Number of administrative fines issued 
Goal: 
Track annually and evaluate trends      
Current:
0
Number of civil penalties issued 
Goal:
Track annually and evaluate trends      
Current:
0
Number of administrative orders issued 
Goal:
Track annually and evaluate trends      
Current:
0
Total number of enforcement actions or sanctions taken for non-compliance (annual)
Goal: 
Track annually and evaluate trends      
Current:
0
Number of non-compliance issues resolved 
Goal: 
Track annually and evaluate trends      
Current:
0
Percent compliance for total of all construction site inspections (annual)
Goal:
100%              
Current:
100%
Number of trained SWPPP reviewers
Goal:
2           
Current: 
2
Number of trained construction site inspectors
Goal:
 2           
Current: 
2
Number or percentage of construction firms or contractors with current 4-hour training certification

Goal:
100%            
Current: 
Other:

Minimum Control Measure 5.  Post-Construction Stormwater Management.
The Village of Camillus’s Post-Construction Stormwater Management program addresses control of stormwater quality, volume, and peak flow after construction is completed in both new and existing developments. 
Permit requirements addressed by this SWMP include:

· A local law requiring that a SWPPP be prepared and implemented for any earth-disturbance activity of one acre or more, in compliance with NYS Stormwater Management Design Manual and the general construction permit SPDES GP-0-10-001;

· Procedures for SWPPP review to ensure compliance with permit requirements and design standards, and considering potential water quality impacts;

· Opportunity for public comment on SWPPPs;

· Performance of site inspections to ensure proper implementation of SWPPPs, and maintenance and repair of best management practices as needed;

· Ensuring adequate training for those performing SWPPP reviews and site inspections;

· Completion of an inventory of all post-construction stormwater management practices (public and private) under the municipality’s jurisdiction,

· Ensuring that post-construction stormwater management practices are inspected by qualified individuals and maintained to ensure proper function.
The following activities under Minimum Control Measure 5 will be completed by the Village of Camillus independently or in cooperation with the CNYSC and/or its partner agencies:

Village of Camillus must demonstrate No Net Increase in Pollutants of Concern to the following designated 303(d)-listed water bodies as applicable for the pollutants noted (refer to Table 2 on page 13 of the SWMP Regulatory Background and Instruction Document):

	Onondaga Lake
	

	
	

	
	

	
	


Initial modeling was completed using a NYSDEC- supported model of pollutant loading known as the Watershed Treatment Model in cooperation with CNY RPDB.  This assessment was completed for the entire area of the Village of Camillus that discharges to the water bodies listed above For ongoing development it was determined in conjunction with the DEC that there would be No Net Increase in phosphorus as long as new developments met the requirements in the Stormwater Design Manual for Runoff Reduction Volume and Enhanced Phosphorus Removal (Chapter 10).  Documentation of WTM results and No Net Increase interpretation are included in Appendix S.
A Total Maximum Daily Load (TMDL) for phosphorus is in place for Onondaga Lake watershed.  The TMDL specifies that a reduction of 18 percent in phosphorus load is required from urban stormwater discharges from MS4s. The Village of Camillus will work in cooperation with the CNYSC to more closely define a method for complying with this requirement.  A Watershed Improvement Strategy (WIS) will be developed by June 2015 in accordance with GP-0-10-002.  Options that are likely to be evaluated in development of the WIS include reductions in phosphorus load that will occur as a result of the new NYS Phosphorus Fertilizer Law, and possibly stormwater retrofit activities with a focus on the use of green infrastructure.  A watershed planning process including identified stakeholders will be utilized to help guide the development of the WIS.
· Village of Camillus follows the SWPPP review process detailed under MCM 4 on page 17.  All SWPPPs are required to be in compliance with the 2015 version of the NYS Stormwater Management Design Manual.  For projects located within the watershed of Onondaga Lake, Village of Camillus will require that designs abide by the Enhanced Phosphorus Removal Standards contained within the 2015 Stormwater Management Design Manual.
· A local law requiring compliance with GP-0-15-002 and the NYS Stormwater Management Design Manual for all construction sites 1 acre or greater in land disturbance was adopted in 2007 and will continue to be enforced by the Village of Camillus.  A copy of the local law is included as Appendix Q. 
· The Village of Camillus will inspect post-construction stormwater management practices and permanent green infrastructure features while they are under construction as part of the inspections described for MCM 4, to ensure that they are installed in accordance with the SWPPP and will function as intended after construction is complete.  These inspections are documented in Appendix N. The inspection of permanent stormwater management practices during construction is part of the process for construction inspection described under MCM 4 (refer to page 17).
· Village of Camillus conducts a post-construction stormwater management inspection and maintenance program and tracks inspections, identify maintenance or repair needs, and document completion of needed work   Village of Camillus maintains a database of this information that is regularly updated as conditions change. Annual summaries of the condition and inspection and maintenance records for all post-construction stormwater management practices are included in Appendix T along with a blank form that may be used for this purpose. The database containing detailed data is maintained by the Village Code Enforcement Officer using a software tracking program.  
MCM 5 Measurable Goals
Village of Camillus is assessing the success of Minimum Control Measure 5 of its SWMP through the following Measurable Goals (Mandatory goals are listed in bold. Check all of the following that apply and/or add additional goals, and specify benchmark or milestone target and current progress information):
Number of SWPPPs reviewed for post-construction stormwater management (PCSWM) compliance (Permit requirement is 100%)
Goal:
100%               
Current: 
100%
Number of construction sites inspected for PCSWM compliance
Goal:
100% active sites     
Current:
100%
Number of construction sites inspected for PCSWM compliance more than once
Goal:
100% active sites    
Current: 
100%

Number/percentage of inadequate or noncompliant SWPPPs submitted
Goal:
Track annually and evaluate trends      
Current:
0
Number of non-compliant PCSWM practices under construction identified
Goal:
Track annually and evaluate trends      
Current:
0
Number of non-compliant PCSWM practices under construction repaired or maintained
Goal:
100%             
Current:
100%
Number of enforcement actions taken for PCSWM non-compliance and number of issues resolved
Goal:
100%             
Current: 
100%
Number of trained SWPPP reviewers
Goal:
2          
Current:
2
Number of trained construction site inspectors
Goal:
2          
Current: 
2
Number of existing post-construction stormwater management practices inspected and percentage of total
Goal:
1    100%      
Current:
 1   100%
Number of existing post-construction stormwater management practices with maintenance or repair needs identified, percentage of total (annual)
Goal: 
Track annually and evaluate trends      
Current:
0
Number of existing post-construction stormwater management practices maintained or repaired
Goal:
100%          
Current: 
(1) 100%
Number of new stormwater management or green infrastructure practices installed as a result of watershed planning or banking and credit programs
Goal: 
Track annually and evaluate trends      
Current:
0
Percentage of municipal staff responsible for program implementation that attended training on Green Infrastructure principles, Low Impact Development, and/or Better Site Design 
Goal:
 100%           
Current: 
50%
Other:


Minimum Control Measure 6.  Pollution Prevention and Good Housekeeping of Municipal Operations.
Municipal facilities and operations contain and produce many potential sources of pollutants to the stormwater drainage system.  MCM 6 focuses on development and implementation of Best Management Practices to eliminate or minimize this pollution.

Permit requirements addressed by this SWMP include:

· An inventory and self-assessment of all municipal operations, facilities, and equipment to ensure implementation of best management practices that prevent stormwater pollution, completed at least once every three years;

· Establishment and implementation of policies and procedures for operations that have the potential to contribute to stormwater pollution;

· Implementation of best management practices to reduce and eliminate the discharge of pollutants from municipal operations and facilities to the MS4;

· Proper training of municipal employees in all aspects of the Pollution Prevention and Good Housekeeping program;

· Policies to ensure that all third-party contractors comply with established Pollution Prevention and Good Housekeeping procedures and practices;

· Preparation and utilization of Stormwater Pollution Prevention Plans for facilities and operations covered under the MS4 General Permit that would otherwise be subject to the Multi-Sector General Permit (SPDES GP-0-12-001).

The following activities under Minimum Control Measure 6 will be completed by the Village of Camillus independently or in cooperation with the CNYSC and/or its partner agencies:

· Village of Camillus completes a self-assessment of stormwater pollution prevention municipal operations at least once every three years. The most recent self-assessment is attached in Appendix U.
· Appendix V contains a listing of policies, procedures, and management practices pertaining to the following areas of Village of Camillus operations (include all that are applicable):

· Street and Bridge Maintenance

· Winter Road Maintenance

· Stormwater System Maintenance

· Vehicle and Fleet Maintenance

· Parks and Open Space Maintenance

· Municipal Building Maintenance

· Solid Waste Management

· New Construction and Land Disturbances

· Right-Of-Way Maintenance

· Village of Camillus implements a municipal staff training program.  Documentation of program activities is provided in Appendix W, including materials, presentations, and sign-in sheets from training sessions.  Training strategies that Village of Camillus employs to inform its staff regarding the stormwater pollution prevention program include the following:       
· Training sessions by Central New York Regional Planning and Development Board
· Posters on the bulletin board at the Village Highway Garage

· An annual training session presented to Highway Department employees using training materials from the EPA, DEC, and CNYRPDB                                                                                                                                                                                                                                                                               
· Village of Camillus ensures third-party compliance with this SWMP and all related Best Management Practices through language in its contract documents.  A copy of the required language that will be included in these documents is found in Appendix X. (General guidance concerning this requirement is provided in the SWMP Instruction Document).
· The following items will be tracked throughout the reporting year and reported annually to NYSDEC.  

· number of catch basins inspected, cleaned, repaired or replaced;

· miles of roads swept;

· number of post-construction stormwater management facilities inspected and cleaned;

· pounds of phosphorus applied in chemical fertilizer.

· Onondaga County Soil and Water Conservation District (OCSWCD) implements a Critical Area Seeding and Stabilization that provides seeding, mulching, and application of erosion control in highway ditches and embankments throughout Onondaga County upon request of municipal highway departments and DPWs.  Records of stabilization activities performed by OCSWCD are included as Appendix Y.

Appendix Z is an annual summary listing and quantifying all of the data required for the MS4 Annual Report; a blank form for tabulating this data is included. 
(Include if applicable) The following facilities that would otherwise be subject to the NYS Multi‐sector General Permit (MSGP, GP-0-12-001) for industrial stormwater discharges are covered under the MS4 General Permit, GP-0-10-002 (additional information concerning this requirement can be found in the SWMP Instruction Document).  Stormwater Pollution Prevention Plans have been developed for these facilities and can be found at the village hall: None
MCM 6 Measurable Goals
Village of Camillus is assessing the success of Minimum Control Measure 6 of its SWMP through the following Measurable Goals:
Number of employee training events
Goal:
 2           
Current: 
0
Number of employees trained in general municipal pollution prevention and good housekeeping, percentage of total                                                                     
Goal:
3 (100%)         
Current:
2 (66%)
Number of educational materials distributed to municipal employees 
Goal:
6
Current: 
0
Miles of roadway swept (annual) (miles x number of street sweepings)                                  Goal:
 4
Current: 
4
Acres of parking lot swept (annual) (acres x number of times swept)                          
Goal:
1
Current: 
1
Tons of debris removed through street and parking lot sweeping 
Goal: 
Track annually and evaluate trends      
Current:
0
Number of catchbasins inspected (annual), percentage of total 
Goal:
30
Current: 
30
Number of catchbasins cleaned (annual), percentage of total 
Goal:
30
Current: 
30
Tons of debris removed through catchbasin cleaning 
Goal: 
Track annually and evaluate trends      
Current:
0
Amount of phosphorus fertilizer applied in pounds                           
Goal:
0
Current:
0
Amount of nitrogen fertilizer applied in pounds (annual)                                  
Goal: 
0
Current:
0
Amount of pesticide applied in acres and number of applications (annual)          
Goal: 
0
Current:
0
Number of employees trained in hazardous material storage and maintenance, percentage of total                                                                           
Goal:
3 (100%)         
Current:
0 (0%)
Number of employees trained in spill response and prevention, percentage of total                 Goal:
3 (100%)         
Current:
1 (100%)
Number of spills of petroleum or hazardous chemicals occurring due to municipal operations (annual)                                                                                                                Goal:
0
Current:
0
Number of employees trained in road salt/deicer application techniques 
Goal:
3 (100%)         
Current:
3( 100%)
Frequency of inspection and maintenance visits to petroleum or hazardous materials storage facilities                                                                     
Goal:
NA
Current: 
 NA
Number of repairs to petroleum or chemical storage tanks and distribution systems 
Goal: 
NA      
Current:
NA
Length of storm drainage conveyance system cleaned (annual), percentage of total          Goal: 
Track annually and evaluate trends      
Current:
0
Tons of material removed through cleaning of storm drainage system (annual)             Goal: 
Track annually and evaluate trends      
Current:
0
Miles or linear feet of road ditches and embankments stabilized through critical area seeding (annual)                                                                                                                 Goal:
Track annually and evaluate trends      
Current:
0
Quantity of salt applied to roadways (annual)                                                             Goal: 
Track annually and evaluate trends      
Current:
0
Quantity of alternative products used and approximate percentage of total deicing material (annual)                                                                                                                Goal:
Track annually and evaluate trends      
Current:
0
Number and % of plow vehicles equipped with digital deicer application calibrators                                                          
Goal:                         
Current: 
Existence of pet waste ordinance, number of signs explaining regulations 
Goal:                         
Current: 
Number of pet waste bag stations or percentage of parks with stations 
Goal:                         
Current: 
Number of gallons of used oil collected from municipal operations                               Goal:  
Track annually and evaluate trends      
Current:
0
Number of municipal drainage retrofit projects incorporating green infrastructure practices                                                         
Goal:                         
Current: 
Stormwater Management Program Coordinator


Code Official – Bill Reagan





Village Engineer


William Morse





Department of Public Works


Superintendent – Jason Fudala





Code Enforcement Office


Point of Contact – Bill Reagan





Public Education


And Outreach





Public Involvement


And Participation





Illicit Discharge


Detection & Elimination





Construction Site


Stormwater Management





Post Construction Site


Stormwater Management





Municipal Operations


Stormwater Management





Street Maintenance


Solid Waste Management


Parks and Open Space


Public Works Site


Stormwater System


Vehicle Fleet Maintenance





Municipal Operations


Stormwater Management





Municipal Operations


Stormwater Management








13

