## Immunochemicals for Research"

--CERTIFICATE OF ANALYSIS --

PRODUCT NAME: Goat anti-Legionella pneumophila serogroups 1-14 IgG Fluorescein labeled

Catalog # - 92-148-FL

Lot # ---   H2574

Volume  -   2.0 ml.

Legionella Species - pneumophila

Serogroups  - 1-14

Immunizing Strain(s) – 19 strains of Legionella pneumophila ( SEE CATALOG  pg. 2 )

DESCRIPTION: THIS PRODUCT IS NON-INFECTIOUS AND NON-CONTAGIOUS.

Anti-Legionella IgG is produced by immunizing the host animal with the respective heat killed bacterial strain(s). The IgG fraction is prepared by purifying on a Protein A affinity column.  IgG fractions are conjugated with fluorescein. Conjugate is diluted in PBS containing 1.0% BSA with Evans Blue counterstain and 0.02% thimerosal.

EVALUATION PROTOCOL:

The conjugate was evaluated in the Direct Fluorescent Antibody test. Briefly; the antigen suspension was placed on multiwell slides and allowed to dry at room temperature then heat fixed. The antigen was overlaid with the respective conjugate and incubated in a moist chamber at room temperature for thirty minutes. Unbound conjugate was removed by rinsing with PBS pH 7.2 followed by soaking for ten minutes in a PBS bath then rinsed with distilled, sterile water and completely air-dried. The antigen-antibody complex was covered with buffered glycerol mounting media at pH 9.5 and a microscope cover slip applied. The intensity of staining was 4+ using an epi-illuminated fluorescent microscope.

STORAGE:

Store conjugate at 4C, stable for six months. The antibodies have been filter sterilized prior to packaging; avoid product contamination.

DATE DISPENSED:     __ 10/31/2022______

APPEARANCE:            Blue to Blue-Green liquid

SOLVENT:                    0.01M phosphate buffered saline, pH 7.4 – containing 1% BSA,  .02% thimerosal , and Evans Blue Counterstain

PROTEIN BY UV ABSORBANCE: 0.1-1 MG/ML*

A 496 /A 280:  1.95

IDENTITY BY IEP: Single arc of precipitation versus anti-goat whole serum and anti-goat IgG (prior to conjugation)

TITER BY DIRECT IMMUNOFLUORESCENCE:  4+ fluorescence vs. Legionella pneumophila SeroGroups 1-14 antigens

* NOTE: Prior to addition of BSA, thimerosal, and Evans Blue.

QC ACCEPTANCE DATE: ____11/01/22____