Fire Safety Plan

CALL 9-1-1 IN CASE OF FIRE OR OTHER EMERGENCY

Danger from fire is always present, and not knowing what to do in the event of an emergency is a contributing factor resulting in fire tragedies. It is essential that all occupants in a building be completely familiar with emergency evacuation procedures as outlined.

FIRE OR OTHER EMERGENCIES:

- Pull the fire alarm

- When there is a fire or other emergency that poses immediate danger to persons or property, immediately warn persons in the area.

- Use the closest exit to leave the building immediately.

- If you must open a door on the way to an exit, feel the door for heat before opening. If you are unable to use a door, use an alternate exit if the door is hot or smoke is present.

- If able, assist others to leave the building.  Visitors to the building may require direction to evacuate.

- Proceed to the back of the parking lot by the hill to the church parking lot.

- Call 911 from outside of the building.

- Never attempt to re-enter the building once you have evacuated. Always wait to receive an all clear from Emergency Services personnel before re-entering.

- Designate one person to relay information to Emergency Services when they arrive

PRE-PLANNING IN CASE OF FIRE AND/OR FIRE ALARM:

- When you are the first person to realize or sense that a fire is in progress, use the fire alarms located on the walls to notify the occupants of the building.

- Call 911 from outside the building.

- Learn where the building fire extinguishers are located and how to safely operate. (see below).

Only use a fire extinguisher if safe to do so and you know how to use it

- Learn the location of fire exits

PROCEDURES FOR THOSE WITH DISABILITIES

- In the event of an emergency, disabled persons should proceed to the nearest exit.

FIGHTING A FIRE:

- Prior to fighting a fire, notify persons in the immediate area. Make sure you have an exit at your back.

- Activate the Emergency evacuation using the fire alarms.

- Be calm and use good judgment at all times.

- Never attempt to fight a fire unless the fire is small and you feel confident that you can extinguish or isolate the fire by using a portable fire extinguisher.

- When you have exhausted the extinguisher, back away if unable to totally extinguish the fire. Ensure you have an exit at your back. Do not get trapped.

Attempting to extinguish a fire is a voluntary act.

PORTABLE FIRE EXTINGUISHER INSTRUCTION

BASIC OPERATION (P.A.S.S.)

P – Pull the safety pin

A – Aim the nozzle at the base of the fire

S – Squeeze the trigger handle

S – Sweep from side to side