## Sheet1
| GUALALA COMMUNITY SERVICES DISTRICT | [20 empty] | ORDER # 92-120
|  |  | 2018 |  | Year Annual Report
Total Flows
| Influent Effluent |  |  | Coliform | BOD | TSS | Chlorine | Turbidity | Rainfall | Leachate | Ammonia | Ammonia | TON | TON | TKN | TKN | Nitrite | Nitrite | Nitrate | Nitrate | Perc. Pond |  | Pond Underdrain
Month | GCSD | CSA6N | SRGL | MPN | mg/l | mg/l | mg/l | NTU | Inches | Gallons | Inf. Mg/l | Eff. Mg/l | Inf. Mg/l | Eff. Mg/l | Inf. mg/l | Eff. Mg/l | Inf. Mg/l | Eff. Mg/l | Inf. Mg/l | Eff. Mg/l | MG | Nitrate | PH | EC | TDS
January | 0.894 | 1.3557 | 0 | <2.0 | 6.04 | 1.24 | 2.82 | 0.18 | 10.18 | 14564 | 1.6 | <0.20 | 110 | <0.40 | 120 | <0.40 | 44 | <0.40 | 36 | <0.40 | 0 | 1.4 | 5.68 | 212 | 107.3
Febuary | 0.6862 | 1.2118 | 1.187 | <2.0 | 6.12 | <1.0 | 3.15 | 0.16 | 1.16 | 2492 | 120 | <0.20 | 120 | <0.40 | 120 | <0.40 | 34 | <0.40 | 37 | <0.40 | 0 | 1.8 | 5.98 | 263 | 134.8
March | 0.8864 | 1.7182 | 1.854 | *13.75 | <5.0 | 1.05 | 3.01 | 0.13 | 6.05 | 0 | 140 | <0.20 | 43 | 1.5 | 44 | 1.5 | 38 | <0.40 | 33 | <0.40 | 0 | 2.3 | 6.09 | 201 | 102.5
April | 1.1441 | 1.9061 | 0 | <2.0 | <5.0 | <1.0 | 2.77 | 0.15 | 8.83 | 0 | 0.8 | <0.20 | 92 | 0.56 | 93 | 0.56 | 39 | <0.40 | 36 | <0.40 | 0 | 2.6 | 6.12 | 343 | 173.2
May | 0.9046 | 1.0162 | 2.1663 | 3.16 | 6.8 | 1.375 | 2.99 | 0.17 | 0 | 0 | 37 | <0.20 | 6.1 | <0.40 | 43 | <0.40 | 34 | <0.40 | 1.2 | 1.1 | 0 | 1.2 | 6.18 | 379 | 190.9
June | 4.3917 | 0.8564 | 5.9398 | 3.45 | 8.35 | 1.3 | 2.55 | 0.09 | 0 | 0 | 38 | 0.2 | 9.2 | <0.40 | 47 | <0.40 | 1.1 | <0.40 | 24 | <0.20 | 0 | 0 | 7.15 | 299 | 149.9
July | 1.063 | 0.9776 | 5.0067 | <2.0 | 7.55 | <1.0 | 2.55 | 0.1 | 0 | 0 | 33 | <0.20 | 68 | <0.40 | 100 | <0.40 | 0.72 | <0.40 | 5.2 | 47 | 0 | 3 | 7 | 268 | 137.9
August | 1.0638 | 1.0916 | 5.8781 | <2.0 | 9.56 | 1.36 | 2.77 | 0.18 | 0 | 0 | 46 | 0.6 | 10 | 0.9 | 56 | 1.5 | <0.40 | <0.40 | <0.20 | 36 | 0 | 1.7 | 7 | 255 | 133.4
September | 0.8986 | 0.7262 | 6.1496 | <2.0 | 6.75 | <1.0 | 2.98 | 0.17 | 0 | 0 | 36 | 0.5 | 4.4 | 0.6 | 40 | 1.1 | <0.40 | <0.40 | 3.9 | 42 | 0 | 0.1 | 7.25 | 244 | 125
October | 0.9316 | 0.8967 | 3.2383 | <2.0 | 5.82 | <1.0 | 3.04 | 0.15 | 0 | 0 | 32 | <0.20 | 13 | 0.6 | 45 | 0.7 | 1.7 | <0.40 | 2.9 | 47 | 0 | 1.4 | 5.99 | 400 | 201
November | 0.7752 | 0.9425 | 0.6297 | <2.0 | 6.95 | <1.0 | 3.14 | 0.17 | 6.36 | 7451 | 37 | <0.20 | 7 | <0.40 | 44 | <0.40 | 3.8 | <0.40 | 11 | 49 | 0 | 0.5 | 7.31 | 260 | 133
December | 0.7885 | 1.4958 | 0 | <2.0 | 7.625 | 1.25 | 2.85 | 0.22 | 5.79 | 9605 | 35 | 0.2 | 6.7 | 0.5 | 41 | 0.7 | 1.6 | <0.40 | 10 | 47 | 0 | 2 | 6.38 | 241 | 124
Total MG | 14.4277 | 14.1948 | 32.0495 | [5 empty] | 38.37 | 34112 | [10 empty] | 0
Average MG | 1.2023 | 1.1829 | 2.6708 | <2.0 | <5.0 | <1.0 | 2.885 | 0.15583 | 3.1975 | 2842.6667 | 46.3667 | 0 | 40.7833 | 0 | 66.0833 | 0 | 19.792 | 0 | 18.2 | 38.4429 | 0 | 1.5 | 6.5108 | 280.4167 | 142.7417
*Bad sample was collected on March 14, 2018. Operator took sample without wearing gloves, which caused a high reading.
|  |  | Reviewed by: | [6 empty] | Date: | 2019-01-23
|  | 0 | 31
|  | 1.187 | 28
|  | 1.854 | 31
|  | 0 | 30
|  | 0.6297 | 31
|  | 0 | 31
|  | 0.894 | 182
|  | 0.6862 | 0.00405
0.8864
1.1441
0.7752
0.7885
0.73709