## Worksheet
Uncertainty Estimation Worksheet |  |  |  | Calibration/Test:
Name of Calibration:
Description of Calibration:
Type A Uncertainty Values
| Uncertainty Component | Type | Factor | U Estimate (one STD) | Units | %
1 | Repeatability | Normal | 2
2
3
Type B Uncertainty Estimations
| Uncertainty Component | Type | Factor | U Estimate (one STD) | Units | %
1 | Reference Standard Stability | Normal
2 | Resolution of Calibrated Item | Rectangular | 1.7321
3 | Environmental Factors | Rectangular | 1.7321
4
5
6
7
8
9
10
When determining the overall uncertainty of a calibration method that involves more than one
component, and those components have different units, it is necessary to convert the
uncertainty estimates to a percentage. This will allow for correct uncertainty calculations.
Reference Standard Uncertainy always entered on the final worksheet as main item.
| Sketch of Calibration Set up |  |  | Calibration/Test:
Apparatus
Calculations and Formulae