EXAMPLE STRATEGY: Community Solar on Council Assets

THIS IS AN EDITABLE DOCUMENT.

ENSURE YOU HAVE READ AND UNDERSTOOD THE DISCLAIMER BEFORE USING.

REMOVE THIS COVER SECTION BEFORE USE.

Disclaimer:

This document has been authored by Dr Rachel Coxcoon of Climate Guide, in good faith, on behalf of the Greater South East Net Zero Hub (GSENZH), hosted by Cambridgeshire & Peterborough Combined Authority acting through the Greater South East Net Zero Hub (GSENZH). GSENZH shall not incur any liability for any action or omission arising out of reliance being placed on the information provided. It does not advocate a course of action or constitute legal or financial advice. All parties must seek appropriate and independent legal, financial, and commercial advice for any project in which they are involved.

While Greater South East Net Zero Hub has made every attempt to ensure that the information used is accurate, we are not responsible for any errors or omissions, or for the results obtained from the use of this information. All information is provided as is, with no guarantee of completeness, accuracy, or timeliness. Assumptions used are for indicative purposes and based on a range of sources including information supplied by partners, industry research and published government data. We are not liable for any errors in calculations or omissions resulting from data provided by the customer or third parties. This report does not constitute investment advice.

This example strategy document is provided for general informational purposes only and does not constitute financial, investment, or legal advice. The information, analysis, and assumptions presented are indicative only and should not be relied upon for making investment or business decisions. Readers should obtain independent professional advice before acting on any information contained in this report. The Hub accepts no liability for any loss or damage arising from reliance on the content of this report.

What is this document?

This document is part of the Guide to Community Solar on Council Assets, published by the Greater South East Net Zero Hub in July 2026.  It is a detailed Strategy example, provided so that you can edit and cut down as you see fit.  Ensure you have read and understood the disclaimer on the previous page before using this document.

The full Guide and the associated suite of documents can be found at https://netzerogo.org.uk/resources/guide-to-community-solar-on-council-assets

The ‘Decision-Making’ elements of the full Guide to Community Solar on Council Assets are designed to ensure there is a secure, formalised commitment at senior level to supporting community solar on the Council’s assets.  This commitment will be crystallised through the adoption of a formal strategy that is then embedded in the Council’s Corporate Plan, with key decisions arising as a result of the strategy being added to the Forward Plan where appropriate.  This formalised decision-making route provides safeguards against the programme of support for community solar being easily discarded if key personnel move on.

The Decision-Making elements are editable, and include:  Example Decision Paper; Example Full Council Motion; Example Community Solar on Council Assets Strategy (this document), and ‘Case for Action’ Briefing Note which provides high level text you can use in emails and meeting information to engage colleagues at an early stage.

The ‘Barrier-Busting’ elements of the full Guide to Community Solar on Council Assets are included to help you move the Decision Paper and Strategy through your relevant Full Council, Cabinet or Committee meetings, and as the implementation of the strategy is rolled out by your Officer group.  You will need to work across multiple departments, many of whom will have limited resource, and will have had limited exposure to the concept of community energy collaborations.  They are likely to raise specific concerns around legal, procurement and other procedural issues that the resources in this pack should help you overcome in order to maintain momentum.

The Barrier-Busting elements include:  Frequently Raised Barriers – detailed guidance addressing the  most common questions and concerns about Council/community energy collaborations; An example Community Energy and Local Authority Partnership Assessment Framework, to help you assess whether both parties are suited to working together;  Case Studies of existing community energy/local

authority partnerships, highlighting successful outcomes and replication potential under current

regulations; and ‘How Your Council Works: A Guide for Community Energy Groups’, which you can hand to community energy partners to help them understand local authority structures and decision making processes.

This document contains sections in [RED TEXT] that you will need to tailor to your local circumstances.

REMEMBER TO REMOVE THIS COVER SECTION BEFORE USE

Contents

1.	EXECUTIVE SUMMARY	5

2.	Strategic Context	6

2.1.	The national policy and funding environment	6

2.2.	The Council’s financial position	7

2.3.	The Council’s estate	7

3.	Policy and statutory alignment	8

3.1.	Statutory powers	8

3.2.	Corporate Plan alignment	8

3.3.	Relationship to other Council priorities	9

3.4.	Local Government Reorganisation	9

4.	The principles behind community solar on Council assets	10

4.1.	Commercial structure	11

5.	Council commitments under this Strategy	11

5.1.	Phase 1: Enabling	11

5.1.1.	Explore external funding mechanisms	11

5.1.2.	Asset Assessment	11

5.1.3.	Community Energy partner identification	12

5.1.4.	Legal and Procurement framework established	12

5.1.5.	Adoption into the Council’s Corporate Strategy and Forward Plan	12

5.2.	Phase 2: Pilot Delivery	12

5.2.1.	Pilot single installation (or small portfolio where appropriate)	12

5.2.2.	First lease and PPA agreed	13

5.3.	Phase 3: Scaling up	13

5.3.1.	Portfolio target	13

5.3.2.	Energy bill savings targets	13

5.3.3.	Establish and maintain a solar asset register	13

6.	Delivery programme	13

6.1.	Programme Milestones	13

6.2.	Resources and Officer responsibilities	16

7.	Governance and oversight	16

7.1.	Decision-making	16

7.2.	Annual Reporting	16

7.3.	Strategy Review	17

7.4.	Risk Assessment	17

8.	Glossary	17

9.	Appendices	18

STRATEGY

Community Solar on Council Assets Strategy: making Council buildings and land available for community-owned solar energy generation

| Status: | Draft for adoption |
| --- | --- |
| Adopted by | [Cabinet/Full Council] on [DATE] |
| Report author: | [NAME] |
| Portfolio Holder | [NAME] |
| Programme Lead Officer | [NAME] |
| Review Date | All |
| Linked documents: | TBC |

# EXECUTIVE SUMMARY

[COUNCIL NAME] owns a substantial estate of buildings and land. Some/Many/Most of our rooftops are generating no financial return.  The purpose of this strategy is to make those rooftops available for community-owned solar energy generation in order to maximise efficient use of the Council’s estate and secure lower-cost, long-term power supply agreements.  [The strategy will also help the Council deliver against the renewable energy/carbon reduction targets in {NAME OF OTHER RELEVANT STRATEGIES}. (Delete this sentence if you do not have relevant climate or carbon strategies).]

This strategy requires no capital commitment from the Council.  Under the community-owned model, a community energy group raises the investment, installs the solar panels at no cost to the Council, and sells electricity back to us at a rate below what we would otherwise pay to the grid.  In these instances the Council usually bears no ongoing maintenance liability and at the end of the lease, the assets transfer to Council ownership.  Lease terms are expected to be between 15 and 20 years.

The adoption of this strategy is driven by the following considerations:

- No capital required.  The investment comes from the community group’s share offer, not the Council's capital programme.

- Immediate bill savings.  Discounted electricity is generated from day one of operation.

- Asset transfer at end of term.  The panels become Council property with no further obligation.

- Funding [ will shortly be/is] available to facilitate community energy groups to develop projects with Local Authorities.  Great British Energy's Local Power Plan (February 2026) commits up to £1 billion to support 1,000+ local and community energy projects, of which the Partnership Fund is specifically to support Community Energy projects on Local Authority assets.  Councils that have a strategy and an identified asset pipeline will be more likely to access that funding first. [Note: The Partnership Fund is due to launch in summer 2026, check with your local Net Zero Hub for up to date information and adjust this bullet accordingly]

- There are a number of working precedents that prove the concept of community solar on Council assets. The community energy sector in England is mature, and a range of local authority-community energy collaborations exist [see the Case Studies section of the Guide if you wish to add more detail here or as an appendix].

This strategy commits [COUNCIL NAME] to the steps necessary to enable community-owned solar on our estate.  The Council will identify suitable assets, engage with community energy groups, and establish the governance arrangements needed to bring projects to fruition.

This strategy is deliberately focused on Solar PV (rather than all energy technologies), because this it is well-suited to our estate, is the simplest of the generating technologies for the Community Energy Group to progress through feasibility, planning and installation, and does not require a large Officer resource.  It is targeted at a proven, achievable approach where the Council opens its rooftops or small areas of land to local investment to fund solar arrays, and in turn receives cheaper electricity at those sites, while keeping investment in the local economy and facilitating the re-investment of profit into locally beneficial community schemes.  Established community energy exemplars in other areas have shown that providing access for solar PV installations allows community energy groups to build a solid financial base and ultimately progress to providing a wider range of services and support in the community, creating a genuine delivery partnership that the Council could not hope to offer itself, [see Case Studies, Appendix XXX]

# Strategic Context

## The national policy and funding environment

Great British Energy (GBE) was established by the Great British Energy Act 2025.  Section 3 of the Act defines GBE's statutory objects, which include facilitating, encouraging and participating in the production and distribution of clean energy.  This expressly includes the production and distribution of energy 'through projects involving or benefiting local communities'.  GBE is a publicly owned company, and its Local Power Plan (published February 2026) includes a direct steer from Government to local authorities and community groups to bring forward projects together.

The Local Power Plan commits up to £1 billion to support over 1,000 local and community energy generation projects across the UK by 2030.  Rooftop solar on public buildings is proven in other areas, and represents an opportunity for this Council to build a strong, local energy economy foundation which could allow community energy groups to ultimately expand their portfolios and offer wider services, such as fuel poverty advice, to the community.

GBE has announced a ‘Partnership Fund’, which is specifically designed to help Councils and community energy groups work together.  Councils that have adopted a strategy, conducted an asset assessment, and identified a community energy partner will be positioned to move quickly when further funding rounds open. [Note: The Partnership Fund is due to launch in summer 2026, check with your local Net Zero Hub for up to date information if you wish to add more detail here.]

## The Council’s financial position

[COUNCIL NAME] faces [briefly describe here an outline of financial pressures your Council faces, quoting from any publicly available documents such as the MTFS, Corporate Plan, Annual budget consultation e.g. 'ongoing pressure on the revenue budget', 'a requirement to identify savings of £Xm by [YEAR]']. You do not need to make a detailed business case, that is part of the Decision Paper that accompanies this Strategy and acts as the vehicle through which meeting and debate will occur that leads to adoption of the Strategy itself.]

At the time of writing, the legacy effects of the Ukraine conflict and the more recent impacts of military action in the Middle East/Iran have increased global energy costs and created substantial volatility in energy pricing [consider how you should best amend or even delete this paragraph, depending on the current geopolitical context].

Against this background, every asset on the Council's estate should be examined for its productive potential in relation to energy, particularly where it allows the Council to lock-in to a lower-cost power supply over a long time period, and where the source of energy is entirely insulated from these global pressures and insecurities.

Council-owned rooftops currently represent an underused asset.  A community solar programme does not require any capital expenditure, generates an immediate revenue saving on the Council’s electricity bills, requires no ongoing maintenance cost to the Council, and provides locally generated energy that is immune to international market shocks.  It represents an efficient use of the Council’s estate, and one that we are currently not taking advantage of.

## The Council’s estate

[COUNCIL NAME]'s estate includes [NUMBER] operational buildings covering [TOTAL FLOOR AREA OR LIST OF ASSET TYPES].  The estate includes [types of buildings — schools, offices, leisure centres, depots, car parks etc.]. Some/Many/Most of these buildings have south- or south-west facing rooftops with no current solar generation.  A formal asset assessment is a commitment of this strategy (see Section 5.1.2).

The Council also holds [describe any derelict, surplus or underused land that might be suitable for ground-mounted arrays or canopy structures, if known].  Community solar is not limited to rooftop installations; car park canopies and small ground arrays on appropriate land also offer potential.

NOTE:  If Local Government Reorganisation is under way or imminent, you may wish to note here the extent of your estate that will transfer to the successor unitary, at what vesting date, details of which would be found in the Structural Changes Order (if in place). See the Frequently Raised Barriers section of the Guide for further information on the interplay of LGR with the adoption of a Community Solar on Council Assets Strategy.

# Policy and statutory alignment

## Statutory powers

The Council has the power to enter into the arrangements proposed in this Decision Paper under the following provisions:

- Section 2, Local Government Act 2000 (Well-being power): Provides a broad power to do anything the Council considers likely to promote or improve the economic, social or environmental well-being of its area.  Granting a lease to a community energy group and entering into a PPA falls within this power.

- Section 1 of the Localism Act 2011, (General Power of Competence): Gives the Council the power to do anything an individual can do, subject to any statutory constraints on the Council’s powers.  The recommendations in this report are in keeping with the General Power.

- Section 123, Local Government Act 1972 : Governs disposal of land.  While a peppercorn lease to a community energy group may constitute disposal below best consideration, the additional provisions of the General Disposal Consent (2003) permits this where the undervalue does not exceed £2m and where the disposal can be shown to contribute to area well-being.  Legal advice must confirm application to each specific site.

- Great British Energy Act 2025, Section 3: GBE’s statutory objects explicitly include facilitating and encouraging the production of clean energy through projects involving or benefiting local communities.  The Local Power Plan, published under Section 5 of the GBE Act, identifies local authorities as delivery partners.

- Local Government Act 1999 (Best Value duty): The Council has a duty to make arrangements to secure continuous improvement in the way it exercises its functions, having regard to economy, efficiency and effectiveness.  A programme that reduces energy costs at zero capital cost is consistent with this duty.

## Corporate Plan alignment

This strategy aligns with the following corporate priorities of [COUNCIL NAME]:

[Insert a bulleted list cross-referencing this strategy to specific objectives in your existing Corporate Plan or similar overarching policy document.  Use the exact language of those documents.  Relevant headings could include:

financial resilience / value for money;

local economic development;

place-making;

asset management;

environmental commitments.]

## Relationship to other Council priorities

This Decision Paper and the accompanying Strategy also supports the delivery of the following Council strategies and policies:  [AMEND/DELETE relevant bullets below]

- Asset Management Plan / Estates Management Plan.  The Community Solar Programme supports/is aligned with the AMP in the following way….

- [Any existing climate or sustainability strategy]. This programme is principally an asset management and financial efficiency programme.  However, it also supports the delivery of the Council’s climate/environment strategies in the following way….

- The Local Plan.  This programme is aligned with Policies XXXX of the Council’s Local Plan, which support the development of XXX

- Any existing adopted Neighbourhood Plans that contain provisions to support Community Energy

- [Any existing energy purchasing or procurement framework]. The PPAs arising from this programme will need to be reviewed for compatibility with the Council’s existing energy purchasing arrangements. Information is provided at Appendix XX on the approach taken by other Local Authorities with successful community energy partnerships.

- Capital Programme.  The preferred option for this programme requires no capital allocation.  It is noted here to confirm that it is an alternative to, not a competitor for, existing capital allocations.

## Local Government Reorganisation

IF YOUR COUNCIL IS INVOLVED IN LGR, ENSURE YOU INCLUDE THE FOLLOWING SECTION. IF NOT, DELETE THIS WHOLE SECTION AND ENSURE YOU RENUMBER REMAINING SECTIONS AND CROSS REFERENCES.

[Council Name] is currently subject to Local Government Reorganisation (LGR). This section therefore contains provisions related to potential programme continuity risk.

Any community solar leases and PPAs entered into by [Council Name] will need to be designed to transfer to the successor unitary authority, through the use of well-structured contracts.

[NOTE – take advice as early as possible on the following issues if your Council is currently involved in LGR.  Your colleagues dealing with the LGR transfer of assets, along with your legal team colleagues, should be able to advise you on appropriate wording.   Example topics you could raise with them include:

- Understanding which parts of the Council’s current estate are most at risk of disposal after vesting day.

- Planning for any lease and PPA templates include standard assignment and novation provisions adequate to cover a legal change of landlord for the included buildings, and the named counterparty to any contracts.

- How and when to engage with the shadow authority to ensure the programme is recognised in the new authority’s emerging asset strategy, if possible.

- Structuring the programme so that the asset assessment and community energy partner selection stages are completed, and leases are executed, in advance of the vesting date, if appropriate.]

# The principles behind community solar on Council assets

The community-owned solar model involves an incorporated community energy group, which usually adopts the legal form of Community Benefit Society (BenCom) registered with the FCA, or Community Interest Company registered with the CIC Regulator.  Both legal forms include a mandatory ‘asset lock’ that prevents the distribution of residual assets to members; its purpose is to ensure that any retained surplus or residual value cannot be appropriated for the private benefit of members and must instead be used for public or community benefit.  In practical terms, this means that a properly constituted community energy group cannot be sold, wound up, or converted into a company in order to distribute profits to shareholders or members.  If a community benefit society with a statutory asset lock is dissolved, any remaining assets (after all creditors and members' share capital have been repaid) must transfer to another asset-locked body such as a charity, another community benefit society, or a Community Interest Company.

It is usually the case that properly-incorporated community energy organisations reinvest their profits (after operating costs and investor repayments) for the benefit of the local community.  The Community Energy Organisation is responsible for raising capital from local residents and organisations, commissioning qualified installers to install a solar PV array on the Council-owned building or land asset, contracting qualified installers to maintain the array, and selling the electricity generated to the Council (or tenant of the building).

The Council's role is to:

- Grant a lease of the rooftop (or land) to the community energy group for an agreed term, usually 15-20 years, at peppercorn rent;

- Provide reasonable access for installation, maintenance and inspection.

- Enter into a Power Purchase Agreement (PPA) to purchase electricity generated by the array at a discounted rate, often expressed as a percentage reduction against a relevant market rate, or an agreed fixed term tariff with review points, or a combination of both, with floor and ceiling provisions to prevent the Council or its tenant ever paying more than the market rate;

The Council does not:

- provide capital funding for the installation;

- take on maintenance liability for the array;

- take on any financial risk from the investment;

- manage the community energy group's relationship with its investors.

## Commercial structure

The commercial arrangement between the Council and the community energy group will consist of two linked instruments, likely to include the following key terms:

| Instrument | Purpose | Terms |
| --- | --- | --- |
| Lease (site access agreement) | Grants the community energy group exclusive access to the defined roof area or land for the duration of the programme. | Term: 15-20 years. Peppercorn rent. Installation at no cost to Council. Community energy group responsible for all O&M, insurance and reinstatement. Asset transfer to Council at end of term. Early termination provisions with compensation and/or step-in rights by Council or other appointed body. Assignment/novation provisions for LGR continuity. |
| Power Purchase Agreement (PPA) | Governs the sale of electricity generated by the installation to the building’s electricity bill payer. | PPA price: Agreed % below building’s current contracted retail rate at installation. Index linked and/or pegged to a discount on prevailing retail market for [10-25] years with review clauses. Metering and invoicing arrangements defined. Surplus generation exported under Smart Export Guarantee with arrangements for payments to Council and/or community energy group. |

# Council commitments under this Strategy

[COUNCIL NAME] commits to the following actions to enable community-owned solar on our estate. These commitments are structured in three phases, with milestone targets that create accountability from the point of adoption.

## Phase 1: Enabling

The Enabling Phase is to be completed within [X] months of adoption of the Strategy.

### Explore external funding mechanisms

The Council will contact the [name of your local Net Zero Hub] to seek support with submissions to current grant funding schemes for community energy collaborations, such as Great British Energy's Partnership Fund, within [X] weeks of adoption of this strategy.  The lead Officer for this strategy [NAME OF OFFICER HERE] is responsible for this action.

### Asset Assessment

The Council will commission or undertake an assessment of its operational estate to identify buildings and land suitable for community solar installation.  The assessment will consider roof orientation, structural condition, energy consumption profile and planning constraints for each shortlisted site, including the current status of the DfE's Schools Solar pilot, and delays to schools sites that might arise from that1.  The assessment will be completed within [X] months of adoption of this strategy and reported to [Cabinet / relevant committee].

### Community Energy partner identification

The Council will identify and formally engage with one or more qualifying community energy groups operating in, or willing to extend into, [COUNCIL NAME]'s area.  A Partnership Assessment, using the tool provided in the Greater South East Net Zero Hub’s Guide to Community Solar on Council Assets will be completed for any community energy group operating in the area, to assess the size of the potential delivery market.   This phase will be completed within [X] months of adoption of this strategy and reported to [Cabinet / relevant committee].

### Legal and Procurement framework established

Legal services will be briefed on the available examples of lease and PPA documents from existing local authority-community energy collaborations, and the procurement approaches outlined in the Greater South East Net Zero Hub’s Guide to Community Solar on Council Assets.  A report on the modifications required to these examples to reflect this Council's legal requirements and risk appetite, and our proposed approach to procuring a community solar on Council assets delivery partner will be detailed in a report brought back to [Cabinet/Full Council/Scrutiny Committee/Relevant sub-committee] within [X] months of adoption of this strategy.

### Adoption into the Council’s Corporate Strategy and Forward Plan

At the earliest available review point for the Corporate Strategy, the Community Solar on Council Assets Strategy will be included in the Council’s Corporate priorities, with reference to the key timetable and progress indicators from this strategy.  Any decisions arising from the strategy that are of a magnitude requiring inclusion in the Forward Plan will be added to the plan at the earliest opportunity.

1https://www.gov.uk/government/publications/power-purchase-agreement-pilot/funding-for-installing-solar-photovoltaic-panels-on-schools-and-colleges

## Phase 2: Pilot Delivery

The Pilot Delivery Phase is to be completed within [X] months of adoption of the Strategy.

### Pilot single installation (or small portfolio where appropriate)

Subject to a positive asset assessment and clearance for the procurement approach, the Council will proceed with at least one pilot community solar installation on a Council building that is identified in Phase 1.  The pilot will demonstrate the operating model, validate the financial case, and provide a reference project for subsequent sites.  Where available sites are relatively small, this pilot installation may need to consist of a small portfolio of sites (e.g. several linked schools) in order for the share offer and financial model to be appropriately scaled.

### First lease and PPA agreed

The Council will agree and sign the lease and PPA for the pilot site within [X] months of the community energy partner being formally appointed.

## Phase 3: Scaling up

The Scaling Up Phase is to start within [X] months of the installations on the pilot site(s)

### Portfolio target

Following a successful pilot, the Council commits to expanding the programme to a target of [Proportion/Number of buildings/sites ] or [kW/MW CAPACITY] within [X] years of strategy adoption.  This target will be set following the full asset assessment and will be reported to [Cabinet / full Council] for approval within [X] months of sign off of this strategy.

### Energy bill savings targets

The programme will be designed to achieve a reduction in the Council's electricity costs for participating buildings of at least [X]% against the prevailing market rate. The financial baseline and savings achieved will be reported annually (see Section 7).

### Establish and maintain a solar asset register

The Council will maintain a register of community solar assets on its estate, including the estimated transfer value at end of lease term.  This register will form part of the Council's asset management reporting, to be added to the next reporting cycle for the Asset Management Plan from the first quarter after the first installation.

The specific targets and success measures for all phases are set out in the accompanying Decision Paper, presented to [Cabinet/Full Council on DATE].

# Delivery programme

## Programme Milestones

| Phase | Mile-stone | Description | Lead Team | Target date |
| --- | --- | --- | --- | --- |
| Phase 1: Enabling | 1 | GBE Expression of Interest submitted | Programme Lead Officer | Recommend not more than 6 weeks from adoption of strategy |
| Phase 1: Enabling | 2 | Asset assessment to identify suitable buildings and land, to include engagement with DfE on their schools solar pilot, and template PPA and lease approach1 | Estates | [FIXED DATE or X months from adoption of strategy] |
| Phase 1: Enabling | 3 | Community energy partner identified and due diligence completed | Sustainability / Procurement | [FIXED DATE or X months from adoption of strategy] |
| Phase 1: Enabling | 4 | Legal and Procurement team review of proposed lease and PPA terms | Legal/Procurement | [FIXED DATE or X months from adoption of strategy] |
| Phase 1: Enabling | 5 | Strategy embedded in Corporate Plan and Forward Plan | Chief Executive’s office | [FIXED DATE or X months from adoption of strategy] |
| Phase 2: Pilot | 6 | Pilot site selected from suitability assessment | Estates | [FIXED DATE or X months from completion of asset assessment] |
| Phase 2: Pilot | 7 | First lease heads of terms agreed | Legal/Estates | [FIXED DATE or X months from completion of asset assessment] |
| Phase 2: Pilot | 8 | First PPA agreed and signed | Legal/Estates | [FIXED DATE or X months from completion of asset assessment] |
| Phase 2: Pilot | 9 | Pilot installation commissioned | Community energy group (Council oversight) | [FIXED DATE or X months from completion of asset assessment] |
| Phase 3: Scale-up | 10 | Portfolio target set following pilot review | Programme Lead Officer, with Cabinet/Full Council approval | [FIXED DATE or X months from installation of pilot site(s)] |
| Phase 3: Scale-up | 11 | Second tranche of sites agreed and leases executed | Legal/Estates | [FIXED DATE or X months from installation of pilot site(s)] |
| Phase 3: Scale-up | 12 | Annual report to Cabinet (first report), to include inaugural review of Solar Asset Register. | Programme Lead Officer | DATE [12 months from Strategy Adoption] |

1https://www.gov.uk/government/publications/power-purchase-agreement-pilot/funding-for-installing-solar-photovoltaic-panels-on-schools-and-colleges

NOTES FOR COUNCIL TO COMPLETE THE MILESTONE TARGET DATES: DELETE THIS GREEN BOX BEFORE PUBLISHING THE STRATEGY Phase 1 (Enabling) targets (For tailoring the milestones table with reference to the commitments in Section 5.1) Insert target dates for each commitment in Phase 1. Suggested timelines: asset assessment within 6 months; Funding application (e.g. to GBE, where applicable) within 6 weeks; community energy partner identified within 6 months; legal framework confirmed within 4 months. These can be adjusted to reflect the Council's actual capacity. Fixing these process targets at adoption is going to be needed to create accountability without waiting for the asset assessment to be completed. You should be cognisant of other local conditions that will affect these proposals, such as election timetables and other busy periods e.g. annual budget setting, or LGR workloads. Phase 2 (Pilot Delivery) targets (For tailoring the milestones table with reference to the commitments in Section 5.2) Insert timeframes for Phase 2 commitments. These will depend on Phase 1 outputs. Proposed timelines are: pilot installation agreed within [X] months of strategy adoption; first lease executed within 24 months. These targets will need to be revisited once the asset assessment is complete and a community energy partner is engaged. Phase 3 (scaling up) targets (For tailoring the milestones table with reference to the commitments in Section 5.3) You may not be able to finalise these targets before the asset assessment is complete. Insert placeholder figures or note 'to be set following asset assessment' where specific numbers are required. It is important to include this section even with placeholder targets, as it signals that this is a programme with a defined ambition and scope, as opposed to a vague aspiration. The targets will depend on the size and type of Council that you are, which will inform the size and type of property portfolio you control: Do you own your own housing stock (see Staffordshire Moorlands or Barnsley for community solar on Council-owned housing). Do you own schools? See Edinburgh City Council? Do you have small, undevelopable/derelict land sites? See Glasgow City Council. You may also have leisure centres and cultural assets such as museums, libraries or galleries, or commercial retail and warehousing units. In the first instance, buildings that the Council owns and occupies will be the easiest to develop, since there are no sub-tenancy agreements and the Council is the primary offtaker of the energy. You could consider a ‘tranche 1’ approach for buildings like this, and a ‘tranche 2’ approach for schools and other sites that are tenanted, but still ultimately owned by the Council.

## Resources and Officer responsibilities

For the work outlined in Phases 1 and 2, the programme does not require recruitment of a dedicated Officer(s) or project team.  The lead Officer [NAME OF OFFICER, based in NAME OF TEAM, NAME OF DIRECTORATE] is responsible for coordinating the Phase 1 & 2 actions.  The lead Officer will report to [NAME OF DIRECTOR and/or NAME OF PORTFOLIO HOLDER] on project progress.  Specialist input will also be required from:

- Legal Services: review and sign-off of lease and PPA templates; procurement route advice.

- Property / Asset Management: delivery of the building assessment; ongoing lease management.

- Finance: establishment of systems for electricity bill savings tracking; annual reporting.

- Planning (where applicable): pre-application advice on permitted development; support for any applications required.

On completion of the Phase 1 and 2 activities (Milestones 1-9, above), the increased scale of Phase 3 may require recruitment of a dedicated role, at least part time, to support the rollout across a portfolio of approved sites.

# Governance and oversight

## Decision-making

This strategy has been adopted by [Cabinet / Full Council] of [COUNCIL NAME].  Decisions arising under this strategy, including the selection of pilot sites, appointment of community energy partners, and execution of leases and PPA’s, will be made in accordance with the Council's Constitution and Scheme of Delegation.  Individual site decisions will be the subject of a separate Officer decision, or by [Cabinet/Full Council/Subcommittee] report as required by the value thresholds in the Scheme of Delegation.

## Annual Reporting

The lead Officer will report annually to [Cabinet/Full Council/Subcommittee] on the following metrics:

- Number of sites where a community solar lease is in place or under active negotiation.

- Total installed capacity (kW peak).

- Electricity generated in the reporting year (kWh).

- Saving against baseline electricity cost (£ and bill reduction against the counterfactual scenario).

- Status of asset assessment and community energy partner engagement.

- Economic and wellbeing impacts in the local community, to include share capital raised, investment returns distributed, community benefit funds distributed

- Progress against milestones in Section 6.1.

- Any material issues, delays or changes to the programme.

The first annual report will be presented [X] months after the date of adoption. Subsequent reports will be presented [annually / six monthly/at the same meeting cycle each year], and will include details of how the community energy group(s) with ownership of the array(s) have engaged in any community benefit reinvestment into wider social programmes in the district.  The full progress tracking framework, including baselines and Spending Objective cross-references, is laid out in the Decision Paper that accompanied the adoption of this strategy at [Cabinet/Full Council meeting on DATE] and will be updated as a new Decision Paper is brought forward at each annual reporting cycle.

## Strategy Review

This strategy will be reviewed within [X] years of adoption, or earlier if:

- Central or Regional government funding programmes for community energy are substantially revised or extended.

- The community solar model is materially changed by changes in energy regulation or market structure.

- Other national energy or community enterprise legislation presents a material change to the likelihood of programme success

- A review is requested by [Cabinet / the relevant scrutiny committee].

## Risk Assessment

A full risk assessment is included in the Decision Paper that accompanied the adoption of this strategy at [Cabinet/Full Council meeting on DATE] and will be updated as a new Decision Paper is brought forward at each annual reporting cycle.

# Glossary

| Term | Definition |
| --- | --- |
| BenCom | Community Benefit Society: a form of co-operative legal entity registered with the Financial Conduct Authority. A common legal vehicle for a community energy group, with a mandatory asset lock. An alternative acronym also used for a BenCom is ‘CBS’. |
| CIC | Community Interest Company: a form of co-operative legal entity registered with the CIC Regulator. A common legal vehicle for a community energy group, with a mandatory asset lock. |
| Community energy group (CEG) | An organisation, usually constituted as a BenCom or CIC, which develops, owns and operates community-owned renewable energy projects. |
| Community solar | In this strategy: solar PV installed on a Council-owned building or land, owned and operated by a community energy group, with electricity sold to the Council or their tenants under a PPA. The community energy group repays its shareholders from the energy sales receipts, with any spare profit reinvested into community schemes. |
| GBE | Great British Energy, a publicly-owned company established by the Great British Energy Act 2025, tasked with facilitating and investing in local and community energy projects. |
| GBE Partnership Fund | The GBE grant programme to support local authorities to work together with community energy groups. Launching in summer 2026 details TBC |
| kWp / MWp | Kilowatt peak/Megawatt peak. The rated maximum power output of a solar PV installation under standard test conditions. |
| Lease | A legal agreement that creates a proprietary interest in land, granting the community energy group exclusive possession of a defined area for an agreed term. A lease binds successors in title, meaning if the building is sold or transferred to a new owner, or an incoming authority formed via LGR takes on the asset subject to the lease, the community energy group's rights are preserved. A lease granted at peppercorn rent (a nominal sum) may engage the disposal provisions of Section 123 of the Local Government Act 1972; legal advice should be obtained on this point. |
| Licence | A personal permission granted by the Council to the community energy group to access and use a defined area of the Council's property. Unlike a lease, a licence does not create a proprietary interest in land. It binds only the original parties and does not automatically transfer if the building changes hands or if the Council is reorganised. A licence is generally simpler and cheaper to execute than a lease, but provides weaker tenure security for the community energy group and may therefore complicate the community share offer or development finance process. |
| Local Power Plan | GBE's strategic plan, published February 2026, committing up to £1 billion to support 1,000+ local and community energy projects by 2030. |
| LGR | Local Government Reorganisation: the process of merging district and county Councils into new unitary authorities. |
| Peppercorn rent | A nominal lease rent (e.g. £1 per year, or similar) reflecting that the Council's primary benefit comes from the PPA electricity saving and wider social benefits, rather than rental income. |
| PPA (Power Purchase Agreement) | The commercial contract under which the Council purchases electricity from the community energy group. |
| Solar PV | Solar photovoltaics, or panels that convert sunlight into electricity. |

# Appendices

[TBC by Officer completing the strategy document]

https://www.legislation.gov.uk/ukpga/2000/22/section/2/enacted

https://www.legislation.gov.uk/ukpga/2011/20/section/1

https://www.legislation.gov.uk/ukpga/1972/70/section/123

https://www.gov.uk/government/publications/disposal-of-land-for-less-than-the-best-consideration-that-can-reasonably-be-obtained-circular-06-2003

https://www.legislation.gov.uk/ukpga/2025/16/section/3

https://www.legislation.gov.uk/ukpga/1999/27/section/3