The dangers of fires, storms, major hazardous material spills, bomb threats, and other threats to life and property require that a plan be established to respond to these emergencies safely and promptly. An Occupant Evacuation Plan has been developed for the St. Joseph Center operating facility located in, Santa Monica, California on Ocean Avenue. This plan defines the scope and method for immediate, positive, and orderly action to safeguard life and property during an emergency evacuation in the City of Santa Monica, at the Behavioral Health Bridge Housing Wellness -413 Ocean Avenue site building operated by St. Joseph Center employees.

### Emergency Communications

In the event of an internal or external disaster, it is essential that employees be kept informed about decisions or events that directly affect them. Communications with St. Joseph Center personnel during work hours will be accomplished by the following methods:

- Fire alarm (audible) to provide immediate notification of potential emergency situations.

Designated Captains

Several employees have been designated as captains for various areas of the BHBH Wellness -413 Ocean Avenue site and are responsible for checking their respective areas and directing other participants/visitors to designated safety areas. The Program Manager, Case Manager and Fire Captains know where the shutoffs valves are for the site’s power, water, and gas. Each designated captain will have the critical phone numbers for contact in a disaster or emergency and will report to his or her supervisor in case of emergency.

West Unit Captain:                                      		East Wall Captain:

1-5 (First Floor): Rochelle Fantroy                  6-10-Kitchen (First Floor): Jalen James

Second Floor:

Beauty Salon-20-29: Rochelle Fantroy           11-19: Jalen James

For emergencies or disasters that happen NOT during business hours:

The following steps should be taken:

- Chief of Programs & Assistant Vice President of Programs, Director of Interim Housing and Facilities and Special Projects Manager will assess any structural damage

- Chief of Programs & AVP activates the agency phone tree

- Based on assessments made by Facilities and Special Projects Manager, daily services, and BHBH Wellness Center-413 Ocean Avenue facility will open with full or skeletal staff or remain closed until further notice.

### Fire Emergency

All designated captains know the location of fire extinguishers and Operations will activate the fire alarm system. The first person to observe a fire should:

- Report fire tor (310) 458-8652 (Santa Monica Fire Department-Station 7)

- Call 9-1-1

- If possible, use available fire extinguishers to extinguish or contain the fire. If the fire is fueled by a natural gas or LP gas leak, the gas supply should be shut off prior to extinguishing

- Immediately evacuating area should initial firefighting attempts fail, shut off gas supplies, etc., and close door to area to contain fire

- Follow instructions given over public address system

BHBH Wellness Center -413 Ocean Avenue houses 4 Dry Chemical ABC fire extinguishers. Table 4 lists the potential fire hazards that the dry chemical extinguisher is capable of extinguishing at the beginning stages of flame. The paragraph following the chart explains the uses of the wet chemical extinguisher.

Table 4

| Description Table 1 Table 2 Table 3 Table 4 Table 5 Table 6 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Type of Extinguisher | Pressurized Water | Carbon Dioxide | Dry Chemical BC | Dry Chemical ABC | Halon 1211, 1301 | Dry Powder |
| Composition of Base Material | Water | Carbon Dioxide | Sodium or Potassium Bicarbonate | Ammonium Phosphate | Bromo- chloro- fluoro- methane | Sodium Chloride & Polymer or special for specific metal |
| Combustible wood, paper, etc. | Good | Good | Not Effective | Good | Fair | Not Effective |
| Flammable Liquids, oil, etc. | DO NOT USE | Good | Good | Good | Good | Not Effective |
| Electrical Equipment | DO NOT USE | Good | Good (except for electronic equipment) | Good (except for electronic equipment) | Good | Not Effective |
| Combustible Metals | DO NOT USE | Poor | Poor | Poor | DO NOT USE | Special Technique Required |

Wet Chemical Fire Extinguisher

A wet chemical fire extinguisher is a revolutionary type of extinguisher which is capable of extinguishing cooking fat fires such as vegetable oil or fats (Class F fires). The wet chemical fire extinguisher is the only one able to do this. The wet chemical extinguisher can also put out Class A and B fires. Wet chemical fire extinguishers work by cooling and saponification the alight fats, i.e. by turning the burning fat into a soaplike substance which forms a seal around the burning oil so no oxygen can get to the fire, thus preventing reigniting a fire – which is a risk with cooking oil fires such as chip pan fires. 

Due to its ability to extinguish cooking oil fires, the wet chemical fire extinguisher is recommended by insurance companies and fire protection services for use in fast food outlets, fish & chip shops, canteens, restaurants, burger vans, and other catering industries.

Types of Fires

- Class A fires are ordinary materials like burning paper, lumber, cardboard, plastics etc.

- Class B fires involve flammable or combustible liquids such as gasoline, kerosene, and common organic solvents used in the laboratory.

- Class C fires involve energized electrical equipment, such as appliances, switches, panel boxes, power tools, hot plates and stirrers. Water can be a dangerous extinguishing medium for class C fires because of the risk of electrical shock unless a specialized water mist extinguisher is used.

- Class D fires involve combustible metals, such as magnesium, titanium, potassium and sodium as well as pyrophoric organometallic reagents such as alkyllithiums, Grignards and diethylzinc. These materials burn at high temperatures and will react violently with water, air, and/or other chemicals. Handle with care!!

- Class F fires involve cooking oils or fats. Class F fires differ from conventional liquid fires due to the hot temperatures involved. The alkalinity of the extinguishing material quickly reacts “saponification” with the burning oil to create the soap layer.

BHBH Wellness Center Fire Extinguisher Locations

West Units:

There are two (2) fire extinguishers on the first floor:

- West Wall -near the kitchen.

- North Wall – near copy room.

East Units:

There are two (2) fire extinguishers on the second floor:

- East Wall -between rooms 25 and 26

- East Wall -near room 29.

EVACUATION PLAN EXITS

Behavioral Health Bridge Housing Wellness Center at 413 Ocean Avenue, Santa Monica site location houses approximately twenty SJC employees and twenty-nine clients situated throughout both buildings.

West Units:

- West Unit - (All Rooms)- (1) EXIT- One employee; number of waiting clients and/or visitors vary.

Exit Route for all clients/visitors goes out the door toward Ocean Avenue.

East Units:

- East Units (All Rooms) - One employee; number of waiting clients and/or visitors varies.

Exit Route for all clients/visitors goes out the door toward Ocean Avenue.

Once all occupants are safely out of the building, the designated captains should prevent all persons from returning to the building. Operations, City Officials, and/or Building Inspectors will notify captains when it is safe to re-enter the building.