## PRes
AIMC PReS (PI/Incident Report Sharing)
Best PI Reports for Q4 2021
Item | Date | Location/Terminal | Description of PI Corrected Unsafe Act/ Condition | Action/s Taken | 3 POINTER | PICTURES
1 | 2021-10-19 | Cabadbaran | No Alarm sound of EGS system, possible of incident | Report to SO and Shell Staff | Zarah Peñaflorida
2 | 2021-10-28 | Iligan | I noticed that the hose of the fix monitors had plastic inserted, it might cause a blockage if the foam is used in an emergency | Inform Toa on duty and removed the palstic | Mico Ones
3 | 2021-11-22 | Tagbilaran | At the Jetty nakita ko ang isang mooring man nakasentro sa boland while M/T Rana II is in docking maneuver. | Sinabihan ko siya na huwag diyan sa tabi ng bolard kasi if ever maputol mataman siya. | Alfred Araco
4 | 2021-10-12 | Palawan | Hindi saktong pagset ng load sa accuload kapag nagloloading | Nagooffset ng paglagay sa accuload para di umapaw | Ronnie Mercado
5 | 2021-12-03 | Palawan | May nag wewelding sa katabing depot at sa tank S1 habang may Ethanol receiving | Agad nireport kay TOA at sa incharge ng welding project at nag lagay ng gas tester for extra measurement | Rudyboy Musni
6 | 2021-11-11 | Villanueva | Notice that the wirings at control room office is tangled, unorganized electrical cables are risky hazards they can cause accidental injuries. It might cause slipping and tripping hazard to the worker. | 1. Roll the long wires in order for it to look clean. 2. bind together all wires, binding them together is efficient, neat to look and easy to identify. 3. Put a tie to make the wire organize. | Alisa Layagon
7 | 2021-12-13 | NMIF | Retractatable ladder deffective, crack step frame it might cause slip trip and fall | Reported to TOS | Mike Vacalares
8
9