Engine Two Equipment List

#904

1989 Pierce

Updated 10/1/2017

Front Bumper

100’ 1 ¾” Hose w/ Nozzle

Cab

1 – Hand Light

1 – SCBA w/ Mask(E200)

2 – Traffic Vest

1- MSA Thermal Imaging Camera

1- Motorola CM-300 County Fire  Mobile Radio

1- Motorola 800 mhz

1- Truck Check Off Book

Rear Cab

2 – SCBA Units w/ Masks(E201,E202)

2 – Traffic Vest

Cross Lay

200’ 1 ¾” hose with nozzle

200’ 1 ¾” hose with nozzle

Top

2 – Spade Shovel

2 – F-500 Foam (5 Gallons)

3 – Road Reflectors

1 – Clay Pipe

2 – Push Brooms

10– Gallons Oil Dry

1 – Deluge Fog Nozzle Attachment

2-  Salvage cover

Rear

1 – Portable Manifold

1 – Low Level Strainer

1 – Deluge Monitor

1 – 5”  Hose Roller

6 – Traffic Cones

2- Salvage Covers

1- Hose Clamp

- Slow/ Stop sign

2- 30’ Extrication Tool Hoses

1-Holmatro Cutter

1-Holmatro Combi Tool

Top Rear Compartment

100’ 1 ½” Hose w/ Nozzle(High-Rise)

1-RIT Bag w/ air bottle

1-Rope bag

Left Side Top Front Compartment

1 – Roll Caution Fire Line

1 – Section Utility Rope

2 – Flat Head Axes

2- hand lights

1 – Pick-Head Axe

1 - Halligon tool

1- Closet Hook

Left Side Bottom Front Compartment

1 – Foam Eductor

1 – Rubber Mallet

1 – Water Meter Cut-off Wrench

1 – 5” Storz Cap

1 – 5” Storz x 4” Storz Reducer

1 – Double Female

1 – Double Male

1 – Sprinkler Tool

1 – 5” x 4” Female Reducer

1 – First Aid Kit

1 – 5” Threaded Cap

1- Ball Valve

1- Siphon Device

Left Side

2 – 2 ½” Spanner Wrenches

1 – Hydrant Wrench

1 – Pry Bar

1 – Hard Suction w/ Low Level Strainer

1 – Spare SCBA Bottle

1 – ABC Fire Extinguisher

Left Side Top Rear Compartment

1 – 2 ½” Stack-tip Nozzle

1 – SCBA Unit w/ Mask(E203)

1 – Spare SCBA Bottle

1 – 25’ Garden Hose

- 2 ½ Fog Nozzle

1- Tool box

Left Side Bottom Rear Compartment

200’ 1 ¾” Hose

100’ 2 ½” Hose

2 – Salvage Cover

150’ Rope(1/2”)

1-Blackhawk bag

1-aed

Right Side

24’ Extension Ladder

14’ Roof Ladder

10’ Attic Ladder

10’ Pike Pole

1 – 5” Hard Suction

2 – Spare SCBA Bottles

1 – Fire Extinguisher

4- 5’’ Spanner Wrenches

1- Hydrant Wrench

2- Spanner Wrenches (1 ¾’’/ 2 ½’’)

Right Side Front Compartment

50’ 5” Supply Hose

50’ 2 ½ Black Rubber Hose

- 1 ¾ Red and Yellow Hose

Right Side Bottom Rear Compartment

Holmatro A/B Pump

2-step cribbing

6-4x4x24’’ cribbing

Bed

1000’ – 5” Supply Hose w/ Reducer Attachment

200’ – 2 ½” Cloth Hose w/ Fog Nozzle(Preconnect)

400’ – 2 ½” Rubber Hose w/ Stack-Tip Nozzle

400’ – 2 ½” Rubber Hose w/ Gated Wye

200’ – 1 ¾” Rubber Hose w/ Nozzle (Preconnected to Wye)

1 – Hydrant Bag w/ Hydrant Wrench and Spanner Wrench