## Equipment Directory
PolyLink · Equipment & Capabilities Directory
Connecting Industry to University Analytical Expertise · connect@polynovel.com · www.polynovel.com/polylink
Code | Equipment / Technique | Description
MICROSCOPY
AFM | Atomic Force Microscopy (AFM) | Nanoscale surface topography and mechanical properties mapping
Confocal | Confocal Microscopy | Three-dimensional fluorescence imaging with optical sectioning capability
Optical | Optical / Light Microscopy | Visual magnification and basic structural / morphological analysis
SEM-EDS | SEM with EDS / EDX | High-resolution surface imaging combined with elemental composition mapping
SEM | Scanning Electron Microscopy (SEM) | High-resolution surface morphology imaging at nanometer scale
TEM | Transmission Electron Microscopy (TEM) | Ultra-high-resolution internal structure and lattice imaging
SPECTROSCOPY
FTIR | FTIR (Fourier Transform Infrared) | Chemical bond identification and functional group analysis across broad wavenumber range
FTIR-ATR | FTIR with ATR Accessory | Surface and film chemical analysis with minimal or no sample preparation
FTIR-Micro | FTIR with Microscope | Localized chemical analysis on microscopic sample regions
Fluor | Fluorescence Spectroscopy | Molecular emission analysis; ideal for fluorophore identification and quantum yield
NIR | NIR (Near Infrared) | Rapid compositional, moisture, and blend uniformity analysis
Raman | Raman Spectroscopy | Molecular fingerprinting, crystallinity, and stress/strain analysis
UV-Vis | UV-Vis Spectroscopy | Electronic transition measurement; concentration determination via Beer-Lambert law
CHROMATOGRAPHY
GC-FID | GC with FID | Quantitative analysis of volatile and semi-volatile organic compounds
GC-TCD | GC with TCD | Universal detection for gases, solvents, and volatiles without derivatization
GC | Gas Chromatography (GC) | Volatile compound separation, identification, and quantification
IC | Ion Chromatography (IC) | Ionic species separation and quantification (anions, cations, organic acids)
HPLC | Liquid Chromatography (LC / HPLC) | Non-volatile compound separation, purity, and quantification
UHPLC | Ultra-High Performance LC (UHPLC) | High-speed, high-resolution liquid separations with reduced solvent consumption
MASS SPECTROMETRY
GC-MS | GC-MS | Volatile compound identification and quantification via mass spectral library matching
GC-MS/MS | GC-MS/MS (Triple Quadrupole) | Ultra-sensitive targeted volatile analysis with minimal matrix interference
Orbitrap | High Resolution MS (Orbitrap) | Ultra-high resolution accurate mass for complex mixture analysis and unknowns
QTOF | High Resolution MS (QTOF) | High-resolution accurate mass analysis; metabolomics and polymer characterization
ICP-MS | ICP-MS | Trace and ultra-trace elemental analysis at ppb–ppt levels
LC-MS | LC-MS | Non-volatile compound identification combined with liquid chromatographic separation
LC-MS/MS | LC-MS/MS (Triple Quadrupole) | Ultra-sensitive targeted compound quantification in complex matrices
MALDI-TOF | MALDI-TOF | High-molecular-weight polymer, biopolymer, and protein mass analysis
MECHANICAL TESTING
Compression | Compression Testing | Compressive strength, modulus, and deformation analysis per ASTM D695 / ISO 604
Fatigue | Fatigue Testing | Cyclic loading, S-N curve, and durability analysis
Flexural | Flexural / Bend Testing | Flexural strength, modulus, and stiffness per ASTM D790 / ISO 178
Rockwell | Hardness – Rockwell | Indentation hardness of rigid metals and hard polymers
Shore | Hardness – Shore A/D | Elastomer and soft polymer surface hardness per ASTM D2240
Vickers | Hardness – Vickers / Knoop | Microhardness for thin films, coatings, and small cross-sections
Charpy | Impact Testing – Charpy | Notched impact toughness and energy absorption per ASTM E23
Izod | Impact Testing – Izod | Notched impact resistance per ASTM D256
Peel | Peel / Adhesion Testing | Bond strength and adhesive peel performance per ASTM D903 / D1876
Puncture | Puncture Testing | Film and membrane puncture resistance (ASTM F1306 / D4833)
Tear | Tear Testing | Tear propagation resistance for films and flexible materials
Tensile | Tensile Testing | Stress-strain curves, ultimate strength, elongation, and modulus per ASTM D638 / ISO 527
UTM | Universal Testing Machine (UTM) | Multi-mode mechanical testing platform (tension, compression, flexure, peel)
RHEOLOGY
Brookfield | Brookfield Viscometer | Rotational viscosity measurement for coatings, adhesives, and suspensions
Capillary | Capillary Rheometer | High-shear melt viscosity and die swell; processing simulation
MFI | Melt Flow Indexer (MFI / MFR) | Polymer melt flow rate per ASTM D1238 / ISO 1133
Rheo-Strain | Rotational Rheometer – Strain Controlled | Precise deformation-controlled oscillatory and flow rheology
Rheo-Stress | Rotational Rheometer – Stress Controlled | Viscosity, viscoelastic moduli (G', G"), and temperature sweeps
THERMAL ANALYSIS
DSC | Differential Scanning Calorimetry (DSC) | Tg, Tm, Tc, crystallinity, heat capacity, and reaction enthalpy per ASTM E1356
Dilatometry | Dilatometry | Precise dimensional and volumetric thermal expansion measurement
DMA | Dynamic Mechanical Analysis (DMA) | Viscoelastic storage/loss moduli vs temperature and frequency; Tg, damping
HDT | Heat Deflection Temperature (HDT) | Load-bearing temperature capability per ASTM D648
KF | Karl Fischer Titration (coulometric) | Trace moisture determination down to ppm levels
MDSC | Modulated DSC (MDSC) | Deconvolution of overlapping thermal events; reversing vs non-reversing heat flow
TGA-FTIR | TGA with FTIR | Evolved gas chemical identification during thermogravimetric decomposition
TGA-MS | TGA with MS | Mass-spectral identification of decomposition gases
TGA | Thermogravimetric Analysis (TGA) | Mass change vs temperature; decomposition onset, residue, and kinetics
TMA | Thermomechanical Analysis (TMA) | Dimensional change, CTE, penetration, and softening per ASTM E831
Vicat | Vicat Softening Temperature | Softening point determination per ASTM D1525 / ISO 306
MOLECULAR CHARACTERIZATION
DLS | Dynamic Light Scattering (DLS) | Particle size, size distribution, and hydrodynamic radius in solution
GPC-Aq | GPC / SEC – Aqueous | Molecular weight distribution of water-soluble polymers (PEGs, polysaccharides, etc.)
GPC-HT | GPC / SEC – High Temperature | Polyolefin and engineering thermoplastic MW distribution at elevated temperature
GPC-Org | GPC / SEC – Organic | Mn, Mw, PDI for organic-soluble polymers (THF, chloroform, DMF solvents)
IV | Intrinsic Viscosity | Molecular weight estimation and chain conformation from viscosity data
MALS | Multi-Angle Light Scattering (MALS) | Absolute molecular weight and Rg independent of column calibration
NMR-300 | NMR – 300 MHz | Routine 1H, 13C structural elucidation and purity assessment
NMR-400 | NMR – 400–500 MHz | Standard 2D NMR (COSY, HSQC, HMBC) for detailed structure determination
NMR-600 | NMR – 600 MHz | High-field solution NMR for complex polymer and small-molecule structure
SS-NMR | Solid-State NMR | Structure and dynamics of insoluble, crosslinked, or crystalline materials
SLS | Static Light Scattering (SLS) | Absolute weight-average molecular weight determination
SURFACE ANALYSIS
BET | BET Surface Area Analysis | Specific surface area and pore size distribution via gas adsorption
Contact Angle | Contact Angle Goniometer | Surface wettability, hydrophilicity/hydrophobicity, and spreading dynamics
Ellipsometry | Ellipsometry | Thin film thickness (1 nm–10 µm) and optical constants (n, k)
Optical Prof | Profilometry – Optical | Non-contact 3D surface mapping, roughness (Ra, Rq, Rz), and step heights
Stylus Prof | Profilometry – Stylus | Contact surface roughness and step height measurement
Surface E | Surface Energy Analysis | Total surface free energy and dispersive / polar component determination
Tensiometer | Surface Tensiometer | Surface / interfacial tension measurement via Wilhelmy plate, Du Noüy ring, or pendant drop methods
XPS
ELEMENTAL ANALYSIS
CHNS | CHNS Analyzer | Carbon, hydrogen, nitrogen, and sulfur quantification by combustion
CHNS/O | CHNS/O Analyzer | Complete organic elemental analysis including oxygen determination
CNO | CNO Analyzer | Rapid carbon, nitrogen, and oxygen determination
ICP-OES | ICP-OES / ICP-AES | Multi-element quantification at ppm levels in digested or dissolved samples
XRF-ED | XRF – EDXRF | Rapid non-destructive elemental screening (Na–U range)
XRF-WD
PROCESSING & SAMPLE PREPARATION
3D Print | 3D Printing / Additive Manufacturing | Custom geometry sample fabrication (FDM, SLA) for testing and prototyping
CNC | CNC Machining | Precision sample machining and dimensioning
Comp Mold | Compression Molding | Sheet and plaque sample preparation from pellets or powder
Cryo Mill | Cryogenic Grinding / Milling | Low-temperature particle size reduction for brittle or rubbery materials
Extrusion | Extrusion | Continuous profile compounding and pelletizing
Film Cast | Film Casting | Solution-cast film preparation for optical and mechanical characterization
Hot Press | Hot Press | Film and sheet consolidation under controlled temperature and pressure
Injection | Injection Molding | Standard ASTM/ISO test specimen fabrication (dog-bones, bars, discs)
Microtome | Microtoming | Ultra-thin section preparation for TEM and optical microscopy
Polishing | Polishing / Surface Prep | Surface finishing and smoothing for microscopy and spectroscopy
Cutting | Sample Cutting / Notching | Precision test specimen preparation for impact and tensile testing
Sputter | Sputter Coating | Conductive coating deposition for electron microscopy sample preparation
Twin Screw
FIRE SCIENCE
Cone Cal | Cone Calorimeter | Heat release rate, mass loss rate, and smoke production per ISO 5660
FPA | FM Fire Propagation Apparatus | Fire propagation and heat release testing per FM 4910 standard
Flame Spread | Flame Spread Testing | Ignitability, flame spread dynamics, and burning intensity characterization
Large Scale | Large Scale Fire Test Facility | Full-scale fire testing up to 1 MW heat release rate
Smoke Density
PolyLink is a service of PolyNovel · connect@polynovel.com · www.polynovel.com/polylink · Capabilities subject to lab availability