PROTECTORGLAZE - The clear peelable coating solution formulated for use on glass, ppc aluminium, PVCu, and most non-porous painted timber surfaces that require temporary protection from other building trades.

PROTECTION IN 3 EASY STEPS

| Apply by roller. The coating is clear when dry allowing diffused light into the building. |  | Simply peel to remove at the end of the project revealing clean glass. |  | No bulk and Environmentally disposed. |
| --- | --- | --- | --- | --- |

FINANCIAL ADVANTAGES

|  | Considerably less labour time required to apply when compared to polyethylene film-based products |
| --- | --- |
|  | Glass can remain dusty when applying our product, unlike adhesive film that will require the glass to be cleaned first |
|  | No waste factor with material as opposed to film that requires cutting and shaping |
|  | Leaves no residue that requires cleaning away |
|  | Reduces the time needed for final clean |
|  | Protectorglaze does not fall away from the protected surface and need re-applying on site |

PRACTICAL ADVANTAGES

|  | UV stable |  | 12 months when applied externally and 12+ months internally. |
| --- | --- | --- | --- |
|  | Leaves a clear Dry-film. |  | Optimises visual space allowing light penetration. |
|  | Product Longevity/Resistance to Weathering at Correct Thickness |  | 12 months when applied externally and used with ProtectorGlaze Topcoat. |
|  | Non-Hazardous |  | Water-resistant when dry / Water- cleanable when wet. |
|  | Non-Flammable. |  | Fire- Resistant to BS 476 Part 7. Currently testing to EN13501-1. Resistant to Hot Works grinder ‘flecks’ and welding ‘spatter’, associated with curtain walling fabrication and installation. |
|  | Less Waste Volume. |  | 1sq m of dry film creates just 60mm diameter ball of waste. |

| For further information contact: Protectorglaze Ltd, Tel: 0800 707 6711 Email: sales@protectorglaze.com Web: www.protectorglaze.com. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |