BEECH CREEK WATER AUTHORITY MEETING

April 6, 2026

Meeting was called to order at 7:00pm by Chairman Ken Packer

Attendees: Randy Peters, Melvin Coakley, Alan Uhler, Dan Yeaney, Joe Walker, and Craig Lindsey

Minutes: The March meeting minutes were approved on a motion by Joe Walker, seconded by Dan Yeaney, all in favor

Financial Statement: Melvin Coakley made a motion to approve the financial statement, Joe Walker seconded the motion, all in favor

Citizens:

None in attendance

Engineer:

- Alan Uhler stated that C&R is working on surface restoration on Franklin Drive. He said they found an issue with the water running by the booster station and will need to put a French drain by Phillips driveway to collect it.

- Alan stated that C&R was going to work on the alarm system for the pump station also. He said they quoted both jobs for $4000. Craig Linsdey made a motion to approve C&R doing both jobs, Dan Yeaney seconded the motion, all in favor.

- Alan, Randy and Luke will meet with Sencio about the Flow Meter on Thursday, April 9th.

- Alan had the plans for a new water line for Wynn Ave. He had some questions about where to put the pits for 35, 29, 25. Authority discussed the area with him and came up with a plan. Alan asked about installing a hydrant by the old RR bed. When asked what he thought this project would cost he estimated approximately $350,000. Alan will advertise the project and have the bid opening on May 4th at the next meeting.

- Alan stated he wanted Authority to know he had words with UGI about them not giving him the information he needed to do the drawings. He called the PUC, not long after UGI complied and gave the information to him.

Old Business:

- Randy stated that all houses on Franklin Drive are tapped. Residents say they love the water pressure.

New Business:

- Randy Peters stated that last year we were talking about the mower needed work. It was sent out to be fixed but borough requested to get quotes for a new one. Luke called 3 places for quotes. They range from $19,000 to $25,000. Joe made a motion to approve any purchase that the Borough Council wants to do. Dan Yeaney seconded the motion, all in favor.

  - Craig Lindsey came late to meeting but stated he thought the mower was working fine. If it is there is no need to purchase one.

- Alan Uhler explained to authority about an equipment cabinet he got from Coopertownship Municipal Authority for $450 for the authority. He said that new we would be talking about at $2000 - $2500 so he made an decision and said authority would take it. Joe Walker made a motion to approve the purchase, Dan Yeaney seconded the motion, all in favor.

- Secretary stated that while Randy and Luke were at the conference they talked with a lady that does grants. After discussion Craig Lindsey asked to have her come to next meeting and discuss the options.

Correspondence:

- Thank you card from Dennis & Jane Marasco

Bills: Melvin Coakley made a motion to pay the bills, Dan Yeaney seconded the motion, all in favor

Meeting adjourned to Sewer at 6:40 pm on a motion by Dan Yeaney, second by Melvin Coakley, all in favor

Respectfully Submitted

Roni Roan, Secretary