Frenchglen School District #16

Healthy and Safe Schools Plan

1. Responsible Person

The person responsible for administering and implementing the Healthy and Safe Schools Plan:

Name: Carolyn Koskela Whitney

Position Title: Head Teacher

Phone Number: 541-493-2404

Email Address: koskelac@harneyesd.k12.or.us

Mailing Address: 39235 Hwy 205, Frenchglen, OR 97736

The person who is the designated IPM Coordinator:

Name: Carolyn Koskela Whitney

Position Title: Head Teacher

Phone Number: 541-493-2404

Email Address: koskelac@harneyesd.k12.or.us

Mailing Address: 39235 Hwy 205, Frenchglen, OR 97736

The person responsible for AHERA information:

Name: Earlyna Hammond

Position Title: Deputy Clerk

Phone Number: 541-493-2404

Email Address: frglen16@ harneyesd.k12.or.us

Mailing Address: 39235 Hwy 205, Frenchglen, OR 97736

1. List Facilities

All facilities owned or leased by Frenchglen School District #16 where students or staff are present on a regular basis are covered by this HASS Plan. The list of those buildings and facilities is below:

| **Facility Name** | **Facility Address** |
| --- | --- |
| Frenchglen School District #16 | 39235 Hwy 205, Frenchglen, OR 97736 |

1. Elevated Levels of Lead in Water Used for Drinking or Food Preparation

All school districts, education service districts, and public charter schools are required to test for and eliminate exposure to elevated levels of lead in water used for Drinking and Food Preparation through either remediation or eliminating access, according to OAR 333-061-0400 and OAR 581-022-2223. In conformance with those administrative rules, Frenchglen School District #16 certifies the following:

1. All testing was done according to the testing requirements in OAR 333-061-0400;
2. All samples were analyzed by a lab accredited by Oregon Health Authority to test for those materials;
3. All water fixtures required to be tested under OAR 333-061-0400 were tested for elevated levels of lead in accordance with the testing schedule developed by the Oregon Health Authority; and
4. The testing schedule for each building covered by this plan is set forth below:

| **Facility Name** | **Year of Last Test** | **Next Scheduled Test  (per 6 year schedule)** | **Schedule or Exemption Reason** |
| --- | --- | --- | --- |
| Frenchglen School | 2020 | 2021 |  |

1. **Lead Paint**

In order to comply with the United States Environmental Protection Agency’s Renovation, Repair and Painting Program Rule, the district will either contract only with certified lead based paint renovation contractors licensed by the Oregon Construction Contractors Board, or use District staff that are certified by the Oregon Health Authority to perform the work.

1. Asbestos

Frenchglen School District #16 complies with the federal Asbestos Hazard Emergency Response Act (AHERA). All required asbestos management plans are available for viewing by submitting a request to Earlyna Hammond, Deputy Clerk.

1. Radon

Frenchglen School District #16 has developed a radon plan as required by ORS 332.167. Community members can access a copy of the radon plan here: [Frenchglen SD](https://frenchglen.school/administrative-info). Test results will be made public and are available here: [Frenchglen SD](https://frenchglen.school/administrative-info)

1. Integrated Pest Management

Frenchglen School District #16 has adopted an Integrated Pest Management (IPM) plan as required by ORS 634.700 through 634.750. Community members can access a copy of the IPM plan here: [Frenchglen SD](https://frenchglen.school/administrative-info)

1. Carbon Monoxide Detectors

Frenchglen School District #16 certifies that all buildings subject to the Healthy and Safe Schools Plan comply with the carbon monoxide detection standards in the state building code that was in effect when the building was originally constructed or as required by building code due to addition, upgrade, or remodel.

1. Test Results Publication

Frenchglen School District #16 is complying with the requirement to provide access to test results, as defined by OAR 581-022-2223 within 10 business days as defined by ORS 332.334. Test results can be found on [Frenchglen SD](https://frenchglen.school/administrative-info) at <https://frenchglen.school/>

Specific test results can be found as follows:

* Lead in Water: <https://frenchglen.school/administrative-info>
* Radon: <https://frenchglen.school/administrative-info>

Additionally, copies of all test results are available at Frenchglen School, 39235 Hwy 205, Frenchglen, OR 97736.

Frenchglen School District #16 will also use current Frenchglen School District #16 email lists or communications programs to provide final test results to staff, students, parents of minor students, and other members of the community. This includes providing actual final test results or providing direct access to final test results through links in the communications. Please contact Carolyn Whitney to be added to current district email lists and programs.

**I certify that the above information is true and accurate to the best of my knowledge.**

| Carolyn Koskela Whitney | Head Teacher | 45/23/2020 |
| --- | --- | --- |
| Electronic signature of authorized representative | Title | Date |