| Part 1 Project Details |  |
| --- | --- |
| Project Name: | Adseal Job |
| Project Manager: | Anthony Pound |
| Job Address: |  |
| Activity / Scope of Works: | Installation of Non-shrink Grout/Joint Sealing |
| Start Date: |  |
| Date Submitted: |  |
| On site supervisor: | Anthony Pound |
| Health and Safety Rep: | Kenneth Stead |
| Adseal Group Management | Athol Stead - Director |

| #### Part 2 Sequence of Work – Liquid Membrane Application |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| #### Item | #### Job Step Break the job down into steps | #### Potential Hazards Identify the hazards associated with each step. Examine all points that could lead to an accident or adverse environmental impact | Risk Class See risk rating chart | #### Hierarchy of Controls Eliminate (E), Substitute(S), Isolate (I), Minimise by engineering means (ME), Minimise by administrative means (MA), Reduce using PPE (PPE) or Minimise by a combination of the above (MC). | #### New Risk Class See risk rating chart |  | #### Person Responsible |
| 1. | Provide safety induction or toolbox meeting to induct site personnel into this activity prior to this activity commencing. | Nil. | Nil | Discuss this SWMS. Re-emphasize that safety is of the highest priority. Address each step in this SWMS. Discuss methods suggested by the attendees that would make the tasks safer and implement agreed changes. Have all personnel complete the Personal Details Register. Discuss and determine the protection of others near the workplace. | Nil |  | Supervisor/Applicator |
| 2a | Survey work area | Minimal, trips & falls | 1A L | Inspect work area for potential hazards and remove all objects that may be trip hazards. Inspect for any other hazards. (E+MA) | 1A L |  | Supervisor/Applicator |
| 2b | For work at heights (exc Swing Stage – see 10 below) | Falls | B5 E | Use EWP, trained persons only to operate equipment, do not over reach or exit EWP while elevated | A3 M |  | Supervisor/Applicator |
| 3. | Environment | Environmental hazards | M | Check that waste/sediment produced is contained. Do not allow sediment/waste material to enter waterways.(MA) | L |  | Supervisor/Applicator |
| 4. | Unload product & equipment | Manual handling Traffic hazard | B3 M | Use correct manual handling techniques(ME) (single lifts no greater than 20kg. Where possible, use mechanical lifting aides or team lift) | B2 L |  | Supervisor/Applicator |
| 5. | Prepare substrate | Dust | B3 M | PPE as recommended in MSDS and TDS | B2 L |  | Supervisor/Applicator |
| 6a. | Grout mixing and install to: Base of panels Patching over stitch plates Dowel bar holes/lift lugs | Irritation caused by direct contact with skin | B3 M | Refer to MSDS and use appropriate PPE Wash contaminated skin with soap and water | B2 L |  | Supervisor/Applicator |
| 6b. | Install backing rod | Cuts from off form concrete | B3 M | Use PPE where required, use blunt knife to cut backing rod | B2 L |  | Supervisor/Applicator |
| 7. | Install Joint Sealant to panel joint | Irritation to eyes or skin | B3 M | Refer to MSDS and use appropriate PPE Wash contaminated skin with soap and water | B2 L |  | Supervisor/Applicator |
| 8. | Clean up | Trip/Slip Hazard | B3 | Sweep up, where necessary Dispose of waste materials(E) | A2 L |  | Supervisor/Applicator |
| 9. | Transporting product & equipment | Lifting Traffic Hazard | B3 M | Use correct manual handling techniques(MA) Beware of traffic & wear safety vest(MA) (refer to traffic control plan if applicable) | A2 L |  | Supervisor/Applicator |
| 10.; Panel, Finishing works (from Swing Stage); Working at heights Falling objects Use of cordless grinders; B4; - Only Certified swing stage to be used - All function switches are to be active and tested before use - Personnel working on swing stage to be aware of access difficulties - PPE, Hard hat safety boots hivis (gloves and goggles if required) - Personnel on to enter or leave swing stage when elevated except in emergency - Swing stage not to be used when wind is in excess of 25kph, electrical storms or other weather that could compromise safety - Lanyards are to be used on all tools - Harness must be used where risk of fall exists - Exclusion zone must be established below at ground level; B2; Supervisor/ Applicator. FILL OUT FOLLOWING POINTS ON SITE FOR SITE SPECFIC HAZARDS AND CHANGES WHEN A SIGNIFICANT CHANGE TO THE TASK, AN INCIDENT OCCURS AND/OR A SIGNIFICANT HAZARD IS IDENTIFIED THE SWMS WILL BE UPDATED & THE CHANGE WILL BE RECORDED AND COMMUNICATED TO ALL PERSONELL CARYING OUT THE WORKS |
| 11. |  |  |  |  |  |  |  |
| 12. |  |  |  |  |  |  |  |

| Part 3 Use of Tools and Equipment |  |  |
| --- | --- | --- |
| The following controls apply to the use of equipment by staff and contractors on site. |  |  |
| TOOLS/ EQUIPMENT | HAZARD | CONTROL |
| Use of power tools | Electric shock, Struck by object Cuts, burns | Ensure tools and leads have current inspection tags before use. Carry our visual inspection of equipment daily. Ensure leads are elevated from ground. |
| Hand tools:- (hammer, spanners, multigrips, screwdrivers, etc) | Personal Injury, Struck by object, Injury to others | Always hit/drive/push away from body Always select correct tool for job Loose fitting or worn tools to be disposed of- carry out visual inspections of tools Others to be a clear distance from personal work area. Use PPE as required |

This SWMS applies to all Site Personnel. Site personnel includes all employees of the business, employees of plant hire sub-contractors and anyone carrying out tasks and directly under the control of the business.

| Part 4 General |  |  |  |
| --- | --- | --- | --- |
| Engineering Certificates/Work Cover Approvals: |  |  |  |
| Relevant legislation, Code of Practice, Guides, Australian Standards, etc.: (insert relevant stat references) | Work Health and Safety Act ACT 2011 Work Health and Safety Regulation ACT 2011, Work Health and Safety Regulation NSW 2011 Code of Practice Dangerous Goods 2005 Code of Practice Consultation 2001 Code of Practice Hazardous Substances Code of Practice Excavation work Code of Practice Moving Plant on Construction sites Code of Practice Cutting and Drilling Concrete and other Masonry products Code of Practice Electrical work AS/NZS 4360 - 1999 Risk Management Standard AS 4024.1 Safety of Machinery AS 3760 Electrical Testing and Tagging AS 1269 Acoustics Hearing and Conservation AS 2250 Cranes Safe use NCOP Manual Handling |  |  |
| Hazardous substances to be used on site (MSDS are attached to this SWMS if reqd) | Substance | Class Quantity |  |
| Training provided to operators All personnel have completed industry general and work activity induction training All applicators to be given site specific induction. Records are available upon request | White card Certificates Asbestos Awareness |  |  |
| Minimum PPE & Clothing to be Worn at this Site | Eye Protection High Visibility Vest Gloves Steel Cap Boots Safety Helmet (as required) Hearing Protection (as required) |  |  |
| Electrical Hazards | Use of site power supply – principal contractor to provide RCD to power supply. |  |  |
| Hot work | Hot work permit required for any hot works |  |  |
| Confined / restricted spaces | Entry to well or pit or confined space All staff working in pit/well/confined space to have accredited confined space certificate One staff member working outside pit/well/confined space (spotter) to have accredited confined space certificate whilst work is being done in confined space area Confined space instructions to be followed at all times SWMS to be followed at all times Entry only under supervision Tripod and rescue equipment meet AS2865 requirements |  |  |
| Site work / hours | Work to be performed between 7:00am and 5:00pm (Unless other arrangement noted in SWMS) Daylight hours – no artificial lighting necessary |  |  |
| Climate | Average outside temperature PPE to include sunscreen/ long sleeves/ hat as required Water to be available on site / adequate rest breaks No work to be performed at temperatures below 0C and above 45C Wet weather gear required if raining |  |  |
| First Aid | Site Personnel should make themselves familiar with the site First Aid facilities as described in the site induction A first aid kit is provided on site for emergency use. |  |  |

| RISK RATING CHART (based on AS/NZS 4360 – Risk Management Standard) |  |  | CONSEQUENCE |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1. Insignificant No injury or damage expected | 2. Minor Could cause 1st Aid injury or minor damage | 3. Moderate Could require medical attention and several days off work or moderate damage | 4. Major Could cause serious long term illness or injury or major damage | 5.Catastrophic Could kill, cause permanent disability or ill health or cause very serious damage |
| LIKELIHOOD | E. Almost Certain Could happen any time |  | H | H | E | E | E |
|  | D. Likely At some point in time |  | M | H | H | E | E |
|  | C. Possible Possible it might happen |  | L | M | H | E | E |
|  | B. Unlikely Not likely to happen |  | L | L | M | H | E |
|  | A. Rare Could happen, but probably never will |  | L | L | M | H | H |
| Class E Class H Class M Class L |  | EXTREME RISK: – Immediate action required HIGH RISK: High risk, senior management attention required MODERATE RISK: Moderate risk; management responsibility must be specified LOW RISK: Low risk; manage by routine procedures |  |  |  |  |  |

# Part 6 Site Safety Rules

All workers and subcontractors must:

- Complete site induction – understand site safety rules, Safe Work Method Statements and emergency procedures before starting work

- Comply with all safety signs

- Report all incidents, injuries and emergencies to the site supervisor and their own supervisor

- Wear the required personal protective equipment (PPE) as per the Safe Work Method Statement, Material Safety Data Sheets and/or manufacturer’s recommendations

- Before using or storing any hazardous substances be familiar with how to use it and what the precautions must be taken

- Keep the work areas clean and access ways free from hazards

- Put rubbish in appropriate bin or skip before leaving the site each day

- Be trained and competent and hold any required certificates or licences for the plant and equipment being used

- Have specific approval to modify/remove any plant, equipment or safety device on site including scaffolds, handrails, barricades, signage, guards etc.

- Make sure that electrical equipment is in good working order by visually inspecting it and ensuring it - has a current test tag - is placed where it is not likely to be damaged or create a trip hazard

- Not use piggy back leads or double adaptors on site

- Not enter the site if affected by/carrying alcohol or illegal drugs

# Part 7 Emergency Plan

### Work Sites where (business name) is in control of the site

Where an emergency occurs on a site, the most senior person available is responsible for the site until emergency workers or the police arrive. In these situations it is critical to keep calm and protect life. In general: - Make the immediate area safe where practical to do so - Raise the alarm/call for first aid (call 000) - Remain upwind (if outside) - Move outside (if inside) - Contact the Emergency Services - Give your name and location - Identify type and known extent of incident (e.g. numbers of casualties) - Identify hazardous substances (DG code and UN number)

### Work sites where (business name) is NOT in control of the site

The Principal Contractor has control of the site safety emergency plan at this site. All employees and contractors will be shown the emergency plan at the induction All employees and contractors are to familiarise themselves with the emergency plan A current Hazardous Substances Register is attached for use in emergencies.

# Emergency Contacts List

| Police, Fire, Ambulance | 000 or 112 on mobile | Management Contact Athol Stead | Phone 1800010233 | Mobile 0439498761 |
| --- | --- | --- | --- | --- |
| Police attendance | 000 or 112 on mobile | Athol Stead | 1800010233 | 0439498761 |
| Gas Leaks |  | Athol Stead | 1800010233 | 0439498761 |

| Part 8 Agreement to SWMS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| All workers involved with this activity have attended a site induction and have had opportunity to contribute to this SWMS. It is understood that the SWMS and site rules must be followed at all times. By signing on to this document workers agree to abide by these rules. | Site Supervisor: Tony Pound | Signed: |  | Date: |  |
|  | Applicator: Aron Koenau | Signed: |  | Date: |  |
|  | Applicator: | Signed: |  | Date: |  |
|  | Applicator: | Signed: |  | Date: |  |
|  | Applicator: | Signed: |  | Date: |  |
|  | Applicator: | Signed: |  | Date: |  |
| Client to complete this section |  |  |  |  | / / 2014 |
| Client Representative: |  |  | Accepted:  Yes  No  Amendments required as per attached details |  |  |