200Gal stored Energy Compressed Air Foam Systems

Operation instructions:

Make sure the ball valve on hose end is Closed.

- Open Valves on nitrogen cylinders.

- Open inlet valve from regulator to tank

- Open ball valve on the end of the hose and make foam.

Extra information on CAFS:

- Foam is fully functional and ready to use to -40 degrees.

- Foam discharge lasts 14Mins single hose 7mins dual hoses.

- Foam multiplies 10-15X when discharged

- Foam comes out end of the hose 50-75ft

Any further information required or for billing days please contact me below.

Thank you,

Kody Wilson

780-876-4929

mrsafetyltd@gmail.com                    mrsafetyltd.com