### 🔥 Daily Fire Marshal Check – Travel Agent Office

Location: [Insert Office Name & Address]
Completed By: __________________ Date: __________ Time: _______

#### ✅ 1. Escape Routes & Exits

| Checkpoint | Yes / No | Comments |
| --- | --- | --- |
| All escape routes are clear of obstructions | ☐ / ☐ |  |
| All fire exits are unlocked and easily opened | ☐ / ☐ |  |
| Fire exit signs are visible and illuminated (if applicable) | ☐ / ☐ |  |
| Exit routes are free from slip/trip hazards | ☐ / ☐ |  |

#### ✅ 2. Fire Detection & Alarms

| Checkpoint | Yes / No | Comments |
| --- | --- | --- |
| Fire alarm panel shows normal status (no faults) | ☐ / ☐ |  |
| No unusual smells (e.g., burning) or signs of smoke/fire | ☐ / ☐ |  |
| Alarm call points are visible and undamaged | ☐ / ☐ |  |

#### ✅ 3. Fire Extinguishers

| Checkpoint | Yes / No | Comments |
| --- | --- | --- |
| All extinguishers are in place and accessible | ☐ / ☐ |  |
| Safety pins and tamper seals are intact | ☐ / ☐ |  |
| No obvious damage or discharge | ☐ / ☐ |  |
| Signage is visible above each extinguisher | ☐ / ☐ |  |

#### ✅ 4. General Housekeeping

| Checkpoint | Yes / No | Comments |
| --- | --- | --- |
| Electrical items are turned off when not in use | ☐ / ☐ |  |
| No build-up of waste or combustible materials | ☐ / ☐ |  |
| Heating appliances are clear of flammable items | ☐ / ☐ |  |
| Kitchen area (if present) is clean and appliances off | ☐ / ☐ |  |

#### ✅ 5. Staff Awareness

| Checkpoint | Yes / No | Comments |
| --- | --- | --- |
| Fire evacuation procedure is clearly displayed | ☐ / ☐ |  |
| Staff are aware of assembly point location | ☐ / ☐ |  |
| Visitors are signed in and aware of evacuation process | ☐ / ☐ |  |

Signature: ___________________
Name (Print): ___________________
Position: ___________________