THE COMMON AT SINNOTT FARM

CUL-DE-SAC SPRINKLERS

# INFORMATION

# JUNE 27, 2005

Location of water shut offs (MDC) and irrigation valves:

- Entrance Ryefield Hollow North – two, one on each side of Ryefield Hollow North near Terry Plains Road.

- Quail Run Lane - shut off to the right rear of cul-de-sac under front of hedge, irrigation valve inside hedge.

- Spice Bush – on right side of cul-de-sac, near pump.

- Spring Hill Lane – right center of cul-de-sac.

- Arrowwood Lane – one located on each cul-de-sac.  On upper cul-de-sac right front, on lower cul-de-sac right center.

- Timothy Lane – right front of cul-de-sac.

Total:  eight separate shut offs, meters, and irrigation valves.

NOTE:  Water shut offs and meters (MDC) are located under metal disks, and maybe painted blue.  Smaller disk is the shut off; larger disk is the water meter.  Irrigation system valves are located under cover of green box imbedded in ground.  The irrigation green box will be located near MDC shut offs and meters.

All homeowners of the Common at Sinnott Farm are prohibited from accessing any and all MDC water shut offs or water meters.  All homeowners of the Common at Sinnott Farm, except for those specifically trained by the irrigation company, are prohibited from accessing any and all irrigation values.

Problems, noted by homeowners, concerning the irrigation system must be reported to a member of the Board of the Common at Sinnott Farm.  Homeowners:  Please do not contact either MDC or the irrigation company selected by the Common at Sinnott Farm directly.

## The Sequence of Events

The Board of Directors of the Common at Sinnott Farm, or its designee, will:

Each fall, before the first frost (September/October):

- Contact Metropolitan District Commission (water) to have the water at each cul-de-sac and at the entrance turned off.  MDC should be able to give a date when the water will be turned off.

After the water has been turned off, then:

- Contact the irrigation company (currently Green Machine – 243-9000) to schedule a time to purge the water lines and turn off the systems located at each cul-de-sac and at the entrance.

Each spring, after the possibility of freezing (April/May):

- Contact Metropolitan District Commission (water) to have the water at each cul-de-sac and at the entrance turned on.  MDC should be able to give a date when the water will be turned on.

After the water has been turned on, then:

- Contact the irrigation company (currently Green Machine – 243-9000) selected by the Common at Sinnott Farm to schedule a time for a technician to turn the irrigation system on, and to check the status/workability of the entire watering system.

NOTE:  Each and every irrigation box, in the cul-de-sacs and at the entrance, should be equipped with a battery operated timer designed to start up and shut down the day to day operation of the sprinkler system automatically.  Resetting the timer by anyone other than those trained by the irrigation company is prohibited.

NOTE:  When contacting either MDC or the irrigation company, be sure to mention the number and location of each of the shut off valves to ensure that the entire system is shut down or turned on.

In the future, it is the intent of the Board to find individuals in each of the cul-de-sacs to act as an irrigation coordinator.  These individuals would be responsible to periodically inspect the operation of the system on his or her cul-de-sac, and to report to the Board, or its designee, any problems with the system that have been experienced.

The timers:

SVC – Hunter timer – used on systems installed at the main entrance, Spring Hill, Arrowwood (both cul-de-sacs) and Timothy Lanes.

Utilizes a standard 9-volt alkaline battery, providing at least one full year of service.  To install battery, unscrew rear half of timer’s body, and snap the battery into the battery holder.

Setting the timer:

The display will show the time and day when the “return” button is pressed.  This button allows you to navigate amongst the programming options.  When programming, the flashing portion of the display can be changed by pressing the “+” or “-“ buttons.  To change something that is not flashing, press the left arrow of right arrow button until the desired field is flashing.

To set the current date and time, press the “return” button until the current time/day icon (a clock) is displayed.  Hours will be flashing.  Depress the “+” or “–“ button to change the hour as shown.  Depress the right arrow key to proceed to setting the minutes, and set using the “+” or “-“ button.  Using the right arrow key again, set AM or PM on the clock, and then proceed to the day of the week, using the right arrow key, setting the day of the week using the “+” or “-“ button.

To set watering times, depress the return key until the start time icon (alarm clock) appears in the display.  Depress the “+” or “-“ button to change the start time.