Village of Deshler

## Drinking Water Consumer Confidence Report For 2025

The Village of Deshler has prepared the following report to provide information to you, the consumer, on the quality of our drinking water. Included within this report is general health information, water quality test results, how to participate in decisions concerning your drinking water and water system contacts.

The Village of Deshler has constructed a new well field and water treatment plant. The facility has been in service since 2011

The Village of Deshler receives its drinking water from two ground water wells located at 935 West Main St.

Ohio EPA recently completed a study of the Village of Deshler source of drinking water, to identify potential contaminants sources, and provide guidance on protecting the drinking water source. According to this study, the aquifer (water-rich zone) that supplies water to the Village of Deshler has a Low susceptibility to contaminant. This determination is based on the following:

- The presence of a thick protective layer of clay overlaying the aquifer

- The significant depth ( over 150 feet below the ground surface) of the water producing portion of the aquifer

- No evidence to suggest that ground water has been impacted by any significant levels of chemical contaminants from human activities

- No apparent significant potential contaminant sources in the protective area

This susceptibility means that under currently existing conditions, the likelihood of the aquifer becoming contaminated is Low. This likelihood can be minimized by implementing appropriate protective measures. More information about the source water assessment or what consumers can do to help protect the aquifer is available by calling 419-352-8461. Copies of the source water assessment report prepared for the Village of Deshler are available by contracting Deshler Water Department at 419-278-1831

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up

substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include: (A) Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife; (B) Inorganic contaminants, such as salts and metals, which can be naturally- occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming; (C) Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses; (D) Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems; (E) Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, USEPA prescribes regulations that limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water that must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Federal Environmental Protection Agency’s Safe Drinking Water Hotline (1-800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons, such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infection. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

The EPA requires regular sampling to ensure drinking water safety. The Village of Deshler conducted sampling for bacteria; inorganic; and volatile organic during 2025. Samples were collected for many different contaminants most of which were not detected in the Village of Deshler water supply. The Ohio EPA requires us to monitor for some contaminants less than once per year because the concentrations of these contaminants do not change frequently. Some of our data, though accurate, are more than one year.

Listed below is information on those contaminants that were found in the Village of Deshler

drinking water.

## TABLE OF DETECTED CONTAMINANTS

| Contaminants (Units) | MCLG | MCL | Level Found | Range of Detections | Violation | Sample Year | Typical Source of Contaminants |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Inorganic Contaminants |  |  |  |  |  |  |  |
| Fluoride (ppm) | 4 | 4 | 0.65 | N/A | No | 2024 | Erosion of natural deposits |
| Cyanide (ppb) | 200 | 200 | 1.0 | N/A | No | 2024 | Discharge from steel/metal, plastic and fertilizer factories |
| Volatile Organic Contaminants |  |  |  |  |  |  |  |
| Total Trihalomethanes (ppb) | N/A | 80 | 15.7 | 4.0 -15.7 | No | 2025 | By product of drinking water chlorination |
| Residual Disinfectants |  |  |  |  |  |  |  |
| Total Chlorine (ppm) | MRDL 4 | MRDLG 4 | 1.0833 | .9-1.2 | No | 2025 | Water additive used to control microbes |

| Lead and Copper |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant (units) | Action Level (AL) | MCLG | Individual Results over the AL | 90% of test levels were less than | Violation | Year Sampled | Typical source of Contaminants |
| Lead (ppb) | 15 ppb | 0 ppb | 0 | 2.5 | No | 2024 | Corrosion of household plumbing fixtures |
|  | 0 out of 10 samples were found to have lead levels in excess of the lead action level of 15 ppb. |  |  |  |  |  |  |
| Copper (ppm) | 1.3 ppm | 1.3 ppm | 0 | .117 | No | 2024 | Corrosion of household plumbing fixtures |
|  | 0 out of 10_ samples were found to have copper levels in excess of the copper action level of 1.3 ppm. |  |  |  |  |  |  |

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. The Village of Deshler is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline at 800-426-4791 or at http://www.epa.gov/safewater/lead.

In 2025, we had an unconditioned license to operate our water system.

Public participation and comments are encouraged at regular meetings of The Board of Public Affairs, which meets the first and third Wednesdays of each month. For more information on your drinking water, contact the water department at 419-278-1831.

## Definitions of some terms contained within this report.

- Maximum Contaminant Level Goal (MCLG): The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

- Maximum Contaminant level (MCL): The highest level of contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

- Maximum Residual Disinfectant Level (MRDL): The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

- Maximum Residual Disinfectant Level Goal (MRDLG): The level of drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

- Action Level (AL): The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

- Parts per Million (ppm) or Milligrams per Liter (mg/L) are units of measure for concentration of a contaminant. A part per million corresponds to one second in a little over 11.5 days.

- Parts per Billion (ppb) or Micrograms per Liter (μg/L) are units of measure for concentration of a contaminant. A part per billion corresponds to one second in 31.7 years.

- The “<” symbol: A symbol which means less than. A result of <5 means that the lowest level that could be detected was 5 and the contaminant in that sample was not detected.

- Not Applicable (N/A) Abbreviation meaning that this does not apply to our report