## USA
Item | Display Name | Description | UPC Code | Internal ID | MSRP Pricing
US-WUS-CO-TRA-04-WH-LC | TRA-04-WH-LC | Warmup Terra Smart WiFi Thermostat, 120V/240V with sensor probe and instructions. White with GFCI. Do not connect on GFCI circuit or GFCI protected breaker. | 815846015978 | 27197 | 265.0032
US-WUS-CO-7IE-04-CW-LC | 7IE-04-CW-LC | *NEW* Warmup 7iE Matter Compatible Smart WiFi Thermostat, 120V/240V with sensor probe and instructions. Cloud White with GFCI. Do not connect on GFCI circuit or GFCI protected breaker. | 815846016357 | 34863 | 315.0009
US-WUS-CO-OC-EZPT-04-WH | EZPT-04-WH | Warmup Easy Programmable Thermostat. White with GFCI. | 815846016623 | 35670 | 155
US-WUS-AC-DCM-SP-10K | DCM-SP-10K | This floor probe is designed to work with Warmup's 4iE and Tempo thermostats. The 4.5mm tip diameter allows an easy installation within the Warmup DCM-PRO Membrane. | 815846014100 | 18658 | 22.26
US-WUS-CO-RL-240V25A | RL-240V25A | Warmup's RL-240V25A is a general purpose 240V coil relay. When used with Warmup’s 4iE-Terra-6iE controls series it can add an additional 3600 watts 15 amp load. Mounts in single gang box. Conforms to UL, CSA, TUV and meets IEC 950. | 815846015305 | 18651 | 96.46
US-WUS-CO-RL-120V25A | RL-120V25A | Warmup's RELAY-25 is a general purpose 25A/120V relay used to expand the switching capability of the 3iE-4iE controls series. Mounts in single gang box. Conforms to UL, CSA, TUV and meets IEC 950. | 815846015633 | 21804 | 93.28
US-WUS-AC-ACC-DGMTR | ACC-DGMTR | The Warmup ALLIGATOR is an ohmmeter with connectors that clip straight to the heating cable. The device constantly monitors the heating cables during installation and gives you the readings you need to complete the warranty and ensure a safe installation. | 856604000867 | 3805 | 25.44
US-WUS-AC-ACC-Watchdog | ACC-00Watchdog | Warmup Watchdog Cable Alarm (Continuity Tester) | 856604000874 | 5544 | 25.44
US-WUS-AC-ACC-DCT-SBOX | DCT-SBOX | The Dual Cable Tester allows for two load-neutral-ground connections of heating cables of any voltages. It will measure resistance from 2 to 1000 Ohms to make sure the integrity of the heating cable has not been compromised. | 815846016104 | 34210 | 46.64
US-WUS-AC-ACC-PLTL | ACC-PLTL | Plastic Trowel | 856604000850 | 3806 | 19.08
US-WUS-AC-RK-EO | RK-EO | Repair Kit for Outdoor Warmup ranges | 815846015626 | 21803 | 21.2
US-WUS-AC-RK-ENDCAP | RK-ENDCAP | Repair Kit-end cap 120/240v technical support supervisor approval only | 856604000775 | 3841 | 12.72
US-WUS-AC-RK-JOINT | RK-JOINT | Repair Kit factory joint 120/240v for Warmup NADCM, NADWS and NADWM heaters. | 856604000768 | 3842 | 12.72
US-WUS-AC-RK-Indoor | RK-INDOOR | Repair Kit-Standard (wire) 120/240v | 856604000751 | 3843 | 12.72
US-WUS-AC-DCM-FB-82 | DCM-FB-82 | Metal Fixing Band for DCM, WODH and WSM cables (83ft) | 815846011567 | 5870 | 117.66
US-WUS-EL-DCM-120-65 | DCM-120-65 | DCM-PRO Electric Heating Cable, 65 Watts, 120 Volts, 0.5 Amps, 5ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014469 | 18239 | 159
US-WUS-EL-DCM-120-130 | DCM-120-130 | DCM-PRO Electric Heating Cable, 130 Watts,120 Volts, 1.1 Amps, 10ft² . Use with fixing strips or uncoupling membrane, sold separately. | 815846014476 | 18241 | 186.56
US-WUS-EL-DCM-120-195 | DCM-120-195 | DCM-PRO Electric Heating Cable, 195 Watts, 120 Volts, 1.6 Amps, 15ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014483 | 18253 | 225.78
US-WUS-EL-DCM-120-260 | DCM-120-260 | DCM-PRO Electric Heating Cable, 260 Watts, 120 Volts, 2.2 Amps, 20ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014490 | 18260 | 260.76
US-WUS-EL-DCM-120-325 | DCM-120-325 | DCM-PRO Electric Heating Cable, 325 Watts, 120 Volts, 2.7 Amps, 25ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014506 | 18261 | 295.74
US-WUS-EL-DCM-120-390 | DCM-120-390 | DCM-PRO Electric Heating Cable, 390 Watts, 120 Volts, 3.3 Amps, 30ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014513 | 18262 | 323.3
US-WUS-EL-DCM-120-525 | DCM-120-525 | DCM-PRO Electric Heating Cable, 525 Watts, 120 Volts, 4.4 Amps, 40ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014520 | 18263 | 387.96
US-WUS-EL-DCM-120-655 | DCM-120-655 | DCM-PRO Electric Heating Cable, 655 Watts, 120 Volts, 5.5 Amps, 50ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014537 | 18264 | 433.54
US-WUS-EL-DCM-120-785 | DCM-120-785 | DCM-PRO Electric Heating Cable, 785 Watts, 120 Volts, 6.5 Amps, 60ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014544 | 18265 | 473.82
US-WUS-EL-DCM-120-920 | DCM-120-920 | DCM-PRO Electric Heating Cable, 920 Watts, 120 Volts, 7.7 Amps, 70ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014551 | 18266 | 520.46
US-WUS-EL-DCM-120-1050 | DCM-120-1050 | DCM-PRO Electric Heating Cable, 1050 Watts, 120 Volts, 8.8 Amps, 80ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014568 | 18267 | 576.64
US-WUS-EL-DCM-120-1180 | DCM-120-1180 | DCM-PRO Electric Heating Cable, 1180 Watts, 120 Volts, 9.8 Amps, 90ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014575 | 18268 | 623.28
US-WUS-EL-DCM-120-1315 | DCM-120-1315 | DCM-PRO Electric Heating Cable, 1315 Watts, 120 Volts, 11 Amps, 100ft².Use with fixing strips or uncoupling membrane, sold separately. | 815846014582 | 18269 | 658.26
US-WUS-EL-DCM-120-1445 | DCM-120-1445 | DCM-PRO Electric Heating Cable, 1445 Watts, 120 Volts, 12 Amps, 110ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014599 | 18270 | 720.8
US-WUS-EL-DCM-120-1575 | DCM-120-1575 | DCM-PRO Electric Heating Cable, 1575 Watts, 120 Volts,13.1 Amps, 120ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014605 | 18271 | 763.2
US-WUS-EL-DCM-240-195 | DCM-240-195 | DCM-PRO Electric Heating Cable, 195 Watts, 0.8 Amps, 240 Volts, 15ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846015619 | 21780 | 225.78
US-WUS-EL-DCM-240-325 | DCM-240-325 | DCM-PRO Electric Heating Cable, 325 Watts, 1.4 Amps, 240 Volts, 25ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014612 | 18272 | 293.62
US-WUS-EL-DCM-240-390 | DCM-240-390 | DCM-PRO Electric Heating Cable, 390 Watts, 1.6 Amps, 240 Volts, 30ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014629 | 18273 | 323.3
US-WUS-EL-DCM-240-525 | DCM-240-525 | DCM-PRO Electric Heating Cable, 525 Watts, 2.2 Amps, 240 Volts, 40ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014636 | 18274 | 387.96
US-WUS-EL-DCM-240-655 | DCM-240-655 | DCM-PRO Electric Heating Cable, 655 Watts, 2.7 Amps, 240 Volts, 50ft².Use with fixing strips or uncoupling membrane, sold separately. | 815846014643 | 18275 | 433.54
US-WUS-EL-DCM-240-785 | DCM-240-785 | DCM-PRO Electric Heating Cable, 785 Watts, 3.3 Amps, 240 Volts, 60ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014650 | 18276 | 473.82
US-WUS-EL-DCM-240-920 | DCM-240-920 | DCM-PRO Electric Heating Cable, 920 Watts, 3.8 Amps, 240 Volts, 70ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014667 | 18277 | 521.52
US-WUS-EL-DCM-240-1050 | DCM-240-1050 | DCM-PRO Electric Heating Cable, 1050 Watts, 4.4 Amps, 240 Volts, 80ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014674 | 18278 | 576.64
US-WUS-EL-DCM-240-1180 | DCM-240-1180 | DCM-PRO Electric Heating Cable, 1180 Watts, 4.9 Amps, 240 Volts, 90ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014681 | 18279 | 622.22
US-WUS-EL-DCM-240-1310 | DCM-240-1310 | DCM-PRO Electric Heating Cable, 1310 Watts, 5.5 Amps, 240 Volts, 100ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014698 | 18280 | 655.08
US-WUS-EL-DCM-240-1640 | DCM-240-1640 | DCM-PRO Electric Heating Cable, 1640 Watts, 6.8 Amps, 240 Volts, 125ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014704 | 18281 | 725.04
US-WUS-EL-DCM-240-1970 | DCM-240-1970 | DCM-PRO Electric Heating Cable, 1970 Watts, 8.2 Amps, 240 Volts, 150ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014711 | 18282 | 837.4
US-WUS-EL-DCM-240-2300 | DCM-240-2300 | DCM-PRO Electric Heating Cable, 2300 Watts, 9.6 Amps, 240 Volts, 175ft².Use with fixing strips or uncoupling membrane, sold separately. | 815846014728 | 18283 | 942.34
US-WUS-EL-DCM-240-2630 | DCM-240-2630 | DCM-PRO Electric Heating Cable, 2630 Watts, 11 Amps, 240 Volts, 200ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014735 | 18284 | 1007
US-WUS-EL-DCM-240-2955 | DCM-240-2955 | DCM-PRO Electric Heating Cable, 2955 Watts, 12.3 Amps, 240 Volts, 225ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014742 | 18285 | 1078.02
US-WUS-EL-DCM-240-3240 | DCM-240-3240 | DCM-PRO Electric Heating Cable, 3240 Watts, 13.5 Amps, 240 Volts, 250ft². Use with fixing strips or uncoupling membrane, sold separately. | 815846014759 | 18286 | 1196.74
US-WUS-EL-DCM-MW-70 | DCM-MW-70 | DCM-PRO Fleece V3 mat, box of 3'3" x 2'3" sheets, 70sqft. | 815846016142 | 34430 | 225.95
US-WUS-EI-DCM-MW-150 | DCM-MW-150 | DCM-PRO V3 Fleece mat, roll of 150sqft, 3'3" tall. | 815846015664 | 21959 | 450.77
US-WUS-EI-DCM-PSW-70 | DCM-PSW-70 | DCM-PRO Peel-and-Stick V3 Membrane, box of 2'6" x 3'3" sheets, 70sqft. | 815846016159 | 34438 | 252.72
US-WUS-EI-DCM-PSW-150 | DCM-PSW-150 | DCM-PRO Peel-and-Stick Membrane V3, roll of 150sqft, 3'3" tall. | 815846015688 | 21963 | 463.23
US-WUS-AC-DCM-WP-B35 | DCM-WP-B35 | 35ft Waterproofing band for DCM-PRO installations | 815846015848 | 25968 | 44.52
US-WUS-AC-DCM-WP-IN | DCM-WP-IN | QTY:2 of inside corners for waterproofing DCM-PRO installations | 815846015855 | 25969 | 18.02
US-WUS-AC-DCM-WP-OUT | DCM-WP-OUT | QTY:2 of outside corners for waterproofing DCM installations | 815846015862 | 25970 | 18.02
US-WUS-EL-DWM-09-120 | DWM-09-120 | 3ft Wide Warmup Underfloor Heating Mat, at 9sqft, 126 Watts, 1.05A | 815846013226 | 16224 | 227.9
US-WUS-EL-DWM-15-120 | DWM-15-120 | 3ft Wide Warmup Underfloor Heating Mat, at 15sqft, 210 Watts, 1.75A | 815846013233 | 16225 | 292.56
US-WUS-EL-DWM-18-120 | DWM-18-120 | 3ft Wide Warmup Underfloor Heating Mat, at 18sqft, 252 Watts, 2.1A | 815846013240 | 16226 | 347.68
US-WUS-EL-DWM-24-120 | DWM-24-120 | 3ft Wide Warmup Underfloor Heating Mat, at 24 sqft, 336 Watts, 2.8A | 815846013257 | 16227 | 404.92
US-WUS-EL-DWM-30-120 | DWM-30-120 | 3ft Wide Warmup Underfloor Heating Mat, at 30 sqft, 420 Watts, 3.5A | 815846013264 | 16228 | 463.22
US-WUS-EL-DWM-120-140 | DWM-120-140 | Warmup Under Floor Mat Heater, 120V, 140W, 1.2 amps, Covers 10 sq ft of heated area | 815846012861 | 14327 | 240.62
US-WUS-EL-DWM-120-210 | DWM-120-210 | Warmup Under Floor Mat Heater, 120V, 210W, 1.8 amps, Covers 15 sq ft of heated area | 815846012878 | 14328 | 291.5
US-WUS-EL-DWM-120-280 | DWM-120-280 | Warmup Under Floor Mat Heater, 120V, 280W, 2.3 amps, Covers 20 sq ft of heated area | 815846012885 | 14329 | 355.1
US-WUS-EL-DWM-120-350 | DWM-120-350 | Warmup Under Floor Mat Heater, 120V, 350W, 2.9 amps, Covers 25 sq ft of heated area | 815846012892 | 14330 | 411.28
US-WUS-EL-DWM-120-420 | DWM-120-420 | Warmup Under Floor Mat Heater, 120V, 420W, 3.5 amps, Covers 30 sq ft of heated area | 815846012908 | 14331 | 463.22
US-WUS-EL-DWM-120-560 | DWM-120-560 | Warmup Under Floor Mat Heater, 120V, 560W, 4.7 amps, Covers 40 sq ft of heated area | 815846012915 | 14332 | 541.66
US-WUS-EL-DWM-120-700 | DWM-120-700 | Warmup Under Floor Mat Heater, 120V, 700W, 5.8 amps, Covers 50 sq ft of heated area | 815846012922 | 14333 | 652.96
US-WUS-EL-DWM-120-840 | DWM-120-840 | Warmup Under Floor Mat Heater, 120V, 840W, 7.0 amps, Covers 60 sq ft of heated area | 815846012939 | 14334 | 754.72
US-WUS-EL-DWM-120-1050 | DWM-120-1050 | Warmup Under Floor Mat Heater, 120V, 1050W, 8.7 amps, Covers 75 sq ft of heated area | 815846012946 | 14335 | 919.02
US-WUS-EL-DWM-120-1260 | DWM-120-1260 | Warmup Under Floor Mat Heater, 120V, 1260W, 10.5 amps, Covers 90 sq ft of heated area | 815846012953 | 14336 | 1075.9
US-WUS-EL-DWM-120-1540 | DWM-120-1540 | Warmup Under Floor Mat Heater, 120V, 1540W, 12.8 amps, Covers 110 sq ft of heated area | 815846012960 | 14337 | 1227.48
US-WUS-EL-DWM-120-1620 | DWM-120-1620 | Warmup Under Floor Mat Heater, 120V, 1620W, 13.5 amps, Covers 120 sq ft of heated area | 815846012977 | 14338 | 1320.76
US-WUS-EL-DWM-240-350 | DWM-240-350 | Warmup Under Floor Mat Heater, 240V, 350W, 1.5 amps, Covers 25 sq ft of heated area | 815846012984 | 14339 | 411.28
US-WUS-EL-DWM-240-560 | DWM-240-560 | Warmup Under Floor Mat Heater, 240V, 560W, 2.3 amps, Covers 40 sq ft of heated area | 815846012991 | 14340 | 541.66
US-WUS-EL-DWM-240-700 | DWM-240-700 | Warmup Under Floor Mat Heater, 240V, 700W, 2.9 amps, Covers 50 sq ft of heated area | 815846013004 | 14341 | 652.96
US-WUS-EL-DWM-240-1050 | DWM-240-1050 | Warmup Under Floor Mat Heater, 240V, 1050W, 4.4 amps, Covers 75 sq ft of heated area | 815846013011 | 14342 | 919.02
US-WUS-EL-DWM-240-1260 | DWM-240-1260 | Warmup Under Floor Mat Heater, 240V, 1260W, 5.3 amps, Covers 90 sq ft of heated area | 815846013028 | 14343 | 1075.9
US-WUS-EL-DWM-240-1540 | DWM-240-1540 | Warmup Under Floor Mat Heater, 240V, 1540W, 6.4 amps, Covers 110 sq ft of heated area | 815846013035 | 14344 | 1227.48
US-WUS-EL-DWM-240-2100 | DWM-240-2100 | Warmup Under Floor Mat Heater, 240V, 2100W, 8.8 amps, Covers 150 sq ft of heated area | 815846013042 | 14345 | 1629.0315
US-WUS-EL-DWM-240-2520 | DWM-240-2520 | Warmup Under Floor Mat Heater, 240V, 2520W, 10.5 amps, Covers 180 sq ft of heated area | 815846013059 | 14346 | 1948.28
US-WUS-EL-DWM-240-3080 | DWM-240-3080 | Warmup Under Floor Mat Heater, 240V, 3080W, 12.8 amps, Covers 220 sq ft of heated area | 815846013066 | 14347 | 2278.9505
US-WUS-EL-DWM-240-3240 | DWM-240-3240 | Warmup Under Floor Mat Heater, 240V, 3240W, 13.5 amps, Covers 240 sq ft of heated area | 815846013073 | 14348 | 2419.731
US-WUS-INS-WCI-1 | WCI-1 | Warmup Ultralight Underfloor Heating Board. 3'3x 2'3 x 1/4" (985mm x 678mm x 6mm) Single Board. Covers 7.18 sqft. (ORDER OF 5 MINIMUM) | 815846016272 | 34679 | 31.4184
US-WUS-INS-WCI-10 | WCI-10 | A box of 10 Warmup Ultralight Underfloor Heating Boards, 3'3x 2'3 x 1/4" (985mm x 678mm x 6mm) Covering 71.8sqft. | 815846016265 | 34678 | 314.1628
US-WUS-EL-FOIL-20-240 | FOIL-20-240 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 240W, 1 amp, 1.6'W x 12.2'L, Covers 20 Sq Ft of heated area | 815846012250 | 9527 | 268.859
US-WUS-EL-FOIL-25-240 | FOIL-25-240 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 300W, 1.3 amp, 1.6'W x 15.3'L, Covers 25 Sq Ft of heated area | 815846012267 | 9528 | 335.5445
US-WUS-EL-FOIL-40-240 | FOIL-40-240 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 480W, 2 amps, 1.6'W x 24.5'L, Covers 40 Sq Ft of heated area | 815846012274 | 9529 | 476.325
US-WUS-EL-FOIL-50-240 | FOIL-50-240 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 600W, 2.5 amps, 1.6'W x 30.6'L, Covers 50 Sq Ft of heated area | 815846012281 | 9530 | 588.526
US-WUS-EL-FOIL-60-240 | FOIL-60-240 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 720W, 3 amps, 1.6'W x 36.7'L, Covers 60 Sq Ft of heated area | 815846012298 | 9531 | 707.078
US-WUS-EL-FOIL-70-240 | FOIL-70-240 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 840W, 3.5 amps, 1.6'W x 42.8'L, Covers 70 Sq Ft of heated area | 815846012304 | 9532 | 824.5715
US-WUS-EL-FOIL-95-240 | FOIL-95-240 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 1140W, 4.8 amps, 1.6'W x 57.1'L, Covers 95 Sq Ft of heated area | 815846012311 | 9533 | 1119.893
US-WUS-EL-FOIL-115-240 | FOIL-115-240 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 1380W, 5.8 amps, 1.6'W x 70.1'L, Covers 115 Sq Ft of heated area | 815846012328 | 9534 | 1251.147
US-WUS-EL-FOIL-130-240 | FOIL-130-240 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 1560W, 6.5 amp, 1.6'W x 79.3'L, Covers 130 Sq Ft of heated area | 815846012335 | 9535 | 1374.9915
US-WUS-EL-FOIL-140-240 | FOIL-140-240 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 1680W, 7.0 amps, 1.6'W x 85.4'L, Covers 140 Sq Ft of heated area | 815846012342 | 9536 | 1523.1815
US-WUS-IN-WIB-SOFT-1/4-110 | WIB-SOFT-1/4-110 | 1/4" thermal and sound underlayment for FOIL installations. Sold in full rolls of 110 sqft. | 815846015725 | 21980 | 185.2375
US-WUS-EL-WODH-240/500 | WODH-240/500 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 93'L, 500W, 2.1 amps. Covers 24-39 sq ft of heated area. | 815846010799 | 4291 | 324.36
US-WUS-EL-WODH-240/950 | WODH-240/950 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 176'L, 950W, 4.0 amps. Covers 44-74 sq ft of heated area. | 815846010744 | 4292 | 496.08
US-WUS-EL-WODH-240/1300 | WODH-240/1300 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 250'L, 1300W, 5.4 amps. Covers 62-104 sq ft of heated area. | 815846010751 | 4293 | 570.28
US-WUS-EL-WODH-240/1700 | WODH-240/1700 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 312'L, 1700W, 7.1 amps. Covers 76-130 sq ft of heated area. | 815846010768 | 4294 | 730.34
US-WUS-EL-WODH-240/2400 | WODH-240/2400 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 437'L, 2400W, 10.0 amps. Covers 105-182 sq ft of heated area. | 815846010775 | 4295 | 981.56
US-WUS-EL-WODH-240/3400 | WODH-240/3400 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 625'L, 3400W, 14.2 amps. Covers 155-260 sq ft of heated area. | 815846010782 | 4296 | 1157.52
US-WUS-EL-HTR-090PC | HTR-090PC | Chelsea Round towel warmer with 6 curved bars. 201 stainless steel with polished finish. Built with 60W heating cable. | 815846015251 | 18590 | 572.45
US-WUS-EL-HTR-001PC | HTR-001PC | Single Bar, round. Each bar sold separately. 304 stainless steel with a Polished finish. 14 Watts/120V per bar. To work effectively, a minimum of 4 bars should be installed. Requires TW00X mounting bracket for each set of 4 bars. | 815846015190 | 18595 | 140.17
US-WUS-EL-HTR-002BN | HTR-002BN | Single Bar, square. Each bar sold separately. 304 stainless steel with a Brushed Stainless finish. 14 Watts/120V per bar. To work effectively, a minimum of 4 bars should be installed. Requires TW00X mounting bracket for each set of 4 bars. | 815846015206 | 18596 | 151.94
US-WUS-EL-HTR-001MB | HTR-001MB | Single Bar, round. Each bar sold separately. 304 stainless steel with a Matte Black finish. 14 Watts/120V per bar. To work effectively, a minimum of 4 bars should be installed. Requires TW00X mounting bracket for each set of 4 bars. | 5034526014703 | 21158 | 141.24
US-WUS-EL-HTR-002MB | HTR-002MB | Single Bar, square. Each bar sold separately. 304 stainless steel with a Matte Black finish. 14 Watts/120V per bar. To work effectively, a minimum of 4 bars should be installed. Requires TW00X mounting bracket for each set of 4 bars. | 5034526014697 | 21161 | 150.87
US-WUS-EL-HTR-110BN | HTR-110BN | Times Square towel warmer with 10 square bars. 201 stainless steel with Brushed finish. Built with 110W heating cable. | 815846015299 | 18594 | 711.55
US-WUS-EL-HTR-091MB | HTR-091MB | Chelsea Round towel warmer with 6 straight bars. 201 stainless steel construction with Matte Black finish. Built with 60W heating cable. | 815846015602 | 21156 | 439.77
US-WUS-EL-HTR-109SB | HTR-109SB | 9 bars Heated towel rail with 304 grade Stainless steel in powder coated Satin Black. 2-year Warranty | 815846016234 | 34670 | 714.76
US-WUS-AC-WRGH-SB-170 | WRGH-SB-170 | The SB170 is a versatile adhesive to apply the Warmup ROOF-CLIP (1 tube per 50 clips recommended). Min Application Temp of -20F | 87086000445 | 18321 | 39.22
US-WUS-OD-WRGH-120-150 | WRGH-120-150 | 30ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 150 Watts. Includes roof clips and spacers. | 815846014773 | 18349 | 104.94
US-WUS-OD-WRGH-120-300 | WRGH-120-300 | 60ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 300 Watts. Includes roof clips and spacers. | 815846014780 | 18350 | 135.68
US-WUS-OD-WRGH-120-400 | WRGH-120-400 | 80ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 400 Watts. Includes roof clips and spacers. | 815846014797 | 18351 | 173.84
US-WUS-OD-WRGH-120-500 | WRGH-120-500 | 100ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 500 Watts. Includes roof clips and spacers. | 815846014803 | 18352 | 195.04
US-WUS-OD-WRGH-120-600 | WRGH-120-600 | 120ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 600 Watts. Includes roof clips and spacers. | 815846014810 | 18353 | 242.74
US-WUS-OD-WRGH-120-800 | WRGH-120-800 | 160ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 800 Watts. Includes roof clips and spacers. | 815846014827 | 18354 | 285.14
US-WUS-OD-WRGH-120-1000 | WRGH-120-1000 | 200ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 1,000 Watts. Includes roof clips and spacers. | 815846014834 | 18355 | 340.26
US-WUS-OD-WRGH-120-1200 | WRGH-120-1200 | 240ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 1,200 Watts. Includes roof clips and spacers. | 815846014841 | 18356 | 369.94
US-WUS-OD-ODC-WRS-2 | ODC-WRS-2 | Moisture & Temperature Controller for Warmup WRGH Roof & Gutter De-icing Kits | 815846014858 | 18357 | 145.22
US-WUS-OD-SR-5W-1-250-U | SR-5W-1-250-U | 250ft spool of unjacketed SR cable, 120V, 5W linear at 50F. For Indoor Pipe Protection only. | 815846015695 | 21884 | 746.2425
US-WUS-OD-SR-K6UJ | SR-K6UJ | Unjacketed Self Regulating Heater Cable Kit, 120V, 6ft long pre-terminated with Plug For indoor residential pipe protection use only | 815846015770 | 22145 | 52.925
US-WUS-OD-SR-K12UJ | SR-K12UJ | Unjacketed Self Regulating Heater Cable Kit, 120V, 12ft long pre-terminated with Plug For indoor residential pipe protection use only | 815846015787 | 22146 | 68.8025
US-WUS-OD-SR-K18UJ | SR-K18UJ | Unjacketed Self Regulating Heater Cable Kit, 120V, 18ft long pre-terminated with Plug For indoor residential pipe protection use only | 815846015794 | 22147 | 81.5045
US-WUS-OD-SR-K24UJ | SR-K24UJ | Unjacketed Self Regulating Heater Cable Kit, 120V, 24ft long pre-terminated with Plug For indoor residential pipe protection use only | 815846015800 | 22148 | 96.3235
US-WUS-AC-SR-HTMK | SR-HTMK | Plug-in power connection kit for Pipe Protection Cable | 815846015749 | 22003 | 33.872
US-WUS-AC-SR-TAPE-UJ | SR-TAPE-UJ | Adhesive Tape for UJ Cable series ½” W x 66’ L | 815846015817 | 22149 | 23.287
US-WUS-OD-SR-K6 | SR-K6 | Self Regulating Heater Cable Kit, 120V, 6 ft long pre-terminated with Plug | 815846011147 | 5288 | 99.499
US-WUS-OD-SR-K12 | SR-K12 | Self Regulating Heater Cable Kit, 120V, 12ft long pre-terminated with Plug | 815846011154 | 5593 | 130.1955
US-WUS-OD-SR-K18 | SR-K18 | Self Regulating Heater Cable Kit, 120V, 18 ft long pre-terminated with Plug | 815846011161 | 5594 | 167.243
US-WUS-OD-SR-K24 | SR-K24 | Self Regulating Heater Cable Kit, 120V, 24ft long pre-terminated with Plug | 815846011130 | 5595 | 203.232
US-WUS-OD-SR-K50 | SR-K50 | Self Regulating Heater Cable Kit, 120V, 50ft long pre-terminated with Plug | 815846011178 | 5596 | 341.8955
US-WUS-OD-SR-K75 | SR-K75 | Self Regulating Heater Cable Kit, 120V, 75ft long pre-terminated with Plug | 815846014117 | 17786 | 456.2135
US-WUS-OD-SR-K100 | SR-K100 | Self Regulating Heater Cable Kit, 120V, 100ft long pre-terminated with Plug | 815846014124 | 17787 | 582.175
US-WUS-OD-SR-5W-1-250 | SR-5W-1-250 | *WHILE SUPPLIES LAST* Self-Regulated cable, 120V, 5 Watts per linear foot. Sold in 1000-foot spools. | 815846013714 | 16581 | 1986.8045
US-WUS-OD-SR-5W-1-500 | SR-5W-1-500 | *WHILE SUPPLIES LAST* Self-Regulated cable, 208-277V, 5 Watts per linear foot. Sold in 1000-foot spools. | 815846015534 | 21366 | 3971.492
US-WUS-OD-SR-5W-1-1000 | SR-5W-1-1000 | *WHILE SUPPLIES LAST* Self-Regulated cable, 120V, 8 Watts per linear foot. Sold in 1000-foot spools. | 815846013653 | 16387 | 7941.9255
US-WUS-OD-SR-5W-2-250 | SR-5W-2-250 | *WHILE SUPPLIES LAST* Self-Regulated cable, 208-277V, 8 Watts per linear foot. Sold in 1000-foot spools. | 815846013745 | 16582 | 1986.8045
US-WUS-OD-SR-5W-2-500 | SR-5W-2-500 | *WHILE SUPPLIES LAST* Self-Regulated cable, 120V, 5 Watts per linear foot. Sold in 250-foot spools. | 815846015558 | 21368 | 3971.492
US-WUS-OD-SR-5W-2-1000 | SR-5W-2-1000 | *WHILE SUPPLIES LAST* Self-Regulated cable, 208-277V, 5 Watts per linear foot. Sold in 250-foot spools. | 815846013684 | 16390 | 7941.9255
US-WUS-OD-SR-8W-1-250 | SR-8W-1-250 | *WHILE SUPPLIES LAST* Self-Regulated cable, 120V, 8 Watts per linear foot. Sold in 250-foot spools. | 815846013721 | 16583 | 2045.022
US-WUS-OD-SR-8W-1-500 | SR-8W-1-500 | *WHILE SUPPLIES LAST* Self-Regulated cable, 208-277V, 8 Watts per linear foot. Sold in 250-foot spools. | 815846015541 | 21367 | 4087.927
US-WUS-OD-SR-8W-1-1000 | SR-8W-1-1000 | *WIHLE SUPPLIES LAST* Self-Regulated cable, 120V, 5 Watts per linear foot. Sold in 500-foot spools. | 815846013660 | 16388 | 8173.737
US-WUS-OD-SR-8W-2-250 | SR-8W-2-250 | *WHILE SUPPLIES LAST* Self-Regulated cable, 240V, 5 Watts per linear foot. Sold in 500-foot spools. | 815846013752 | 16584 | 2045.022
US-WUS-OD-SR-8W-2-500 | SR-8W-2-500 | *WHILE SUPPLIES LAST* Self-Regulated cable, 120V, 8 Watts per linear foot. Sold in 500-foot spools. | 815846015565 | 21369 | 4087.927
US-WUS-OD-SR-8W-2-1000 | SR-8W-2-1000 | *WHILE SUPPLIES LAST* Self-Regulated cable, 240V, 8 Watts per linear foot. Sold in 500-foot spools. | 815846013691 | 16391 | 8173.737
US-WUS-OD-WSR-5/9W-1-250-CR | WSR-5/9W-1-250-CR | *NEW* Self-Regulated cable, 120V, 5/9 Watts per linear foot. Sold in 250-foot spools. | 815846016395 | 35184 | 2045.022
US-WUS-OD-WSR-5/9W-1-500-CR | WSR-5/9W-1-500-CR | *NEW* Self-Regulated cable, 120V, 5/9 Watts per linear foot. Sold in 500-foot spools. | 815846016401 | 35185 | 4087.927
US-WUS-OD-WSR-5/9W-1-1000-CR | WSR-5/9W-1-1000-CR | *NEW* Self-Regulated cable, 120V, 5/9 Watts per linear foot. Sold in 1000-foot spools. | 815846016418 | 35186 | 8173.737
US-WUS-OD-WSR-5/9W-2-250-CR | WSR-5/9W-2-250-CR | *NEW* Self-Regulated cable, 208-277V, 5/9 Watts per linear foot. Sold in 250-foot spools. | 815846016425 | 35187 | 2045.022
US-WUS-OD-WSR-5/9W-2-500-CR | WSR-5/9W-2-500-CR | *NEW* Self-Regulated cable, 208-277V, 5/9 Watts per linear foot. Sold in 500-foot spools. | 815846016432 | 35188 | 4087.927
US-WUS-OD-WSR-5/9W-2-1000-CR | WSR-5/9W-2-1000-CR | *NEW* Self-Regulated cable, 208-277V, 5/9 Watts per linear foot. Sold in 1000-foot spools. | 815846016449 | 35189 | 8173.737
US-WUS-OD-WSR-8/12W-1-250-CR | WSR-8/12W-1-250-CR | *NEW* Self-Regulated cable, 120V, 8/12 Watts per linear foot. Sold in 250-foot spools. | 815846016456 | 35190 | 2045.022
US-WUS-OD-WSR-8/12W-1-500-CR | WSR-8/12W-1-500-CR | *NEW* Self-Regulated cable, 120V, 8/12 Watts per linear foot. Sold in 500-foot spools. | 815846016463 | 35191 | 4087.927
US-WUS-OD-WSR-8/12W-1-1000-CR | WSR-8/12W-1-1000-CR | *NEW* Self-Regulated cable, 120V, 8/12 Watts per linear foot. Sold in 1000-foot spools. | 815846016388 | 35183 | 8173.737
US-WUS-OD-WSR-8/12W-2-250-CR | WSR-8/12W-2-250-CR | *NEW* Self-Regulated cable, 208-277V, 8/12 Watts per linear foot. Sold in 250-foot spools. | 815846016371 | 35182 | 2045.022
US-WUS-OD-WSR-8/12W-2-500-CR | WSR-8/12W-2-500-CR | *NEW* Self-Regulated cable, 208-277V, 8/12 Watts per linear foot. Sold in 500-foot spools. | 815846016470 | 35192 | 4087.927
US-WUS-OD-WSR-8/12W-2-1000-CR | WSR-8/12W-2-1000-CR | *NEW* Self-Regulated cable, 208-277V, 8/12 Watts per linear foot. Sold in 1000-foot spools. | 815846016364 | 35181 | 8173.737
US-WUS-OD-WSR-10/15W-1-250-CR | WSR-10/15W-1-250-CR | *NEW* Self-Regulated cable, 120V, 10/15 Watts per linear foot. Sold in 250-foot spools. | 815846016487 | 35193 | 2045.022
US-WUS-OD-WSR-10/15W-1-500-CR | WSR-10/15W-1-500-CR | *NEW* Self-Regulated cable, 120V, 10/15 Watts per linear foot. Sold in 500-foot spools. | 815846016494 | 35194 | 4087.927
US-WUS-OD-WSR-10/15W-1-1000-CR | WSR-10/15W-1-1000-CR | *NEW* Self-Regulated cable, 120V, 10/15 Watts per linear foot. Sold in 1000-foot spools. | 815846016500 | 35195 | 8173.737
US-WUS-OD-WSR-10/15W-2-250-CR | WSR-10/15W-2-250-CR | *NEW* Self-Regulated cable, 208-277V, 10/15 Watts per linear foot. Sold in 250-foot spools. | 815846016517 | 35196 | 2045.022
US-WUS-OD-WSR-10/15W-2-500-CR | WSR-10/15W-2-500-CR | *NEW* Self-Regulated cable, 208-277V, 10/15 Watts per linear foot. Sold in 500-foot spools. | 815846016524 | 35197 | 4087.927
US-WUS-OD-WSR-10/15W-2-1000-CR | WSR-10/15W-2-1000-CR | *NEW* Self-Regulated cable, 208-277V, 10/15 Watts per linear foot. Sold in 1000-foot spools. | 815846016531 | 35198 | 8173.737
US-WUS-AC-ACC-CRDS-15-GFI | CRDS-15-GFI | GFCI cord set for SR cable series. NEMA 5-15p, 15 amp rated, 14/3 Ga, 120V. rating, Max Cable length 125ft. | 815846010164 | 4042 | 100.8
US-WUS-AC-SR-POWER-KIT | SR-POWER-KIT | Power Connection Kit for Self-Regulated Cable. Includes pipe mounting bracket and an End Kit. | 815846010461 | 4180 | 74.55
US-WUS-AC-SR-SPLICE-KIT | SR-SPLICE-KIT | Splice/Tee Kit for Self-Regulated Cable. Includes (2) end caps. | 815846010478 | 4181 | 49.35
US-WUS-AC-SR-END-KIT | SR-END-KIT | End Seal Kit for for Self-Regulating Cable | 815846010485 | 4182 | 27.3
US-WUS-AC-SR-ROOF-CLIP | SR-ROOF-CLIP | Metal single roof clips packaged and sold 50 per pkg. Secure to roof with screws or Everseal SB-190 adhesive or similar. | 815846013783 | 16907 | 126
US-WUS-AC-SR-HANGER-KIT | SR-HANGER-KIT | Downspout Hanger for Self Regulating Cable and Roof/gutter heaters Warmup Brand #HANGER-KIT | 815846013790 | 16909 | 24.15
US-WUS-OD-SR-SFIT-TEE | SR-SFIT-TEE | Weather tight 3-way Tee-Splice for NAMSR cable applications on Roofs and Pipe Freeze installations | 815846014407 | 17988 | 84
US-WUS-OD-SR-SFIT-SPL | SR-SFIT-SPL | In-line connection box for NAMSR, WODH and WSM/M cables. Used to join two runs of NAMSR or as an in-line repair kit for WSMM installations | 815846014391 | 17987 | 77.7
US-WUS-OD-SR-SFIT-BOX-S | SR-SFIT-BOX-S | Power Connection Junction Box (Square) for NAMSR cables used in Pipe Freeze Protection applications. Includes pipe-mounting bracket and junction box. | 815846016111 | 34226 | 241.5
US-WUS-CO-SR-PLUG | SR-PLUG | Automatic Thermostatic Plug for Pipe Protection and Roof Deicing | 815846015718 | 21887 | 28.35
US-WUS-AC-SR-LENDCAP | SR-LENDCAP | Lit End Cap for NAMSR Cable | 815846015701 | 21886 | 322.35
US-WUS-PM-SR-LBL | SR-LBL | Caution Label for Self Regulating Cable (10) | 815846010522 | 4185 | 24.15
US-WUS-AC-SR-TAPE-AL | SR-TAPE-AL | Aluminum Foil Tape for Self Regulating Cable or FOIL, 90 ft Roll. | 815846013806 | 16951 | 25.2
US-WUS-OD-WSM-480/1000 | WSM-480/1000 | Snow Melting Cable, 83.8'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 480V, 1000W, 2.08 amps, Covers 20-34 Sq ft of heated area | 815846014308 | 17966 | 293.2045
US-WUS-OD-WSM-480/2500 | WSM-480/2500 | Snow Melting Cable,209'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 5.21 Amps, 480V, 2500W. | 815846014315 | 17967 | 582.175
US-WUS-OD-WSM-480/4000 | WSM-480/4000 | Snow Melting Cable, 342.2'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 480V, 4000W, 8.33 amps, Covers 85-135 Sq ft of heated area | 815846014322 | 17968 | 833.0395
US-WUS-OD-WSM-480/6000 | WSM-480/6000 | Snow Melting Cable, 513.25'L, 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 12.5 Amps, 480V, 6000W. Covers 122-200 Sq Ft of heated area | 815846014339 | 17969 | 1195.0465
US-WUS-OD-WSM-240/1000 | WSM-240/1000 | Snow Melting Cable, 84'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 240V, 1000W, 4.2 amps, Covers 20-34 Sq ft of heated area | 815846012458 | 9560 | 287.912
US-WUS-OD-WSM-240/2000 | WSM-240/2000 | Snow Melting Cable,168'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 8.3 Amps, 240V, 2000W. Covers 43-72 Sq Ft of heated area | 815846011710 | 5741 | 442.453
US-WUS-OD-WSM-240/2500 | WSM-240/2500 | Snow Melting Cable, 209'L, 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 240V, 2500W, 10.4 amps, Covers 51 to 84 Sq Ft of heated area | 815846012465 | 9561 | 568.4145
US-WUS-OD-WSM-240/3000 | WSM-240/3000 | Snow Melting Cable,251', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 12.5 Amps, 240V, 3000W. Covers 62-104 Sq Ft of heated area | 815846011727 | 5742 | 611.813
US-WUS-OD-WSM-240/4000 | WSM-240/4000 | Snow Melting Cable, 335', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 240V, 4000W, 16.7 amps, Covers 85-135 Sq ft of heated area | 815846014025 | 17011 | 808.694
US-WUS-OD-WSM-240/5000 | WSM-240/5000 | Snow Melting Cable, 420, 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 20.8 Amps, 240V, 5000W. Covers 100-170 Sq Ft of heated area | 815846011741 | 5744 | 981.2295
US-WUS-OD-WSM-240/6000 | WSM-240/6000 | Snow Melting Cable, 500'L, 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 25 Amps, 240V, 6000W. Covers 122-200 Sq Ft of heated area | 815846011758 | 9564 | 1161.1745
US-WUS-OD-WSMM-240/500 | WSMM-240/500 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 10 sq ft - 2'W x 5'L, 2.1 amps, 500W | 856604000294 | 3874 | 261.4495
US-WUS-OD-WSMM-240/1000 | WSMM-240/1000 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 20 sq ft - 2'W x 10'L, 4.2 amps, 1000W | 856604000379 | 3869 | 355.656
US-WUS-OD-WSMM-240/1500 | WSMM-240/1500 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 30 sq ft - 2'W x 15'L, 6.3 amps, 1500W | 856604000386 | 3870 | 472.091
US-WUS-OD-WSMM-240/2000 | WSMM-240/2000 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 40 sq ft - 2'W x 20'L, 8.3 amps, 2000W | 856604000393 | 3871 | 558.888
US-WUS-OD-WSMM-240/2500 | WSMM-240/2500 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 50 sq ft - 2'W x 25'L, 10.4 amps, 2500W | 856604000416 | 3872 | 624.515
US-WUS-OD-WSMM-240/3000 | WSMM-240/3000 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 60 sq ft - 2'W x 30'L, 12.5 amps, 3000W | 815846013950 | 17003 | 783.29
US-WUS-OD-WSMM-240/3500 | WSMM-240/3500 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 70 sq ft - 2'W x 35'L, 14.6 amps, 3500W | 815846013967 | 17004 | 865.853
US-WUS-OD-WSMM-240/4000 | WSMM-240/4000 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 80 sq ft - 2'W x 40'L, 16.7 amps, 4000W | 815846013974 | 17005 | 950.533
US-WUS-OD-WSMM-240/4500 | WSMM-240/4500 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 90 sq ft - 2'W x 45'L, 18.8 amps, 4500W | 815846013981 | 17006 | 1026.745
US-WUS-OD-WSMM-240/5000 | WSMM-240/5000 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 100 sq ft - 2'W x 50'L, 20.8 amps, 5000W | 856604000423 | 3875 | 1130.478
US-WUS-OD-WSMM-240/6000 | WSMM-240/6000 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 120 sq ft - 2'W x 60'L, 25 amps, 6000W | 856604000430 | 3876 | 1355.9385
US-WUS-OD-WSMM-240/3x10 | WSMM-240/3x10 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 30 sq ft - 3'W x 10'L, 6.3 amps, 1500W | 815846013998 | 17007 | 476.325
US-WUS-OD-WSMM-240/3x20 | WSMM-240/3x20 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 60 sq ft - 3'W x 20'L, 12.5 amps, 3000W | 815846014049 | 17013 | 764.237
US-WUS-OD-WSMM-240/3x25 | WSMM-240/3x25 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 75 sq ft - 3'W x 25'L, 15.6 amps, 3750W | 815846014032 | 17012 | 872.204
US-WUS-OD-WSMM-240/3x30 | WSMM-240/3x30 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 90 sq ft - 3'W x 30'L, 18.8 amps, 4500W | 815846014001 | 17008 | 1048.9735
US-WUS-OD-WSMM-240/3x40 | WSMM-240/3x40 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 120 sq ft - 3'W x 40'L, 25 amps, 6000W | 815846014018 | 17009 | 1310.423
US-WUS-OD-WSMM-480/1500 | WSMM-480/1500 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 30 sq ft - 2'W x 15'L, 3.13 amps, 1500W | 815846014254 | 17961 | 477
US-WUS-OD-WSMM-480/2000 | WSMM-480/2000 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 40 sq ft - 2'W x 20'L, 4.17 amps, 2000W | 815846014261 | 17962 | 564.98
US-WUS-OD-WSMM-480/3000 | WSMM-480/3000 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 60 sq ft - 2'W x 30'L, 6.25 amps, 3000W | 815846014278 | 17963 | 791.82
US-WUS-OD-WSMM-480/4000 | WSMM-480/4000 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 80 sq ft - 2'W x 40'L, 8.33 amps, 4000W | 815846014285 | 17964 | 969.9
US-WUS-OD-WSMM-480/6000 | WSMM-480/6000 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 120 sq ft - 2'W x 60'L, 12.50 amps, 6000W | 815846014292 | 17965 | 1369.52
US-WUS-AC-WSM-NMP | WSM-NMP | Branded Name Plate for use with Warmup Snow Melt Heater installations (NEC426-13) | 5034526004520 | 15765 | 47.7
US-WUS-OD-SR-ZT-100 | SR-ZT-100 | Bag of 100 Heavy Duty Zip Ties (100). 7" long. For use with WSM, WODH and NAMSR cable series. 50lbs load bearing capacity. | 815846015411 | 19163 | 22.26
US-WUS-CO-ODC-ASE-DS2C | ODC-ASE-DS2C | Snow/Ice Melt All-In-One Control Unit, 1 Zone control, ground and roof, 115/230VAC, 30 amps | 720825511559 | 3981 | 791.758
US-WUS-CO-ODC-ASE-DS5C | ODC-ASE-DS5C | Snow/Ice Melt All-In-One Control Unit, 2 Zone control, ground and roof, 115/230VAC, 60 amp (2 x 30 amps) | 720825512341 | 3982 | 917.7195
US-WUS-CO-ODC-ASE-DS8C | ODC-ASE-DS8C | Snow/Ice Melt Control Unit, 100-277 VAC Universal Input Power Supply, 1-30A SPST Load Contactor. remote moisture sensor, ground and roof, 115/230VAC | 720825511566 | 6248 | 919.8365
US-WUS-CO-ODC-ASE-DS9C | ODC-ASE-DS9C | The DS-9C is a Roof & Gutter controller with 2x30A resistive load capacity. | 720825512327 | 18127 | 974.8785
US-WUS-CO-ODC-CDP-2 | ODC-CDP-2 | Indoor Monitoring and Control for Roof & Gutter Cable, Self Powered, fits Any Standard Single Gang or multi gang electrical enclosure. Fits all DS series controllers. | 815846012175 | 8361 | 316.4915
US-WUS-CO-ODC-CS-50 | ODC-CS-50 | 50ft connection kit between DS Controller and CDP-2 remote | 815846015756 | 22110 | 135.488
US-WUS-CO-ODC-RESIBOX3-19 | ODC-RESIBOX3-19 | Plug-and-Play outdoor controller with 4 x 30A/2pole contactors allowing for a total load of 120A with a minimum power supply of 36A. Comes in LED enclosure with GFEP protection, built-in Digital controller and ground temperature sensor. AIRSense sold separately. | 815846016340 | 34794 | 5440
US-WUS-CO-ODC-COMBOX600-19 | ODC-COMBOX600-19 | Plug-and-Play outdoor controller with 4 x 50A/3pole contactors allowing for a total load of 600A with a minimum power supply of 150A (3-phase power). 230A Max load at 240V supply. Comes in LED enclosure with GFEP protection, built-in Digital controller and ground temperature sensor. 3-Phase power and any transformers are the responsibility of the Electrical Contractor. AirSense sold separately. | 815846016333 | 34791 | 6985
US-WUS-OD-ODC-AIRSS-19 | ODC-AIRSS-19 | Outdoor moisture and temperature sensor | 815846016326 | 34788 | 982
US-WUS-CO-ODC-AIRSS-B | ODC-AIRSS-B | Mounting bracket for AirSense Sensor | 815846015459 | 19227 | 238.16
US-WUS-CO-ODC-GROUNDSS-19 | ODC-GROUNDSS-19 | Snow and Ice pavement sensor to be used with the Resibox3-19 or the Combox600-19 controllers. It comes with 30 feet (10 m.), 24V 4 wires cable for connection. | 815846016630 | 35682 | 2350
US-WUS-CO-ODC-ODC-GUTTERSS-19 | ODC-GUTTERSS-19 | Snow and Ice gutter sensor to be used with the Resibox3-19 or the Combox600-19 controllers. It comes with 30 feet (10 m.), 24V 4 wires cable for connection. | 815846016647 | 35683 | 1100
US-WUS-CO-ODC-FPT-130 | ODC-FPT-130 | Automatic Freeze Protection Controller with 2P contactors up to 30A and integral GFEP | 815846015145 | 18136 | 2245
US-WUS-CO-ODC-TRF115-005 | TRF115-005 | Line voltage controller 120v - 277v, NEMA 4X enclosure with remote temperature sensor. | 879978001186 | 11112 | 260.391
US-WUS-CO-ODC-TRACE-1 | ODC-TRACE-1 | Heat Tracing Controller with built-in GFEP protection and 30A load switching capability. 120Vac | 815846016654 | 35681 | 1797
US-WUS-CO-ODC-TRACE-2 | ODC-TRACE-2 | Heat Tracing Controller with built-in GFEP protection and 30A load switching capability. 240Vac | 815846015473 | 19234 | 1797
US-WUS-CO-ODC-SNOPRO-100 | ODC-SNOPRO-100 | SNPPRO-100 Snow/Ice Melt All-In-One ControlUnit, an exceptionally capable deicing controller. Compatible with the Warmup WSM Snowmelting App. Available in a single phase or three phases | 815846015985 | 34655 | 3900
US-WUS-CO-ODC-SNOPRO-100-W | ODC-SNOPRO-100-W | SNOPRO-100 WiFI Snow/Ice Melt All-In-One Control Unit, an exceptionally capable deicing controller. Compatible with the Warmup WSM Snowmelting App. Available in a single phase or three phases | 815846016203 | 34653 | 4600
US-WUS-CO-ODC-PRO-A | PRO-A | Pole-mounted Sensor for SNOPRO control series. | 815846015992 | 27203 | 1220
US-WUS-CO-ODC-PRO-R | ODC-PRO-R | Gutter sensor for SNOPRO panel. Measures moisture & temperature. Active below 38F. | 815846014216 | 3932 | 1247
US-WUS-CO-ODC-PRO-G-H | ODC-PRO-G-H | Surface-mounted snow and ice sensor for SNOPRO panel. Detects moisture and temperature and triggers below 38F. Housing included. | 815846016197 | 34657 | 2995
US-WUS-CO-ACC-PRO-REM | ACC-PRO-REM | A remote control and status display to the SNOPRO-100 or Satellite controls at a location convenient to personnel capable of observing snow melting system operation | 815846016227 | 34658 | 738