## US
RANGE | DISPLAY NAME | UPC CODE | DESCRIPTION | June 2023 MSRP
Indoor Thermostat | ODC-WUDG | 815846010096 | Dual Voltage 120/240v Programmable thermostat, w/ GFCI and floor sensor | 193
Indoor Thermostat | RFT-P-WH | 815846015954 | White Programable Thermostat with Touch Buttons and Probe. 15A. 85-265Vac/60Hz ETL-approved | 159
Indoor Thermostat | TRA-04-WH-LC | 815846015978 | Warmup Terra Smart WiFi Thermostat, 120V/240V with sensor probe and instructions. White with GFCI. Do not connect on GFCI circuit or GFCI protected breaker. | 252
Indoor Thermostat | 6IE-04-CW-LC | 815846015961 | Warmup 6iE Smart WiFi Thermostat, 120V/240V with sensor probe and instructions. Cloud White with GFCI. Do not connect on GFCI circuit or GFCI protected breaker. | 298
Indoor-Accessories | DCM-SP-10K | 815846014100 | This floor probe is designed to work with Warmup's 4iE and Tempo thermostats. The 4.5mm tip diameter allows an easy installation within the Warmup DCM-PRO Membrane. | 21
Indoor-Accessories | RL-240V25A | 815846015305 | Warmup's RL-240V25A is a general purpose 240V coil relay. When used with Warmup’s 4iE-Terra-6iE controls series it can add an additional 3600 watts 15 amp load. Mounts in single gang box. Conforms to UL, CSA, TUV and meets IEC 950. | 91
Indoor-Accessories | RL-120V25A | 815846015633 | Warmup's RELAY-25 is a general purpose 25A/120V relay used to expand the switching capability of the 3iE-4iE controls series. Mounts in single gang box. Conforms to UL, CSA, TUV and meets IEC 950. | 88
Indoor-Accessories | ACC-DGMTR | 856604000867 | The Warmup ALLIGATOR is an ohmmeter with connectors that clip straight to the heating cable. The device constantly monitors the heating cables during installation and gives you the readings you need to complete the warranty and ensure a safe installation. | 24
Indoor-Accessories | ACC-00Watchdog | 856604000874 | Warmup Watchdog Cable Alarm (Continuity Tester) | 24
Indoor-Accessories | DCT-SBOX | 815846016104 | The Dual Cable Tester allows for two load-neutral-ground connections of heating cables of any voltages. It will measure resistance from 2 to 1000 Ohms to make sure the integrity of the heating cable has not been compromised. | 44
Indoor-Accessories | ACC-PLTL | 856604000850 | Plastic Trowel | 18
Indoor-Accessories | RK-EO | 815846015626 | Repair Kit for Outdoor Warmup ranges | 20
Indoor-Accessories | RK-ENDCAP | 856604000775 | Repair Kit-end cap 120/240v technical support supervisor approval only | 12
Indoor-Accessories | RK-JOINT | 856604000768 | Repair Kit factory joint 120/240v for Warmup NADCM, NADWS and NADWM heaters. | 12
Indoor-Accessories | RK-INDOOR | 856604000751 | Repair Kit-Standard (wire) 120/240v | 12
Accessories | DCM-FB-82 | 815846011567 | Metal Fixing Band for DCM, WODH and WSM cables (83ft) | 111
DCM Cable | DCM-120-65 | 815846014469 | DCM-PRO Electric Heating Cable, 65 Watts, 120 Volts, 0.5 Amps, 5ft². Use with fixing strips or uncoupling membrane, sold separately. | 150
DCM Cable | DCM-120-130 | 815846014476 | DCM-PRO Electric Heating Cable, 130 Watts,120 Volts, 1.1 Amps, 10ft² . Use with fixing strips or uncoupling membrane, sold separately. | 176
DCM Cable | DCM-120-195 | 815846014483 | DCM-PRO Electric Heating Cable, 195 Watts, 120 Volts, 1.6 Amps, 15ft². Use with fixing strips or uncoupling membrane, sold separately. | 213
DCM Cable | DCM-120-260 | 815846014490 | DCM-PRO Electric Heating Cable, 260 Watts, 120 Volts, 2.2 Amps, 20ft². Use with fixing strips or uncoupling membrane, sold separately. | 246
DCM Cable | DCM-120-325 | 815846014506 | DCM-PRO Electric Heating Cable, 325 Watts, 120 Volts, 2.7 Amps, 25ft². Use with fixing strips or uncoupling membrane, sold separately. | 279
DCM Cable | DCM-120-390 | 815846014513 | DCM-PRO Electric Heating Cable, 390 Watts, 120 Volts, 3.3 Amps, 30ft². Use with fixing strips or uncoupling membrane, sold separately. | 305
DCM Cable | DCM-120-525 | 815846014520 | DCM-PRO Electric Heating Cable, 525 Watts, 120 Volts, 4.4 Amps, 40ft². Use with fixing strips or uncoupling membrane, sold separately. | 366
DCM Cable | DCM-120-655 | 815846014537 | DCM-PRO Electric Heating Cable, 655 Watts, 120 Volts, 5.5 Amps, 50ft². Use with fixing strips or uncoupling membrane, sold separately. | 409
DCM Cable | DCM-120-785 | 815846014544 | DCM-PRO Electric Heating Cable, 785 Watts, 120 Volts, 6.5 Amps, 60ft². Use with fixing strips or uncoupling membrane, sold separately. | 447
DCM Cable | DCM-120-920 | 815846014551 | DCM-PRO Electric Heating Cable, 920 Watts, 120 Volts, 7.7 Amps, 70ft². Use with fixing strips or uncoupling membrane, sold separately. | 491
DCM Cable | DCM-120-1050 | 815846014568 | DCM-PRO Electric Heating Cable, 1050 Watts, 120 Volts, 8.8 Amps, 80ft². Use with fixing strips or uncoupling membrane, sold separately. | 544
DCM Cable | DCM-120-1180 | 815846014575 | DCM-PRO Electric Heating Cable, 1180 Watts, 120 Volts, 9.8 Amps, 90ft². Use with fixing strips or uncoupling membrane, sold separately. | 588
DCM Cable | DCM-120-1315 | 815846014582 | DCM-PRO Electric Heating Cable, 1315 Watts, 120 Volts, 11 Amps, 100ft².Use with fixing strips or uncoupling membrane, sold separately. | 621
DCM Cable | DCM-120-1445 | 815846014599 | DCM-PRO Electric Heating Cable, 1445 Watts, 120 Volts, 12 Amps, 110ft². Use with fixing strips or uncoupling membrane, sold separately. | 680
DCM Cable | DCM-120-1575 | 815846014605 | DCM-PRO Electric Heating Cable, 1575 Watts, 120 Volts,13.1 Amps, 120ft². Use with fixing strips or uncoupling membrane, sold separately. | 720
DCM Cable | DCM-240-195 | 815846015619 | DCM-PRO Electric Heating Cable, 195 Watts, 0.8 Amps, 240 Volts, 15ft². Use with fixing strips or uncoupling membrane, sold separately. | 213
DCM Cable | DCM-240-325 | 815846014612 | DCM-PRO Electric Heating Cable, 325 Watts, 1.4 Amps, 240 Volts, 25ft². Use with fixing strips or uncoupling membrane, sold separately. | 277
DCM Cable | DCM-240-390 | 815846014629 | DCM-PRO Electric Heating Cable, 390 Watts, 1.6 Amps, 240 Volts, 30ft². Use with fixing strips or uncoupling membrane, sold separately. | 305
DCM Cable | DCM-240-525 | 815846014636 | DCM-PRO Electric Heating Cable, 525 Watts, 2.2 Amps, 240 Volts, 40ft². Use with fixing strips or uncoupling membrane, sold separately. | 366
DCM Cable | DCM-240-655 | 815846014643 | DCM-PRO Electric Heating Cable, 655 Watts, 2.7 Amps, 240 Volts, 50ft².Use with fixing strips or uncoupling membrane, sold separately. | 409
DCM Cable | DCM-240-785 | 815846014650 | DCM-PRO Electric Heating Cable, 785 Watts, 3.3 Amps, 240 Volts, 60ft². Use with fixing strips or uncoupling membrane, sold separately. | 447
DCM Cable | DCM-240-920 | 815846014667 | DCM-PRO Electric Heating Cable, 920 Watts, 3.8 Amps, 240 Volts, 70ft². Use with fixing strips or uncoupling membrane, sold separately. | 492
DCM Cable | DCM-240-1050 | 815846014674 | DCM-PRO Electric Heating Cable, 1050 Watts, 4.4 Amps, 240 Volts, 80ft². Use with fixing strips or uncoupling membrane, sold separately. | 544
DCM Cable | DCM-240-1180 | 815846014681 | DCM-PRO Electric Heating Cable, 1180 Watts, 4.9 Amps, 240 Volts, 90ft². Use with fixing strips or uncoupling membrane, sold separately. | 587
DCM Cable | DCM-240-1310 | 815846014698 | DCM-PRO Electric Heating Cable, 1310 Watts, 5.5 Amps, 240 Volts, 100ft². Use with fixing strips or uncoupling membrane, sold separately. | 618
DCM Cable | DCM-240-1640 | 815846014704 | DCM-PRO Electric Heating Cable, 1640 Watts, 6.8 Amps, 240 Volts, 125ft². Use with fixing strips or uncoupling membrane, sold separately. | 684
DCM Cable | DCM-240-1970 | 815846014711 | DCM-PRO Electric Heating Cable, 1970 Watts, 8.2 Amps, 240 Volts, 150ft². Use with fixing strips or uncoupling membrane, sold separately. | 790
DCM Cable | DCM-240-2300 | 815846014728 | DCM-PRO Electric Heating Cable, 2300 Watts, 9.6 Amps, 240 Volts, 175ft².Use with fixing strips or uncoupling membrane, sold separately. | 889
DCM Cable | DCM-240-2630 | 815846014735 | DCM-PRO Electric Heating Cable, 2630 Watts, 11 Amps, 240 Volts, 200ft². Use with fixing strips or uncoupling membrane, sold separately. | 950
DCM Cable | DCM-240-2955 | 815846014742 | DCM-PRO Electric Heating Cable, 2955 Watts, 12.3 Amps, 240 Volts, 225ft². Use with fixing strips or uncoupling membrane, sold separately. | 1017
DCM Cable | DCM-240-3240 | 815846014759 | DCM-PRO Electric Heating Cable, 3240 Watts, 13.5 Amps, 240 Volts, 250ft². Use with fixing strips or uncoupling membrane, sold separately. | 1129
DCM - Membrane | DCM-MW-70 | 815846016142 | DCM-PRO Fleece V3 mat, box of 3'3" x 2'3" sheets, 70sqft. | 199.5
DCM - Membrane | DCM-MW-80 | 815846015657 | DCM-PRO Fleece V3 mat, box of 2'6" x 3'3" sheets, 80sqft. | 228
DCM - Membrane | DCM-MW-150 | 815846015664 | DCM-PRO V3 Fleece mat, roll of 150sqft, 3'3" tall. | 398
DCM - Membrane | DCM-PSW-70 | 815846016159 | DCM-PRO Peel-and-Stick V3 Membrane, box of 2'6" x 3'3" sheets, 70sqft. | 223.13
DCM - Membrane | DCM-PSW-80 | 815846015671 | DCM-PRO Peel-and-Stick V3 Membrane, box of 2'6" x 3'3" sheets, 80sqft. | 255
DCM - Membrane | DCM-PSW-150 | 815846015688 | DCM-PRO Peel-and-Stick Membrane V3, roll of 150sqft, 3'3" tall. | 409
DCM - Membrane | DCM-PS-150 | 815846015398 | DCM-PRO Peel-and-Stick Membrane, roll of 150sqft, 3'3" tall. | 369
DCM - Accessories | DCM-WP-B35 | 815846015848 | 35ft Waterproofing band for DCM-PRO installations | 42
DCM - Accessories | DCM-WP-IN | 815846015855 | QTY:2 of inside corners for waterproofing DCM-PRO installations | 17
DCM - Accessories | DCM-WP-OUT | 815846015862 | QTY:2 of outside corners for waterproofing DCM installations | 17
DCM - Accessories | DCM-E-82 | 5034526011405 | DCM-PRO, perimeter edge strip, 1.2'' x 0.4''. 82 ft roll | 32
Stickymat | DWM-09-120 | 815846013226 | 3ft Wide Warmup Underfloor Heating Mat, at 9sqft, 126 Watts, 1.05A | 215
Stickymat | DWM-15-120 | 815846013233 | 3ft Wide Warmup Underfloor Heating Mat, at 15sqft, 210 Watts, 1.75A | 276
Stickymat | DWM-18-120 | 815846013240 | 3ft Wide Warmup Underfloor Heating Mat, at 18sqft, 252 Watts, 2.1A | 328
Stickymat | DWM-24-120 | 815846013257 | 3ft Wide Warmup Underfloor Heating Mat, at 24 sqft, 336 Watts, 2.8A | 382
Stickymat | DWM-30-120 | 815846013264 | 3ft Wide Warmup Underfloor Heating Mat, at 30 sqft, 420 Watts, 3.5A | 437
Stickymat | DWM-120-140 | 815846012861 | Warmup Under Floor Mat Heater, 120V, 140W, 1.2 amps, Covers 10 sq ft of heated area | 227
Stickymat | DWM-120-210 | 815846012878 | Warmup Under Floor Mat Heater, 120V, 210W, 1.8 amps, Covers 15 sq ft of heated area | 275
Stickymat | DWM-120-280 | 815846012885 | Warmup Under Floor Mat Heater, 120V, 280W, 2.3 amps, Covers 20 sq ft of heated area | 335
Stickymat | DWM-120-350 | 815846012892 | Warmup Under Floor Mat Heater, 120V, 350W, 2.9 amps, Covers 25 sq ft of heated area | 388
Stickymat | DWM-120-420 | 815846012908 | Warmup Under Floor Mat Heater, 120V, 420W, 3.5 amps, Covers 30 sq ft of heated area | 437
Stickymat | DWM-120-560 | 815846012915 | Warmup Under Floor Mat Heater, 120V, 560W, 4.7 amps, Covers 40 sq ft of heated area | 511
Stickymat | DWM-120-700 | 815846012922 | Warmup Under Floor Mat Heater, 120V, 700W, 5.8 amps, Covers 50 sq ft of heated area | 616
Stickymat | DWM-120-840 | 815846012939 | Warmup Under Floor Mat Heater, 120V, 840W, 7.0 amps, Covers 60 sq ft of heated area | 712
Stickymat | DWM-120-1050 | 815846012946 | Warmup Under Floor Mat Heater, 120V, 1050W, 8.7 amps, Covers 75 sq ft of heated area | 867
Stickymat | DWM-120-1260 | 815846012953 | Warmup Under Floor Mat Heater, 120V, 1260W, 10.5 amps, Covers 90 sq ft of heated area | 1015
Stickymat | DWM-120-1540 | 815846012960 | Warmup Under Floor Mat Heater, 120V, 1540W, 12.8 amps, Covers 110 sq ft of heated area | 1158
Stickymat | DWM-120-1620 | 815846012977 | Warmup Under Floor Mat Heater, 120V, 1620W, 13.5 amps, Covers 120 sq ft of heated area | 1246
Stickymat | DWM-240-350 | 815846012984 | Warmup Under Floor Mat Heater, 240V, 350W, 1.5 amps, Covers 25 sq ft of heated area | 388
Stickymat | DWM-240-560 | 815846012991 | Warmup Under Floor Mat Heater, 240V, 560W, 2.3 amps, Covers 40 sq ft of heated area | 511
Stickymat | DWM-240-700 | 815846013004 | Warmup Under Floor Mat Heater, 240V, 700W, 2.9 amps, Covers 50 sq ft of heated area | 616
Stickymat | DWM-240-1050 | 815846013011 | Warmup Under Floor Mat Heater, 240V, 1050W, 4.4 amps, Covers 75 sq ft of heated area | 867
Stickymat | DWM-240-1260 | 815846013028 | Warmup Under Floor Mat Heater, 240V, 1260W, 5.3 amps, Covers 90 sq ft of heated area | 1015
Stickymat | DWM-240-1540 | 815846013035 | Warmup Under Floor Mat Heater, 240V, 1540W, 6.4 amps, Covers 110 sq ft of heated area | 1158
Stickymat | DWM-240-2100 | 815846013042 | Warmup Under Floor Mat Heater, 240V, 2100W, 8.8 amps, Covers 150 sq ft of heated area | 1539
Stickymat | DWM-240-2520 | 815846013059 | Warmup Under Floor Mat Heater, 240V, 2520W, 10.5 amps, Covers 180 sq ft of heated area | 1838
Stickymat | DWM-240-3080 | 815846013066 | Warmup Under Floor Mat Heater, 240V, 3080W, 12.8 amps, Covers 220 sq ft of heated area | 2153
Stickymat | DWM-240-3240 | 815846013073 | Warmup Under Floor Mat Heater, 240V, 3240W, 13.5 amps, Covers 240 sq ft of heated area | 2286
Indoor - Insulation | WCI-1 | 815846016272 | Warmup Ultralight Underfloor Heating Boards, 3'3x 2'3 x 1/4" (985mm x 678mm x 6mm) Single Board (ORDER OF 5 MINIMUM) | 29.64
Indoor - Insulation | WCI-10 | 815846016265 | A box of 10 Warmup Ultralight Underfloor Heating Boards, 3'3x 2'3 x 1/4" (985mm x 678mm x 6mm) Covering 71.8sqft | 296.38
Foil Heater | FOIL-20-240 | 815846012250 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 240W, 1 amp, 1.6'W x 12.2'L, Covers 20 Sq Ft of heated area | 254
Foil Heater | FOIL-25-240 | 815846012267 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 300W, 1.3 amp, 1.6'W x 15.3'L, Covers 25 Sq Ft of heated area | 317
Foil Heater | FOIL-40-240 | 815846012274 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 480W, 2 amps, 1.6'W x 24.5'L, Covers 40 Sq Ft of heated area | 450
Foil Heater | FOIL-50-240 | 815846012281 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 600W, 2.5 amps, 1.6'W x 30.6'L, Covers 50 Sq Ft of heated area | 556
Foil Heater | FOIL-60-240 | 815846012298 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 720W, 3 amps, 1.6'W x 36.7'L, Covers 60 Sq Ft of heated area | 668
Foil Heater | FOIL-70-240 | 815846012304 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 840W, 3.5 amps, 1.6'W x 42.8'L, Covers 70 Sq Ft of heated area | 779
Foil Heater | FOIL-95-240 | 815846012311 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 1140W, 4.8 amps, 1.6'W x 57.1'L, Covers 95 Sq Ft of heated area | 1058
Foil Heater | FOIL-115-240 | 815846012328 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 1380W, 5.8 amps, 1.6'W x 70.1'L, Covers 115 Sq Ft of heated area | 1182
Foil Heater | FOIL-130-240 | 815846012335 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 1560W, 6.5 amp, 1.6'W x 79.3'L, Covers 130 Sq Ft of heated area | 1299
Foil Heater | FOIL-140-240 | 815846012342 | Warmup Foil Heater for under laminate, carpet and engineered wood, 240V, 1680W, 7.0 amps, 1.6'W x 85.4'L, Covers 140 Sq Ft of heated area | 1439
Indoor - Insulation | WIB-SOFT-1/4-110 | 815846015725 | 1/4" thermal and sound underlayment for FOIL installations. Sold in full rolls of 110 sqft. | 131
Inscreed | WODH-240/500 | 815846010799 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 93'L, 500W, 2.1 amps. Covers 24-39 sq ft of heated area. | 306
Inscreed | WODH-240/950 | 815846010744 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 176'L, 950W, 4.0 amps. Covers 44-74 sq ft of heated area. | 468
Inscreed | WODH-240/1300 | 815846010751 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 250'L, 1300W, 5.4 amps. Covers 62-104 sq ft of heated area. | 538
Inscreed | WODH-240/1700 | 815846010768 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 312'L, 1700W, 7.1 amps. Covers 76-130 sq ft of heated area. | 689
Inscreed | WODH-240/2400 | 815846010775 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 437'L, 2400W, 10.0 amps. Covers 105-182 sq ft of heated area. | 926
Inscreed | WODH-240/3400 | 815846010782 | Warmup Commercial Grade Heating Cable (Constant Wattage), 240V 625'L, 3400W, 14.2 amps. Covers 155-260 sq ft of heated area. | 1092
Heated Towel Rail | HTR-090PC | 815846015251 | Chelsea Round towel warmer with 6 curved bars. 201 stainless steel with polished finish. Built with 60W heating cable. | 535
Heated Towel Rail | HTR-001PC | 815846015190 | Single Bar, round. Each bar sold separately. 304 stainless steel with a Polished finish. 14 Watts/120V per bar. To work effectively, a minimum of 4 bars should be installed. Requires TW00X mounting bracket for each set of 4 bars. | 131
Heated Towel Rail | HTR-002BN | 815846015206 | Single Bar, square. Each bar sold separately. 304 stainless steel with a Brushed Stainless finish. 14 Watts/120V per bar. To work effectively, a minimum of 4 bars should be installed. Requires TW00X mounting bracket for each set of 4 bars. | 142
Heated Towel Rail | HTR-001MB | 5034526014703 | Single Bar, round. Each bar sold separately. 304 stainless steel with a Matte Black finish. 14 Watts/120V per bar. To work effectively, a minimum of 4 bars should be installed. Requires TW00X mounting bracket for each set of 4 bars. | 132
Heated Towel Rail | HTR-002MB | 5034526014697 | Single Bar, square. Each bar sold separately. 304 stainless steel with a Matte Black finish. 14 Watts/120V per bar. To work effectively, a minimum of 4 bars should be installed. Requires TW00X mounting bracket for each set of 4 bars. | 141
Heated Towel Rail | HTR-091PC | 815846015268 | Chelsea Round towel warmer with 6 straight bars. 201 stainless steel construction with polished finish. Built with 60W heating cable. | 387
Heated Towel Rail | HTR-107BN | 815846015282 | Times Square towel warmer with 7 square bars. 201 stainless steel with Brushed finish. Built with 80W heating cable. | 517
Heated Towel Rail | HTR-110BN | 815846015299 | Times Square towel warmer with 10 square bars. 201 stainless steel with Brushed finish. Built with 110W heating cable. | 665
Heated Towel Rail | HTR-091MB | 815846015602 | Chelsea Round towel warmer with 6 straight bars. 201 stainless steel construction with Matte Black finish. Built with 60W heating cable. | 411
Heated Towel Rail | HTR-109SB | 815846016234 | 9 bars Heated towel rail with 304 grade Stainless steel in powder coated Satin Black. 2-year Warranty | 668
Roof & Gutter | WRGH-SB-170 | 87086000445 | The SB170 is a versatile adhesive to apply the Warmup ROOF-CLIP (1 tube per 50 clips recommended). Min Application Temp of -20F | 37
Roof & Gutter | WRGH-120-150 | 815846014773 | 30ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 150 Watts. Includes roof clips and spacers. | 99
Roof & Gutter | WRGH-120-300 | 815846014780 | 60ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 300 Watts. Includes roof clips and spacers. | 128
Roof & Gutter | WRGH-120-400 | 815846014797 | 80ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 400 Watts. Includes roof clips and spacers. | 164
Roof & Gutter | WRGH-120-500 | 815846014803 | 100ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 500 Watts. Includes roof clips and spacers. | 184
Roof & Gutter | WRGH-120-600 | 815846014810 | 120ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 600 Watts. Includes roof clips and spacers. | 229
Roof & Gutter | WRGH-120-800 | 815846014827 | 160ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 800 Watts. Includes roof clips and spacers. | 269
Roof & Gutter | WRGH-120-1000 | 815846014834 | 200ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 1,000 Watts. Includes roof clips and spacers. | 321
Roof & Gutter | WRGH-120-1200 | 815846014841 | 240ft Roof & Gutter constant wattage kit with plug. 120V, 5W/lin.ft. - 1,200 Watts. Includes roof clips and spacers. | 349
Outdoor Controller | ODC-WRS-2 | 815846014858 | Moisture & Temperature Controller for Warmup WRGH Roof & Gutter De-icing Kits | 137
Pipe Freeze | SR-5W-1-250-U | 815846015695 | 250ft spool of unjacketed SR cable, 120V, 5W linear at 50F. For Indoor Pipe Protection only. | 705
Pipe Freeze | SR-K6UJ | 815846015770 | Unjacketed Self Regulating Heater Cable Kit, 120V, 6ft long pre-terminated with Plug For indoor residential pipe protection use only | 50
Pipe Freeze | SR-K12UJ | 815846015787 | Unjacketed Self Regulating Heater Cable Kit, 120V, 12ft long pre-terminated with Plug For indoor residential pipe protection use only | 65
Pipe Freeze | SR-K18UJ | 815846015794 | Unjacketed Self Regulating Heater Cable Kit, 120V, 18ft long pre-terminated with Plug For indoor residential pipe protection use only | 77
Pipe Freeze | SR-K24UJ | 815846015800 | Unjacketed Self Regulating Heater Cable Kit, 120V, 24ft long pre-terminated with Plug For indoor residential pipe protection use only | 91
Pipe Freeze Accessories | SR-HTMK | 815846015749 | Plug-in power connection kit for Pipe Protection Cable | 32
Pipe Freeze Accessories | SR-TAPE-UJ | 815846015817 | Adhesive Tape for UJ Cable series ½” W x 66’ L | 22
Pipe Freeze/R&G | SR-K6 | 815846011147 | Self Regulating Heater Cable Kit, 120V, 6 ft long pre-terminated with Plug | 94
Pipe Freeze/R&G | SR-K12 | 815846011154 | Self Regulating Heater Cable Kit, 120V, 12ft long pre-terminated with Plug | 123
Pipe Freeze/R&G | SR-K18 | 815846011161 | Self Regulating Heater Cable Kit, 120V, 18 ft long pre-terminated with Plug | 158
Pipe Freeze/R&G | SR-K24 | 815846011130 | Self Regulating Heater Cable Kit, 120V, 24ft long pre-terminated with Plug | 192
Pipe Freeze/R&G | SR-K50 | 815846011178 | Self Regulating Heater Cable Kit, 120V, 50ft long pre-terminated with Plug | 323
Pipe Freeze/R&G | SR-K75 | 815846014117 | Self Regulating Heater Cable Kit, 120V, 75ft long pre-terminated with Plug | 431
Pipe Freeze/R&G | SR-K100 | 815846014124 | Self Regulating Heater Cable Kit, 120V, 100ft long pre-terminated with Plug | 550
Pipe Freeze/R&G | SR-5W-1-1000 | 815846013653 | Self-Regulated cable, 120V, 5 Watts per linear foot. Sold in 1000-foot spools. | 7503
Pipe Freeze/R&G | SR-5W-2-1000 | 815846013684 | Self-Regulated cable, 208-277V, 5 Watts per linear foot. Sold in 1000-foot spools. | 7503
Pipe Freeze/R&G | SR-8W-1-1000 | 815846013660 | Self-Regulated cable, 120V, 8 Watts per linear foot. Sold in 1000-foot spools. | 7722
Pipe Freeze/R&G | SR-8W-2-1000 | 815846013691 | Self-Regulated cable, 208-277V, 8 Watts per linear foot. Sold in 1000-foot spools. | 7722
Pipe Freeze/R&G | SR-5W-1-250 | 815846013714 | Self-Regulated cable, 120V, 5 Watts per linear foot. Sold in 250-foot spools. | 1877
Pipe Freeze/R&G | SR-5W-2-250 | 815846013745 | Self-Regulated cable, 208-277V, 5 Watts per linear foot. Sold in 250-foot spools. | 1877
Pipe Freeze/R&G | SR-8W-1-250 | 815846013721 | Self-Regulated cable, 120V, 8 Watts per linear foot. Sold in 250-foot spools. | 1932
Pipe Freeze/R&G | SR-8W-2-250 | 815846013752 | Self-Regulated cable, 208-277V, 8 Watts per linear foot. Sold in 250-foot spools. | 1932
Pipe Freeze/R&G | SR-5W-1-500 | 815846015534 | Self-Regulated cable, 120V, 5 Watts per linear foot. Sold in 500-foot spools. | 3752
Pipe Freeze/R&G | SR-5W-2-500 | 815846015558 | Self-Regulated cable, 240V, 5 Watts per linear foot. Sold in 500-foot spools. | 3752
Pipe Freeze/R&G | SR-8W-1-500 | 815846015541 | Self-Regulated cable, 120V, 8 Watts per linear foot. Sold in 500-foot spools. | 3862
Pipe Freeze/R&G | SR-8W-2-500 | 815846015565 | Self-Regulated cable, 240V, 8 Watts per linear foot. Sold in 500-foot spools. | 3862
Pipe Freeze/R&G Accessories | CRDS-15-GFI | 815846010164 | GFCI cord set for SR cable series. NEMA 5-15p, 15 amp rated, 14/3 Ga, 120V. rating, Max Cable length 125ft. | 96
Pipe Freeze/R&G Accessories | SR-POWER-KIT | 815846010461 | Power Connection Kit for Self-Regulated Cable. Includes pipe mounting bracket and an End Kit. | 71
Pipe Freeze/R&G Accessories | SR-SPLICE-KIT | 815846010478 | Splice/Tee Kit for Self-Regulated Cable. Includes (2) end caps. | 47
Pipe Freeze/R&G Accessories | SR-END-KIT | 815846010485 | End Seal Kit for for Self-Regulating Cable | 26
Pipe Freeze/R&G Accessories | SR-ROOF-CLIP | 815846013783 | Metal single roof clips packaged and sold 50 per pkg. Secure to roof with screws or Everseal SB-190 adhesive or similar. | 120
Pipe Freeze/R&G Accessories | SR-HANGER-KIT | 815846013790 | Downspout Hanger for Self Regulating Cable and Roof/gutter heaters Warmup Brand #HANGER-KIT | 23
Pipe Freeze/R&G Accessories | SR-SFIT-TEE | 815846014407 | Weather tight 3-way Tee-Splice for NAMSR cable applications on Roofs and Pipe Freeze installations | 80
Pipe Freeze/R&G Accessories | SR-SFIT-SPL | 815846014391 | In-line connection box for NAMSR, WODH and WSM/M cables. Used to join two runs of NAMSR or as an in-line repair kit for WSMM installations | 74
Pipe Freeze/R&G Accessories | SR-SFIT-BOX-S | 815846016111 | Power Connection Junction Box (Square) for NAMSR cables used in Pipe Freeze Protection applications. Includes pipe-mounting bracket and junction box. | 230
Pipe Freeze/R&G Accessories | SR-PLUG | 815846015718 | Automatic Thermostatic Plug for Pipe Protection and Roof Deicing | 27
Pipe Freeze/R&G Accessories | SR-LENDCAP | 815846015701 | Lit End Cap for NAMSR Cable | 307
Pipe Freeze/R&G Accessories | SR-LBL | 815846010522 | Caution Label for Self Regulating Cable (10) | 23
Pipe Freeze/R&G Accessories | SR-TAPE-AL | 815846013806 | Aluminum Foil Tape for Self Regulating Cable or FOIL, 90 ft Roll. | 24
Snow Melt Cable | WSM-480/1000 | 815846014308 | Snow Melting Cable, 83.8'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 480V, 1000W, 2.08 amps, Covers 20-34 Sq ft of heated area | 277
Snow Melt Cable | WSM-480/2500 | 815846014315 | Snow Melting Cable,209'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 5.21 Amps, 480V, 2500W. | 550
Snow Melt Cable | WSM-480/4000 | 815846014322 | Snow Melting Cable, 342.2'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 480V, 4000W, 8.33 amps, Covers 85-135 Sq ft of heated area | 787
Snow Melt Cable | WSM-480/6000 | 815846014339 | Snow Melting Cable, 513.25'L, 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 12.5 Amps, 480V, 6000W. Covers 122-200 Sq Ft of heated area | 1129
Snow Melt Cable | WSM-600/1000 | 5034526014857 | Snow Melting Cable, 83.8'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 600V, 1000W, 1.7 amps, Covers 20-34 Sq ft of heated area | 277
Snow Melt Cable | WSM-600/2500 | 5034526014864 | Snow Melting Cable,209'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 4.2 Amps, 600V, 2500W. | 552
Snow Melt Cable | WSM-600/4000 | 5034526014871 | Snow Melting Cable, 342.2'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 600V, 4000W, 6.7 amps, Covers 85-135 Sq ft of heated area | 787
Snow Melt Cable | WSM-600/6000 | 5034526014888 | Snow Melting Cable, 500'L, 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 10 Amps, 600V, 6000W. Covers 122-200 Sq Ft of heated area | 1129
Snow Melt Cable | WSM-240/1000 | 815846012458 | Snow Melting Cable, 84'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 240V, 1000W, 4.2 amps, Covers 20-34 Sq ft of heated area | 272
Snow Melt Cable | WSM-240/2000 | 815846011710 | Snow Melting Cable,168'L', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 8.3 Amps, 240V, 2000W. Covers 43-72 Sq Ft of heated area | 418
Snow Melt Cable | WSM-240/2500 | 815846012465 | Snow Melting Cable, 209'L, 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 240V, 2500W, 10.4 amps, Covers 51 to 84 Sq Ft of heated area | 537
Snow Melt Cable | WSM-240/3000 | 815846011727 | Snow Melting Cable,251', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 12.5 Amps, 240V, 3000W. Covers 62-104 Sq Ft of heated area | 578
Snow Melt Cable | WSM-240/4000 | 815846014025 | Snow Melting Cable, 335', 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 240V, 4000W, 16.7 amps, Covers 85-135 Sq ft of heated area | 764
Snow Melt Cable | WSM-240/5000 | 815846011741 | Snow Melting Cable, 420, 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 20.8 Amps, 240V, 5000W. Covers 100-170 Sq Ft of heated area | 927
Snow Melt Cable | WSM-240/6000 | 815846011758 | Snow Melting Cable, 500'L, 16.4' cold lead, 12 W/ft, twin-conductor heating cable, 25 Amps, 240V, 6000W. Covers 122-200 Sq Ft of heated area | 1097
Snow Melt Mat | WSMM-240/500 | 856604000294 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 10 sq ft - 2'W x 5'L, 2.1 amps, 500W | 247
Snow Melt Mat | WSMM-240/1000 | 856604000379 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 20 sq ft - 2'W x 10'L, 4.2 amps, 1000W | 336
Snow Melt Mat | WSMM-240/1500 | 856604000386 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 30 sq ft - 2'W x 15'L, 6.3 amps, 1500W | 446
Snow Melt Mat | WSMM-240/2000 | 856604000393 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 40 sq ft - 2'W x 20'L, 8.3 amps, 2000W | 528
Snow Melt Mat | WSMM-240/2500 | 856604000416 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 50 sq ft - 2'W x 25'L, 10.4 amps, 2500W | 590
Snow Melt Mat | WSMM-240/3000 | 815846013950 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 60 sq ft - 2'W x 30'L, 12.5 amps, 3000W | 740
Snow Melt Mat | WSMM-240/3500 | 815846013967 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 70 sq ft - 2'W x 35'L, 14.6 amps, 3500W | 818
Snow Melt Mat | WSMM-240/4000 | 815846013974 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 80 sq ft - 2'W x 40'L, 16.7 amps, 4000W | 898
Snow Melt Mat | WSMM-240/4500 | 815846013981 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 90 sq ft - 2'W x 45'L, 18.8 amps, 4500W | 970
Snow Melt Mat | WSMM-240/5000 | 856604000423 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 100 sq ft - 2'W x 50'L, 20.8 amps, 5000W | 1068
Snow Melt Mat | WSMM-240/6000 | 856604000430 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 120 sq ft - 2'W x 60'L, 25 amps, 6000W | 1281
Snow Melt Mat | WSMM-240/3x10 | 815846013998 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 30 sq ft - 3'W x 10'L, 6.3 amps, 1500W | 450
Snow Melt Mat | WSMM-240/3x20 | 815846014049 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 60 sq ft - 3'W x 20'L, 12.5 amps, 3000W | 722
Snow Melt Mat | WSMM-240/3x25 | 815846014032 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 75 sq ft - 3'W x 25'L, 15.6 amps, 3750W | 824
Snow Melt Mat | WSMM-240/3x30 | 815846014001 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 90 sq ft - 3'W x 30'L, 18.8 amps, 4500W | 991
Snow Melt Mat | WSMM-240/3x40 | 815846014018 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 240V, covers 120 sq ft - 3'W x 40'L, 25 amps, 6000W | 1238
Snow Melt Mat | WSMM-480/1500 | 815846014254 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 30 sq ft - 2'W x 15'L, 3.13 amps, 1500W | 450
Snow Melt Mat | WSMM-480/2000 | 815846014261 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 40 sq ft - 2'W x 20'L, 4.17 amps, 2000W | 533
Snow Melt Mat | WSMM-480/3000 | 815846014278 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 60 sq ft - 2'W x 30'L, 6.25 amps, 3000W | 747
Snow Melt Mat | WSMM-480/4000 | 815846014285 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 80 sq ft - 2'W x 40'L, 8.33 amps, 4000W | 915
Snow Melt Mat | WSMM-480/6000 | 815846014292 | Snow Melting Mats, 3" cable spacing, 50W per sq ft, 16.4' cold lead, twin-conductor heating cable 1/4"TH, 480V, covers 120 sq ft - 2'W x 60'L, 12.50 amps, 6000W | 1292
Snow Melt Accessories | WSM-NMP | 5034526004520 | Branded Name Plate for use with Warmup Snow Melt Heater installations (NEC426-13) | 45
Accessories | SR-ZT-100 | 815846015411 | Bag of 100 Heavy Duty Zip Ties (100). 7" long. For use with WSM, WODH and NAMSR cable series. 50lbs load bearing capacity. | 21
Outdoor Controller | ODC-ASE-DS2C | 720825511559 | Snow/Ice Melt All-In-One Control Unit, 1 Zone control, ground and roof, 115/230VAC, 30 amps | 748
Outdoor Controller | ODC-ASE-DS5C | 720825512341 | Snow/Ice Melt All-In-One Control Unit, 2 Zone control, ground and roof, 115/230VAC, 60 amp (2 x 30 amps) | 867
Outdoor Controller | ODC-ASE-DS8C | 720825511566 | Snow/Ice Melt Control Unit, 100-277 VAC Universal Input Power Supply, 1-30A SPST Load Contactor. remote moisture sensor, ground and roof, 115/230VAC | 869
Outdoor Controller | ODC-ASE-DS9C | 720825512327 | The DS-9C is a Roof & Gutter controller with 2x30A resistive load capacity. | 921
Outdoor Controller | ODC-CDP-2 | 815846012175 | Indoor Monitoring and Control for Roof & Gutter Cable, Self Powered, fits Any Standard Single Gang or multi gang electrical enclosure. Fits all DS series controllers. | 299
Outdoor Controller | ODC-CS-50 | 815846015756 | 50ft connection kit between DS Controller and CDP-2 remote | 128
Outdoor Controller | ODC-GF-1 | 720825511900 | In-line Ground Fault Equipment Protection Device for one circuit up to 60A load at 120/208/240V. 30mA trip level. NEMA 4X/IP65 enclosure. | 745
Outdoor Controller | ODC-GF-2 | 720825511917 | In-line Ground Fault Equipment Protection Device for two circuits up to 63A load each at 120/208/240V. 30mA trip level. NEMA 4X/IP65 enclosure | 1049
Outdoor Controller | ODC-RESIBOX3 | 815846013189 | Plug-and-Play outdoor controller with 4 x 30A/2pole contactors allowing for a total load of 120A with a minimum power supply of 36A. Comes in LED enclosure with GFEP protection, built-in Digital controller and ground temperature sensor. AIRSense sold separately. | 4713
Outdoor Controller | ODC-COMBOX600 | 856604000478 | Plug-and-Play outdoor controller with 4 x 50A/3pole contactors allowing for a total load of 600A with a minimum power supply of 150A (3-phase power). 230A Max load at 240V supply. Comes in LED enclosure with GFEP protection, built-in Digital controller and ground temperature sensor. 3-Phase power and any transformers are the responsibility of the Electrical Contractor. AirSense sold separately. | 6405
Outdoor Controller | ODC-AIRSS | 856604000485 | Outdoor moisture and temperature sensor | 887
Outdoor Controller | ODC-AIRSS-B | 815846015459 | Mounting bracket for AirSense Sensor | 225
Outdoor Controller | ODC-ET02-4550 | 5703502660257 | Control Unit for Snow Melting and Roof & Gutter applications, 2 Zone control, 115/230VAC, 3 x 15 amp dry contacts. Works with ETOR and/or ETOG sensors. Requires external relay contactors to operate and switch loads/heating cables. | 973
Outdoor Controller | ODC-ETOR-55 | 5703502660271 | Roof Sensor for use with Snow/Ice Control USET02-4450 - Detects moisture, temperature and precipitation. | 530
Outdoor Controller | ODC-ETOK | 815846014148 | The ETOK-1 is an installation cup for the Snow and Ice Melting Ground Sensor ETOG-56. | 97
Outdoor Controller | ODC-SIT-6E-H | 815846014438 | Housing for SIT-6E sensor | 305
Outdoor Controller | ODC-FPT-130 | 815846015145 | Automatic Freeze Protection Controller with 2P contactors up to 30A and integral GFEP | 1959
Outdoor Controller | TRF115-005 | 879978001186 | Line voltage controller 120v - 277v, NEMA 4X enclosure with remote temperature sensor. | 246
Outdoor Controller | ODC-TRACE-2 | 815846015473 | Heat Tracing Controller with built-in GFEP protection and 30A load switching capability. | 1581
Outdoor Controller | SNOPRO-100 | 815846015985 | SNPPRO-100 Snow/Ice Melt All-In-One ControlUnit, an exceptionally capable deicing controller. Compatible with the Warmup WSM Snowmelting App. Available in a single phase or three phases | 2850
Outdoor Controller | SNOPRO-100-W | 815846016203 | SNOPRO-100 WiFI Snow/Ice Melt All-In-One Control Unit, an exceptionally capable deicing controller. Compatible with the Warmup WSM Snowmelting App. Available in a single phase or three phases | 3590
Outdoor Sensor | ODC-PRO-A | 815846015992 | Pole-mounted Sensor for SNOPRO control series. | 1070
Outdoor Sensor | ODC-PRO-R | 815846014216 | Gutter sensor for SNOPRO panel. Measures moisture & temperature. Active below 38F. | 1085
Outdoor Sensor | ODC-PRO-G-H | 815846016197 | Surface-mounted snow and ice sensor for SNOPRO panel. Detects moisture and temperature and triggers below 38F. Housing included. | 2650
Outdoor Sensor | ODC-SNOPRO-EXT | 815846016012 | WiFi Module To Convert Non-WiFi To WiFi | 2000
Outdoor Sensor | ACC-PRO-REM | 815846016227 | A remote control and status display to the SNOPRO-100 or Satellite controls at a location convenient to personnel capable of observing snow melting system operation | 640