## 00_ReadMe
HOUSE PROGRAM INTAKE — first run
Yellow cells are questions. Blue cells are formulas. Do not type in blue.
What this is
A first-pass form for everything needed before drawing a 1–2 family house: site limits, envelope to the outside of brick, garage, rooms, walls, stair, roof, and a running square-footage total that includes wall footprints (not just room interiors).
How square footage is counted
GROSS floor plate = overall width × overall depth, measured to the OUTSIDE FACE OF BRICK (basement: outside of concrete). That number already includes exterior walls.
NET rooms = sum of interior room rectangles (width × depth × count), only rows marked Include = Y.
EXTERIOR WALL FOOTPRINT = W×D − (W−2t)×(D−2t). That area is inside the gross plate and is not free floor.
INTERIOR WALL FOOTPRINT = sum of partition lengths × interior wall thickness (default 4.5 in. / 0.375 ft for 2x4 + 2×5/8 GWB).
UNASSIGNED = Gross − net rooms − interior wall footprint. That leftover is halls not listed, closets, and slop. If it goes negative, the rooms do not fit.
CONDITIONED SF = 1ST gross + 2ND gross (+ basement if you count it). Garage is separate unless you set Include garage in SF = Y.
Yellow vs blue
Type only in yellow. Blue cells are Excel formulas. If a check cell turns red, the program does not fit or a rule is broken (odd-inch overall, over max SF, master on the wrong floor, etc.).
This first run
Filled as a 40'-0" × 32'-0" two-story brick house + 36'-0" × 24'-0" two-car garage (Hinge House / 2410 analog). Street is the 40 ft / 76 ft front. Master on 2ND. Stair is an L / well about 8×17. Exterior wall 0.90 ft (brick veneer stack). Interior 0.375 ft.
Change any yellow cell and the Area sheet recalculates. Add or delete room rows on 02_Rooms (keep the Include / Floor / W / D columns).
Sheets
01_Ask — every question including floor-to-floor and roof pitch vs max height. 02_Rooms — room names, floors, interior sizes, SF. 03_Walls — exterior formula + interior partition takeoff. 04_Area — totals, wall add, checks. 05_Stack — stacked-wall story heights. If FTF changes, Duplicate the type and edit this table. Variable = basement.
Rules baked in (Robert / 2410)
Overalls to outside of brick, even inches (0, 2, 4, 6, 8, 10). Front door on the street. Foyer 6x8-8x12. Stair off foyer. Powder off hall. Laundry between garage man-door and kitchen. Kitchen at the back. No invented mud room. Guest path != grocery path. If 1ST-to-2ND floor-to-floor changes: Duplicate the stacked wall type, edit the structure-table heights so each story matches, Variable stays the basement. Do not drag the instance top. Park a short warehouse sample, then Copy into the house. If ridge exceeds max height, lower the roof pitch so the peak fits.

## 01_Ask
01 QUESTIONS — yellow = you type · first run filled as Hinge House 40×32 + garage 36×24
Question | Answer | Unit | Why we ask / how it is used
A. PROJECT
Project name | Hinge House / 2410 first run |  | Shows on the Area sheet title.
Jurisdiction | MI |  | NY / NJ / MI stair and frost rules differ (8¼/9 riser-tread in all three; MI frost 42 in.).
Street / frontage side | South (40 ft house + 36 ft garage = 76 ft) |  | Front door and garage overheads face this side.
B. LOT (site limits — the house must fit the envelope)
Lot width | 80 | ft | Street frontage. West Bloomfield R-10 min 70 ft; Hempstead C min 50 ft.
Lot depth | 140 | ft | Front property line to rear. Typical suburban 100–150 ft.
Front setback | 30 | ft | Building envelope. WB R-10 = 30 ft.
Side setback (each) | 8 | ft | WB R-10 = 8 ft each / 16 combined.
Rear setback | 35 | ft | WB R-10 = 35 ft.
Max building coverage | 30% |  | Footprint ÷ lot area. WB R-10 = 30%.
Max building height | 35 | ft | Ridge. WB / many suburbs = 35 ft. If FirstAboveGrade + stories*FTF + roof triangle exceeds this, LOWER THE PITCH (see H. ROOF and 04_Area). Do not raise the peak over the cap.
Max stories above grade | 2 |  | 1 or 2 for this form. 3 would need another room block.
C. HOUSE ENVELOPE (overalls to OUTSIDE FACE OF BRICK — even inches)
Max house width (street) | 40 | ft | Hard cap. First run uses the cap as the proposed width.
Max house depth | 32 | ft | Front to back, to brick.
Proposed house width | 40 | ft | Must be even inches: leftover inches 0,2,4,6,8,10. Not 1,3,5,7,9 and not 5 1/16.
Proposed house depth | 32 | ft | Same even-inch rule.
Stories above grade | 2 |  | 1ST + 2ND.
Foundation type | Full basement + garage trench |  | House basement CIP + ledge. Garage frost trench, no basement.
1ST FL ceiling (finish) | 8 | ft | Plate height to finish ceiling. 8 ft plate + 2x12 + ply ~ 9 ft FTF; 10 ft ceiling ~ 11 ft FTF. If you change this, also change 1ST to 2ND floor-to-floor and 05_Stack.
2ND FL ceiling (finish) | 8 | ft
1ST to 2ND floor-to-floor | 11 | ft | Stair rise AND stacked-wall 1ST-story height. Default analog 11 ft. If this is not the template FTF: 05_Stack, Duplicate the stacked type, edit the table. Variable = basement only. Do not drag the top of the wall.
1ST FL above GRADE | 2 | ft | Stem + sill + joists. Garage slab stays at grade; man-door is this step.
Max conditioned SF | 2800 | sf | Hard cap for 1ST+2ND (+ bsmt if you count it). Garage usually out.
Count basement in SF? | N |  | Y adds basement plate into conditioned total.
Exterior wall thickness | 0.9 | ft | Brick veneer stacked wall, outside of brick to inside of GWB. ~10¾ in. Edit if your stack is different.
Interior wall thickness | 0.375 | ft | 2x4 + 2× 5/8 GWB = 4.5 in. Halls framed 37 in. for 36 in. clear.
D. GARAGE
Cars | 2 |  | 0–3. Two-car typical door is 16×7, not a 24 ft door.
Garage width | 36 | ft | To brick / exterior. First run 36'-0".
Garage depth | 24 | ft | Street to rear.
Overhead door | 16 ft |  | 16 ft class, or a pair of 9 ft. Overheads face the street.
Attached to house? | Y |  | Man-door into laundry, not into kitchen.
Include garage in SF total? | N |  | Unconditioned storage usually out of 'house SF'. Still in coverage.
E. MASTER / BEDROOMS
Master bedroom floor | 2ND |  | 1ST = ranch-master / 1st-floor master colonial. 2ND = classic 3-bed up.
Number of bedrooms | 3 |  | Master + others. 2410 analog is 3 up.
Number of full baths | 2 |  | Hall bath + master bath typical.
Powder (half bath) on 1ST? | Y |  | Off foyer hall, 3×6 to 5×5. Not in the kitchen.
F. STAIR (guest path — off the foyer, not the kitchen)
Stair type | L with landing |  | 11 ft rise at 4 ft width: L box ≈ 10'-8" or U. A 12×8 leftover cannot hold a straight run (14'-2" of treads).
Stair width (clear class) | 4 | ft | Code min 36 in. DeGroot 3'-6". Robert class 4'-0". Landing ≥ that width.
Tread (nosing to nosing) | 10 | in | IRC min 10 in. NY/NJ/MI min 9 in. Class uses 10.
G. KITCHEN / LAUNDRY (grocery path)
Kitchen at rear (away from street)? | Y |  | Work triangle at the back, open to living. Not a 30 ft strip on the front.
Island? | N |  | Only if 42 in. aisles still fit. First run: no island (parked cabinets).
One cleanup sink? | Y |  | One sink. Often on a window. Do not repeat Counter Top w Sink.
Invent a mud room? | N |  | 2410 rooms: laundry is the garage–kitchen room unless you design a mud.
H. ROOF / EAVE (for elevations)
Roof shape | Side gable |  | Colonial typical. Garage often a separate lower roof.
Pitch (rise per 12) | 8 | in | Requested pitch, rise per 12. Colonial analog 8/12. If max height requires a lower pitch, the blue 'Pitch that fits max H' cell wins. I will draw that lower pitch.
Eave overhang (horizontal) | 16 | in | Throws rain past the wall. Subfascia + fascia + gutter live here.
Pitch that fits max H |  | in / 12 | Max rise per 12 so ridge <= max height. Side-gable run = D/2 + overhang. If this is less than requested pitch, I lower the pitch.
I. NOTES
Anything else the plan must obey | Street door on the 40 ft house, not the garage party wall. Brick outside. Judge rooms in camera. Bobby has Revit until Robert says resume.
J. STACKED WALL / FLOOR-TO-FLOOR CHANGE
Template stacked wall FTF (as parked) | 11 | ft | The warehouse two-story brick type was built for this story. First run = 11. Variable = basement.
Proposed 1ST to 2ND FTF |  | ft | Same number as C. HOUSE row 27. Change the yellow cell in row 27, not here.
Stacked wall action |  |  | If FTF changes: Duplicate the stacked type. Edit structure table so 1ST-story and 2ND-story basic walls match the new FTF. Variable stays the basement (leftover below GRADE). Do not only drag the instance top. Move levels with the stack. Park a couple-of-feet sample in the warehouse, then Copy into the house. Never Create Similar a stacked wall.
Variable component | BASEMENT (type 1 CIP) |  | Always. Robert: keep Variable the basement. It must not be the brick story.
Joist / plate note |  |  | Robert: 3/4 ply, 2x12 @ 16, sill 6x2, steel under bearing. FTF is not the same as ceiling height.
Roof pitch vs max H |  |  | If LOWER: I draw the lower pitch so the peak stays under max height. Requested pitch stays in row 61 as what you wanted.

## 02_Rooms
02 ROOMS — interior sizes · SF = W × D × Count · only Include = Y counts · walls are added on 03 and 04, not in this column
Type interior CLEAR sizes in feet. Exterior brick overalls live on 01_Ask. A 14×16 bedroom is 224 sf net; the house overall is larger because exterior and interior walls occupy plan area.
Include | Room | Floor | Interior W (ft) | Interior D (ft) | Count | SF (interior) | Path / notes | Typical band
Y | FOYER | 1ST | 8 | 12 | 1 |  | Guest path. Street door. 6×8–8×12. Stair and powder off this. | 6×8 to 8×12
Y | POWDER | 1ST | 5 | 5 | 1 |  | Off foyer hall, not kitchen. Toilet out of door sightline. | 3×6 to 5×5
Y | STAIR WELL | 1ST | 8 | 17 | 1 |  | L / well. 11 ft rise cannot fit a 12×8 leftover. Lands on 2ND hall. | L box ~10'-8" at 4 ft stair
Y | LAUNDRY | 1ST | 8 | 10 | 1 |  | Grocery path. Garage man-door → laundry → kitchen. Tile. Not a mud unless designed. | 6×8 to 8×10
Y | KITCHEN | 1ST | 18 | 10 | 1 |  | Rear. One sink. 42 in. aisle. Open to living. | 12×14 to 14×16 (this run 18×10 rear strip)
Y | LIVING / GREAT | 1ST | 22 | 20 | 1 |  | Open to kitchen at back. Oak. | remaining 1ST plate
N | DINING | 1ST | 12 | 12 | 1 |  | Optional. Many colonials eat dining into great. | 10×12 to 12×14
N | MUD | 1ST | 6 | 8 | 1 |  | Leave N unless Robert designs one. 2410 does not invent mud. | only if designed
Y | GARAGE | GARAGE | 36 | 24 | 1 |  | 2-car. Door 16 ft or 9+9 to street. Unconditioned unless Include garage = Y. | 20×20 min; this run 36×24
Y | MASTER | 2ND | 14 | 16 | 1 |  | Floor must match 01_Ask Master bedroom floor. | 12×14 to 16×18
Y | MASTER BATH | 2ND | 8 | 10 | 1 |  | Tile. Stack wet wall over powder/laundry if you can. | separate tub/shower if analog 69313
Y | WALK-IN | 2ND | 6 | 8 | 1 |  | Off master. | 5×6 to 8×8
Y | BR2 | 2ND | 12 | 12 | 1 |  |  | 10×11 to 12×14
Y | BR3 | 2ND | 11 | 12 | 1 |  |  | 10×11 to 12×12
Y | HALL BATH | 2ND | 8 | 5 | 1 |  | 5×8 typical. Tub on the 5 ft wall. Tile. | 5×8
Y | HALL | 2ND | 4 | 16 | 1 |  | Central hall from stair. Do not land stair in a bedroom. | 3×12 to 4×18
Y | BR4 / FLEX | 2ND | 11 | 11 | 1 |  | Set Include = N if only 3 bedrooms. | optional
N | OFFICE / STUDY | 1ST | 11 | 12 | 1 |  | Front parlor analog (69313 den). | 11×11 to 12×13
N | BASEMENT REC | BSMT | 20 | 24 | 1 |  | Only if Count basement in SF = Y. | unfinished vs rec
N | MECH / STORAGE | BSMT | 10 | 12 | 1
N
N
N
N
N
N
N
N
NET rooms on 1ST (no garage)
NET rooms on 2ND
NET garage (interior listed)
NET basement listed
Master floor as listed (must match 01_Ask)

## 03_Walls
03 WALLS — wall footprints ADD to the program · they are not free floor
Exterior overalls are to the outside of brick, so Gross = W×D already contains the exterior wall. Interior partitions still eat net room area. List every interior 2x4 you know; leftovers show up as Unassigned on 04_Area.
A. EXTERIOR WALL FOOTPRINT (formula from 01_Ask — do not type)
Item | Value | Unit | Formula / note
House W (brick) |  | ft | 01_Ask proposed width
House D (brick) |  | ft | 01_Ask proposed depth
Exterior thickness t |  | ft | 01_Ask
Interior thickness t_i |  | ft | 01_Ask
Gross 1ST plate (to brick) |  | sf | Includes exterior walls. 40×32 = 1,280.
Gross 2ND plate |  | sf | Same footprint if two-story.
Inside of exterior wall, 1ST |  | sf | Clear rectangle inside brick/GWB.
EXTERIOR wall footprint per floor |  | sf | 2t(W+D)−4t². This is why walls add SF vs a room-only total.
Garage gross (to exterior) |  | sf | 36×24 = 864.
Street overall W (house+garage if attached) |  | ft | First run 76'-0". Even inches.
B. INTERIOR PARTITIONS — yellow = length of each 2x4 · SF = length × interior thickness
Include | Wall / run | Floor | Length (ft) | Thickness (ft) | SF footprint | Notes
Y | Foyer/laundry ¦ living (x=8, y=0–22) | 1ST | 22 |  |  | 1090901 analog
Y | Foyer ¦ laundry (y=12, x=0–8) | 1ST | 8 |  |  | 1090902
Y | Kitchen south (y=22, x=0–18) | 1ST | 18 |  |  | 1090903
Y | Kitchen ¦ living (x=18, y=22–32) | 1ST | 10 |  |  | 1090904
Y | Powder south (y=5, x=8–13) | 1ST | 5 |  |  | 1090905
Y | Powder east (x=13, y=0–5) | 1ST | 5 |  |  | 1090906
Y | Stair ¦ living (x=16, y=5–22) | 1ST | 17 |  |  | 1090907
Y | 2ND hall long | 2ND | 16 |  |  | center hall
Y | 2ND hall cross / BR splits (sum) | 2ND | 28 |  |  | master/BR2/BR3/bath splits, first-run estimate
Y | Master bath / WIC splits (sum) | 2ND | 18 |  |  | first-run estimate
N |  | 1ST |  |  |  | add runs as you draw
N |  | 1ST
N |  | 1ST
N |  | 2ND
N |  | 2ND
Interior wall SF on 1ST
Interior wall SF on 2ND
Why walls add SF | A 14×16 room is 224 sf of carpet. The house is not 224. Each exterior wythe is ~0.90 ft thick all around; each interior 2x4 is 0.375 ft × its length. Those strips are in the 40×32 plate. If net rooms + interior walls exceed the clear rectangle inside the brick, the rooms do not fit — Unassigned goes negative on 04_Area.

## 04_Area
Gross is to outside of brick. Net is interior rooms. Walls occupy the difference. Red checks fail the first-run rules.
A. PLATE (to outside of brick)
Item | SF or ft | Unit | Check | Limit | Pass?
House W |  | ft
House D |  | ft
Street overall (house+gar) |  | ft
Even-inch house W |  | ft
Even-inch house D |  | ft
B. SQUARE FOOTAGE — walls included
Gross 1ST plate (W×D, includes ext. walls) |  | sf
Exterior wall footprint 1ST |  | sf
Interior wall footprint 1ST |  | sf
NET rooms 1ST |  | sf
UNASSIGNED 1ST (clear − net − int. walls) |  | sf
Gross 2ND plate |  | sf
Exterior wall footprint 2ND |  | sf
Interior wall footprint 2ND |  | sf
NET rooms 2ND |  | sf
UNASSIGNED 2ND |  | sf
Garage gross |  | sf
Garage listed interior |  | sf
CONDITIONED SF (1ST+2ND, no garage) |  | sf
+ basement if counted |  | sf
+ garage if counted |  | sf
NET rooms only (no walls, no leftover) |  | sf
WALLS ONLY (ext both floors + int both floors) |  | sf |  |  | This is the SF rooms-only would miss
C. SITE / HEIGHT / PROGRAM CHECKS
Lot area |  | sf
Building coverage (house+gar footprint)
Buildable width (lot − 2×side) |  | ft
Buildable depth (lot − front − rear) |  | ft
Rough ridge height above grade |  | ft
Roof pitch vs max H |  | in/12 cap
Master floor matches Ask?
Kitchen at rear?
Mud invented?
Powder on 1ST?
Stair run at 10 in. treads (derived) |  | risers IRC |  | ft of treads
One sink?
Stacked wall matches FTF?
D. FIRST-RUN SNAPSHOT (this fill)
Hinge House analog: 40'-0" × 32'-0" two-story to brick, garage 36'-0" × 24'-0", street overall 76'-0". 1ST net rooms as listed (foyer 8×12, powder 5×5, stair well 8×17, laundry 8×10, kitchen 18×10, living 22×20). 2ND: master 14×16, bath 8×10, WIC 6×8, BR2 12×12, BR3 11×12, hall bath 8×5, hall 4×16, BR4 on (set Include = N to drop). Exterior t = 0.90 ft. Interior t = 0.375 ft. Conditioned cap 2,800 sf. Change yellow cells on 01 and 02; this sheet follows.
Chart data (1ST)
Net rooms
Interior walls
Exterior walls
Unassigned

## 05_Stack
05 STACKED WALL — if floor-to-floor changes, Duplicate the type and edit these heights
Yellow = you type. Blue = formulas. VARIABLE IS THE BASEMENT (type 1 CIP). Robert: keep it that way. Variable will not fix a short first-story brick if you only drag the top of the wall.
A. FLOOR-TO-FLOOR (from 01_Ask)
Item | Value | Unit |  |  | What to do
Proposed 1ST to 2ND FTF |  | ft
Template stacked FTF (as parked) |  | ft
1ST ceiling (finish) |  | ft
2ND ceiling (finish) |  | ft
1ST FL above GRADE |  | ft
Must Duplicate stacked type? |  |  |  |  | YES: Duplicate the stacked type. Change 1ST-story and 2ND-story basic-wall heights in the structure table. Move 1ST FL / 2ND FL / TO 1ST FL WALL. Park a 2-ft sample in the warehouse. Copy into the house. Never Create Similar. Variable stays type 1 basement.
B. STRUCTURE TABLE — top of wall at TOP of this list, basement at BOTTOM (Revit stacked-wall order)
Align Finish Face Exterior. Brick wythe is type 4, Spacebar so brick faces out. Split + Disallow Join at a story change. VARIABLE = type 1 CIP basement only.
Stack order (Revit table) | Type # | Name | Height (ft) | Role | Note
TOP of wall | 7 | Shakes / 2ND cladding | 9 | Fixed — 2ND story | Edit this yellow height when the 2ND plate changes.
| 6 | Second bond | 0.25 | Fixed belt | Keep thin. Duplicate type before changing.
| 5 | 2x6 + rigid + ply + GWB | 0 | Often inside 4/7 | If this is a separate stacked member, give it height. Else 0.
| 4A | Frieze | 0.67 | Fixed | Top of 1ST brick / start of 2ND shakes.
| 4 | Brick 2x6 (wythe 4) |  | Fixed — 1ST story = FTF | 1ST-story height. Equals proposed FTF. Blue formula from 01_Ask.
| 3 | First bond | 0.25 | Fixed belt | First-floor belt / starter above flashing.
| 2 | Brick ledge | 0.33 | Fixed shelf | CIP shelf. Brick bears here. Not Variable.
BOTTOM of wall | 1 | CIP basement | VARIABLE | VARIABLE — KEEP THIS | Do not type a height. Revit Variable = this row. Stretches from BO BSMT WLL up to the ledge. Dragging the wall top does NOT change type 4. It wrongly stretches type 1.
Sum of FIXED heights (not basement) |  |  |  |  | Does not include Variable basement. Type 4 (row 20) already equals FTF.
1ST brick height matches proposed FTF?
C. HOW TO CHANGE FTF IN REVIT (this order)
1 | Change yellow FTF on 01_Ask (and 2ND story height D16 here if the 2ND plate changes).
2 | In Revit: Duplicate the stacked wall type. Never edit the only warehouse type in place if another house still uses 11 ft.
3 | Type Properties → Structure. Table reads TOP of wall at the top of the list, basement at the bottom.
4 | Set type 4 (brick 2x6) height = new 1ST-to-2ND FTF. Set type 7 (2ND cladding) to the new 2ND story. Belts/frieze/ledge stay.
5 | Leave type 1 CIP basement as Variable. Robert: keep Variable the basement. It takes leftover below the ledge down to BO BSMT WLL.
6 | Move levels: 1ST FL, 2ND FL, TO 1ST FL WALL. Do not delete a level — change its elevation.
7 | Park a short sample (a couple of feet wide) of the new type in the warehouse. Then Copy stacked walls into the house. Never Create Similar a stacked wall.
8 | Do NOT only drag the top of an instance. That stretches Variable (basement), not the 1ST-story brick. 2ND floor would land in the middle of the brick.
D. DO NOT
Do not reuse an 11 ft stacked type on a 9 ft story and hope Variable saves it.
Do not Create Similar a stacked wall. Create Similar is for cabinets (which stretch in width).
Do not make type 4 or type 7 Variable. Variable is the basement only.
The stack must already match FTF before first-draft walls are copied in.
E. ROOF PITCH VS MAX HEIGHT (from 01_Ask)
Requested pitch |  | in / 12
Pitch that fits max H |  | in / 12
Action |  |  |  |  | If LOWER: draw the lower pitch so the peak stays under max height. Side-gable run = house D/2 + overhang.